| Project title: | Cottonwood-Roseville (97/1- 100/1) |
| --- | --- |
| Requested By: | Steve Tuggle | Mail Code: |  | Phone: | 353-4549 |
| Date Submitted: 8-23-05 |  | Date Required: |  |

Description of the Project [Please include data, references, or documentation pertaining to this project]:

Western Area Power Administration (Western), Sierra Nevada Region (SNR), is responsible for the operation and maintenance (O&M) of federally-owned and certain other transmission lines throughout California. Western proposes to rehabilitate and/or maintain its existing maintenance roads and transmission line Right-of-ways (ROWs) for the Cottonwood-Roseville transmission line in order to provide adequate access and reliability. The primary purpose of Western’s O&M program is to maintain transmission line ROWs, substations, communication sites, and associated access roads.  O&M activities include vegetation removal using manual or mechanical methods and access road repair and upgrades.  These routine activities are necessary to ensure system reliability and public safety by (1) preserving structural integrity of transmission line towers or poles, (2) allowing access to the transmission line towers or poles for routine maintenance or repairs, and (3) removing vegetation that could cause arcing, electrical outages and fires.

Western must comply with the National Electric Safety Code, Western States Coordinating Council and Western directives for protecting human safety and maintaining the reliable operation of the transmission system.  Western’s maintenance activities could take place on any of Western’s facilities and the access roads leading to these sites that may include:  transmission line ROW, substations, communication facilities, microwave facilities, and office locations, and access or maintenance roads. Western’s operation and maintenance activities may include the following:

Routine Maintenance of the transmission line, towers, and structures to ensure reliability and safety

- Removal of vegetation along the ROW that could grow into the transmission line and cause a human safety hazard or a fire hazard that result in electrocution, damage the transmission line, or force an outage which would interrupt service.

- Application of herbicides.

- Access and maintenance road upgrades by re-grading, vegetation removal (mechanical and manual methods), and road repairs to allow equipment access to transmission lines and structures.

- Installation of water bars.

A 100-foot wide ROW was surveyed for sensitive biological resources along the Cottonwood to Roseville (Towers 97/1 to 100/1) transmission lines.  The purpose and need for this action (in addition to all-weather access for emergency operation activities) is to ensure system reliability and allow crews access to the towers for routine operation and maintenance.  The proposed activity would include vegetation management along the maintenance road(s) and transmission line ROW.  The vegetation management would consist of hand removal and trimming.  No mechanical removal is allowed due to the sensitive cultural resources in the area.  Vegetation debris will be collected, chipped, and spread out under the ROW, and herbicide application may also take place.

No biological mitigation is required. However, crews should follow the environmental road maintenance requirements to avoid disturbances of biological resources. It is recommended that grading of the access road be limited to the width being utilized by maintenance equipment to minimize erosion and invasive weedy species.

For cultural resources, Far Western completed a cultural resource survey in 2002 (Far Western 2002).  From this information Western determined that no sites were located within the ROW.  With the exception of the jeep-trail, the access roads were paved.  If Western determines that grading of the jeep trail is necessary, a cultural resource survey would be required.

Location of the Project [include County and nearest town]: Butte County, Oroville, California

Towers 97/1 to 100/1 are located at an approximate elevation of 2,300 to 2,600 feet and are located approximately 2 miles north of the town of Palermo. To reach Tower 97/1 from Oroville, take Highway 70 south to Palermo road. Turn left and drive for 3.8 miles into the town of Palermo. Turn left on Upper Palermo road and drive 2 miles until the Cottonwood to Roseville transmission line crosses the road. Tower 97/1 is on the right just off of Upper Palermo road. The slopes vary between 15 to 20 percent between towers.

USGS Quad Map: Palermo

Public Land Survey:

T18N, R04E – Sec. 4, 9, 16

T19N, R04E – Sec. 33

Map(s) and Photos [attached if applicable]

Detailed Maps 1 to 7	Towers 97/1 – 100/1

Photographs 1 and 2	Biological Photographs

Work Order Number(s) Not Applicable

To be completed by Environmental Services Only

Action taken Note: All Documentation is Attached

Categorical Exclusion (CX) Integral Elements

Environmental Assessment (EA) NEPA Attachment Sheet

Environmental Impact Statement (EIS) Environmental Requirements/Mitigation

Other Determinations: Maps

Determination: Based on my review of information provided to me concerning the proposed action as NEPA Compliance Officer, I have determined that the proposed action meets the requirements for the categorical exclusion listed above. Therefore, I have determined that the proposed action may be categorically excluded from further NEPA review and documentation. ______________________________ _______________ Loreen McMahon Date NEPA Compliance Officer Approved

| bcc: A7400(Environmental Manager) | File Code: | Assigned to: | Project #: | Environmental Specialist– Date: |
| --- | --- | --- | --- | --- |

| Western Area Power Administration Sierra Nevada Region | CATEGORICAL EXCLUSION (CX) DETERMINATION | Project Number |
| --- | --- | --- |

Category of Action:  Due to an unseasonably wet and late Spring in 2005, vegetation within transmission line ROW are at a dangerous level. California has experienced devastating fires that have destroyed property and wildlife habitats and have caused the risk of death or injury to emergency personnel and the public at large.  Reduction and control of vegetation that could induce fires is a necessity within the ROWs.  Careful management of vegetation will foster better long-term wildlife habitats and reduce fire risks and impacts to the environment and human populous.  The proposed maintenance activities would consist of a series of independent actions that could be performed in unison or as separate activities.

# B1.3 Routine maintenance/custodial services for buildings, structures, infrastructures, and equipment.  Maintenance includes repair of road embankments, erosion control and soil stabilization measures such as reseeding and revegetation.

# B1.13 Construction and or relocation of onsite pathways and short onsite access roads.

# B2.5 Safety and environmental improvements of a facility, replacement/upgrade of facility components including additional structural controls.

# Integral Elements

Regulatory Requirements for a Categorical Exclusion Determination: The Department of Energy (DOE) National Environmental Policy Act (NEPA) Implementing Procedures, 10 CFR 1021.410(b) require the following determinations be made in order for a proposed action to be categorically excluded (see full text in regulation).

- The proposed action fits within a class of action listed in Appendixes A and B to Subpart D.  For classes of actions listed in Appendix B, the following conditions are integral elements; i.e., to fit within a class, the proposal must not:

- Threaten a violation of applicable statutory, regulatory, or permit requirements for environment, safety, and health, including requirements of DOE and/or Executive Orders;

- Require siting and construction or major expansion of waste storage, disposal, recovery, or treatment facilities, but may include categorically-excluded facilities;

- Disturb hazardous substances, pollutants, contaminants, or CERCLA-excluded petroleum and natural gas products preexisting in the environment such that there would be uncontrolled or unpermitted releases; or

- Adversely affect environmentally-sensitive resources (including but not limited to those listed in paragraph B (4)).

- There are no extraordinary circumstances related to the proposal which may affect the significance of the environmental effects of the proposal.

- The proposal is not connected (40 CFR 1508.25(a)(I)) to other actions with potentially significant impacts, is not related to other actions with cumulatively significant impacts (40 CFR 1508.25(a)(2)), and is not precluded by 40 CFR 1506.1 or 10 CFR 1021.211.

Results of Review: In accordance with DOE environmental regulations (10 CFR 1021), Western has reviewed the proposed action in terms of the level of NEPA review needed.  Based on this review, Western has determined the proposal is encompassed within a class of action listed in Appendix B to Subpart D (10 CFR 1021.410) which do not require preparation of either an environmental impact statement (EIS) or an environmental assessment (EA).

The proposed action meets the above regulatory criteria and there are no adverse environmental effects associated with this action.

|  | Western Area Power Administration SIERRA NEVADA REGION NEPA Attachment Sheet | Project Number |
| --- | --- | --- |

| PROJECT TITLE |
| --- |
|  | Cottonwood-Roseville (97/1- 100/1) |
| EFFECTED ENVIRONMENT Vegetation in the project area is classified as Blue Oak Woodland in Holland’s (1986) system and Blue Oak series in the Sawyer and Keeler Wolf system (CNPS, 1995). In northern California, Blue Oak woodland is common on well-drained soils below 3000 to 4000 feet and is dominated by a variable combination of blue oak (Quercus douglasii), foothill pine (Pinus sabiniana), and other oak species. In the project area, the vegetation is characterized by mixed stands of blue oak, foothill pine, black oak, and interior live oak. Shrubs include blackberry, deer brush and buck brush, poison oak, and manzanita. The ground layer is sparse in the dense woodland and comprised of annual grassland species such as Avena fatua, Vulpia hirsuta, Erodium botrys, Bromus species, and Lasthenia species in the more open areas between and adjacent to the towers. |

|  | In addition to the Blue Oak series, there are two distinct intermittent creeks characterized by the Great Valley Cottonwood Riparian Forest described as a dense, winter-deciduous, broadleafed riparian forest. Dominant tree species include Freemont Cottownwood (Populus fremontii) and several species of willow including: Salix gooddingii, S. laevigata, S. lasiandra, S. lasiolepis, and S. exigua. Common understory species include wild grape, poison oak, and blackberry. Site factors include a relatively fine-textured alluvium derived from former river channels. The Great Valley Cottonwood forests are inundated yearly during the spring and are often supplemented by nearly-perennial streams that provide subsurface irrigation. This woodland was once very extensive throughout the Great Valley but has been reduced due to urban and agricultural development to isolated pockets along fragmented water courses. Detail maps 1 to 4 cover the area from Cottonwood-Roseville Towers 97/1 to 98/5. The area between Towers 97/1 and 97/2 is agricultural with olive trees and non-native grasslands. The rest of the area covered by this map consists of blue and black oak woodlands with occasional gray pines. Poison oak and Himalayan blackberry are also present. A seasonal swale is located near Tower 97/1 with a short weekly-expressed depression. A shallow roadside drainage ditch is present south of Tower 97/2. A small depression (5- by 7-foot) is causing a seasonal wetland area north of Tower 97/4. The area has several overgrown trees that may cause a potential hazard and require maintenance trimming. Near Tower 97/1 there is a black oak within 25 feet of the wires. Between Towers 97/4 and 97/5 there are wires close to the ground and trees. No special-status species or sensitive habitats were observed in the area. Needle grass grassland is located south of Tower 97/5 with a shallow agricultural drainage ditch. Between Towers 97/5 and 98/1 a culvert under the road conveys flow through a riparian forest. Detail maps 5 to 7 cover the area from Cottonwood-Roseville Towers 98/4 to 100/1. This area is primarily agricultural with groves of olive trees and non-native annual grasslands used for grazing. There are many fences throughout the area which may block access to the ROW. Several intermittent creeks are located between Towers 99/2 and 99/3. There are also several man-made ponds south of Tower 99/2 (See Photograph No. 1). Several wet meadow areas are located near Towers 99/1, 99/4, and 100/1. |
| --- | --- |
| REVIEW ACTION |
|  | Annie Overlin and Victor Leighton of Burleson Consulting, Inc. conducted a biological field reconnaissance survey on April 21, 2005. The botanical and wildlife surveys included the maintenance roads and ROW for the Cottonwood to Roseville (Towers 97/1 to 100/1) transmission lines. The ROW was approximately 100 feet wide. The biological surveys were conducted by walking the maintenance road and by walking from tower to tower. Characteristic vegetation and general habitat characteristics were noted during the surveys. While protocol-level or rare plant surveys were not completed for the project area, all suitable habitats were examined for special-status plant occurrences. |

| CULTURAL AND HISTORIC RESULTS The Cottonwood-Roseville transmission line (97/1-100/1) was intensively surveyed in 2002 by Far Western. The results of the survey are detailed in the report, Cultural Resources Survey for Right-of-Way Maintenance Along the Western Area Power Administration Transmission Lines in Sacramento, Placer, and Sutter Counties, California, Prepared by Far Western Anthropological Research Group, Inc, May 2002. The report is on file at Western’s SNR office and with the California Office of Historic Preservation. The entire ROW was surveyed. No sites were located within this section of the line. Most access roads appear to be paved avenues or streets, with the exception of the Jeep Trail, which was surveyed. The Jeep Trail will require survey prior to any ground disturbing activity. |
| --- |
|  | Native American Consultation. Consultation completed in 2002 as part of the review process for the Sacramento Valley EA. |
|  | This action is covered by Western's Programmatic Agreement, “Programmatic Agreement Among Western Area Power Administration, the Advisory Council on Historic Preservation, and the California State Historic Preservation Officer Concerning Emergency and Routine Maintenance Activities at Western Facilities in California", dated December 11, 1997. |
|  | Best Management Practices |
|  | No cultural resources present. No mitigation required. No restrictions for vegetation removal. Should any unanticipated cultural resources be revealed during vegetation removal, vegetation crews are to be instructed to halt all activities in the area until a qualified archaeologist can examine the site and make a determination of site type and significance. If Western determines that grading of the jeep trail is necessary, a cultural resource survey would be required. |
|  | Include in Western’s annual report |

Reviewed/Approved by:__________

| BIOLOGICAL RESULTS |
| --- |
|  | No special-status (Federal or State of California) listed wildlife species were observed in the project area. Special status species in the project area were based on occurrences reported in the California Natural Diversity Database (CNDDB) in the larger region and known habitat requirements. Bald eagles (Haliaeetus leucocephalus), a federal threatened and California endangered species, and Swainson’s Hawk (Buteo Swainsoni), a California threatened species, occur in the region and typically nest near water but were not observed in the area. No raptor nests of this size were noted between or near the towers or along the access road and typical nesting habitat for these species was not present. No elderberry bushes were observed along the transmission line or maintenance roads. However, this area may be considered to be habitat for the valley elderberry beetle with a reported occurrence in the Palermo Quadrangle. If present, elderberry bushes will be avoided during maintenance. Seasonal wetlands, ponds, and perennial and intermittent creeks were identified along the transmission line. These are potential amphibian and reptile habitat for the California red-legged frog (Rana aurora draytonii), a federal threatened and California species of concern, and foothill yellow-legged frog (Rana boyii), Western spadefoot toad (Spea hammondii), and the northwestern pond turtle (Clemmy marmorata marmorata), Federal and California species of concern. No special status plants were identified in the project area. The project area consists primarily of blue oak woodland with mesic grassland openings on a volcanic substrate. This geomorphology provides potential habitat for the following special status species: Butte County calycedenia (Calycedenia oppositifolia), Butte County meadowfoam (Limnanthes floccose ssp. californica), Butte county morning-glory (Calystegia atriplicifolia ssp. buttensis), Butte County sidalcea (Sidalcea robusta), Brandegee’s clarkia (Clarkia biloba ssp brandegeae), and Mosquin’s clarkia (Clarkia mosquinii ssp. mosquinii). None of these species were observed; however, the presence of healthy perennial grassland dominated by Stipa pulchra was observed near Cottonwood-Roseville Tower 97/5. This formerly extensive grassland series know as Valley Needlegrass grassland has been severely diminished throughout California and replaced by non-native grasslands. |
|  | Consultation on this project was completed on_________ |
|  | This activity is covered by Western's Biological Opinion, “Formal Programmatic Consultation on the Operation and Maintenance Activities of the Western Area Power Administration”, dated May 27, 1998, U.S. Fish and Wildlife Service File 1.1-97-F-0140. |
| BEST MANAGEMENT PRACTICES |

No biological mitigation required.  It is recommended that grading of the access road be limited to required width of the equipment being accessed and minimize the removal of the erosion control native grass.  Wetted areas and vernal pools should be avoided until the soil is dry (probably late May to mid June).  Refer to Table titled Environmental Requirements for Road Maintenance on Western Right-of-Way and Access Roads for environmental protection measures.

Reviewed/Approved by:__________

| Western Area Power Administration Sierra Nevada Region | Environmental Requirements for Road Maintenance on Western Right-of-Way and Access Roads | Project Number |
| --- | --- | --- |

This document outlines the environmental restrictions from the Formal Programmatic Consultation on the Operation and Maintenance Activities of the Western Area Power Administration, May 27, 1998, U.S. Fish and Wildlife Service File 1.1-97-F-0140.

ITEMS CHECKED ARE APPLICABLE TO THIS PROJECT

| General |
| --- |
|  | All routine maintenance activities will be performed during the non-nesting period between July 15 and March 1. The timing of maintenance activities would be adjusted to avoid sensitive periods for special status species and their habitat types. Qualified biologists would monitor or mark sensitive habitat so that it can be avoided by maintenance personnel during specific activities in specific habitat types. Prior to maintenance activities a qualified biologist would survey the proposed maintenance sites to determine whether nesting raptors are present. If no nesting raptors or N. California Spotted Owls are present maintenance activities can proceed. Survey results would be valid only for the nesting season in which they were conducted and additional surveys would be needed for each additional season that work must be conducted. Refer to Review Action in this report for further information. |
|  | Routine maintenance activities will be avoided from mid-March through mid-June in the vicinity of structures. |
|  | Road maintenance operations will be conducted to minimize soil erosion. Forest Service’s Best Management Practices and Forest Practices and Forest Practices Rules of the CA Dept. of Forestry will be implemented where practical. |
|  | Culverts will be sized to match storms that may occur during the life of the road to minimize the potential for access road washout under high intensity storms. |
|  | Excavated material will not be stock piled or deposited on or near stream banks, lake shorelines, or other watercourse perimeters where they could be washed away by high water or storm run-off, or could significantly impact the watercourse. |
|  | Vegetative management plans will be followed as appropriate. |
|  | In areas where excavation is not required, vegetation will be left in place whenever possible and original contours maintained in an undisturbed condition whenever possible. |
|  | Habitat diversity will be maintained to the greatest extent feasible. |
|  | Brush blades will be used on bulldozers in clearing operations where such use will help preserve the cover crop of grass, low-growing brush, etc. |
|  | Dispose of all cleared vegetation in an appropriate manner. |
|  | The maintenance foremen will determine whether a sensitive habitat is present at the maintenance site. If special status species are identified in the area, maintenance will receive approval from Environmental Services prior to initiating the maintenance. |
|  | Environmental Services will be contacted immediately: Of any "take" of special status species or action affecting critical habitat. If archeological, paleontological, or historic evidence is found. |
|  | No paint or permanent discoloring agents will be applied to rocks or vegetation. |
|  | If used, survey stakes will be removed as a part of final clean up. |
| Elderberry Savanna |
|  | Western maintenance personnel will avoid disturbance within 20 feet of the drip line of each elderberry bush. |
|  | No insecticides, herbicides, fertilizers, or other chemicals that might harm the beetle or its host plant would be used within 100 feet of an elderberry plant with a stem measuring one-inch or greater in diameter at ground level. |
|  | If avoidance of elderberry bushes is not possible, maintenance will notify Environmental Services prior to initiating work except in "danger" tree conditions. Special mitigation measures for habitat areas containing elderberry bushes require survey of a qualified biologist and must be handled by Environmental Services. |

| Perennial Streams and Rivers |
| --- |
|  | No vehicle refueling within 300 feet of a perennial stream or river channel. |
|  | All spills of fuel or hydraulic fluid would be immediately cleaned up according to Western's guidelines for hazardous material handling. |
| Giant Garter Snakes |
|  | These provisions are applicable in Butte, Colusa, Yuba, Sutter, Yolo, Sacramento, and San Joaquin counties. |
|  | All work will be conducted between April 1 to October 31, during the snake's active period. |
|  | Vehicle traffic is restricted to designated access routes and the immediate vicinity of construction or maintenance sites. Vehicle speeds will not exceed 15 mph on unimproved access routes. |
|  | If a giant garter snake is observed, all work will stop until it can be determined that the snake will not be harmed. |
| Sierran Mixed Conifer (Northern goshawk habitat) |
|  | If work must commence during the nesting/fledging period (March 1 – July 15) in the Northern Goshawk’s habitat, a biological survey or a monitor may be employed to determine the absence or presence of nests and/or raptors. Contact Environmental Services. |
|  | If work must commence during the nesting/fledging period (January – August 31) in the Bald eagle’s habitat, a biological survey or a monitor may be employed to determine the absence or presence of nests and/or raptors. Contact Environmental Services. |
| Northern Juniper Woodland (Swainson's hawk habitat) |
|  | If work must commence during the nesting period (March 1 – July 15) in the Swainson’s hawk habitat, a biological survey or a monitor may be employed to determine the absence or presence of nests and/or raptors. Contact Environmental Services. |
| Grasslands (Kit Fox habitat) |
|  | These provisions are applicable in grassland habitats or disturbed habitats within 0.5 mile of grassland habitats located in San Joaquin, Alameda, and Contra Costa counties. |
| Vernal Pools |
|  | From structure there are some ephemeral wetlands that should not be traversed by anything other than rubber-tired vehicles especially when water is present. |
|  | All vehicles are restricted to existing roads in vernal pool habitat. |
|  | Vehicle use off existing roads is restricted to times of the year when soils are dry enough to resist compaction and annual plants have set seed (generally June 1 to September 30). If in question, contact Environmental Services prior to initiating work. |
|  | No vehicle traffic is permitted off established roads within 50 feet of individual vernal pools (measured from the upland margin of the pool). |
|  | Materials used for maintenance activities will be located outside of vernal pool habitat or on existing roads. |
| General-Cultural |
|  | Before maintenance, all maintenance personnel would be instructed on the protection of cultural and paleontological resources. The effort would address Federal, state, and tribal laws regarding antiquities, fossils, plants, and wildlife, including collection and removal, and the importance of these resources and the purpose and necessity of protecting them. Western would instruct that cultural resources might be present in the study area. They would be trained to stop work near any discovery, and notify Western’s regional environmental manager, who would confirm that the resource is evaluated and avoided. Known cultural resources would be fenced and a minimum distance maintained for work disturbances. |
|  | Where ground-disturbing activities are identified, cultural resource evaluations would be done to determine the need for field inventory or monitor. Construction activities would avoid all historic properties, or a special use permit or mitigation plan would be developed in consultation with SHPO. |
|  | Due to the sensitivity of cultural resources, a cultural resource monitor is required during ground disturbing maintenance activities. The monitor will complete periodic inspections, fence sensitive areas, and provide guidance on distances required to be maintained for protection of resources. |

References

Davy, 2005	Archaeological Inventories for North Area Right-of-Way Maintenance Activities Categorical Exclusion No. 5.  July 2005.

Far Western, 2002	Cultural Resources Survey for Right-of-Way Maintenance Along the Western Area Power Administration Transmission Lines in Sacramento, Placer, and Sutter Counties, California, Prepared by Far Western Anthropological Research Group, Inc.  May 2002.

Holland, 1986	Preliminary Descriptions of the Terrestrial Natural Communities of California. State of California Department of Fish and Game. Robert F. Holland, Ph.D. October 1996.

Sawyer, 1995	A Manual of California Vegetation. California Native Plant Society. John O. Sawyer and Todd Keeler-Wolf. 1995.

Woodward-Clyde, 1997a	Biological Assessment: Transmission Tower and Access Road Maintenance.  Woodward-Clyde Consultants.  May 1997.

Woodward-Clyde, 1997b	Cultural and Biological Resources Management Manual: Transmission Tower and Access Road Maintenance.  Volume 1: Redding Area Lines.  Woodward-Clyde Consultants.  September 1997.

Woodward-Clyde, 1997c 	Cultural and Biological Resources Management Manual: Transmission Tower and Access Road Maintenance.  Volume 2: Malin-Round Mountain Line.  Woodward-Clyde Consultants.  September 1997.

Woodward-Clyde, 1996	Archaeological Reconnaissance Report for Western Area Power Administration, Sierra Nevada Region, Transmission Line and Road Maintenance Program.  Woodward-Clyde Consultants.  February 1996.

Table

| Table 1 POTENTIAL SPECIAL-STATUS SPECIES IN Cottonwood-Roseville 97/1-100/1 PROJECT VICinity |
| --- |
| Scientific Name Common Name | Listing Status USFWS-NMFS/ CDFG/CNPS | General Habitat | Potential for Occurrence |
| Birds |
| Agelaius tricolor tricolored blackbird | FSC/CSC/-- | Requires open water, protected nesting substrate and foraging area with insect prey within a few km of the colony. | Low potential due to lack of habitat, no large bodies of water are present along the transmission ROW. |
| Buteo Swainsoni Swainson’s hawk | --/CT/-- | Breeds in stands with few trees in Juniper-Sage flats, Riparian areas and in Oak Savannah. Requires adjacent suitable foraging areas such as grasslands, alfalfa, or grain fields supporting rodent populations | Low potential due to lack of habitat, no occurrences reported in CNDDB for Palermo Quad. |
| Haliaeetus leucocephalus bald eagle | FT/CE/-- | Open shore, lake margins & rivers for both nesting & wintering. Most nests within 1 mil. Of water. Nests in large, old-growth or dominant live tree with open branches, especially Ponderosa Pine. Roosts communually in winter. | Low potential due to lack of habitat. No occurrences reported in CNDDB for Palermo Quad. |
| Riparia riparia bank swallow | --/CT/-- | Colonial nester; nests primarily in riparian and other lowland habitats. Requires vertical banks/cliffs with fine-textured/ sand soils near streams, rivers, lakes or ocean to dig nesting hole. | Low potential due to lack of habitat, no rivers or creeks intersect this transmission ROW. |
| Amphibians |
| Ambystoma californiense California tiger salamander | FT/CSC/-- | Need underground refuges especially squirrel burrows & vernal pools or other seasonal water sources for breeding. | Low potential, some habitat in area. No occurrences reported in CNDDB for Palermo Quad. |
| Rana aurora draytonii California red-legged frog | FT/CSC/-- | Lowlands & foothills in or near permanent sources of deep water with dense, shrubby or emergent riparian vegetation. | Low potential, some habitat in area. No occurrences reported in CNDDB for Palermo Quad. |
| Spea hammondii western spadefoot toad | FSC/CSC/-- | Occurs primarily in grassland habitats, but can be found in valley-foothill hardwood woodlands. Vernal pools are essential for breeding and egg-laying. | Low potential due to lack of habitat, no vernal pools in area. |
| Reptiles |
| Clemys marmorata marmorata northwestern pond turtle | FSC/CSC/-- | Associated with permanent or nearly permanent water. | Moderate potential, small amount of man made ponds in area. |
| Phrynosoma coronatum (frontale) Coast (California) horned lizard | --/CSC/-- | Most common in lowlands along sandy washes with scattered low bushes. Open areas for sunning, patches of loose soil for burial & abundant supply of ants and other insects. | Low potential due to lack of habitat. No occurrences reported in CNDDB for Palermo Quad. |
| Thamnophis gigas giant garter snake | FT/CT/-- | Prefers freshwater marsh and low gradient streams. Has adapted to drainage canals & irrigation ditches. | Low potential due to lack of habitat. No occurrences reported in CNDDB for Palermo Quad. |
| Insects |
| Desmocerus californicus dimorphus valley elderberry longhorn beetle | FT/--/-- | Occurs in the Central Valley of California, in association with the blue elderberry (sambucus mexicana) | Low potential, no blue elderberry was observed at the site. |
| Plants |
| Carex vulpinoidea fox sedge | --/--/2 2-2-1 | Marshes and swamps, riparian woodlands | Potential in seasonal wetland area. CNPS reported found in Palermo Quad. |
| Calycedenia oppositifolia Butte County calycedenia | --/--/4 1-2-3 | Meadows and seeps,Valley and foothill grassland | Low potential, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Calystegia atriplicifolia ssp. buttensis Butte county morning-glory | --/--/1B 2-2-3 | Chaparral and lower montane coniferous forest, rocky areas | Low potential, lack of habitat, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Clarkia biloba ssp. brandegeeae Brandegee’s clarkia | --/--/1B 2-2-3 | Chaparral,Cismontane woodland, often roadcuts | Low potential, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Clarkia mosquinii Mosquin’s clarkia | --/--/1B 3-3-3 | Cismontane woodland,Lower montane coniferous forest, rocky roadsides | Low potential, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Eleocharis quadrangulata four-angled spike rush | --/--/2 3-2-1 | Freshwater marshes, lake and pond margins. 20-500M | Potential, CNPS reported found in Palermo Quad. |
| Fritillaria pluriflora adobe-lily | --/--/1B 2-2-3 | Chaparral,Cismontane woodland, Valley and foothill grassland, often adobe | Low potential, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Juncus leiospermus var. ahartii Ahart’s dwarf rush | --/--/1B 3-2-3 | Restricted to the edges of vernal pools. 30-100M. | Low potential, no vernal pools in area. |
| Limnanthes floccosa ssp. californica Butte County meadowfoam | --/--/1B 3-3-3 | Valley and foothill grassland, vernal pools | Low potential, no vernal pools in area. |
| Orcuttia tenuis Slender orcutt grass | FT/CE/1B 2-3-3 | Vernal pools. | Low potential, no vernal pools in area. |
| Sidalcea robusta Butte County checkerbloom | --/--/1B 2-2-3 | Chaparral and cismontane woodland | Low potential, no occurrences reported in CNDDB or CNPS for Palermo Quad. |
| Notes: FE = Federally-listed endangered FT = Federally-listed threatened FC = Federal candidate for listing FD = Federal delisted FSC = Federal species of concern CE = California endangered CT = California threatened CSC = California species of concern 1B = California Native Plant Society (CNPS) plants considered to be rare, threatened, and endangered 2 = CNPS plants rate of endangered in California, but more common elsewhere 3 = CNPS plants for which more information is needed (watch list) 4 = CNPS plant limited distribution (watch list) Sources: California Natural Diversity Data Base search for Palermo Quadrangles (CDFG, 2004) Federal Endangered and Threatened Species that may be affected in the Palermo 7 ½ minute quad available at: http://sacramento.fws.gov/default.htm California Native Plant Society’s Inventory of Rare and Endangered Plants of California available at: http://www.cnps.org/index.htm |

Maps

Photographs