## Sheet1
FIELD QUALITY ASSURANCE CHECKLIST
Station Name:______________________ |  | S-Lake Drain |  |  |  | Day 295
NAMES | Jeremy Hanlon |  |  |  | DATE | 2003-10-22
| Chris Campbell |  |  |  | TIME | 13:58
STAGE
|  | Time | Data Source | Stage reading (ft) | Calc. Offset (ft)
Bubbler/Keller/Sontek |  | 14:00 | na | na | #VALUE!
Staff gage |  | 13:58 | na | na
EC
|  | Time | Standard EC | Measured EC | % Deviation
Station Reading |  | 14:00 |  | 962 | 103.9438
Myron Ultrameter |  | 13:58 | 1440 | 925.5
ORP
|  | Time | Value
Station Reading
Myron Ultrameter |  | 13:58 | 199
pH
|  | Time | Value
Station Reading
Myron Ultrameter |  | 13:58 | 7.62
WATER TEMPERATURE
|  | Time | Data Source | Value Deg. F
Station Reading |  | 14:00 | 9(T_SLake) | 71.2
Myron Ultrameter |  | 13:58 | QA sheet | 72.32
OPTICAL QUALITY
|  | Time | Fluorescence (%) | Turbidity (NTU)
SCUFA
YSI Sonde 6600
DISCHARGE
|  | Time | Data Source | Velocity (ft/s) | Discharge (cfs)
Datalogger Estimate |  | 14:00 | na | na | na
QA Analysis | Rating sheet | 13:58 | SLK Rating 102203 | 0.663 | 43.56
NOTES: