## 1. Buffer Design
Milkhouse Buffer Design | [7 empty] | ver 10.08 | [9 empty] | County-for drop down list | Drop Down list for Pump
[18 empty] | ADAMS | Zoeller 270
CLIENT: |  |  |  | COUNTY: |  |  | DATE: | [10 empty] | ASHLAND | Zoeller 284
DSN BY: |  |  |  | CHK BY: | ____ |  | DATE: | _________ | [9 empty] | BARRON | Myers MW50 Series
COMMENTS: | [17 empty] | BAYFIELD | Goulds Pumps Model 3886 Order Number WS05B
[18 empty] | BROWN | Enter Your Pump Data Here
Initial Input Data: | [9 empty] | Notes: | [7 empty] | BUFFALO
Wastewater production rate | [5 empty] | gallons per day | [11 empty] | BURNETT
Allowable soil dosing rate | [5 empty] | gallons per square foot |  |  |  |  | Soil dosing rate information is found on worksheet 2. | [6 empty] | CALUMET
Depth of flow in buffer area | [5 empty] | inches | TOO SHALLOW |  |  |  |  | You can click on the yellow tab to get there. | [5 empty] | CHIPPEWA
Slope of buffer area | [5 empty] | feet per foot | TOO FLAT | [10 empty] | CLARK
COLUMBIA
Buffer Area Design: | [17 empty] | CRAWFORD
Amount of flow needed |  |  |  |  | 0 | gpm per foot of width | [11 empty] | DANE
DODGE
Min buffer length |  |  |  |  | #DIV/0! | feet | #DIV/0! | [10 empty] | DOOR
| Buffer length used |  |  |  |  | feet | #DIV/0! | [10 empty] | DOUGLAS
[11 empty] | MINIMUM BUFFER LENGTH | [6 empty] | DUNN
Min buffer width |  |  |  |  | #DIV/0! | feet | [5 empty] | based on 20 minutes minimum flow time | [5 empty] | EAU CLAIRE
| Buffer width used |  |  |  |  | feet | #DIV/0! |  |  |  |  | maximum length of 150' to prevent channelized or shallow concentrated flow | [5 empty] | FLORENCE
[12 empty] | take credit for only 150' of buffer if it is actually longer | [5 empty] | FOND DU LAC
Distribution System Design: | [10 empty] | MINIMUM BUFFER WIDTH | [6 empty] | FOREST
Pipe size of forcemain (inside diameter) | [5 empty] | inches | #DIV/0! |  |  |  |  | based on min buffer length and 3 day min. rest | [5 empty] | GRANT
Length of solid pipe to distribution lateral | [5 empty] | feet | [11 empty] | GREEN
Elev. difference from pump off level to distribution lateral | [5 empty] | feet (positive uphill, negative downhill) | [11 empty] | GREEN LAKE
IOWA
Number of elbows | [17 empty] | IRON
JACKSON
Distribution lateral pipe size (inside diameter) | [5 empty] | inches | [11 empty] | JEFFERSON
Length of lateral (width of buffer) |  |  |  |  | 0 | feet | [11 empty] | JUNEAU
Size of holes | [5 empty] | inches | TOO SMALL | [10 empty] | KENOSHA
Spacing of holes | [5 empty] | feet | TOO NARROW | [10 empty] | KEWAUNEE
LA CROSSE
Final System Design Check: | [17 empty] | LAFAYETTE
Min. pump chamber volume needed |  |  |  |  | 0 | gallons (includes backwash from forcemain) | [11 empty] | LANGLADE
Actual dose volume, based on float settings in tank | [5 empty] | gallons | [11 empty] | LINCOLN
Pump Brand and Model: | [17 empty] | MANITOWOC
Pump Type: |  |  |  |  | 0 | [12 empty] | MARATHON
Flow rate at which system will operate | [5 empty] | gallons per minute; read from intersection of two curves |  |  | ----------------------> | [8 empty] | MARINETTE
Pump Run Time |  |  |  |  | #DIV/0! | minutes per dose | [11 empty] | MARQUETTE
MENOMINEE
Actual flow depth |  |  |  |  | #DIV/0! | inches | #DIV/0! | [10 empty] | MILWAUKEE
Actual dosing rate |  |  |  |  | #DIV/0! | gallons per square feet | #DIV/0! | [10 empty] | MONROE
Days between dosings |  |  |  |  | #DIV/0! | days | #DIV/0! | [10 empty] | OCONTO
ONEIDA
Total Hydraulic Load Check: (0.9" per week max per proposed WI NRCS Standard 635/719) | [17 empty] | OUTAGAMIE
inches per dose from milkhouse |  |  |  |  | #DIV/0! | [12 empty] | OZAUKEE
inches per week from milkhouse |  |  |  |  | #DIV/0! | [12 empty] | PEPIN
inches per week total |  |  |  |  | #DIV/0! |  | #DIV/0! | [10 empty] | PIERCE
POLK
Final Design Summary | [17 empty] | PORTAGE
PRICE
Width of Buffer |  | 0 | feet |  |  | Min. pump chamber needed | 0 | gallons | [9 empty] | RACINE
Length of Buffer |  | 0 | feet |  |  | Actual dose volume | 0 | gallons | [9 empty] | RICHLAND
Slope of Buffer |  | 0 | feet per foot |  |  | Flow rate | 0 | gal/min | [9 empty] | ROCK
[6 empty] | Pump run time | #DIV/0! | min/dose |  |  | Pump should run at least 5 minutes | [6 empty] | RUSK
ST CROIX
[9 empty] | Side Calculations | [8 empty] | SAUK
SAWYER
[11 empty] | Force Main velocity/ head loss check |  |  |  | #DIV/0! | velocity |  | SHAWANO
[11 empty] | Force Main velocity/ head loss check |  |  |  | 0 | pipe area, ft2 |  | SHEBOYGAN
|  |  |  | Pump Brand and Model: | 0 | [12 empty] | TAYLOR
|  |  |  | Pump Type: | 0 | [5 empty] | For wide, shallow channels the hydraulic | [6 empty] | TREMPEALEAU
[11 empty] | radius is the depth of the channel | [6 empty] | VERNON
|  |  |  | Pump Curve: | [6 empty] | which simplifies Mannings equation & calcs | [6 empty] | VILAS
|  |  |  | GPM | Head | [5 empty] | 0.3 | n | (Mannings n per standard) |  |  |  |  | WALWORTH
|  |  |  | 0 | 0 | [12 empty] | WASHBURN
|  |  |  | 0 | 0 | [12 empty] | WASHINGTON
|  |  |  | 0 | 0 | [12 empty] | WAUKESHA
|  |  |  | 0 | 0 | [12 empty] | WAUPACA
|  |  |  | 0 | 0 | [12 empty] | WAUSHARA
|  |  |  | 0 | 0 | [12 empty] | WINNEBAGO
|  |  |  | 0 | 0 |  |  |  | This area is the calculation to check for a |  |  |  |  | forcemain area= | 0 | ft2 |  | WOOD
|  |  |  | 0 | 0 |  |  |  | max pipe velocity of 5 feet per second |  |  |  |  | Kp= | #DIV/0!
|  |  |  | 0 | 0 |  |  |  |  | 0 | orifice area, ft2 |  |  | lateral area= | 0
|  |  |  | 0 | 0
DESIGN OUTPUTS
[10 empty] | GPM |  | Head Loss (ft) |  |  |  | Head
[10 empty] | System | Per orifice | Elevation | Force Main | Lateral | Orifice | System Curve | Pump Curve
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0
[10 empty] | Main |  | Intermediate Outputs |  |  | Lateral
[10 empty] | velocity | vel head | 1+Km+KpL | velocity | vel head | 1+Km+KpL
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Spreadsheet written by Dean Sylla and Amanda Crowe, NRCS Engineers, Appleton, WI
Phone Number: 920-734-2061 ext 120
Spreadsheet Last updated 2/6/08
PRINT SPREADSHEET
CLEAR CELLS
Click here to scroll up to your Design
see tab 2
Read flow rate at the intersection of the two curves. If curves do not intersect, change the system design or the pump.
Either choose a pump from the pull down menu or click here and enter your own pump information, then chose your pump from the pull down menu.

## 2. Soil Dosing Rates
Milkhouse Buffer Design |  |  |  |  | ver 10.08
Maximum Soil Dosing Rates, gallons per square foot of buffer area
Max. Soil Dosing Rates (g/sqft buffer area)
|  | Soil Drainage | Soil Depth
|  | Class | 40"+ | 24"- 40"
|  | Well Drained | 0.3 | 0.25
|  | Moderately Well Drained | 0.25 | 0.2
|  | Somewhat Poorly Drained | 0.125 | 0.075
These are rates used in Pennsylvania. They are significantly
lower than rates used in Wisconsin for septic drainfields
Wisconsin septic code (for comparison) lists loading rates of .2 to .7
gallons per square feet for clay to sand soil. The code lists a rate of
0 for "massive" structured silt loam and heavier textured soil. Massive
structure usually means a compacted plow layer or dense parent material,
which is something that should not occur on a natural soil surface.
The Pennsylvania table includes wet shallow soils that would
not work under our standard. These values are not shown above.
Back to Design Sheet

## 3. Pump Curve Data
PUMP CURVE DATA
Enter Pump Curve Information In
The Green Cells.
Pump Curve Data for Pull Down Menu
Pump Brand |  |  |  | Pump Type
Zoeller 270 |  |  |  | 2" Sewage |  | Pump Brand: | Zoeller 270 | Pump Brand: | Zoeller 284
Zoeller 284 |  |  |  | 2" Sewage |  | Pump Type: | 2" Sewage | Pump Type: | 2" Sewage
Myers MW50 Series |  |  |  | 2" Sewage
Goulds Pumps Model 3886 Order Number WS05B |  |  |  | 2" Sewage |  | Pump Curve: |  | Pump Curve:
Enter Your Pump Data Here | [5 empty] | GPM | Head | GPM | Head
[6 empty] | 0 | 29 | 0 | 35
[6 empty] | 35 | 25 | 43 | 30
| Pump Curve: |  |  |  |  | 56 | 20 | 76 | 25
| GPM | Head |  |  |  | 77 | 15 | 106 | 20
[6 empty] | 101 | 10 | 135 | 15
[6 empty] | 132 | 5 | 158 | 10
[6 empty] | 132 | 5 | 180 | 5
[6 empty] | 132 | 5 | 180 | 5
|  |  | Repeat last GPM and Head |  |  | 132 | 5 | 180 | 5
|  |  | values to completely fill out the table. |  |  | 132 | 5 | 180 | 5
Empty cells in the table will cause the
|  |  | graph to look odd. |  |  | Pump Brand: | Myers MW50 Series
[6 empty] | Pump Type: | 2" Sewage
Pump Curve:
[6 empty] | GPM | Head
[6 empty] | 20 | 24
[6 empty] | 40 | 23
[6 empty] | 60 | 21
[6 empty] | 80 | 17
[6 empty] | 120 | 13
[6 empty] | 120 | 13
[6 empty] | 120 | 13
[6 empty] | 120 | 13
[6 empty] | 120 | 13
[6 empty] | 120 | 13
[6 empty] | Pump Brand: | Goulds Pumps Model 3886 Order Number WS05B
[6 empty] | Pump Type: | 2" Sewage
Pump Curve:
[6 empty] | GPM | Head
[6 empty] | 50 | 20
[6 empty] | 90 | 15
[6 empty] | 122 | 10
[6 empty] | 155 | 5
[6 empty] | 155 | 5
[6 empty] | 155 | 5
[6 empty] | 155 | 5
[6 empty] | 155 | 5
[6 empty] | 155 | 5
[6 empty] | 155 | 5
Finished Back to the Buffer Design Sheet If you entered in your own pump curve data, you must now chose your pump from the pull down menu on the design page.

## Help
Milkhouse Buffer Design HELP SHEET | ver 10.08
Green Cells are user inputs
Warnings are shown in Column G, they are based on the standard and therefore-MUST BE CHANGED
NOTE THAT THIS BUFFER IS ONLY FOR GRASS, NOT A CROP
Wastewater Production Rate
This is limited to 500 gallons per day by standard. Use measured volumes if possible.
Allowable Soil Dosing Rate
These are rounded values from the Pennsylvania (PA) design guide. They are based on drainage class and depth.
They are conservative numbers. They are used to calculate an initial minimum buffer width.
Flow Depth:
Adjust flow depth (0.5" to 0.1" allowable range) to fit available area PA recommends 0.5" depth where it
will fit the site to encourage flow down the slope. The shallower the depth gets, the shorter the length
of buffer needed, but the width increases. The actual loading rate also decreases
(in terms of gallons per 1000 square feet) with decreased application depths.
Slope of the Buffer Area (ft/ft)
Enter the buffer area slope. The value needs to be between 0.02 (2%) and 0.15 (15%)
per standard. If multiple slopes are in the area, use the highest value in order to get the longest buffer.
Min/Max Delivery Rates
The Pennsylvania design guide recommends that the dosing tank be emptied in 5 to 20 minutes.
These max/min rates are flow rates that would accomplish emptying the tank in the 5-20 minute timeframe.
Minimum Buffer Length
This is based on the computed Mannings velocity for a wide strip, and a 20 minute contact time.
The 20 minute contact time is greater than the Pennsylvania minimum of 15 minutes, and is
taken from the old Wisconsin filter strip standard for 0.5" flow depth. Going to 20 minutes
is consistent with past practice here, and adds some conservativism to the design.
Minimum Buffer Width
This is computed based on the minimum buffer length, and 3 days minimum rest
The buffer length and width will need to be adjusted later to meet dosing rate and total
hydraulic load criteria in the standard. These minimums are just a place to start.
Distribution System Design
This design assumes there will be a forcemain between the dosing tank and the perforated
distribution lateral. The forcemain ends in a tee in the middle of the perforated distribution lateral
and half the flow from the forcemain goes in each direction in the lateral.
The length of the distribution lateral is the width of the buffer area, and is brought down automatically.
Forcemain and lateral pipes are assumed to be plastic with n = 0.009.
The velocity side calc shows the forcemain velocity at the discharge value selected from the pump
curve. If this velocity is close to or more than 5 feet per second, then the pipe size needs to be increased.
Orifice Sizes and Spacing
These are selections to be made by the designer
Orifice size should be a standard drill bit size between 1/2" and 1".
Orifice spacing should be between 2 and 6 feet to ensure full utilization of the buffer width.
Pump Curve
Pump Curves are published by pump manufacturers to show how much water a brand and model of
pump will move against various pressures (heads). As the head on a pump goes up (more pressure)
the amount of water the pump will pump goes down because it has to work harder to overcome the pressure.
Chose a pump from the drop down menu or you can enter in your own
starting with low flows and working your way up.
The goal of the design is to find a pump curve that intersects the system curve.
The "system curve" shows how much head (pressure) it takes to push several flow rates of water
through the sizes of pipes and holes that were chosen for the design. The more water that is pushed through a
certain size pipe, the more head (pressure) it takes to do it.
The pump will operate where the pump curve intersects the system curve.
Final System Design Summary
Two inputs are needed here to complete the design --
Actual dosing volume, which is the volume between the "pump on" and "pump off" float settings in the tank
Flow rate that the pump will operate at, which is the flow rate where the pump curve intersects the system
curve in the graph.
This summary area checks the design against the design criteria in the standard.
If any red error messages occur here, the design needs to be changed to get rid of them
or a variance should be obtained.
Many of the error messages/warnings include suggestions for changes in the design.