|  | Fermilab |  |
| --- | --- | --- |

MEMORANDUM OF UNDERSTANDING

Between the

MINOS Experiment and the Computing Division

April 2004

INTRODUCTION	3

I.	PERSONNEL AND INSTITUTIONS	3

II.	Fermilab Computing Division	3

III.	SPECIAL CONSIDERATIONS	4

IV.	SIGNATURES	5

V.	NETWORKING SUPPORT	6

VI.	OFFLINE COMPUTING	7

OVERVIEW	7

MINOS 5 YEAR RUN PLAN	8

EVENT RECONSTRUCTION AND STORAGE	10

MONTE CARLO GENERATION AND STORAGE	14

DATA HANDLING AND STORAGE	17

OFFLINE ANALYSIS	19

DATABASE	21

SUMMARY	22

# INTRODUCTION

This is a memorandum of understanding between the Fermi National Accelerator Laboratory Computing Division and the experimenters of MINOS (E-875). The memorandum is intended solely for the purpose of providing a budget estimate and a work allocation for Fermilab, the funding agencies and the participating institutions. It reflects an arrangement that currently is satisfactory to the parties; however, it is recognized and anticipated that changing circumstances of the evolving research program will necessitate revisions. The parties agree to negotiate amendments to this memorandum that will reflect such required adjustments.

# I.	PERSONNEL AND INSTITUTIONS

Co-spokesperson:		S. Wojcicki

Co-spokesperson:		D. Michael

Deputy Spokesperson:		D. Ayres

MINOS Project Manager:		G. Rameika

Relevant MINOS System Managers:

Offline Computing			J. Urheim, Indiana

Front-End Electronics			J. Thron, Argonne

(Institutions:  Harvard, Oxford, Argonne, Fermilab)

Trigger and DAQ System 		G. Pearce, RAL

(Institutions:  RAL)

Database				P. Border, Minnesota

(Institutions: Minnesota, IHEP-Protvino)

Detector Control System		M. Marshak, Minnesota

(Institutions:	Wisconsin, Minnesota)

PREP Electronics			E. Buckley-Geer

(Institutions:  Texas A&M, Fermilab)

Computing at Soudan Lab:		D. Saranen, J. Meier

(Institutions:  Soudan Mine/Minnesota)

# II.	Fermilab Computing Division

  - The Computing Division liaison is E. Buckley-Geer.

  - The off-line analysis plan in Section VI contains the experiment's present understanding of its offline needs for data storage, event reconstruction, data analysis and Monte Carlo generation.  The Computing Division cannot guarantee, at this time, that these resources can be made available. The Computing Division, guided by priorities set by management, will attempt to allocate on a quarterly basis, the available resources. The present request and amendments will be used in attempting to plan the laboratory's computing acquisition strategies.

  - A plan for NuMI Beam Monitoring DAQ system is currently being developed. MINOS will submit an amendment as Appendix VIII, as the design and plans are being finalized.

  - Cost Accounting FY04 and beyond: The Fermilab Computing will maintain tasks specific to the MINOS experiment, and all MINOS associated expenditures will be charged to those tasks.

# III.	SPECIAL CONSIDERATIONS

  - For the purpose of estimating budgets, specific products and vendors may be mentioned within this memorandum. At the time of purchasing, the Fermilab procurement policies shall apply. This may result in the purchase of different products and/or from different vendors.

  - The experiment co-spokespersons will undertake to ensure that no PREP and computing equipment will be transferred from the experiment to another use except with the approval of and through the mechanism provided by the Computing Division management. He/she also undertakes to ensure that no modifications of PREP equipment take place without the knowledge and consent of the Computing Division management.

  - Each institution will be responsible for maintaining and repairing both the electronics and the computing hardware supplied by them for the experiment. Any items for which the experiment requests that Fermilab performs maintenance and repair should appear explicitly in this agreement.

  - At the completion of the experiment: The co-spokespersons are responsible for the return of all PREP, equipment, Computing equipment and non-PREP data acquisition electronics. If the return is not completed after a period of one year after the end of running the co-spokespersons will be required to furnish, in writing, an explanation for any non-return.

# IV.	SIGNATURES

_________________________________

V. White, Head of Fermilab Computing Division

________________________________

S. Wojcicki, MINOS Co-spokesperson

________________________________

G. Rameika, MINOS Project Manager

# V.	NETWORKING SUPPORT

The Far detector LAN at Soudan and the Near detector LAN at Fermilab have been configured and installed by the Fermilab network group.

The strategy for the Soudan LAN support is to incorporate the operation and management into the Fermilab campus network support effort. The Fermilab policy that defines the campus network as a restricted central service (http://www.fnal.gov/cd/main/cpolicy.pdf) will be extended to include the local network at Soudan. From a practical perspective this will mean:

- The topology of the Soudan network will be specified by the Fermilab network group and modifications or changes made only in consultation with or at the direction of that group.

- All active network devices (switches, routers, hubs with manageable components) will be procured and installed under the direction of the Fermilab network group and will be managed remotely by that group.

- Basic network services (DNS, DHCP) will be provided on servers that will be supplied, installed and remotely managed by the Fermilab network group.

- Any maintenance on the LAN and its components should be scheduled in consultation with the experiment.

- During data-taking with beam there should be 24/7 coverage for resolution of problems at both Fermilab and Soudan.

- A liaison from the Fermilab network group should be provided at all times.

- Sufficient spares should be kept at Soudan so that delays are not incurred in resolving problems due to unavailability of spares.

The remote management of the Soudan LAN is predicated on having a simple, easily manageable architecture. This necessitates centralized network connections and a minimum number of active network devices. Unintelligent microhubs may be used to provide extra network connections in situations where all the local network jacks are in use. All active network devices, including unintelligent microhubs, will be of a type, make and model specified or approved by the Fermilab network group.

Network Configuration

At Soudan the network domain is minos-soudan.org (198.124). There are four pools of addresses

| DHCP pool | 191.124.212.0 with addresses from 1-199 and 202-253 |
| --- | --- |
| SERVER LAN | 198-124-213.0 with addresses from 1-29 |
| DCS LAN | 198.124.213.64 with addresses from 65-125 |
| DAQ LAN | 198.124.213.128 with addresses from 129-253 |

The Near Detector LAN will be subnet 131.225.192. There will be three pools of addresses

| DHCP pool | 131.225.192.192 with addresses from 193-221 |
| --- | --- |
| DCS LAN | 131.225.192.0 with addresses from 1-125 |
| DAQ LAN | 131.225.192.128 with addresses from 129-189 |

The DCS and DAQ LANs permit access to each other and reflexive replies to traffic that originated from within those LANs.  Login access to these LANs is allowed through a fully strengthened "gateway" connected to the SERVER LAN at Soudan and to the general site network at Fermilab. To support the kerberized access there is a satellite KDC installed at Soudan. This machine will be administered remotely by members of the Fermilab Computer Security team.

The LAN at the near detector will have fiber connected directly to the front-end electronics racks with media converters to avoid any possibility of ground loops.

We do not expect to have any special requirements for networking in FCC beyond what is generally available.

NTP server

We will run our own NTP server.

Our strategy is to synchronize computers to the PPS (pulse per second) signal derived from the local GPS at each site.  However, for monitoring purposes, we will pretend-synchronize to both a trusted timeserver on the web and to the other MINOS detector (near from far and far from near). Our modified NTP servers will not use this information to set the clock, but will make the offsets available to be written to the data stream This should allow us, if something unexpected happens in the data to be able to figure out what happened. It is therefore vital in that we are able to send NTP packets in both directions between Fermilab and Soudan and also that we can send packets to external time servers (but we will not be accepting unsolicited requests for time to be served, and will see any attempts). We will need to address the issue of NTP packets being sent to Soudan from Fermilab once we are closer to data taking at the Near detector.

# VI.	OFFLINE COMPUTING

## OVERVIEW

This section deals with the offline computing needs for the MINOS experiment. The offline needs can be broken into the following areas:

- Data Handling and Storage

- Offline Data Processing

- Monte Carlo Generation

- Offline Analysis

- Software

- Personnel resources

This document will address the resources required in each of the preceding areas. These resources include number of tapes, amount of CPU, disk space and number of people.

We would like as much as possible to integrate our computing resources into the existing FNALU/AFS/FARM architecture to reduce the support load. We expect to use SAM for data handling. We would like to deploy our analysis CPU as batch nodes within FNALU and continue to use the FNALU Linux machines for interactive development. We will continue to use AFS disk for user data and non-SAM. We would expect that our FARM needs would be met by augmenting the existing general purpose farm.

## MINOS 5 YEAR RUN PLAN

The experiment has presented a plan to the laboratory management for the number of protons on target per year (pot/year) we would like to receive. Based on this plan the experiment has a strawman run plan for the amount of low, medium and high energy beam that we would like. This is summarized in Table 1.

|  | Protons on target per year x 1020 |
| --- | --- |
| Year | Low Energy | Medium Energy | High Energy | Total |
| 2005 | 1.9 | 0.4 | 0.2 | 2.5 |
| 2006 | 4.0 | 0 | 0 | 4.0 |
| 2007 | 3.5 | 1.0 | 0.5 | 5.0 |
| 2008 | 5.6 | 0.6 | 0.3 | 6.5 |
| 2009 | 7.5 | 0 | 0 | 7.5 |

Table 1 MINOS 5 year run plan

This information is used to determine the data rate in the near detector, which is shown in Table 2. For the years 2005-2007 we assume that there is one spill every 1.9 seconds. For 2008-2009 we assume that there is one spill every second due to a reduction in the Main Injector cycle time but fewer protons per pulse.

|  | Events per spill |
| --- | --- |
| Year | POT x 1020 | Protons per pulse x 1013 | Low | Medium | High |
| 2005 | 2.5 | 2.5 | 25 | 63 | 125 |
| 2006 | 4 | 4 | 40 | 100 | 200 |
| 2007 | 5 | 5 | 50 | 125 | 250 |
| 2008 | 6.5 | 3.25 | 33 | 81 | 162 |
| 2009 | 7.5 | 3.75 | 38 | 94 | 188 |

Table 2 Expected number of events per spill for the MINOS run plan

The beam neutrino rate in the far detector has been neglected, as it is tiny compared to all other numbers. The rate from the far detector is dominated by 0.55 Hz of cosmic ray  interactions, which will be used both for calibration and for cosmic ray and atmospheric neutrino physics studies. The far detector also has about 6.5 Hz of noise triggers, which are small events and contribute to the raw data size but are eliminated after reconstruction. There are also pedestal runs, light injection etc which are listed in the “Other” category. The neutrino interaction rate for the near detector from Table 2 will vary depending on the actual beam being run but for the low energy beam will be from 12-25 Hz. About 40% of the events are produced in the calorimeter section and the remaining 60% in the spectrometer section, which is only read out every 5 planes and has 4-way multiplexing. The near detector DAQ system is capable of recording the full 250 Hz of cosmic rays  seen by the near detector but it is expected that we will record only a fraction of these calibration purposes, we have assumed 11 Hz, and this is reflected in the numbers in Table 3 and 4. The far detector assumes 3(107 seconds in one year (cosmic rays are always there) and the near detector assumes an effective year of 2(107 seconds for beam and 3(107 seconds for the cosmic rays. For simplicity we assume that 1Kbyte ( 1000 bytes.

| Sample | Rate/second (Hz) | Events/year | Raw Event Size (Kbytes) | Data Volume /year (GB) |
| --- | --- | --- | --- | --- |
| Cosmic ray  | 0.55 | 1.65(107 | 1.1 | 18 |
| Noise | 6.5 | 1.95 (108 | 0.2 | 39 |
| Other |  |  |  | 312 |
| Total |  |  |  | 369 |

Table 3 Event rates and raw data volumes for the Far detector

|  |  | Events per year ((108) |
| --- | --- | --- |
| Sample | Event Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| ν (calorimeter section) | 0.6 | 1.56 | 1.6 | 3.4 | 3.44 | 3.0 |
| ν (spectrometer section) | 0.03 | 2.34 | 2.4 | 5.1 | 5.2 | 4.5 |
| Cosmic Rays | 0.6 | 3.3 | 3.3 | 3.3 | 3.3 | 3.3 |
| Total |  | 7.2 | 7.3 | 11.8 | 11.9 | 10.8 |

Table 4 Event rates for the Near detector

|  |  | Raw Data Volume per year (GB) |
| --- | --- | --- |
| Sample | Event Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| ν (calorimeter section) | 0.6 | 94 | 96 | 204 | 206 | 180 |
| ν (spectrometer section) | 0.03 | 7 | 7 | 15 | 15 | 14 |
| Cosmic Rays | 0.6 | 198 | 198 | 198 | 198 | 198 |
| Total |  | 299 | 301 | 417 | 419 | 392 |

Table 5 Raw Data volumes for the Near detector

## EVENT RECONSTRUCTION AND STORAGE

The event reconstruction for both the Near and Far detectors will be done at Fermilab. A summary of the processing needs is given in Table 6 for steady state, which will keep up with the data taking, and in Table 7 for reprocessing. These numbers are based on the performance of the existing MINOS C++ reconstruction code. The Far detector numbers are taken from real data, the Near from Monte Carlo. The processing time per event will be given in GHz-seconds per event and the CPU requirements will be given in GHz. We have assumed that in the years 2004-2006 we will do 2 complete reprocessing passes of the data per year that will be completed in 3 months each. In 2007 and 2009 we assume 1 pass taking 6 months. The reprocessing numbers include processing for all the data taken up until that time. We assume a farm efficiency of 70%.  In the Near detector, due to the single-ended readout and the optical multiplexing, it is essentially impossible to reconstruct tracks that have their vertex in the spectrometer so we will ignore these events from the point of reconstruction – however they still occupy storage space.  We have also separated out the event rates for the target region only which corresponds to the events that will be used for the comparison between the near and far detector. This is a much smaller number of events, the target region corresponds to about 0.4% of the calorimeter section. This is the critical beam data for the neutrino oscillation measurement.

|  |  | GHz per year |
| --- | --- | --- |
|  | GHz-sec/event | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| ν (calorimeter section) | 10.7 |  | 80 | 82 | 173 | 175 | 153 |
| Cosmic Rays (Near) | 10/7 |  | 168 | 168 | 168 | 168 | 168 |
| Cosmic Rays (Far) | 16.3 | 13 | 13 | 13 | 13 | 13 | 13 |
| Total |  | 13 | 261 | 263 | 354 | 356 | 334 |

Table 6 Steady state event reconstruction needs for Near and Far detectors

|  | GHz per reconstruction pass |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2007 | 2009 |
| Pass Number | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 1 |
| (calorimeter section) |  |  | 53 | 238 | 372 | 563 | 495 | 1170 |
| Cosmic Rays (Near) |  |  | 112 | 504 | 785 | 1180 | 841 | 1510 |
| Cosmic Rays (Far) | 111 | 128 | 162 | 192 | 213 | 243 | 141 | 192 |
| Total | 111 | 128 | 327 | 934 | 1370 | 1986 | 1477 | 2872 |

Table 7 Reprocessing needs for Near and Far detectors

|  | CPU (GHz) |
| --- | --- |
|  | 2005 | 2006 | 2007 | 2008 | 2009 |
| Steady state | 0.29 | 29 | 62 | 63 | 55 |
| Pass Number | 1 | 2 | 1 | 2 | 1 |  | 1 |
| Reprocessing | 0.2 | 0.9 | 1.3 | 2 | 4 |  | 10.5 |

Table 8 Steady state processing and reprocessing for the Near detector target region

The raw data is fairly compressed but it expands after event reconstruction when we add the de-multiplexed hits, tracking information and calibration. The current expansion rate is a factor of 44. We need to study this to see if it can be reduced but we have used this number in the planning that follows. Tables 9 and 10 show the expected reconstructed data volumes for the near and far detectors. We currently write a file of Candidates, an Ntuple and a compressed Ntuple. These are included in the calculations. We have used the same event size for cosmic ray events. We have also assumed that full 11 Hz of cosmic rays are from the calorimeter section. Table 11 shows the data volume for the target region only.

|  |  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- | --- |
| Sample | Data type | Event Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| ν (calorimeter section) | Candidate | 29 | 4520 | 4640 | 9860 | 9980 | 8700 |
|  | Ntuple | 5.8 | 905 | 928 | 1970 | 2000 | 1740 |
|  | Comp. Ntuple | 0.8 | 125 | 128 | 272 | 275 | 240 |
| ν (spectrometer section) | Candidate | 1.4 | 328 | 336 | 714 | 722 | 630 |
|  | Ntuple | 0.3 | 70 | 72 | 153 | 155 | 135 |
|  | Comp. Ntuple | 0.04 | 9 | 10 | 20 | 20 | 18 |
| Cosmic Rays | Candidate | 29 | 9570 | 9570 | 9570 | 9570 | 9570 |
|  | Ntuple | 5.8 | 1910 | 1910 | 1910 | 1910 | 1910 |
|  | Comp. Ntuple | 0.8 | 264 | 264 | 264 | 264 | 264 |
| Total |  |  | 17700 | 17900 | 24700 | 24900 | 23200 |

Table 9 Reconstructed data volumes for the Near detector

| Sample | Data Type | Event Size (Kbytes) | Reconstructed Data volume per year (GB) |
| --- | --- | --- | --- |
| Cosmic Rays | Candidate | 44 | 726 |
|  | Ntuple | 9 | 149 |
|  | Comp. Ntuple | 1.3 | 22 |
| Total |  |  | 896 |

Table 10 Reconstructed data volumes for the Far detector

|  |  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- | --- |
| Sample | Data type | Event Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| ν (target region) | Candidate | 29 | 16 | 17 | 36 | 36 | 31 |
|  | Ntuple | 5.8 | 3.3 | 3.3 | 7.1 | 7.2 | 6.3 |
|  | Comp. Ntuple | 0.8 | 0.4 | 0.5 | 1.0 | 1.9 | 0.9 |
| Total |  |  | 19.7 | 20.8 | 44.1 | 45.1 | 38.2 |

Table 11 Reconstructed data volumes for the Near detector target region.

In Tables 12, 13 and 14 we show the additional data volumes generated by the reprocessed data.

|  |  | Reprocessed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2005 | 2006 | 2007 | 2009 |
|  | Pass | 1 | 2 | 1 | 2 | 1 | 1 |
| ν (calorimeter section) | Candidate | 756 | 3390 | 5300 | 8000 | 14100 | 33400 |
|  | Ntuple | 151 | 679 | 1060 | 1600 | 2820 | 6670 |
|  | Comp. Ntuple | 21 | 94 | 146 | 221 | 389 | 920 |
| ν (spectrometer section) | Candidate | 55 | 246 | 384 | 580 | 1020 | 2420 |
|  | Ntuple | 35 | 53 | 106 | 124 | 219 | 518 |
|  | Comp. Ntuple | 5 | 7 | 14 | 17 | 29 | 69 |
| Cosmic Rays | Candidate | 1603 | 7180 | 11200 | 16700 | 23900 | 43100 |
|  | Ntuple | 320 | 1440 | 2230 | 3350 | 4790 | 8610 |
|  | Comp. Ntuple | 44 | 198 | 308 | 462 | 660 | 1190 |

Table 12 Reprocessed data volumes for the Near detector

|  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2004 | 2005 | 2006 | 2007 | 2009 |
|  | Pass | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 1 |
| Cosmic Rays | Candidate | 1570 | 2000 | 2300 | 2720 | 3030 | 3450 | 3990 | 5450 |
|  | Ntuple | 322 | 408 | 470 | 557 | 619 | 705 | 817 | 1110 |
|  | Comp. Ntuple | 47 | 59 | 68 | 80 | 89 | 102 | 118 | 161 |

Table 13 Reprocessed data volumes for the Far detector

|  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2005 | 2006 | 2007 | 2009 |
|  | Pass | 1 | 2 | 1 | 2 | 1 | 1 |
| ν (target region) | Candidate | 3 | 12 | 2 | 29 | 51 | 120 |
|  | Ntuple | 0.5 | 2 | 4 | 6 | 10 | 24 |
|  | Comp. Ntuple | 0.08 | 0.3 | 0.5 | 0.8 | 1 | 3 |

Table 14 Reprocessed data volumes for the Near detector target region

## MONTE CARLO GENERATION AND STORAGE

There are two types of Monte Carlo required for MINOS, simulation of neutrino interactions in the detector for oscillation measurements/conventional neutrino physics and simulation of the neutrino beam to understand features of the beam such as beam profiles, flux etc. In both cases the requirements are not precisely known so the numbers here are based on assumptions. We assume here that we will generate the samples at Fermilab but the possibility may also exist to generate them at collaborating institutions and transfer them to Fermilab for storage.

Physics Monte Carlo

For studies of cosmic ray and atmospheric neutrino events in the Far detector we assume a factor of 10 more Monte Carlo than data, namely 1.65 (108 events. For the Near detector we have made a similar assumption but only considered the events produced in the calorimeter section. The execution time for the simulation is dominated by the event reconstruction time. The event size is larger due to storage of the “truth” information” for the event. The needs per year are summarized in Table 15.

|  | Year |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far detector Cosmic Rays |  |
| Events ((108) | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 |
| Raw Data (TB) (27 Kbytes/event) | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 |
| Candidates (TB) (70 Kbytes/event) | 12 | 12 | 12 | 12 | 12 | 12 |
| Ntuple (TB) (15 Kbytes/event) | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 |
| Comp. Ntuple (TB) (2 Kbytes/event) | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |
| CPU time/event (GHz-sec) | 18 | 18 | 18 | 18 | 18 | 18 |
| CPU for 2 months (GHz) | 816 | 816 | 816 | 816 | 816 | 816 |
| Far detector Beam |  |
| Events ((106) | 2 | 2 | 2 | 2 | 2 | 2 |
| Raw Data (GB) (27 Kbytes/event) | 54 | 54 | 54 | 54 | 54 | 54 |
| Candidates (GB) (70 Kbytes/event) | 140 | 140 | 140 | 140 | 140 | 140 |
| Ntuple (GB) (15 Kbytes/event) | 30 | 30 | 30 | 30 | 30 | 30 |
| Comp. Ntuple (GB) (2 Kbytes/event) | 4 | 4 | 4 | 4 | 4 | 4 |
| CPU time/event (GHz-sec) | 30 | 30 | 30 | 30 | 30 | 30 |
| CPU for 1 month (GHz) | 33 | 33 | 33 | 33 | 33 | 33 |
| Near detector Beam |  |
| Events ((109) |  | 1.56 | 1.6 | 3.4 | 3.44 | 3.0 |
| Raw Data (TB) (10 Kbytes/event) |  | 16 | 16 | 34 | 34 | 30 |
| Candidates (TB) (39 Kbytes/event) |  | 61 | 62 | 133 | 134 | 117 |
| Ntuple (TB) (8 Kbytes/event) |  | 12.5 | 12.8 | 27 | 27 | 24 |
| Comp. Ntuple (TB) (1 Kbytes/event) |  | 0.16 | 0.16 | 0.34 | 0.34 | 0.3 |
| CPU time/event (GHz-sec) |  | 14 | 14 | 14 | 14 | 14 |
| CPU for 6 months (GHz) |  | 2010 | 2060 | 4390 | 4440 | 3870 |
| Near detector Beam – target region only |  |  |  |  |  |  |
| Events ((106) |  | 5.6 | 5.8 | 12 | 12 | 11 |
| Raw Data (GB) (10 Kbytes/event) |  | 56 | 58 | 122 | 124 | 108 |
| Candidates (GB) (39 Kbytes/event) |  | 219 | 225 | 477 | 483 | 421 |
| Ntuple (GB) (8 Kbytes/event) |  | 45 | 46 | 98 | 99 | 86 |
| Comp. Ntuple (GB) (1 Kbytes/event) |  | 5.6 | 5.8 | 12 | 12 | 11 |
| CPU time/event (GHz-sec) |  | 14 | 14 | 14 | 14 | 14 |
| CPU for 2 months (GHz) |  | 22 | 22 | 47 | 48 | 42 |

Table 15 Physics Monte Carlo needs per year

This data will also need to be stored in the STKEN tape library. We plan to store all the target region data on disk and some fraction of the remainder.

We expect to reprocess the Monte Carlo data with the same frequency as the data. These requirements are shown in Table 16 for CPU and Table 17 for data volumes. The target region only is shown in Table 18 and 19.

|  | GHz per reconstruction pass |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2007 | 2009 |
| Pass Number | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 1 |
| Near Beam MC |  |  | 1000 | 4500 | 7030 | 10600 | 18700 | 44200 |
| Far Cosmic MC | 136 | 612 | 952 | 143 | 1770 | 2240 | 2860 | 4490 |
| Far Beam MC | 6 | 25 | 39 | 58 | 71 | 91 | 115 | 181 |
| Total | 142 | 637 | 1991 | 4701 | 8871 | 12931 | 21675 | 48871 |

Table 16 CPU for reprocessing for the Far and Near Monte Carlo

|  |  | Reconstructed Data Volume per year (TB) |
| --- | --- | --- |
| Sample |  | 2004 | 2005 | 2006 | 2007 | 2009 |
|  | Pass | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 1 |
| Far Cosmic MC | Candidate | 1.9 | 8.7 | 14 | 20 | 25 | 32 | 40 | 64 |
|  | Ntuple | 0.4 | 1.9 | 2.9 | 4.3 | 5.4 | 6.8 | 8.7 | 14 |
|  | Comp. Ntuple | 0.05 | 0.2 | 0.4 | 0.6 | 0.7 | 0.9 | 1.2 | 1.8 |
| Far Beam MC | Candidate | 0.02 | 0.1 | 0.2 | 0.2 | 0.3 | 0.4 | 0.5 | 0.8 |
|  | Ntuple | 0.002 | 0.02 | 0.04 | 0.05 | 0.07 | 0.08 | 0.1 | 0.17 |
|  | Comp. Ntuple | 0.0007 | 0.003 | 0.005 | 0.007 | 0.009 | 0.01 | 0.01 | 0.02 |
| Near Beam MC | Candidate |  |  | 10 | 46 | 71 | 108 | 190 | 449 |
|  | Ntuple |  |  | 2 | 9 | 15 | 21 | 39 | 92 |
|  | Comp. Ntuple |  |  | 0.3 | 1.2 | 1.8 | 2.7 | 4.9 | 11.5 |

Table 17 Reprocessed data volumes for the Far and Near Monte Carlo

|  | GHz per reconstruction pass |
| --- | --- |
|  | 2005 | 2006 | 2007 | 2009 |
| Pass Number | 1 | 2 | 1 | 2 | 1 | 1 |
| Target region | 3.9 | 17 | 27 | 41 | 72 | 171 |

Table 18 CPU for reprocessing for the Near detector target Monte Carlo

|  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2005 | 2006 | 2007 | 2009 |
|  | Pass | 1 | 2 | 1 | 2 | 1 | 1 |
| Near Target MC | Candidate | 37 | 164 | 257 | 388 | 682 | 1610 |
|  | Ntuple | 7.5 | 34 | 53 | 80 | 140 | 331 |
|  | Comp. Ntuple | 0.9 | 4 | 7 | 10 | 18 | 41 |

Table 19 Reprocessed data volumes for the Near Target Monte Carlo

Beam Monte Carlo

Currently a single run takes about 2.4(105 GHz-seconds to obtain sufficient statistics. The data volume produced per run is about 240 Mbytes. It is expected that a factor of 10 times longer runs will be needed for the physics analysis and that a few hundred of these runs will be required.   We currently assume that the runs are generated over the course of a year. The needs are summarized in Table 20.

| GHz-sec/run | 2.4(106 |
| --- | --- |
| Runs/year | 200 |
| GHz/year | 15 |
| Storage/year | 480 GB |

Table 20 Beam Monte Carlo needs per year

## DATA HANDLING AND STORAGE

In calculating the total amount of data that must be stored we assume that recycling of storage occupied by older reprocessing passes will be carried out.

Table 21 summarizes the total data and Monte Carlo volumes per year including reprocessing and allowing for recycling.

|  |  | Volume per year (TB) |
| --- | --- | --- |
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far detector Cosmics | Candidate | 2.8 | 3.6 | 4.3 | 1.8 | 0.7 | 1.8 |
|  | Ntuple | 0.6 | 0.7 | 0.9 | 0.4 | 0.15 | 0.4 |
|  | Comp. Ntuple | 0.08 | 0.1 | 0.1 | 0.5 | 0.2 | 0.5 |
| Near detector Cosmics | Candidate |  | 18 | 28 | 14 | 10 | 24 |
|  | Ntuple |  | 4 | 6 | 3 | 2 | 5 |
|  | Comp. Ntuple |  | 0.5 | 0.8 | 0.4 | 0.3 | 0.7 |
| Near detector beam | Candidate |  | 9 | 14 | 16 | 11 | 25 |
|  | Ntuple |  | 2 | 3 | 3 | 2 | 5 |
|  | Comp. Ntuple |  | 0.3 | 0.4 | 0.4 | 0.3 | 0.7 |
| Near detector target | Candidate |  | 0.03 | 0.05 | 0.05 | 0.04 | 0.09 |
|  | Ntuple |  | 0.006 | 0.01 | 0.01 | 0.007 | 0.02 |
|  | Comp. Ntuple |  | 0.0008 | 0.001 | 0.001 | 0.0009 | 0.002 |
| Far detector Cosmic MC | Candidate | 22 | 34 | 45 | 29 | 12 | 29 |
|  | Ntuple | 5 | 7 | 10 | 6 | 2 | 6 |
|  | Comp. Ntuple | 0.6 | 1 | 1 | 0.8 | 0.3 | 0.8 |
| Far detector beam MC | Candidate |  | 0.3 | 0.4 | 0.2 | 0.1 | 0.4 |
|  | Ntuple |  | 0.06 | 0.09 | 0.05 | 0.03 | 0.08 |
|  | Comp. Ntuple |  | 0.008 | 0.01 | 0.006 | 0.004 | 0.01 |
| Near detector beam MC | Candidate |  | 117 | 181 | 199 | 134 | 317 |
|  | Ntuple |  | 24 | 37 | 41 | 28 | 65 |
|  | Comp. Ntuple |  | 3 | 5 | 5 | 3 | 8 |
| Near detector target MC | Candidate |  | 0.4 | 0.7 | 0.7 | 0.5 | 1 |
|  | Ntuple |  | 0.09 | 0.1 | 0.1 | 0.1 | 0.2 |
|  | Comp. Ntuple |  | 0.01 | 0.02 | 0.02 | 0.01 | 0.03 |
| Total |  | 31 | 225 | 338 | 317 | 207 | 490 |

Table 21 Integrated data and Monte Carlo volumes per year

All data will be stored in the STKEN tape robot. The ntuple-level data for the Far detector cosmics and Near detector beam will be stored permanently on disk, about 3-4 TB per year.  All the data  for the Far detector beam Monte Carlo and the Near detector target beam Monte Carlo will also be kept on disk as it is small, about 1 TB per year. We would plan for DCache disk to stage about 20% of the remaining data at any one time, between 60-100  TB per year.

The default mode of operation is to record data on disk locally at the detectors and transfer it over the network to Fermilab/FCC (Feynman Computing Center) into DCache for archiving to tape. We will probably also desire to make several copies of the raw data as the volume is small and tapes are large, meaning a tape failure could result in significant data loss. We are  using Enstore to do the tape archiving.

## OFFLINE ANALYSIS

We plan to perform physics analysis of the data at Fermilab as well as at other MINOS collaborating institutions. This area of the needs is the most uncertain. We have made some assumptions that we outline here. We assume that there will be of order 30 users doing analysis on a central MINOS facility located at FNAL. Most analyses will proceed from the Ntuples. We assume that most users are using the Ntuples produced on the farm but that a few, of order five might need to produce their own Ntuples from the Candidate files.

Ntuple analysis

We assume 30 users and each makes 6 passes per year through the Ntuples to create a custom ntuple. It typically takes 0.0004 GHz-seconds/event to produce an Ntuple record using the standard production Ntuples as input. We assume that a user should be able to produce a custom Ntuple from the Far detector data in one day and from the Monte Carlo in one week. We assume that one pass always includes all the data from previous years. For the Near detector we assume that users take 1 month to create a compressed Ntuple from the data and the Monte Carlo. For the data we include making Ntuple from the Calorimeter section only.

|  | CPU in GHz |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 14 | 28 | 41 | 55 | 69 | 83 |
| Monte Carlo | 19 | 39 | 59 | 79 | 98 | 118 |

Table 22 Analysis CPU for the Far detector, Ntuple processing.

|  | CPU in GHz |
| --- | --- |
| Year | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 19 | 38 | 78 | 119 | 155 |
| Monte Carlo | 45 | 91 | 189 | 288 | 374 |

Table 23 Analysis CPU for the Near detector, Ntuple processing.

Candidate analysis

We assume 5 users each making 2 passes per year through the Candidate data to create Ntuples. It takes 0.4 GHz-seconds/event to create an Ntuple. We assume for both detectors that this task is accomplished in 1 month for the data and 3 months for the Monte Carlo.

|  | CPU in GHz |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 26 | 53 | 79 | 106 | 132 | 158 |
| Monte Carlo | 88 | 176 | 264 | 352 | 440 | 528 |

Table 24 Analysis CPU for the Far detector, Ntuple creation from Candidates.

|  | CPU in GHz |
| --- | --- |
| Year | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 250 | 506 | 1050 | 1600 | 2080 |
| Monte Carlo | 1080 | 2190 | 4550 | 6930 | 9010 |

Table 25 Analysis CPU for the Near detector, Ntuple creation from Candidates.

|  | CPU in GHz |
| --- | --- |
| Year | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 4 | 4 | 8 | 8 | 7 |
| Monte Carlo | 9 | 9 | 20 | 20 | 17 |

Table 25 Analysis CPU for the Near detector target region, Ntuple creation from Candidates.

In Table 26 we summarize the storage required for user Ntuples. We have assumed that on average 1.5 passes will be stored.

|  | Data storage (TB) |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far |  |
| Data | 0.3 | 0.6 | 0.9 | 1.2 | 1.6 | 1.9 |
| Monte Carlo | 4.0 | 8 | 12 | 16 | 20 | 24 |
| Near |  |
| Data |  | 2 | 5 | 10 | 15 | 20 |
| Monte Carlo |  | 26 | 52 | 108 | 165 | 215 |
| Near Target |  |
| Data |  | 0.008 | 0.008 | 0.02 | 0.02 | 0.02 |
| Monte Carlo |  | 0.09 | 0.10 | 0.2 | 0.2 | 0.2 |

Table 26 Storage required for user generated Ntuples.

Tape storage would be provided for all the user Ntuples. We would expect to be able to store all the data Ntuples for users on disk and some fraction of the Monte Carlo, probably about 20%.

## DATABASE

The database warehouse will be kept in Oracle and will reside on a SUN Linux system. We will also need a development machine. We plan to have Linux MySQL servers at Soudan and as replicas for the offline analysis and the production farm. They will also be used at collaborating institutions. We will require access to some fraction of the Oracle client licenses, the number will be minimized by the use of the MySQL replicas.  The size of the database is expected to be about 500 GB over 5 years

## SUMMARY

| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- | --- |
| Tape (TB) | 36 | 290 | 400 | 460 | 400 | 750 |
| Disk (Ntuples) (TB) | 6 | 4 | 4 | 4 | 3 | 6 |
| Disk (User Ntuples) (TB) | 0.3 | 3 | 6 | 11 | 17 | 21 |
| Disk (DCache) (TB) | 6 | 42 | 66 | 63 | 40 | 96 |
| Disk (User Ntuples – DCache) (TB) | 0.8 | 7 | 13 | 25 | 37 | 48 |
| CPU, Reco steady state (GHz) | 13 | 260 | 260 | 350 | 360 | 330 |
| CPU, Reco reproc (GHz) | 140 | 930 | 2000 | 1500 |  | 2900 |
| CPU, MC (GHz) | 850 | 2900 | 2900 | 5200 | 5300 | 4700 |
| CPU, MC reproc (GHz) | 3500 | 6000 | 13000 | 22000 |  | 49000 |
| CPU, analysis (GHz) | 148 | 1440 | 2800 | 5400 | 8000 | 10400 |
| CPU Speed (GHz) | 3.6 | 4.8 | 6 | 7.2 | 9.6 | 12 |
| Duals, Reco steady state | 2 | 27 | 22 | 25 | 19 | 14 |
| Duals, Reco reproc | 20 | 97 | 165 | 103 |  | 120 |
| Duals, MC | 118 | 300 | 243 | 363 | 275 | 197 |
| Duals MC reproc | 482 | 623 | 1080 | 1500 |  | 2037 |
| Duals, analysis | 20 | 150 | 230 | 375 | 420 | 435 |

Table 27  MINOS needs for tape, disk and CPU for 6 years of data taking.

Table XX shows the costs associated with the needs in Table IXX. The following assumptions have been made. A dual CPU farm node costs $2200 independent of CPU speed. A 4 TB file server currently costs $14,400. We will assume that the cost remains roughly the same but the capacity increases by a factor of 1.6 each year. We assume that in 2004 the tape cartridge size is 200 GB and costs $75. In 2005 and beyond we assume that the capacity is 400 GB and costs the same.

| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- | --- |
| Tape | 13400 | 55200 | 77300 | 86700 | 77400 | 143000 |
| Disk (Ntuples) | 22000 | 9400 | 6000 | 3600 | 1600 | 1800 |
| Disk (DCache) | 22000 | 96000 | 93000 | 57000 | 24000 | 29000 |
| Disk (User Ntuples) | 1110 | 6800 | 7900 | 10000 | 10000 | 6400 |
| Disk (User Ntuples – DCache) | 2800 | 16000 | 18000 | 22000 | 22000 | 14000 |
| Duals Reco steady state | 3900 | 60000 | 48000 | 54000 | 41000 | 31000 |
| Duals Reco reproc | 43000 | 214000 | 363000 | 226000 |  | 264000 |
| Duals MC | 260000 | 660000 | 534000 | 534000 | 606000 | 433000 |
| Duals MC reproc | 1060000 | 1400000 | 2400000 | 33000000 |  | 4500000 |
| Duals, analysis | 45000 | 330000 | 500000 | 830000 | 930000 | 960000 |
| Total | 1470000 | 2800000 | 4000000 | 5100000 | 1700000 | 6400000 |

Table 28 MINOS costs in $ for 6 years of data taking

# Comments

Need this plan