96E03/29/06

S251-96E.doc

Use on projects as appropriate. Also include SCR for Subsection 705.02.

Section 251. - RIPRAP

Delete the text of this section and substitute the following:

Description

251.01  This work consists of furnishing and placing riprap for bank protection, slope protection, drainage structures, and erosion control.

Riprap classes are designated as shown in Table 705-1.

Material

251.02  Conform to the following Subsections:

Geotextile type IV	714.01

Grout	725.22(e)

Riprap rock	705.02

Construction Requirements

251.03  General.  Perform the work under Section 209.  Dress the slope to produce a smooth surface.  If earthwork geotextile is required, place according to Section 207.

251.04  Placed Riprap.  Placed riprap is rock placed on a prepared surface to form a well-graded mass.

Place riprap to its full thickness in one operation to avoid displacing the underlying material.  Do not place riprap material by methods that cause segregation or damage to the prepared surface.  Place or rearrange individual rocks by mechanical or hand methods to obtain a dense uniform blanket with a reasonably smooth surface.

251.05  Keyed Riprap.  Keyed riprap is rock placed on a prepared surface and set into place by impact pressure.

Place rock for keyed riprap according to Subsection 251.04.  Set the riprap into place by exerting impact pressure with a hydraulic powered bucket or an approximately 4000 pounds flat-faced mass.  Repeated impacts should be made until the rock is firmly seated and forms a reasonably uniform surface, without reducing the effective sizes of the rocks.  Do not use impact pressure on riprap below the water surface.

251.06  Grouted Riprap.  Grouted riprap is rock placed or keyed on a prepared surface and with the voids filled with grout.

Place rock for grouted riprap according to Section 251.04 or 251.05.  Thoroughly moisten the rocks and wash excess fines from the riprap or to the undersides of the riprap.  Place grout only when the air temperature is no less than 34°F within the near-surface voids of the riprap.  Also, place grout only when the air temperature 12 inches above the riprap surface is above 35°F.  Place the grout in a manner to prevent segregation.  Begin placing grout at the lowest elevation of the riprap.  Fill all voids without unseating the rocks.  Do not exceed 5 foot thickness for each layer of grouted riprap.  Allow 3 days curing time before adding the next layer of riprap and grout.  Provide weep holes through the grouted riprap as required.  Keep the grouted riprap moist for 3 days after the work is completed and protect it from freezing for a minimum of 7 days after grouting.

251.07  Acceptance.  Rock for riprap will be evaluated under Subsections 106.02 and 106.03.

Rock placement for riprap will be evaluated under Subsections 106.02 and 106.04.

Structure excavation and backfill will be evaluated under Section 209.

Geotextile will be evaluated under Section 207.

Material for grout will be evaluated under Subsections 106.02 and 106.03.  Grout will be evaluated under Subsections 106.02 and 106.04.  Grout placement will be evaluated under Subsection 106.02.  See Table 251-1 for minimum sampling and testing requirements.

Measurement

251.08  Measure riprap by the ton or by the cubic yard in place.

Payment

251.09  The accepted quantities, measured as provided above, will be paid at the contract price per unit of measurement for the pay items listed below that are shown in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Payment will be made under:

Pay Item	Pay Unit

25101	Placed riprap class______ 	Cubic yard

25102	Placed riprap class______ 	Ton

25103	Keyed riprap class______ 	Cubic yard

25104	Keyed riprap class______ 	Ton

25105	Grouted riprap class_____ 	Cubic yard

Table 251-1

Sampling and Testing

| Material or Product | Property or Characteristic | Test Methods or Specifications | Frequency | Sampling Point |
| --- | --- | --- | --- | --- |
| Grout | Making test specimens compressive strength (2) | AASHTO T 23 AASHTO T 22 | 1 sample per installation (1) | Job site |

(1) Sample consists of 2 test specimens.

(2) The compressive strength will be the average of two test specimens.