Personnel Safety System (PSS)

- Call a BioCAT staff member or the APS Floor Coordinator for any problem with the hutch interlock system.

- ONLY ONE PERSON AT A TIME may operate the PSS systems.  The user taking responsibility for a search and secure of the station must follow all steps to completion.

Visitor Safety

- Visitors who have not had APS User Orientation must be escorted whenever they are in hazardous areas such as chemical laboratories or radiologically controlled areas.

- All visitors must wear a visitor dosimeter or be part of a tour with a group dosimeter.

Hazardous Materials

- Under no circumstances may you transport a nonexempt hazardous material to the APS in your own car.  To have a hazardous material shipped to BioCAT:

Inform BioCAT staff of shipment.

Address package to:

Recipient’s name

BioCAT, APS Sector-18

c/o Building 5, HazMat Receiving

9700 South Cass Avenue

Argonne, IL  60439

Please contact your Safety Officer for

assistance with proper shipping methods.

- If you are working with hazardous materials, a staff contact will be assigned to your experiment.

- Dry Shippers, not containing hazardous materials, are now authorized for transport to and from the APS. (reference: http://www.aps.anl.gov/xfd/tech/TB14www/TUDbaseframe.html and see TUD-25)

Local Phone Numbers

BioCATAdmin: 	(630) 252-0549

18-ID-D:	(630) 252-1818

BIOCAT FAX:	(630) 252-0545

Chemistry Lab:	(630) 252-0559

Electronics Lab: 		(630) 252-0543

APS User Office: 		(630) 252-9090

APS User Office fax:		(630) 252-9250

APS Floor Coordinator on duty:      2-0101

Useful Information

Storage Ring Status

http://www.aps.anl.gov/xfd/blops/SRstatus.html

APS Long Range Schedule

http://www.aps.anl.gov/xfd/calendar/2000.longrange.html

ANL Guest House

http://www.aps.anl.gov/travel/anlghhome.html

Reservations: (800) 632-8990 or

(630) 739-6000, Fax: (630) 739-1000

- E-mail : argonne-guest-house@anl.gov

- Mention that you are a BioCAT user and get a preferred  rate

BioCAT

Web site: http://www.bio.aps.anl.gov

E-mail should be addressed to:

(general inquiries)

krolik@bio.aps.anl.gov

BioCAT USER SAFETY TRAINING

Advanced Photon Source

Argonne National Laboratory

Sector 18

Oct. 2000

SAFETY AT THE APS

BioCAT staff members and users of BIOCAT facilities at the APS are individually responsible for both their own safety and that of colleagues affected by their actions.

Safety Personnel

The following people are your safety contacts while you are at APS:

Sector 18 Safety Officer & Bio-Safety Coordinator:

Bob Fischetti (630) 252-0541 fisch@bio.aps.anl.gov

BIOCAT Safety Coordinator:

Tom Irving (312) 567-3489

irving@biocat1.iit.edu

Chemical Safety Coordinator:

Darold Perry (630) 252-3217 perry@bio.aps.anl.gov

APS Floor Coordinator:

Frank Bellinger

(630) 252-0500, Beeper 4--0500

Nena Velamarampil

(630) 252-0501, Beeper 4--0501

Shift Coordinator on Duty

Beeper 4--0101

Location of Safety Equipment

- Fire Extinguishers: Base of Aisle Column nearest 18-ID control console

- Shower/Eye Wash: Chemistry Lab

- Safety Glasses/PPE: Chemistry Lab

Location of Safety Documentation:

- BIOCAT Safety Plan: BioCAT LOM

- MSDS Sheets: Outside Chemistry Lab Door & Yellow Board

- Experiment Safety Protocols: Located on Safety Information Board on station door

IN ANY EMERGENCY

CALL 911

Site Alarms

•	Loud Steady Ringing of Fire Alarm Bells

Immediately leave the building, exit outside.

•	Tornado or Severe Weather Siren

Go to the tornado shelter immediately.

(Restrooms or Machine Shop, if open)

•	Steady Tone & Special Notification

Follow loud speaker directions.

Beamline Safety

APS Shielding Configuration Policy

- Do not remove or modify any orange or yellow-tagged lead for any reason.

- No station wall modifications permitted.

Electrical Safety

- Sector 18 circuit breakers are located along the main aisle. Hutch and laser disconnects are located outside each hutch.

Radioactive Check Sources

- Not applicable at this time.

Radiation Survey Meters

- Located in Sector 18 LOM for use at any time.  Contact a staff member.

Water Manifolds

- Water flow problems will trip the Equipment Protection System (EPS).  Contact a staff member immediately.

Compressed Gases

- Compressed gases are provided in each station.  Contact staff if no user gas flow.

Gas Storage Cage

- Located outside, next to Truck Lock. Full cylinders in Sector 18 cage.  Return empty cylinders to the empty cylinder cage.

Liquid Nitrogen (LN2)

- BioCAT staff will fill & service cryostats.

Ladders

- In using a ladder, do not go above the recommended step or above 6 feet without proper harnessing.

Roof Access

- Please notify a staff member if you need to access the roof.  Users are not generally allowed roof access.

General Housekeeping

- Keep the station tidy and egress aisles clear.

- Only drinks are allowed on the APS Experimental Floor.

- No food allowed on APS Experimental Floor.

- Sample mounting tables must be cleared and cleaned once a day.

Lab Safety

Chemistry Lab

- Users may use hood, lab tables or counter tops in Chemistry Lab.  MSDS sheets for all chemicals used must be available.

- Be aware of Hazardous Waste Procedures.

- Use sharps container, gloves and eyewear when required.

- Keep roll-up lab doors closed except when

in use.