03E03/29/06

S255-03E.doc

Use on all projects where Mechanically stabilized retaining walls are specified.

Section 255. - MECHANICALLY STABILIZED EARTH WALLS

Delete the text of this section and substitute the following:

Description

255.01  This work consists of designing, furnishing, and constructing mechanically stabilized earth (MSE) walls with steel (mesh or strip) or geogrid reinforcement according to the details shown on the plans.

# Materials

255.02  Conform to the following Section and Subsections:

Concrete leveling pad	601

Foundation fill	704.01

Select wall backfill	704.13(a)

Wall backfill	704.13(b)

Wall facing fill	704.13(c)

Plastic pipe	706.08(d)

Geotextile	714.01

Geocomposite sheet drain	714.02(b)

Mechanically stabilized earth wall material	720.01

# Construction Requirements

255.03  General.  Survey MSE wall locations according to Section 152 to acquire existing terrain data.  Prepare and submit preliminary installation drawings for MSE walls according to Subsection 104.03.  Drawings will include existing terrain cross-sections and elevations of MSE walls.  Do not prepare design drawings for MSE walls or disturb the existing ground at wall locations until existing terrain data has been acquired, incorporated into the preliminary drawings, and the CO has approved the drawings.  Once the CO has approved preliminary drawings, submit design drawings according to Subsection 255.03(a).

Perform the work under Section 209.  Grade the foundation to a width equal to the length of reinforcing mesh or strips plus 20 inches.  Bedrock and boulder excavation to obtain the necessary base width may be required.  Excavate using equipment capable of removing the material while preventing material escape outside the construction limits.  Excavate any loose, soft, or otherwise unsuitable material present at foundation grade and replace with foundation fill in horizontal layers that when compacted do not exceed 6 inches in depth.  Compact the MSE wall foundation according to Subsection 204.11.

For concrete-faced walls, provide a precast reinforced or nonreinforced cast-in-place concrete leveling pad according to Section 601.  Cure cast-in-place leveling pads a minimum of 12 hours before placing wall facing.

(a) Design of MSE Walls.  Using the approved preliminary drawings, design all MSE wall components for a 75-year design service life according to the requirements of AASHTO Standard Specifications for Highway Bridges current at time of contract award and FHWA publication No. FHWA-NHI-00-043, “Mechanically Stabilized Earth Walls and Reinforced Soil Slopes Design and Construction Guidelines” (2001).  Other design methods will not be allowed.  Design the MSE walls for:

(1) External stability including: sliding, overturning, bearing capacity, and eccentricity.

(2) Internal stability including: tensile stresses, pullout, facing connection, and sliding along reinforcement.

(3) Local stability including: bulging and maximum unreinforced height.

(4) Design the MSE wall to account for dead and live loads, seismic loads, horizontal loads from guardrails or barriers, hydrostatic loads, and other loads as appropriate.

(5) Design the MSE wall such that the toe is at a depth that no scouring or undermining will occur.

Use Table 255-1 for required factors of safety per AASHTO for MSE wall stability design:

Table 255-1

Required Factors of Safety

| External Stability | Static | Seismic (A > 0.09g) |
| --- | --- | --- |
| Base Sliding | 1.5 | 1.1 |
| Overturning | 2.0 | 1.5 |
| Bearing Capacity | 2.5 | 1.5 |
| Eccentricity | e < L/6 | e < L/3 |
| Internal Stability | Static | Seismic (A > 0.09g) |
| Tensile Stress: Steel Mesh (wire-faced walls) Steel Mesh (concrete-faced walls) Steel Strips Geogrids | 0.55Fy 0.48Fy 0.55Fy 1.5 | 0.73Fy 0.64Fy 0.73Fy 1.1 |
| Pullout | 1.5 | 1.1 |
| Facing Connection (for concrete-faced walls) | 1.5 | 1.1 |
| Internal Sliding | 1.5 | 1.1 |
| A: Acceleration coefficient, e: Eccentricity, L: Reinforcement length, Fy: Yield strength of steel |

Table 255-2 lists available geotechnical report(s).  General soil, rock strata descriptions, and indicated boundaries are based on engineering judgment and interpretation of available subsurface information, and may not reflect actual variation in subsurface conditions between borings and samples.  The information has been prepared and is intended for Government design purposes.  It is listed here for the purpose of providing intended users with access to the same information available to the Government.

Table 255-2

Available Geotechnical Reports

| Title | Author | Date |
| --- | --- | --- |

Use soil parameters shown in Table 255-3 for the internal, external, and local stability of the MSE retaining walls:

Table 255-3

Soil Design Parameters

| Material | Friction Angle (degrees) | Cohesion (psf) | Unit Weight (pcf) |
| --- | --- | --- | --- |
| Select Backfill | 34 | 0 | 125 |
| Wall Backfill | 30 | 0 | 120 |
| Foundation Soil | 30 | 0 | 120 |

Use permanent retaining wall systems that have previously been successfully designed and constructed for a public highway agency in the United States, and that have performed in an acceptable manner.  The following wire-faced retaining wall systems have been previously constructed on CFLHD projects.  For all wire-faced wall systems, submit the required information listed in Subsection 255.03(b).  For wire-faced systems not listed below and all concrete-faced wall systems, submit the required information listed in Subsections 255.03(b) and 255.03(c).

Hilfiker Retaining Wall

3900 Broadway

P.O. Box 2012, #E

Eureka, CA  95503

(800) 762-8962

SSL Retaining Walls

4740 Scotts Valley Dr.

Scotts Valley, CA  95066

(831) 430-9300

The Reinforced Earth Company

8614 Westwood Center Drive

Suite 1100

Vienna, VA  22182-2233

(703) 821-1175

Tensar Earth Technologies, Inc.

5883 Glenridge Dr., Suite 200

Atlanta, GA  30328

(800) 292-4459

T & B Structural Systems, Inc.

637 West Hurst Blvd.

Hurst, TX  76053

817-280-9858

(b) Design Submittal.  Submit four (4) sets of drawings and supporting calculations according to Subsection 104.03.  One set will be returned with any comments and requests for revisions or additional information.  Allow 28 calendar days after received by the CO for review and acceptance of the submittal.  If revisions are required, make corrections and resubmit four (4) revised sets.  If the drawings and calculations must be resubmitted, the time for review and acceptance starts over.  Upon acceptance, furnish five (5) complete sets of the submittal to the CO.  Do not order materials for MSE retaining walls before the CO approves the submittal.

To avoid having submittals returned with a request for more information, submittals should be organized in such a way to facilitate review for conformance with design standards and evaluation of design cases and loads.  Include the following minimum information with the MSE wall submittals:

(1) Design calculations and information:

(a) Design calculations including an index page to the calculations.  Submit design calculations on sheets approximately 8.5 by 11 inches in size with the project number, wall location, date of preparation, initials of designer and checker, and page number at the top of the page.

(b) Highway Innovative Technology Evaluation Center evaluation report (not required for wire-faced wall systems).  Contact the following for copies of HITEC evaluation reports.

Highway Innovative Technology

Evaluation Center (HITEC)

1015 15th Street NW, Suite 600

Washington, DC  20005-2605

Phone:  202-842-0555

Fax:  202-789-5345

E-mail:  hitec@cerf.org

(c) Design notes including an explanation of any symbols and computer programs used in the wall design.

(d) Summary of soil parameters, loading conditions considered, and factors of safety, including all partial reduction factors, if any.

(e) Summary of wall reinforcing elements used and their design properties.

(f) Demonstrate the compatibility of the effective aperture (the average opening created between the facing mat and backing mat) with the specified MSE wall facing fill.

(g) Provide a design analysis for each possible design situation.

(h) Specify the applied bearing pressure at wall foundation.

(i) Include one set of hand calculations for each unique design analysis if computer analysis other than MSEW per FHWA publication No. FHWA-NHI-00-043 is used.

(j) Special details, cross-sections, and quantities.

(k) A well-documented field construction manual describing in detail and with illustrations where necessary, the step-by-step construction process.

(2) Drawings:

(a) Submit design drawings on sheets approximately 11 by 17 inches in size with the project number, wall location, date of preparation, initials of designer, checker, and page number.

(b) A plan view of the wall identifying:

(1) Offset from the construction centerline to the face of the wall at its top and base at all changes in horizontal alignment.

(2) Limit of widest reinforcement.

(3) Centerline of any drainage structure or drainage pipes behind, passing through, or passing under the wall.

(4) Horizontal and vertical curve data affecting the wall.  Match lines or other details to relate wall stationing to centerline stationing.

(c) An elevation view of the wall identifying:

(1) Elevation at the top of the wall, at all horizontal and vertical breaks, and at least every 15.0 feet along the wall.

(2) Elevations at the wall base or top of leveling pads.

(3) Distance along the face of the wall to all steps in the wall base or leveling pads.

(4) Length and type of reinforcement elements.

(5) Distance along the face of the wall to changes in the length of the reinforcement.

(6) Existing and final ground line along wall layout line.

(7) Existing ground line at a horizontal distance equal to the bench width away from the bottom of the wall.  Refer to the MSE wall detail sheet.

(8) Listing of the summary of quantities.

(d) General notes for construction of wall.

(e) Wall Details:

(1) Typical section of wall.

(2) Wall batter.

(3) Details for constructing walls around drainage facilities entering, exiting, and within MSE wall envelope.

(4) Details for guardrail posts punching through the upper reinforcement layers.

(5) Details for terminating walls and adjacent slope construction.

(c) Supplemental Design Submittal.  Submit the following additional information for wire-faced systems not listed at the end of Subsection 255.03(a) and all concrete-faced wall systems.

(1) Examples of successful projects (design, construction, and in-service performance with a public agency).

(2) Name, address, and telephone number of agency contact.

(3) Narrative descriptions and photos of example projects.

(4) Limitations and constraints of the system.

(5) Details of wall elements (procedures for field and laboratory evaluation including instrumentation and special requirements, if any).

(6) Material samples of reinforcing elements and connection devices.

(7) Construction control specifications showing material type, certifications, field-testing, acceptance/rejection criteria, and placement procedures.

(8) Typical unit costs, supported by data from actual projects.

(9) Laboratory and field-test results which support the system design criteria.

(10) Information substantiating all partial factors of safety used in establishing the reinforcement elements long-term design strength.

(11) Additional information requested by the CO.

(d) Temporary shoring.  When required, design temporary shoring using one of the methods described in the California Trenching and Shoring Manual current at time of contract award.  The manual is available from the California Department of Transportation or online at:

www.dot.ca.gov.

255.04  Wall Erection.  Erect the wall according to the specifications, the design drawings approved by the CO, and manufacturer’s recommendations.  When requested, have an experienced field representative from the wall system manufacturer available during the first three days of wall erection and as otherwise requested by the CO.

Place reinforcement elements horizontally on compacted fill at elevations and dimensions shown on the approved design drawings.  Orient reinforcement elements with the highest strength axis perpendicular to the wall alignment.  Spliced reinforcement connections between shorter pieces of reinforcement will not be allowed unless approved by the CO.  Prior to placing fill over reinforcement, place the next course of wall units, pull the reinforcement taut, and anchor the reinforcement.

(a) Concrete panel faced walls.  Erect panels by means of lifting devices connected to the upper edge of the panel.  Make the joint openings 0.75 ( 0.25 inches wide.  Install joint material according to the drawings.  Cover all joints on the backside of the panels with a 12 inch wide strip of type I-A geotextiles.  Overlap geotextile splices a minimum of 4 inches.  Hold the panels in position with temporary wedges or bracing during backfilling operations.  Design and construct the wall and components to meet Table 255-4.

Table 255-4

Concrete Panel Faced Wall Construction Tolerances

| Description | Requirement |
| --- | --- |
| Wall batter | Within 0.25 inches per 5.0 feet of wall height and a maximum of 0.2% for the overall wall height |
| Wall height | Within 0.125 inches per 10.0 feet of wall height and a maximum of 0.5 inches |
| Horizontal and vertical alignment | Within 0.5 inches at any point in the wall when measured with a 10 foot straightedge |
| Reinforcement elevation | Within 2.0 inches of design elevation and within 1.0 inch of the corresponding connection elevation at the wall face |
| Reinforcement inclination | Within 2% from horizontal |

(b) Wire-faced walls.  Connect, tighten, and anchor soil reinforcement elements to the wall facing units before placing backfill.  Design and construct the wire-faced wall and components to have the ability to compress up to 2 inches at each layer of reinforcement without creating outward bulging of the facing elements.  Design and construct the wall and components to meet Table 255-5:

Table 255-5

Wire Faced Wall Construction Tolerances

| Description | Requirement |
| --- | --- |
| Wall batter | Within 2.0 inches per 10.0 feet of wall height and 1% for the overall wall height |
| Wall height | Within 1.0 inch per 10.0 feet of wall height and a maximum of 4.0 inches |
| Horizontal and vertical alignment | Within 2.0 inches at any point in the wall when measured with a 10 foot straightedge |
| Separation of facing mat | Outside of facing mat within 1.5 inches from wall facing fill at all locations |
| Reinforcement elevation | Within 2.0 inches of the design elevation and within 2.0 inches above the corresponding connection elevation at the wall face. Do not place reinforcement below corresponding connection elevation. |
| Reinforcement inclination | Within 2% from horizontal |

Include hardware cloth behind the wire face unless the D15 of the wall facing fill gradation is larger than the effective wire face opening.  Place a Type II-B geotextile between the wall facing fill and select wall backfill.  Terminate wire-face wall at the beginning and end of each lift with a return of the wall facing a minimum of 4 feet into the backfill.

(c) Segmental block wall.  Place the first course of modular block wall units on top of and in full contact with the leveling pad.  Place units side by side for the full length of the wall such that adjoining blocks are located according to the manufacturer’s recommendations.  Place units so that only the front face of the unit is visible.  Check units for proper elevation and alignment.  Install connection and/or alignment devices as required by design.  Fill voids in and around units with unit fill as required by manufacturer’s installation guidelines to meet the required connection strength.  Provide specifications for unit fill meeting manufacturer’s recommendations.  Place a Type II-B geotextile between unit fill and select wall backfill.  If the unit fill is required to meet connection strength specifications, completely fill each course of block prior to proceeding to the next course.  Place reinforcement with a maximum vertical spacing per the HITEC evaluation but not more than 2 times the block depth or 24 inches, whichever is less.  Remove all excess materials from the top of the units prior to installing each succeeding block course.  Design and construct the wall and components to meet Table 255-6.

Table 255-6

Segmental Block Wall Construction Tolerances

| Description | Requirement |
| --- | --- |
| Wall batter | Within 1.0 inch per 10.0 feet of wall height and a maximum of 0.5% for the overall wall height |
| Wall height | Within 0.5 inches per 10.0 feet of wall height and a maximum of 1.0 inch |
| Horizontal and vertical alignment | Within 1.0 inch at any point in the wall when measured with a 10 foot straightedge |
| Reinforcement elevation | Within 2.0 inches of design elevation and within 1.0 inches below the corresponding connection elevation at the wall face |
| Reinforcement inclination | Within 2% from horizontal |

255.05  Backfilling.  Backfill the reinforced volume with select wall backfill in compacted lifts not to exceed 6 inches where hand compaction is used or in compacted lifts not to exceed 9 inches where heavy compaction equipment is used.  Place, spread, and compact select wall backfill over the reinforcement in a manner that prevents development of slack in the reinforcement.  Compact select wall backfill according to Subsection 204.11.  Ensure that no voids exist below the reinforcing elements.  Where the stabilized volume supports spread footings for bridges or other structural loads, compact the top 5 feet to at least 100 percent of the maximum density according to AASHTO T-99 method C.

Use wall facing fill within 3.0 feet of the wall face.  Place wall facing fill in compacted lifts not exceeding 12 inches and densify using hand operated equipment.  Place wall facing fill in sequence with select wall backfill such that the top of the adjacent materials are within 18 inches of one another.  Do not damage or disturb the facing or reinforcing elements.  Do not operate equipment directly on top of the reinforcing elements.  Remove and replace all damaged, misaligned, or distorted wall components.

Backfill and compact behind the reinforced volume with wall backfill according to Subsections 204.10 and 204.11.  At the end of the day’s operation, slope the last lift of fill away from the wall face to direct surface runoff away from the wall face.  Do not allow surface runoff from adjacent areas to enter the wall construction area.

255.06  Drainage.  Subsurface drainage is required.  Install the drainage system as shown in drawing “Special M605-A”.  The CO may require supplemental drainage when seepage is identified in the excavation.

255.07  Acceptance.  Structure excavation will be evaluated under Section 209.

Select wall backfill, wall backfill, and wall facing fill will be evaluated under Subsection 704.13.  Foundation fill will be evaluated under Subsection 704.01.

Material for mechanically stabilized earth walls, plastic pipe, geotextiles, and geocomposite sheet drains listed under Subsections 706.08, 714.01, 714.02 and 720.01 will be evaluated under Subsections 106.02 and 106.03.

Construction of mechanically stabilized earth wall will be evaluated under Subsections 106.02 and 106.04.

Survey work will be evaluated under Section 152.

Concrete leveling pad will be evaluated under Section 601.

# Measurement

255.08  Measure mechanically stabilized earth walls by the square foot of front wall face.  Structure excavation, select wall backfill, wall backfill, wall facing fill, temporary shoring, drainage system, and returns at the ends of each lift will not be measured for payment and are considered incidental to the MSE walls.

Measure foundation fill under Section 208.

# Payment

255.09  The accepted quantities, measured as provided above, will be paid at the contract price per unit of measurement for the pay item listed below that is shown in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

Payment at the unit bid price for the Section 255 pay items included in the bid schedule is full compensation for wall construction to a depth not exceeding 5 feet below the lowest elevation shown on the plans for each MSE wall structure.  MSE wall construction includes structure excavation, structural backfill, wall elements, and all other costs associated with the wall installation.  When the depth of the footing below the lowest elevation shown on the plans for each MSE wall exceeds 5 feet, either the Contractor or the CO may request an equitable price adjustment for the depth in excess of 5 feet.  There will be no equitable adjustment when the depth of the footing does not exceed 5 feet below the elevation shown in the plans; however, all work constructed will be measured for payment.

Table 255-7

Sampling and Testing Requirements

| Material or Product | Type of Acceptance (Subsection) | Property or Characteristic | Test Methods or Specifications | Sampling Frequency | Point of Sampling | Split Sample | Reporting Time |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Backfill | Measure and tested for conformance (106.04) | Classification | AASHTO M145 | 1 per soil type | Source of material | Yes | Before using in work |
|  |  | Gradation | AASHTO T27 & T11 | 1 per soil type | Source of material | Yes | Before using in work |
|  |  | Moisture density | AASHTO T 180 Method D (1), or AASHTO T99, Method C (1) | 1 per soil type | Source of material | Yes | Before using in work |
|  |  | Compaction | AASHTO T 310 or other approved procedures | 2 per lift | In place | --- | Before using in work |

(1) A minimum of five points per proctor.