National Monitoring Network

Nitrate Methods/Data

Please return to:

Jerry Diamond, Tetra Tech, Inc.

410-356-9005 (fax)

jerry.diamond@tetratech.com

Organization:  U.S. Geological Survey

New York Water Science Center

425 Jordan Road

Troy, NY 12180

Contact Name: Stephen Wolcott swolcott@usgs.gov 518-285-5676

Michael McHale mmchale@usgs.gov 518-285-5675

Tricia Lincoln tarenga@usgs.gov 518-285-5612

| Sample Collection |
| --- |
|  |  | Comments |
| Container type | ( glass x plastic ( other |  |
| Preservation method | ( acid ( mercuric chloride freeze x other | Refrigeration |
| Sampling method available to public? | x Yes ( No |  |
| Sample Processing and Analysis |
| Sample holding time | 14 (days) |  |
| Sample filtration | x filtered unfiltered | If filtered – filter type and mesh size 0.4 µm polycarbonate |
| Laboratory analysis method available to the public? | x Yes ( No |  |
| Analysis method used | http://ny.water.usgs.gov/pubs/of/of95416/ | Any modifications used? |
| Method detection limit (if known) | 02.0 µmol/liter (units) | Reporting limit |
| QA/QC |
| Replicate samples collected?` | x Yes ( No | Frequency 1 triplicate set per 50 samples |
| Matrix spike/ matrix spike duplicates performed? | ( Yes x No | Frequency |
| Check or reference sample analyzed? | x Yes ( No | Frequency 1 set of 2 QC’s every ten samples |
| Split sample analysis with other lab? | x Yes ( No | Frequency http://ny.water.usgs.gov/pubs/of/of96167/ http://ny.water.usgs.gov/pubs/of/of01071/ other QA/QC reports are in progress |
| Meta Data |
| Meta data available to the public? | Sample Location info: x Yes ( No Sample collection date: x Yes ( No Reason for sampling: ( Yes x No How samples collected: x Yes ( No How samples analyzed: x Yes ( No FGDC1 metadata: ( Yes ( No QA/QC info: x Yes ( No | ??????????????? |
| How are metadata available? | x Internet CD x Upon request x other |  |
| Data Reporting |
| Final form of data | x hardcopy tables x electronic tables other | http://pubs.usgs.gov/wdr/wdr-ny-03-1/ http://ny.cf.er.usgs.gov/nyc/unoono.cfm |
| Are data publicly available? | x Yes ( No | On the Internet? Yes_x__ No___ |
| Are ancillary data available for samples? | x temperature salinity/x conductivity dissolved oxygen x hydrology/flow x others |  |

1 = Federal Geographic Data Committee             http://www.fgdc.gov/metadata/metadata.html

National Monitoring Network

Nitrate Methods/Data

Please return to:

Jerry Diamond, Tetra Tech, Inc.

410-356-9005 (fax)

jerry.diamond@tetratech.com

Organization:    PA DEP – Bureau of Laboratoires

Contact Name:   Ted Lyter

Contact Phone # and email:   717-346-8294    plyter@state.pa.us

| Sample Collection |
| --- |
|  |  | Comments |
| Container type | ( plastic |  |
| Preservation method | other | 4 degree-c or below |
| Sampling method available to public? | ( Yes |  |
| Sample Processing and Analysis |
| Sample holding time | 2 (days) | We use 48 hours as the upper limit |
| Sample filtration | unfiltered | If filtered – filter type and mesh size |
| Laboratory analysis method available to the public? | ( Yes | Standard EPA method – see below |
| Analysis method used | EPA 353.2 | Any modifications used? No |
| Method detection limit (if known) | 0.017 mg/L (units) | Reporting limit is 0.04 mg/L |
| QA/QC |
| Replicate samples collected?` | ( Yes Not on routine basis ( No | Frequency One in ten |
| Matrix spike/ matrix spike duplicates performed? | ( No | Frequency |
| Check or reference sample analyzed? | Yes ( No ?????????? | Frequency |
| Split sample analysis with other lab? | ( Yes ( No ?????????? | Frequency |
| Meta Data |
| Meta data available to the public? | Sample Location info: ( Yes Sample collection date: ( Yes Reason for sampling: ( Yes How samples collected: ( Yes How samples analyzed: ( Yes FGDC1 metadata: ( Yes ( No???? QA/QC info: ( Yes ( No????? |  |
| How are metadata available? | ( Internet CD Upon request other |  |
| Data Reporting |
| Final form of data | ( hardcopy tables electronic other |  |
| Are data publicly available? | ( Yes ( No | On the Internet? Yes___ No___ |
| Are ancillary data available for samples? | ( temperature salinity/conductivity dissolved oxygen hydrology/flow others |  |

1 = Federal Geographic Data Committee             http://www.fgdc.gov/metadata/metadata.html