Applied Engineering Technology Directorate

INFORMATION SYSTEMS DIVISION

Code 580
Safety Plan

June 2003

INFORMATION SYSTEMS DIVISION
Safety Plan

June 2003

Prepared by:

Code 584/585

Concurred by:

John Woodruff, Code 580 Safety Officer	Date
Computing Environments and Technology Branch, Code 585

Approved by:

Joseph Hennessy, Chief	Date
Information Systems Division, Code 580

Goddard Space Flight Center
Greenbelt, Maryland

Preface

This Safety Plan is developed in accordance with NASA Procedural Guideline (NPG) 8715.1, dated August 1999.

Change Information Page

| List of Effective Pages |
| --- |
| Page Number | Issue |
| Title i through iv 1 through 28 | Original Original Original |
| Document History |
| Document Number | Status/Issue | Publication Date | CCR Number |
| Version 1 | Original | June 2003 |  |

DCN Control Sheet

| DCN Number | Date/Time Group (Electronic DCN Only) | Month/Year | Section(s) Affected | Initials |
| --- | --- | --- | --- | --- |

1.	Introduction	3

1.1.	Purpose	3

1.2.	Policy	3

1.3.	Scope	3

1.4.	Applicability	3

1.5.	List of Applicable Documents	4

1.6.	Key Personnel	4

1.7.	Background	5

1.8.	Environmental Conditions	5

2.	Responsibilities	6

2.1.	Background	6

2.2.	Division Chief	7

2.3.	Division Safety Officer	7

2.4.	Alternate Division Safety Officer	8

2.5.	Lab Managers	9

2.6.	Branch Management	9

2.7.	Employees	10

2.8.	Contractor Personnel	10

2.9.	Facility Operations Manager (FOM)	11

2.10.	Personnel Assigned Fire Safety Responsibilities	11

3.	Safety Incident Prevention Measures	11

3.1.	Hazard Avoidance Measures	11

3.1.1.	Offices, Aisles, and Passageways	11

3.1.2.	Exits	11

3.1.3.	Electrical Wiring	11

3.1.4.	Fire Protection	12

3.1.5.	Hazard Communication	12

3.1.6.	Floors	12

3.1.7.	Housekeeping	12

3.1.8.	Stationary Electrical Devices (Computers, Printers, etc.)	13

3.1.9.	Storage	13

3.2.	Tripping Hazards	13

3.3.	Fire Hazards	13

3.4.	Hazards from Falling Objects	13

3.5.	Seldom Used and/or Excess Furniture and equipment	14

3.6.	Inspections by the Safety and Environmental Branch and/or FOM	14

3.7.	Building Evacuation	14

4.	Emergency Procedures	14

4.1.	General Procedures Following a Mishap	14

4.1.1.	Personnel at the Scene of a Mishap	14

4.1.2.	Supervisor’s Responsibilities	15

4.2.	Fire	15

4.3.	Medical Emergencies	15

4.4.	Bomb Threats	15

5.	Additional Guidelines, Procedures and Requirements	16

5.1.	Hazardous Materials	16

5.2.	Stepladders	16

5.3.	Hand Tools	17

5.4.	Open Raised Floor	17

5.5.	Mechanical Equipment	17

5.6.	Electrical Equipment	18

6.	General Safety Considerations	18

6.1.	Safe Working Habits	18

6.2.	Buddy System	19

6.3.	Designation Of Hazardous Areas	19

6.4.	Protective Equipment and Clothing	19

6.4.1.	Designation of Personnel to be Issued Safety Equipment	19

6.4.2.	Inspection and Testing Procedures	20

6.5.	Safety Training and Instruction	20

6.6.	Emergency Preparedness Program	20

7.	Safety Incidents	20

7.1.	Mishaps	21

7.2.	Close Calls	21

Appendix A. ISC Facilities	22

Appendix B. Branch Emergency Information (GSFC)	24

Appendix C. Branch Emergency Information (WFF)	25

Appendix C. Sample Job Hazard Analysis	26

# Introduction

## Purpose

This document establishes the policy and describes the procedures and requirements of the safety program of the Information Systems Division (ISD) of the Goddard Space Flight Center (GSFC).

## Policy

The safety policy of the ISD is to:

- Take all necessary steps to avoid personal injury or loss of life, harm to the environment or property loss.

- Instill an awareness of the need for safety and health conservation among all ISD employees.

- Ensure all ISD employees comply with all NASA safety and environmental health standards, guidelines, regulations, and other requirements designed to provide a safe and healthful workplace and to conserve the environment.

## Scope

This document deals with all aspects of safety within the areas under the responsibility of the Information Systems Division at the Goddard Space Flight Center in Greenbelt, MD and at the Wallops Flight Facility (WFF) in Wallops Island, VA. The areas covered under this plan include employees’ offices and facilities that are “owned” by the ISD. Areas such as hallways and stairways that inter-connect ISD offices and/or facilities are considered in scope to this document although it is expected that the building Facility Operations Manager (FOM) will monitor those areas. In those cases where employees are in offices and/or facilities “owned” by another organization, the alternate organization’s safety plan takes precedent over this plan.

## Applicability

This plan is established for the employees of the ISD who operate either in a general office environment or a computer laboratory environment.

The provisions of this document apply to all personnel in the ISD, including support contractors, construction/maintenance contractor personnel, and other on-site contractors. All non-ISD personnel housed in or working in Division areas should become familiar with the ISD safety program.

## List of Applicable Documents

NPG 8715.1 -- NASA Safety and Health Handbook Occupational Safety and Health Programs

NPD 8700.1 -- NASA Policy for Safety and Mission Assurance

NPD 8710.2B -- NASA Safety and Health Program Policy

NPD 8621.1 -- NASA Mishap Reporting and Investigating Policy

NFPA 30 -- Flammable and Combustible Liquid Codes  (where applicable)

NHB 1700.1 (V1-B)  -- Safety Policy and Requirements Document

NHB 8831.2 -- Facilities Maintenance Handbook

NHS/IH  1845.3 -- Hazard Communications

NHS/IH  1845.4 -- NASA Health Standards on Hearing

## Key Personnel

ISD Safety Officer: John Woodruff

# Permanent email address: John.J.Woodruff@nasa.gov

Business Phone: 301 286-5585

Mailstop 585.0

Alternate ISD Safety Officer: William Redisch

# Permanent email address: Bill.Redisch@nasa.gov

# Business Phone: 301 286-6203

Mailstop 585.0

Building 23 FOM: Harvey Walden

Permanent email address: Harvey.Walden@nasa.gov

Business Phone: 301 286-9140

Mailstop 588.0

Alternate Building 23 FOM: Jere Jones

Permanent email address:  Jere.C.Jones.1@gsfc.nasa.gov

Business Phone:  301 286-7370

Mailstop 453.7

Building 3 FOM: Quinton Barker

Permanent email address: Quinton.E.Barker@nasa.gov

Business Phone: 301 614-5303

Mailstop 423.0

Alternate Building 3 FOM: Eric Mount

Permanent email address:  Eric.S.Mount.1@gsfc.nasa.gov

Business Phone: 301 286-0601

Mailstop 428.2

Alternate Building 3 FOM: Rick Bingham

Permanent email address:  Richard.W.Bingham.1@gsfc.nasa.gov

Business Phone: 301 286-3749

Mailstop 428.2

## Background

The ISD is a center of expertise in the formulation and implementation of information systems in support of NASA programs and projects, specifically the GSFC Earth Sciences, Space Sciences, and Technology focus areas. Specific ISD disciplines supporting the aforementioned focus areas are as follows: Mission System Engineering, Flight Software, Mission Planning and Scheduling, Command Management, Flight Dynamics Systems and Tools, Real Time Command and Control, Information and Knowledge Management, Software Engineering, Science Data Systems Development, Science Data Visualization and Analysis support, and Information Systems Technology Development. The ISD collaborates with the science community and other customers to meet their information systems and technology needs through the design, implementation, and integration of information systems and data system components. The ISD provides technology and products in design, development, implementation, test, integration and operations. Additionally, the ISD provides leadership and vision in identifying and sponsoring new and emerging information systems technologies. Many ISD personnel are matrixed out and are co-located with their customers.

The ISD is an organization of approximately 300 professional, administrative and managerial personnel. The organization’s employees largely perform their job function in an office or facility environment.  Unless ISD personnel support very specialized mission events, the ISD normal hours of operation are the day shift Monday through Friday. For example, an Integration and Test activity for a Flight Project could involve evening and/or weekend work. However that is the exception not the rule.

## Environmental Conditions

Most ISD offices are situated on a solid floor. In all of these cases, they deal with electronic components that use 110 Volt, 60 amps, AC that are designed to meet Underwriters Laboratories (UL) electrical standards.  Additionally there are not any usual mechanical or thermal systems in place in any ISD office. As a result, ISD office employee’s daily operations environment constitutes safety issues typical of office/home environments.

Most ISD facilities are situated on a raised floor. Air circulates under the floor to keep computer areas at the correct temperature. Computer cables are run under the raised floor to minimize any chance of injury.  In most of these cases, they deal with electronic components that use 110 Volt, 60 amps, AC that are designed to meet Underwriters Laboratories (UL) electrical standards.  There may be ESD areas located within a facility as well as chemicals used for cleaning computer related components such as Isopropyl Alcohol. As a result, ISD facility employee’s daily operations environment constitutes safety issues more significant than an office environment but not considered high risk.

# Responsibilities

## Background

The ISD Chief is responsible for ensuring that an effective safety plan is in place for ISD personnel and facilities.  Branch management is likewise responsible for ensuring that there is minimal risk for employees in the performance of their duties in either offices or ISD facilities. Each ISD facility has a Lab Manager assigned. Just as the Lab Manager is responsible for the security of the facility, the Lab Manager is additionally responsible for ensuring the implementation of a safe working environment is his/her facility. The ISD Safety Officer is responsible for the day-to-day management of the ISD safety program. The Safety Officer brings to the attention of the ISD Chief and the affected Branch Manager any condition that could negatively affect the well-being of an ISD employee or could have a negative impact on an ISD asset. In addition the ISD Safety Officer will immediately notify the respective Center level and/or AETD level personnel who can take action to remedy the situation. The Safety Officer will also provide periodic status updates to the ISD Chief on the safety posture of ISD offices and facilities.

Ultimately each individual in the Division is responsible for his/her own safety performance and for the performance and conditions of those working around him/her.  As stated in the Occupational Safety and Health Act (OSHA), “…Each employee shall comply with occupational safety and health standards and all rules, regulations, and orders issued pursuant to this Act which are applicable to his own actions and conduct...”. Persons noting unsafe practices or conditions should take immediate steps to bring the incident to the attention of those involved.  If an unsafe condition is found, appropriate steps should be taken immediately to correct the unsafe condition.  If the person noting the unsafe act or condition cannot correct the situation, he/she should contact his/her supervisor, or other appropriate authority (e.g. the ISD Safety Officer) as soon as possible.  The supervisor of each area is responsible for providing a safe working environment for their employees working under the supervisor’s area of responsibility.  Each individual has the authority to warn others and, if necessary, to stop work for imminent danger situations.

## Division Chief

The Division Chief has primary responsibility for ensuring that all personnel under his/her jurisdiction observe the provisions of this plan and of all other safety rules and regulations that may be approved for their respective areas.  He/she is responsible for establishing and maintaining safe working conditions and practices within ISD controlled areas.  In case of doubt as to the safety or health aspects of any proposed situations or operations, he/she shall consult with the building FOM, the Division Safety Officer, a Safety and Environmental Branch (Code 205.2) representative, or other appropriate authority as applicable.

## Division Safety Officer

The Division Chief shall designate an ISD Safety Officer to coordinate the Division’s safety program.  The Safety Officer shall maintain the ISD Safety Manual to reflect an appropriate safety program as the ISD’s mission, job functions and typical work environment evolves.  The Safety Officer shall review Division training activities on a continuing basis to ensure that training for all employees within the ISD  is provided.

The ISD Safety Officer and respective Lab Manager will conduct an annual survey of each ISD facility.  The purpose of this survey will be to determine compliance with the ISD Safety Manual as well as any relevant NASA and OSHA regulations. In addition the discovery of any hazardous materials not previously identified in a facility will now be documented.

The ISD Safety Officer will conduct random inspections of ISD offices (primarily in buildings 3 and 23) to identify any unsafe conditions. The conditions will be documented and reported to the ISD Chief and respective Branch Head.

The ISD Safety Officer responsibilities include

- Maintain the ISD Safety web page (http://isd/IscAdmin/IscAdmin.htm) off of the ISD web site. This ISD Safety Plan shall be web available to all ISD employees.

- Conduct an operational safety review of the ISD offices. Safety checklists for the office environment can be found at http://safety1st.gsfc.nasa.gov/supvguide.shtml

- Maintain sources of safety information with particular emphasis on daily operations and facilities.

- Share that information with the appropriate audience in the ISD.

- Coordinate the correction and disposition of safety discrepancies.

- Ensure that safety incidents are documented and reported.

- Ensure a continuing review of safety conditions.

- Recommend controls to assure safe operations.

- Identify training opportunities to all ISD employees.

- Ensure hazardous materials are identified, documented, and appropriate procedures are in place for handling them.

- Ensure that employees are informed of NASA's Health and Safety Programs and of the protection afforded employees through these programs.

- Inform employees of the location of the nearest medical treatment facility and the procedures for obtaining emergency as well as other medical assistance.

- Inform employees of procedures regarding emergency situations, including key telephone number and facilities.  NOTE: For all Greenbelt emergencies, dial 911 or 286-8080 from non-ROLM phones (cellular, pay-phones, off-site). For all Wallops emergencies, dial 911.

- Ensure training is provided for personnel who use specialized equipment, or are exposed to specific hazards.

- Instruct employees to report hazardous conditions to their supervisors.

- Take appropriate action to protect employees in imminent danger situations.  Furnish a safe and healthful place of employment, and ensure that identified hazards are eliminated or controlled.

- Inform employees of specific hazards (if any) associated with their workplace and duties, and ensure the use of appropriate personal protective equipment (if required).

- Assist Safety and Environmental Branch personnel when necessary.

- Report unsafe equipment and situations to the Safety and Environmental Branch.

- Assign permanent personnel to perform specialized safety functions (as required by the FOM or the Safety and Environmental Branch such as Floor Wardens and Alternates. Ensure that on-site contractors have an approved, on-site safety plan, and that the on-site contractors fully adhere to the provisions of their safety plans.

The ISD Safety Officer is John Woodruff, Code 585. He can be reached at

# Permanent email address: John.J.Woodruff@nasa.gov

# Business Phone: 301 286-5585

Business Address:

NASA/ Goddard Space Flight Center

Mailstop 585.0

Greenbelt, MD 20771

## Alternate Division Safety Officer

The Alternate Safety Officer will submit a summary report of all MISHAP reports to the ISD Division Chief on a monthly basis.  This report will identify and summarize all safety incidents reported via the MISHAP report (NASA Form 1627).

In the event the ISD Safety Officer is unavailable or unable to perform his/her duties the Alternate ISD Safety Officer will assume the role of ISD Safety Officer.

The Alternate ISD Safety Officer is William Redisch, Code 585. He can be reached at

# Permanent email address: Bill.Redisch@nasa.gov

# Business Phone: 301 286-6203

Business Address:

NASA/ Goddard Space Flight Center

Mailstop 585.0

Greenbelt, MD 20771

## Lab Managers

The list of ISD facilities and Lab managers is identified in Appendix A.

Lab Manager responsibilities include

- Conduct an operational safety review of their respective facility on an annual basis.   At a minimum each Lab Manager should review what hazardous materials are utilized or stored in their facility. Safety checklists for the facility environment can be found at http://safety1st.gsfc.nasa.gov/supvguide.shtml

- Ensure a continuing review of safety conditions.

- Reporting of unsafe conditions and planned corrective actions to the ISD Safety Officer

- Provide feedback to the ISD Safety Officer on needed/recommended updates to the ISD Safety Plan.

- Ensure the Emergency Information sheet (see Appendix B or C) is posted in the facility

## Branch Management

Branch Management responsibilities include

- As part of the new employee (freshout, organizational transfer, etc.) orientation, introduce

  - The ISD Safety Manual

  - Facility specific safety procedures

  - The location of safety devices in the immediate proximity of his/her work environment

  - The designated area fire warden

- Provide feedback to the Division Safety Officer on needed/recommended updates to the ISD Safety Plan.

- Prepare a Job Hazard Analysis (see Appendix D) tailored to each employee.

- Encourage employees to take GSFC offered classes in fire extinguisher operation, First Aid and cardiopulmonary respiration (CPR), etc.

- Ensure that employees are informed of NASA’s Health and Safety Programs and the protection afforded employees through these programs. The URL for Goddard’s Safety Homepage is http://safety1st.gsfc.nasa.gov/.

- Ensure the Emergency Information sheet (see Appendix B or C) is posted in the Branch Office

- Ensure that employees are familiar with their respective building emergency action plans

- Instruct employees to report hazardous conditions to their supervisors.

- Take appropriate action to protect employees in imminent danger situations.

## Employees

Employee responsibilities include:

- Become familiar with the ISD Safety Manual.

- Use established procedures to report suspected safety or health hazards.

- Promptly reporting occupational injuries and illnesses as directed by installation procedures.

- Promptly obtaining necessary emergency medical care in any emergency situation that arises.

- Keeping immediate work areas neat and orderly, taking care to remove hazardous conditions in the area.

- Quickly correcting all documented and observed safety discrepancies.

- Becoming familiar with the building emergency action plan, attendant evacuation procedures and exit routes.

- Becoming familiar with the location of fire extinguishers, CPR-trained personnel and first aid kits in the immediate environments of frequented places of work.

- Utilizing protective equipment (e.g., hard hats, safety glasses, gloves) when prescribed and/or required by Health and Safety standards or good work practice or when directed by supervisors or safety representatives.

- Activating appropriate alarms in emergency situations and dialing 911 to obtain assistance as appropriate for the situation.

- Complying with NASA’s Occupational Health and Safety Standards.  These standards are available via Goddard’s Safety Homepage at http://safety1st.gsfc.nasa.gov/.

- Volunteering to serve as a Fire Warden in your building in the area of your office or facility when the opportunity arises.

- Maintain an understanding of current safety plans and procedures affecting his/her work areas, including relevant evacuation plans.

- Seek and obtain training in the safe operation of specialized equipment.

- Keep immediate work areas neat and orderly

- Assist Safety and Environmental Branch personnel during inspections, surveys, and investigations

- Report any suspected safety or health hazards.

- Obtain necessary emergency medical care.

## Contractor Personnel

While at the Goddard Space Flight Center, each contractor housed in our Division areas shall comply with all fire, safety, and health regulations that apply to the Information Systems Division.  The contractor shall actively participate in the Information Systems Division safety program and assist in carrying out those portions of the program that affect contractor personnel or operations.

## Facility Operations Manager (FOM)

FOM's have overall responsibility for monitoring all matters affecting the safety of their buildings. In situations where it is a FOM's judgment that there is significant imminent danger to personnel or property, he/she has the authority to stop work or to evacuate the facility.  The FOM is responsible for conducting periodic scheduled walk-through inspections, on at least a quarterly basis, of those areas he/she does not visit regularly.

The FOM will produce the building emergency action plan that will include evacuation procedures for those areas for which he/she is accountable.

## Personnel Assigned Fire Safety Responsibilities

In case of fire or other emergencies that may adversely affect the safety of personnel, the facility, or operations in the building, the FOM, Fire Warden, Assistant Fire Warden, and Emergency Evacuation Team shall have the authority for effecting action to protect personnel and minimize damage.  The cooperation of all employees is expected.

# Safety Incident Prevention Measures

## Hazard Avoidance Measures

### Offices, Aisles, and Passageways

Offices, aisles and passageways shall be kept clear and in good repair with no obstructions across or in aisles that could create hazards. Permanent aisles and passageways shall be appropriately marked, and the supervisor for the area in which the hazard was discovered shall be informed of the hazard immediately.

Hazards, when they exist, shall be prominently marked with appropriate labels, signs, or other devices to minimize the chance of a mishap.

### Exits

Exits and the way of approach and travel from exits shall be maintained so that they are unobstructed and are accessible at all times.

### Electrical Wiring

Power cords/computer cables shall be routed in a manner that will not create a tripping hazard. Power cords/computer cables that have been spliced or are frayed or cracked shall not be used. Injuries may occur when equipment is pulled from bench tops as a result of employee tripping over wires/cables improperly laid across walk areas.

Power strips shall be used singly, with no more than one power strip to each circuit. Power cords shall be placed with consideration to neatness and minimizing tripping hazards.

### Fire Protection

Portable fire extinguishers suitable to each area's conditions and hazards shall be provided and maintained in a ready-to-use condition.  Portable fire extinguishers shall be conspicuously located and mounted where they will be readily accessible.  Extinguishers shall not be obstructed from view or blocked in any way.

Fire extinguisher training shall be provided.  Only personnel trained in fire extinguisher use are authorized to use fire extinguishers.  A fire extinguisher training refresher is available via the GSFC closed-circuit television system twice weekly.  Employees who have never had “hands-on” fire extinguisher training shall initially take this training before being authorized to use fire extinguishers.  The “hands-on” training is available through Code 114 (Organizational and Employment Development Office).

### Hazard Communication

Every ISD employee shall have access to the ISD Safety Plan that is located on the ISD web site.

Each employee shall be made aware of training opportunities in Hazard Communication.  The employee may accomplish this training by watching a short GSFC closed-circuit television training program.  The initial training shall be acquired as soon as possible.

### Floors

All floor surfaces in both offices and facilities shall be kept clean, dry, and in good repair.

### Housekeeping

All places of employment, including individual offices, passageways, storerooms, and other areas, shall be kept clean, orderly and sanitary.  Excessive loose paper, disorderly journals and books, and stored cardboard boxes and crates SIGNIFICANTLY contribute to the potential for rapid-fire spread.

### Stationary Electrical Devices (Computers, Printers, etc.)

All stationary electrically powered equipment and devices, located within reach of a person who can make contact with any grounded surface or object, shall be grounded.

### Storage

All storage shall be stacked, blocked, interlocked, and/or limited in height so that it is secure against sliding or collapse.  Nothing shall be stored higher than within 20" from the ceiling.

Storage areas shall be kept free from accumulation of materials that constitute hazards or pest harborage.

## Tripping Hazards

Tripping hazards that exist in areas controlled by the ISD shall be eliminated.  These include such things as poorly placed electrical and telephone stacks, wires running across aisle areas, improperly stored equipment and material, etc.

## Fire Hazards

During periodic inspections of office and computer areas, particular emphasis should be placed on elimination of fire hazards.  These include such items as excessive accumulation of papers on desktops, tabletops, and heating/air conditioning units.  Also included in this category of hazards is improper storage of combustible items.  Where fire extinguishers are not available and fire hazards exist, assistance from the Safety and Environmental Branch should be requested.

Only space heaters specifically approved by the Facilities Management Division (Code 220) are permitted.  Approvals shall be granted on a case-by-case basis.

Each employee shall ensure that personal food and drink heating devices are unplugged when not supervised.

## Hazards from Falling Objects

Falling objects can cause employee injuries.  To minimize the risk of such injuries, the tops of all storage cabinets shall be cleared of stored items, and no materials should be stored in any open location above eye level.  Shelves and cabinets shall also be periodically checked to ensure that no overloading conditions exist.

## Seldom Used and/or Excess Furniture and equipment

Although property inventories provide for the elimination of many items of surplus equipment and furniture, personnel should still be alert to the continuing need to dispose of surplus equipment prior to and after inventories.  Whenever seldom used or excess furniture and equipment are identified, action should be taken to store these items safely and/or declare them surplus.

## Inspections by the Safety and Environmental Branch and/or FOM

When your area is inspected by the GSFC Safety and Environmental Branch, the ISD Safety Officer, and/or your building FOM, corrective measures to eliminate deficiencies for imminent dangers shall be taken immediately.  Other deficiencies shall be corrected as quickly as possible.  A written explanation of the planned course of action and the period of time in which you expect deficiencies to be corrected shall be submitted to the Division Office through the Division Safety Officer within 30 days of the inspection report or on the next reporting cycle (whichever occurs first). Such data will also be submitted to the FOM and to the Safety and Environmental Branch as required.

## Building Evacuation

All Division personnel shall familiarize themselves with the respective Emergency Action Plan for their office and facility locations.

The Emergency Action Plans for buildings 3 and 23, where approximately 75 percent of the ISD staff resides, are located at http://safety1st.gsfc.nasa.gov/eap.html#eap. There should be a similar document available for other facilities occupied by ISD personnel.  Individuals should contact the specific building Facilities Operations Manager (FOM) to obtain the building specific emergency evacuation plan. The building emergency evacuation procedures shall be followed in case of a fire or any other emergency in the building when it has been decided that the building should be evacuated.

# Emergency Procedures

## General Procedures Following a Mishap

### Personnel at the Scene of a Mishap

ISD employees on the scene of a mishap shall:

- Render assistance and attempt to limit further injury and damage. Obtain emergency medical or firefighting services that may be required. From a safe location dial 911.

- As soon as possible, report by telephone, or the most expeditious means, all known facts to the ISD Safety Officer, FOM, your supervisor or to the Safety and Environmental Branch.

- Obtain, if feasible, the names and addresses of witnesses and, until relieved by competent authority, take necessary steps to assist victims and prevent further damage or injuries, secure the scene of the accident against action that could impair investigation, and obtain all possible further aid as appropriate.

### Supervisor’s Responsibilities

The supervisor of an activity in which a mishap occurs shall:

- Institute any emergency measures required and appropriate to minimize the damage to personnel or property. He/she shall obtain immediate medical assistance for the injured.

- As soon as possible, report by telephone, or the most expeditious means, all known facts to the ISD Safety Officer, FOM, or to the Safety and Environmental Branch. A completed NASA Form 1627 (See Section 7.1) should be prepared as soon as possible.

- If necessary, contact the “emergency contact” listed for any injured employee. This name is available from the Division LISTS Coordinator. If the LISTS coordinator is not available, GSFC Security can provide the emergency notification information.

## Fire

Any employee detecting an actual or suspected fire shall pull the nearest Fire Alarm Box, and report the fire to emergency personnel from a safe location by dialing the emergency phone number 911. Emergency personnel are automatically summoned when you activate the Fire Alarm Box.

## Medical Emergencies

- In case of a medical emergency, report the emergency first, so that help may be dispatched. Dial the emergency phone number 911.

- When you call, be prepared to describe the nature of the emergency, the exact location, and the number of the nearest phone extension.

## Bomb Threats

- Any employee receiving a bomb threat will report it by dialing the emergency phone number 911. Note: A bomb threat checklist is located near the back of the GSFC telephone directory.

- Provide your name, location, and phone extension, and be able to describe the caller’s voice, words, or any other information about the call itself. If the threat is received over PhoneMail, save it. If the threat is written, retain it for the competent emergency personnel.

# Additional Guidelines, Procedures and Requirements

The ISD is currently not generally responsible for the operation or use of specialized equipment and materials (e.g., mechanical, electrical, thermal, cryogenic (extreme cold), vacuum, radioactive, explosive, chemical).  However, specific facility configurations may include electrostatic discharge (ESD) sensitive devices and some hazardous materials. For those situations where ESD is present, the GSFC Quality Management System will govern the safety procedures for these devices. For those situations where hazardous materials are present, those materials are limited to alcohol and other cleaners that are flammable. Therefore, organizational safety guidelines and procedures for the ISD facilities are largely based on similar guidelines to be followed in the home.

## Hazardous Materials

The ISD uses the GSFC provided application MSDSPro to identify the hazardous materials in ISD facilities. Lab managers must ensure that any hazardous materials in their respective facilities are logged into this system. This is a GSFC Safety and Environmental Branch requirement. Contact the Safety and Environmental Branch to get an account in MSDSPro.  The MSDSPro system can be accessed at http://msds.gsfc.nasa.gov/intro.html.

## Stepladders

In general, safety rules for the use of stepladders include the following:

- Place orange safety cones to warn unsuspecting individuals of the hazard when the stepladder is to be in use for more than a couple of minutes.

- Make sure that the stepladder’s steps and legs are sturdy and stable – (i.e., do not use a damaged stepladder).

- Insure that the stepladder is designed to carry your weight.

- Make sure that the footing for the stepladder placement is solid and will not move once you place your weight on the ladder.

- Wear flat leather or rubber soled shoes/sneakers.

- Ensure that your work area is clear of obstructions.

- Stepladders should not be used unless fully opened, with braces locked, except when completely folded and used against a wall or other support as for ordinary ladders.

- Minimize the use of the top of the ladder for placement of heavy objects.

- Do not stand higher than the third rung from the top step of a stepladder.  It is strongly suggested that the Buddy System be utilized when your waistline is to be above the top of the stepladder.  The “buddy” should brace the stepladder to minimize side-to-side movement.

- Metal ladders shall not be used for any electrical work.

- Fold up and store the stepladder a soon as you have completed your task.

## Hand Tools

In general safety rules for the use of hand tools include the following:

- Inspect hand tools before use, and repair or discard damaged tools.

- When using sharp-edged or pointed tools (e.g., knives, drills or screw drivers), direct cutting strokes, drilling actions or pressure on a screw away from your body and limbs whenever possible.

- When using tools that must be swung on a fairly wide radius (e.g., hammers), ensure that your work area is clear from other personnel and of objects that might deflect the blow toward your own body (i.e., look behind and above before swinging a hammer back over your head).

- Stand clear of other persons using hand tools and ensure that they know of your presence before approaching them.

- When working on material that may give off flying particles, wear safety glasses.

- Do not lay a hand tool near the edge of a stepladder or other elevated surface.

- Use grounded (3 wire) power cords or double insulated portable electric hand tools.  Inspect all power cords before use for frays, cuts, and exposed wire.

## Open Raised Floor

In general safety rules for working where you need to open raised flooring include the following:

- Place orange safety warning cones and/or hazard warning tape to alert individuals of the safety hazard area.  If the tiles are behind a closed door, place warnings (cones and/or warning tape) outside the door to alert individuals entering the room/area.

## Mechanical Equipment

In general, safety rules for any mechanical equipment located in ISD facilities include the following:

- Only authorized and qualified personnel should operate the equipment.

- Keep liquids safely out of the area of this equipment/tool.

- Keep loose clothing, hands and other body parts clear of moving parts.

- Wear safety glasses or face shields (when appropriate).

- Observe all precautions and safety rules.  When in doubt consult operating instruction manuals or supervisors.

- Insure that the machinery (e.g., drill press) is properly secured to its base to prevent tipping while in use.

- Clamp all work objects securely to prevent inadvertent turning.

- All personnel with shoulder-length or longer hair should secure their hair to prevent it from coming into contact with moving parts.

- Do not attempt to make adjustments or repairs on moving parts without shutting off power and bringing the machine/tool to a complete stop.

- Keep all uninvolved personnel at safe distances from these tools.

- Maintain cleanliness and good housekeeping in all areas.

- Inspect tools periodically and before use, and remove any damaged tools from service.

## Electrical Equipment

In general safety rules for all electrical equipment located in ISD facilities include the following:

- Ensure that all equipment that requires special warnings is appropriately tagged for the information of new personnel or others who may enter that area.

- All electrical equipment should be operated and serviced only by personnel with appropriate knowledge and qualifications.

- When operating or repairing any electrical equipment wear rubber-soled shoes or stand on insulation, such as a rubber mat.

- Do not attempt to repair or adjust electrical equipment without disconnecting it from its power source.  If power must be left on for a specified operation of this type, adequate precautions should be taken to preclude injuries.  Where the possibility exists that someone else could inadvertently turn on the power, the power disconnecting means should be locked in the “OFF” position.

- Ensure all wires and cables are placed so that there is no chance of any individual tripping on them.

- In those cases where wires or cables are run temporarily over a walk space, cones should be placed to alert anyone entering this area.

# General Safety Considerations

## Safe Working Habits

Many of us perform the same operations repeatedly until every action becomes automatic or habitual.  We may repeat dangerous actions hundreds of times without realizing that the action is dangerous until an accident occurs.  Check your habitual actions for safety consciousness, with attention to the special instructions for the type of equipment you use or operate, and your knowledge of the equipment.

## Buddy System

The buddy system, long established for work in hazardous situations, is designed to provide immediate help in case of accidents, and, in most cases, will help to prevent serious incidents.  Its prime purpose is to ensure that no one works alone on a dangerous job or under dangerous conditions.

In the buddy system, two or more persons work together.   In an open space, each person should be within constant sight of the other.  If one or more persons must work alone (out of sight), at least one and preferably two additional persons shall be available in the immediate area to render immediate assistance without endangering themselves.  If an area is defined as a Permit Required Confined Space, the requirements contained in 29 CFR 1910 146 and GMI 1780.7 shall be followed.

The buddy system shall be used on all jobs that involve height (e.g., use of scaffolds, ladders and stepladders, towers), high voltage, confined space and permit required confined space, corrosive or toxic chemical, inert gases, and any other tasks that the appropriate supervisor considers to be dangerous.  It is desirable that personnel utilized in the buddy system be knowledgeable in relevant first-aid and CPR techniques.

## Designation Of Hazardous Areas

Although no ISD facility is designated as a hazardous area the following guidelines would apply if the designation would change.

Signs shall be posted in highly visible locations (outside a room entrance) to designate hazardous areas and describe the hazards that exist therein.  In addition, all precautions are to be taken by personnel entering those areas.  When modifications to those areas occur, the modified area shall be resurveyed for safety issues.

## Protective Equipment and Clothing

### Designation of Personnel to be Issued Safety Equipment

When a room has been designated as a hazardous area, a list of personnel assigned to that room should be submitted to the Division Office.  This list should include the building and room numbers, type of hazard(s) that exist, the employee’s name, and the type of equipment and/or clothing to be issued to each individual.

In addition, those items of equipment or clothing to be procured for use by visitors (i.e., personnel not assigned to the area but who need access to the room on occasion) shall be listed.   Examples of this type of equipment or clothing include face shields, disposable goggles, disposable head covers, wrist or ankle straps, disposable gloves, and disposable lab coats.

The new protective equipment standard, 1910.132 mandates additional requirements for workplace hazard assessment, written certification, training, and appropriate personal protective equipment.

### Inspection and Testing Procedures

Lab Managers are responsible for assuring periodic testing of safety equipment in their areas and providing required reports and documents as specified in NHB 1700.1 (V1-B) and its Supplement 6.

## Safety Training and Instruction

All new employees shall be given initial safety orientation by the immediate supervisor upon arrival at the workplace.  Each Branch Head/immediate supervisor shall insure that their employees are aware of the established safety rules and procedures.

Branch Heads shall make employees aware of available safety courses such as Fire Extinguisher Training, Cardiopulmonary Resuscitation (CPR), Standard First Aid, Hazard Communication, and Laboratory Safety and schedule attendance of personnel in the appropriate courses.

The WFF Safety Office, Code 803 web site, http://www.wff.nasa.gov/~code803/, details safety training regularly offered at WFF. Links to training available online are provided, as well as a listing of training available in PowerPoint, video tape, or ViTS formats. GSFC closed circuit television is not available at WFF.

## Emergency Preparedness Program

For building specific Emergency Action Plans go to http://safety1st.gsfc.nasa.gov/eap.html#eap.

# Safety Incidents

When an accident occurs even if there is not personal injury or equipment damage, it is extremely important to report the incident. An individual can report the incident to the ISD Safety Officer, the building FOM, their supervisor, or to the Safety and Environmental Branch. The important thing to do is to report the incident.

## Mishaps

ISD civil servants and contractors are required to report mishaps to the Safety and Environmental Branch through NASA Form 1627. The Alternate Safety Officer for the ISD can assist in preparing and submitting Mishap Reports. All ISD mishaps are summarized by the Alternate Safety Officer and reported to the ISD Chief on a monthly basis.

A Mishap is “Any unplanned occurrence or event resulting from any NASA operation, or NASA equipment anomaly, involving injury or death to persons.  Damage to or loss of property or equipment, or mission failure, provided that a written agreement or contract between NASA and another party did not otherwise allocate operational control and corrective action responsibility.”

The Mishap form as well as guidance about reporting mishaps can be found at http://isd/IscAdmin/Mishap.htm.

## Close Calls

A “Close Call” is an unplanned occurrence in which there is no injury, no property damage, and no interruption to productive work, but which possess potential for any of the foregoing. While there is thankfully no injury or damage the important thing to do is to report all close calls.

To report a close call, go to the SAFETY FIRST web site for specific guidance, http://safety1st.gsfc.nasa.gov/close.html

# Appendix A. ISC Facilities

ISC labs generally fall into one of the following categories: general software development and administration, ground software development, flight software development, technology development and/or demonstration, and flight software sustaining engineering. The Lab Manager can be a civil servant or contractor.

|  | Facility Name | Scope | Bldg | Room | Lab Manager |
| --- | --- | --- | --- | --- | --- |
| Ground Software Development |  |  |  |  |
|  | Real Time S/W Eng. Lab | Technology Enabling Resource | 23 | E120 | Ramona Austin/584 |
|  | Mission Applications Branch (MAB) Lab | Branch S/W development and training | 23 | C242, C246, E230 | Nancy Smith/583 |
|  | ASIST Ground S/W Facility | Provide support and testing of MIDEX ground systems | 29 | 250,360 | Edwin Fung/584 |
|  | ITOS Ground S/W Facility | Provide support and testing of SMEX ground systems | 23 | E218 | Greg Greer/584 |
|  | Science Data Systems Lab. | To facilitate the assembly, integration, development, and test of science data systems before delivery. | 23 | W316 | Ted Southerland/586/587 |
|  | Hitchhiker | Integration & Testing of experiments and GSEs, S/W Dev. For Ground System | 5 | W56 | Eve Rothenberg/584 |
|  | WFF Software Lab | Information system evaluation/development/test in support of WFF projects. | N-161 | 200 | Dwayne Morgon/589 |
| Flight Software Development |  |  |  |  |
|  | Swift FSTB | FSW Development & Test | 23 | C426* | Mike Blau/582 |
|  | ST-5 FSTB | FSW Development & Test | 23 | W322A | Mark Walters/582 |
|  | Triana AOCS FSTB | Triana AOCS | 11 | E138 | Lisa Hoge/582 |
|  | Triana C&DH FSTB | Develop and Test C&DH FSW | 23 | C426* | Mike Blau/582 |
|  | GLAS FSW Development Facility | Develop, Integrate and Test GLAS Flight Software | 14 | N291 | M. Madonado/582 Mike Oben/582 |
|  | JWST C&DH and ISIM | FSW Development & Test (JGST CC&DH Flight Software and the ISIM Flight Software) | 23 | W216 | Ken Rehm/582 Charlie Rogers/582 |
| Technology Development and/or Demonstration |  |  |  |
|  | Aquarium (TDIF) | S/W Development, Testing and Demonstration | 23 | C432 | Frank Smith/588 |
|  | Technology Development Lab | New Technology exploration | 23 | N221 | Jerry Huppman/588 |
|  | FSW Technology Initiatives Development Facility | Develop, Integrate and Test FSW Technology Initiatives | 14 | N287 | Arturo Ferrar/582 |
|  | OMNI Lab | Operating Missions as Nodes on the Internet | 23 | E120 | James Rash/588 |
|  | GMSEC | GMSEC development | 23 | E120 | John Bristow/583 |
| General Software Development and Administration |  |  |  |
|  | DSTL | UNIX, PC, LAN Server Facility | 23 | N407, N409 | Steve Naus/585 |
| Flight Software Sustaining Engineering |  |  |  |  |
|  | DASDF | FSW Support for HST | 1 | B29 | Brian Rehm/582 |
|  | Terra IVV FSTB | Verification, Validation & Post-Launch Maintenance of EOS-AM FSW | 1 | B18 | Tom Clement/582 Gerry Zavage/582 |
|  | TRMM STFF | Development & Validation of FSW, TRMM MOC procedure training | 1 | B10 | Mike Oben/582 B. Strange/582 |
|  | SAMPEX SDVF | Test FSW, Simulation, Investigate S/C Problems | 1 | B29 | Mike Oben/582 |
|  | SMEX SDVF | Provide H/W and S/W Simulators to test FSW for SWAS and FAST | 1 | B29 | Mike Oben/582 |
|  | TRACE SDVF | Testing FSW changes, support FOT usage of simulator | 1 | B10 | Mike Oben/582 |
|  | XTE SDVF | FSW Change Testing, Investigation of S/C Anamolies, FOT Simulation | 1 | B25A | Mike Oben/582 Bill Collier/582 |
|  | ESTIF | Development & Validation of HST Payload Software | 14 | W20, W22, E15B, E15D | Briam Rehm/582 |
|  | Aqua FSTB | FSW Verification & Validation and Maintenance | 14 | W224-W226 | Tom Clement/582 Tom Jackson/582 |
|  | MAP FSTB | FSW Maintenance | 1 | B21 | Mike Oben/582 |
|  | FDSDIC H/W Lab | Hardware Development, Cable Fabrication, etc. | 1 | B17 | Maureen Armbruster/582 |

*Building 23 Room C426 is not an ISD managed space. The owner of this space is Code 560. The safety requirements for this space are described in the Code 560 safety plan.

# Appendix B. Branch Emergency Information (GSFC)

(To be posted in each Branch Office and Facility Area)

____58x______ BRANCH EMERGENCY INFORMATION

GSFC EMERGENCY TELEPHONE NUMBERS

Dial 911

Other Important Numbers

GSFC Emergency Phone Number				911

(From an onsite Siemens phone)

GSFC Emergency Phone Number				301 286-8080

(From a non-Siemens phone)

Facilities Emergency Console					- X6-8080

Gatehouse						      	- X6-8661

GSFC Safety, Environment and Security Branch	 	- X6-2281

Health Unit					                 	- X6-6666

Heating & Cooling                                                       	- X6-5555

ISD MISHAP REPORTING ASSISTANCE             	- X6-6203

ISD SAFETY OFFICER                                 		- X6-5585

Security Administrative Offices	      	                       	- X6-7233

LIST OF FIRE EXTINGUISHERS   (LOCATIONS)

LIST OF FIRST AID KIT (S)  (LOCATIONS)

LIST OF INDIVIDUAL’S HAVING CPR SKILLS

(and their locations)

# Appendix C. Branch Emergency Information (WFF)

(To be posted in each Branch Office and Facility Area)

____58x______ BRANCH EMERGENCY INFORMATION

WFF EMERGENCY TELEPHONE NUMBERS

Dial 911

Other Important Numbers

WFF Emergency Phone Number				911

Security							- X4-2536

Facilities Service Desk					- X4-2466

Safety Office						 	- X4-2518

Health Unit					                 	- X4-1266

Fire Department (non-emergency) 				- X4-1300

Hazardous Waste						- X4-1718

Digging Permits						- X4- 2466

Mishap Reporting						- X4-1498

ISD MISHAP REPORTING ASSISTANCE             	- X6-6203

ISD SAFETY OFFICER                                 		- X6-5585

LIST OF FIRE EXTINGUISHERS   (LOCATIONS)

LIST OF FIRST AID KIT (S)  (LOCATIONS)

LIST OF INDIVIDUAL’S HAVING CPR SKILLS

(and their locations)

# Appendix C. Sample Job Hazard Analysis

| Job Steps | Potential Hazards | Recommended Controls |
| --- | --- | --- |
| General Office Work | Electrical shock and fire hazards – office equipment, electric heaters, appliances, and outlets Slips, Trip, and Falls – wet floors, work place obstacles Chemical exposure – cleaning products, toner etc. | General Office Safety Awareness Training Office/Work Place Evaluations for Hazard Recognition Slip, Trip, and Fall Prevention Training Follow good housekeeping practices – including closing draws, properly disposing of waste, and properly storage of materials and equipment not in use. Hazard Communication Training |
| Data Entry/Computer Use/Typing | Repetitive motion disorders and Musculoskeletal disorders Eye Strain | Ergonomics Training Ensure work area is properly illuminated, Eliminate glare on screen, Individuals requiring prescription eye wear should ensure proper focal distance is achieved without having to tilt the head. Adjust screen refresh rate as needed to eliminate screen flicker |
| Filing and Materials Handling | Musculosketal disorders – back strain etc. | Ergonomics and lifting techniques Training |

| Job Steps | Potential Hazards | Recommended Controls |
| --- | --- | --- |
| Office Equipment Use – Fax and copy machines Paper Cutters, Staplers | Potential exposure to ozone and other sensitizers Lacerations Punctures | Ensure work area is adequately ventilated Do not use paper cutters if the guard is removed or blade is dull. Keep fingers and hands away from point of operation. |
| Material Storage | Slips, Trip, and Falls Lacerations, Bruises or abrasions | Slip, Trip, and Fall Prevention Training Follow good housekeeping practices – including closing draws, properly disposing of waste, and properly storage of materials and equipment not in use. Do not store materials over head height if possible. Use appropriate ladders or stepping devices (do not use chairs as step ladders) |
| General Worker Safety and Reporting | Potential life threatening situations – fire, explosion, chemical release etc. | Know where fire or emergency pull stations are located in the building. Know the emergency evacuation routes for the building and the rally point once outside. |

| Job Steps | Potential Hazards | Recommended Controls |
| --- | --- | --- |
| General Worker Safety and Reporting (cont.) | Potential injury due to the presents of work place hazards such as broken handrail, broken chair, torn carpet presenting a trip hazard. | GSFC Close Call/Mishap reporting system training Perform periodic work place assessments for potential hazards. Know your building FOM and report hazards to them for correction. Know procedures for reporting work related injuries. |

Employee Signature 							Date

Supervisor Signature						Date

# Text boxes

National Aeronautics and

Goddard Space Flight Center

Greenbelt, MD

Space Administration