### Local Emergency Plan

Condensed Matter Physics and Materials Science Department

###### LOCAL EMERGENCY PLAN

Building:	480					Occupancy: 40

| Position | Name | Extension | Home Phone | Pager No. |
| --- | --- | --- | --- | --- |
| Plan Preparer | Robert Sabatini | 3509 | N/A | N/A |
| Building Manager | Ken Sutter | 4514 | 289-8212 | 0860 |
| Primary LEC | Ken Sutter | 4514 | 289-8212 | 0860 |
| Secondary LEC | Robert Sabatini | 3509 | 886-1144 | N/A |
| ES&H Coordinator | Robert Sabatini | 3509 | 886-1144 | N/A |
| Asst. ES&H Coordinator | Ken Sutter | 4514 | 289-8212 | 0860 |
| FSS Representative | Nick Contos | 3205 |  |  |

# Date Prepared: 	2/3/06

Frequency of Review: Annual

Date reviewed	Reviewed By	Review Type/Pages Changed

2/3/06				R. Sabatini			rev. 1

7/5/06				R. Sabatini			rev. 2

Every facility should establish an effective program to respond to emergencies.  For this to work, every employee should be prepared to handle emergencies before they arise.  This documents outlines the Employee Action Plan to address workplace emergencies.

EMERGENCY EVACUATION PROCEDURES AND ROUTES

Every employee should familiarize themselves with exits in their workplaces, including a second way out in case the main way is blocked.

Building Map

Maps can be obtained from http://epweb.pe.bnl.gov/om/mmc/keyplan/keyplans.asp

All employees are expected to leave the building and report to the outdoor assembly area when the fire alarm bells ring.  No one is authorized to remain in the facility during an emergency.

## ACCOUNTABILITY FOR EMPLOYEES

Accountability for employees should be performed after an evacuation.  Based upon direction given in an emergency, all employees must assemble at the appropriate areas.

- BUILDING INDOOR ASSEMBLY AREA:		Main Lobby

- BUILDING OUTDOOR ASSEMBLY AREA:	Rear Loading Platform

- SHELTER-IN-PLACE AREA:			1st Floor Conference Room

- PERSONNEL ACCOUNTABILITY: The LEC or designee will account for employees.  The information must be given to Fire-Rescue upon arrival.

##### SITE-EMERGENCY SIGNALS

- CONTINUOUS SOUNDING OF SITE SIRENS FOR FIVE MINUTES - Proceed immediately to the Indoor Building Assembly Area.  Await instructions that may include the nature of the emergency, the type, sequence, and routes for evacuation.

- INTERMITTENT SOUNDING OF SITE SIRENS FOR FIVE MINUTES - Evacuate the Site Immediately.

- Plectron:

Location: 			Main Lobby

Responsible Individual:             	Ali Lopez

Note: The Plectron must be placed in an area that is constantly occupied or in an area that is accessible to occupants of the buildings, e.g., corridor near mailboxes.

FOR ADDITIONAL INFORMATION OR QUESTIONS, CONTACT THE

LOCAL EMERGENCY COORDINATOR

##### LOCAL EMERGENCIES AND SIGNALS

FIRE:  Upon notice of fire or sounding of the alarm bells, proceed immediately to the outdoor Building Assembly Area.  Await instructions that may include the nature of the emergency, the type, sequence, and routes for further evacuation.  When the fire alarm bells ring, a call must be made to the BNL Fire Rescue Group on extension 2222, confirming their receipt of the alarm.  Any information known about the condition that caused the alarm should be given at that time.

#### MEDICAL: Rescue and Medical Duties - Employees are expected to help minimize damage and assist personnel during an emergency to the best of their abilities and when their safety is not threatened.  The BNL Fire Rescue Group is trained, equipped, and has the main responsibility to render emergency assistance.

SPECIFIC HAZARDS:

- Radiological – 	X-ray Lab 2-205 and Lab 1-7

- Toxicological – 	none

- Physical – 	none

- Other –		none

##### OTHER INFORMATION

Training - The Department/Division must designate and train a sufficient number of persons to assist in the safe and orderly emergency evacuation of employees for this facility.  They are as follows:

- Ken Sutter 		x4514

- Arnold Moodenbaugh	x3870

- Ali Lopez		x2590

The (Department Chair/Division Manager/employee’s supervisor/ESH Coordinator ) is responsible for reviewing the plan with each employee covered by the plan.  This training occurs when the plan is initially developed; whenever the employee's responsibilities or designated actions under the plan change; and whenever the plan is changed.

Provide Fire/Rescue (Chief@bnl.gov) with one copy of this plan each time it is issued.

OPTIONAL INFORMATION

##### Description of Hazards

A.	The                        facility requires a Local Emergency Plan for the following reasons.

1.

2.

3.

B.	Building 480 contains a 90-day collection point for hazardous chemical waste.

This/These is/are located (see Ken Sutter for details)

Emergency exits are located Main door, rear lobby, SE corner, Module each end, labs #2through #10, 113,113b all have exit doors.

C.  	The types of emergencies that might affect this facility are

1. Operations

During normal operations, the emergencies that may affect this facility are

- Fire – A fire in this facility could result in injuries.

The main fire hazard(s) is/are from electrical/chemical sources.

The locations of the portable fire extinguisher and fire alarm boxes are shown on the attached diagram. In hallways outside labs.

- Explosions - An explosion is not possible, since the amounts of chemicals in the building are small, and materials capable of explosion are not present.

c.	Industrial Accidents - An industrial accident(s) is (are) possible in the machine shop area.

g.	Personnel Exposure is a potential problem in the  NA

area due to exposure to

h.	Oil and Hazardous Material Spills

All chemicals are stored over secondary containment pallets and within secondary containers capable of containing the full contents of the material in the event of al spill.  In addition, spill absorbent materials are located in various areas for cleaning up small incidental spills.

i.	Air and Water Pollution - This facility does not have any operations that allows permitted discharges to the water and air

2.	This facility (does not) have quantities of chemicals in excess of SARA Threshold Planning Quantities (TPQ). These are listed below. Consequences can be ascertained from the BNL Hazard Assessment.

_____________________	 _____________________		_____________________

_____________________	 _____________________		_____________________

Building Emergency Equipment

(State below or on diagram the emergency equipment in the building).  (This information may be maintained elsewhere, but must be readily available to emergency responders.  If maintained elsewhere, state its location).

A.	Fire Protection

- Fire extinguishers are located 		in hallways and some labs

- Smoke and Heat detectors are located 		in offices, labs and hallways

- Automatic sprinkler systems are located in new west end labs (old highbay area) and south annex

- Fire alarm pull boxes are located 	lobby, east corridor, second floor, module, east and west end of new lab areas, south annex.

- Halon Systems are located in 			NA

- Standpipe connections are located in 		outside northside of bldg.

B	Radiation detection equipment (list equipment) 	none

are located

C.     Emergency and Safety Related Equipment

- SCBA are located 			none

- Spill control products such as absorbent materials, gloves     are located 	rear lobby and 90-day area.

- PA System is maintained and controlled by 				none

- Safety showers and emergency eye wash stations are located 	hallways near labs

# Text boxes

TO REPORT A FIRE, SPILL, MEDICAL OR OTHER EMERGENCY, DIAL 911 OR 2222.  IF USING A CELL PHONE, DIAL 631-344-2222.  IF A TELEPHONE IS NOT AVAILABLE, USE A FIRE ALARM BOX.

Brookhaven National Laboratory

Condensed Matter Physics and Materials Science Department

Rev. 2   July 5, 2006

Prepared by: R. Sabatini			Reviewed by: K. Sutter			Approved by: J. Misewich