BOREAS RSS-11 Ground Network of Sunphotometer Measurements

Summary

The BOREAS RSS-11 team operated a network of five automated (Cimel) and two hand-held (Miami) solar radiometers from 1994 to 1996 during the BOREAS field campaigns.  The data provide aerosol optical depth measurements, size distribution, phase function, and column water vapor amounts over points in northern Saskatchewan and Manitoba, Canada.  The data are useful for the correction of remotely sensed aircraft and satellite images.  The data are provided in tabular ASCII files.

Table of Contents

1.  Data Set Overview

2.  Investigator(s)

3.  Theory of Measurements

4.  Equipment

5.  Data Acquisition Methods

6.  Observations

7.  Data Description

8.  Data Organization

9.  Data Manipulations

10. Errors

11. Notes

12. Application of the Data Set

13. Future Modifications and Plans

14. Software

15. Data Access

16. Output Products and Availability

17. References

18. Glossary of Terms

19. List of Acronyms

20. Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS RSS-11 Ground Network of Sunphotometer Measurements

1.2 Data Set Introduction

A ground-based sunphotometer network was installed within the BOReal Ecosystem-Atmosphere Study (BOREAS) study areas to characterize the size and distribution of atmospheric aerosols and column water vapor amount and to aid in the correction of aircraft and satellite imagery.  Automated sunphotometer data are available fairly continuously from early 1994 through 1996 for two sites in the Northern Study Area (NSA) and two in the Southern Study Area (SSA).  Data from a fifth automated instrument located at the Flin Flon airport at the Manitoba/Saskatchewan border; this instrument was moved in 1996 to Paddockwood, SK, in the SSA.  Measurements made by two additional hand-held instruments, operated during the 1994-96 time period at each of the study areas, are also a part of this data set.  A local observer made the hand-held measurements near noon when the Sun was not obscured by any clouds.

1.3 Objective/Purpose

The purpose was to establish a data set of aerosol, water vapor, and ozone atmospheric properties in the BOREAS region for a 3-year period for use by BOREAS in atmospheric correction of remotely sensed data.  Another goal was to establish an aerosol climatology of the region by specifying, for example, the annual cycle of aerosol loading across the region.

1.4 Summary of Parameters

Parameters:

Direct solar irradiance (340, 380, 440, 500, 670, 870, 1020nm)

Sky radiance (440, 670, 870, 1020nm)

Aerosol optical thickness

Column water vapor amount

1.5 Discussion

A network of five automated (Cimel) and two hand held (Miami) solar radiometers were operated during the 1994-1996 time period for BOREAS to provide aerosol optical depth measurements, size distribution, phase function, and column water vapor amounts.  The purpose was to establish a data set of aerosol, water vapor and ozone atmospheric properties in the BOREAS region for a three year period for use by BOREAS in atmospheric correction of remotely sensed data.

1.6 Related Data Sets

BOREAS RSS-03 Reflectance Measured from a Helicopter-Mounted Barnes MMR

BOREAS RSS-12 Airborne Tracking Sunphotometer Measurements

BOREAS RSS-12 Automated Ground Sun Photometer Measurements in the SSA

BOREAS RSS-18 Ground Sunphotometer Measurements in the SSA

An additional data set collected and used in comparison was sunphotometer measurements made by Norman O’Neill (RSS-19) at the Canada Centre for Remote Sensing (CCRS).  These data were not submitted to the BOREAS Information System (BORIS).

2. Investigators

2.1 Investigators Name and Title

Brian L. Markham

Physical Scientist

2.2 Title of Investigation

Characterization of Atmospheric Optical Properties for BOREAS

2.3 Contact Information

Contact 1

---------

Brian L. Markham

NASA/GSFC

Greenbelt, MD

(301) 286-5240

(301) 286-0239/1757 (fax)

Brian.L.Markham.1@gsfc.nasa.gov

Contact 2

---------

Joel Schafer

NASA/GSFC

Greenbelt, MD

(301) 286-4547

(301) 286-0239 (fax)

Joel.S.Schafer.1@gsfc.nasa.gov

Contact 3

---------

Jaime Nickeson

BORIS RSS Team Representative

NASA/GSFC

Greenbelt, MD

(301) 286-3373

(301) 286-0239 (fax)

Jaime.Nickeson@gsfc.nasa.gov

3. Theory of Measurements

Sunphotometers measure direct surface irradiance.  Because direct solar irradiance depends on the atmospheric transmission, the components affecting this transmission such as aerosol optical thickness (AOT), water vapor column abundance, ozone absorption, and molecular scattering can either be estimated or bemeasured.

Optical thickness is calculated from spectral extinction of direct beam radiation at each wavelength based on Beer's Law:

where                V = digital voltage measured at wavelength 

Vo = extraterrestrial voltage

m  = optical airmass

  = total optical thickness

R  = relative Earth-Sun distance

Attenuation due to Rayleigh scatter, and absorption by ozone and gaseous pollutants is estimated and removed to isolate the AOT ().

The dependence of transmission, Tw, on water column abundance can be written as the following [Halthore et al., 1992, Bruegge et al, 1992]:

where W is the vertical column abundance (cm), and the constants a and b depend on the wavelength position, width and shape of the filter function, and atmospheric conditions.

Sky radiance measurements are inverted with radiative transfer equations [Nakajima et al., 1983] to provide aerosol properties of size distribution and phase function over the particle size range of 0.1 to 5 µm.

4. Equipment

4.1 Sensor/Instrument Description

4.1.1 Collection Environment

The automated sunphotometers operated during non-winter months according to their diurnal schedule (section 4.1) when there was no precipitation and the atmosphere is clear enough to allow the instrument to focus on the Sun with a four-quadrant detector (AOT roughly <6.0).  Precipitation activates an externally mounted wet sensor that causes the instrument to remain in the parked (nadir) position.

4.1.2 Source/Platform

All instruments were mounted on the roof of a building or hut, with a clear view of the sky above 5 degrees elevation angle.

The handheld instruments were held by the human observer.

4.1.3 Source/Platform Mission Objectives

The purpose of the building roof was to cover the building and provided a convenient place to mount the sunphotometers.

The objectives of the human observer during the measurement times was to obtain good measurements and varied at others.

4.1.4 Key Variables

Direct solar irradiance

Sky radiance

4.1.5 Principles of Operation

Eight interference filters are located in a filter wheel that is rotated by a direct drive stepping motor.  A thermistor measures the temperature of the detector, allowing compensation for any temperature dependence in the silicon detector.

The sensor head is pointed by stepping azimuth and zenith motors with a precision of 0.05 degrees.  A microprocessor computes the position of the sun based on time, latitude, and longitude and directs the sensor head to within approximately 1 degree of the Sun.  Then, a four-quadrant detector tracks the Sun precisely prior to a programmed measurement sequence.

4.1.6 Sensor/Instrument Measurement Geometry

The Cimel automatic sunphotometers take direct solar irradiance and sky radiance measurements with a 1.2-degree FOV.

4.1.7 Manufacturer of Sensor/Instrument

The automatic sunphotometers were made by:

Cimel Electronique

5 Cite de Phalsbourg

75011 Paris, France

The hand-held sunphotometers were made by:

University of Miami

Dept. of Meteorology

Coral Gables, FL 33124

4.2 Calibration

A number of automatic sunphotometers from the Goddard Space Flight Center (GSFC) were regularly taken to the Mauna Loa Observatory in Hawaii, where the Langley method of calibration [Shaw, 1983] was used for absolute calibration.  Instruments used for BOREAS were calibrated by intercomparison with reference instruments using measurements conducted on the top of a building at GSFC on clear days with low aerosol loading.  On occasion, in-field Langley calibrations were performed.

For the 940-nm channel that includes water absorption, calibration was performed using the following procedure.

At 940 nm, the measured digital voltage is:

where t is the extinction due to Rayleigh and aerosol scatter and water vapor absorption, and Tw, again, is water vapor transmission.

Combining this relation with that of Section 3 describing

yields:

Plotting the left-hand side of the above equation against mb gives a straight line with the desired y-intercept ln(Vo) and slope Wb [Halthore et al 1997].  This modified Langley method was used only for calibrating the water vapor band.

Hand-held instruments are intercalibrated at the beginning and end of the season with collocated automatic instruments on clear days of low aerosol.

4.2.1 Specifications

The automatic instruments used were Cimel CE-318s which, during 1994, had 10-nm bandpass filters in the visible and near-infrared with center wavelengths at 340, 380, 440, 670, 870, 940, and 1020 nm, with an additional 50-nm bandpass filter centered at 940 nm.  The two 940-nm channels were to be used for column water vapor abundance determination.  The wider bandpass filter proved unnecessary for determinating water vapor column abundance, so it was replaced with a 10-nm bandpass filter centered at 500 nm in spring of 1995.  In addition to measuring solar irradiance with a field of view (FOV) of 1.2 degrees, these instruments measure the sky radiance in four spectral bands (440, 670, 870, and 1020 nm) along the solar principal plane (i.e., at constant azimuth angle, with varied solar zenith angles) up to nine times a day and along the solar almucantar (i.e., at constant solar zenith angle, with varied azimuth angles) up to six times a day.

The two hand-held sunphotometers have four channels (500, 670, 870, and 940 nm).  They are capable of only the direct solar measurements and require manual data entry.  They have a peak hold feature that allows them to record the highest voltage response when pointed in the general direction of the Sun.

4.2.1.1 Tolerance

If the aerosol conditions were considered to be constant during the Langley procedures at Mauna Loa, then deviation of measurements from the linear regression line gives an indication of the sunphotometer precision.  Triplet variability from three reference instruments deployed at Mauna Loa was calculated based on 168, 264, and 288 observations, respectively.  For all wavelengths, the variability of a triplet was always less than 1%, and generally about 0.3%, suggesting that uncertainty due to instrument precision is minimal [Holben et al., 1996].

4.2.2 Frequency of Calibration

The instruments were intercompared at GSFC on clear days with reference Cimels calibrated by Langley or modified Langley techniques at Mauna Loa.  This process was done before and after each field campaign, and the reference instrument (#13) was taken to Mauna Loa every 6 months.  Occasionally, filter changes during deployment or short-term contamination by spider webs in the collimator warranted the use of in-field Langley calibrations.

4.2.3 Other Calibration Information

The instrument referred to below as #13 is the reference instrument used for BOREAS.

1994 Cimel Sun data are calibrated as follows:

The ratios of the post season to preseason calibrations follow for each instrument in the order.  The bracketed numbers are for instrument #31 and #32

1020         870          670         440       340[380]        380[340]

#11 NSA-YJP -- interpolated between the May cross comparison with #13 and the                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                         November cross comparison with #13 (with the exception of the June 26 through July 4 -- a spider web incident that was calibrated with onsite Langley techniques for 26-Jun-1994).

0.99233306   1.00224738   0.99804205   1.0118189   0.97430213   1.01370528

#12 Flin Flon-- interpolated between the May cross comparison with #13 and the November cross comparison with #13.

0.96776048   0.97619891   0.98253527   0.95644371  0.89236603   0.90532343

#31 YJP-SSA -- interpolated between the May cross comparison with  #13 and November cross comparison with #13.

0.99090514   0.99927597   0.98348781   0.99160097  0.99534901   0.94812591

#32 Waskesiu -- used May cross comparison with #13 for full BOREAS season (with exception of 21-25 July-1994 spider web incident calibrated with onsite Langley techniques)  -- the November cross comparison with #13 was not valid for BOREAS because of an apparent change in the instrument during its return.

#6  Thompson Zoo/Prince Albert -- used May cross comparison with #13 until 09-Jun-1994; used cross comparison with #13 in July until 11-Jul-1994; interpolated between 11-July-1994 cross comparison with #13 and 12-Oct-1994 cross comparison with #13.

1.00103256   0.98735627   0.96687931   0.74577641  1.02234866      mid season

1.01655301   1.016745     0.99002756   0.74729656  1.05768801      post season

1995 Cimel sunphotometer data are calibrated as follows:

The time and date are given for each zero airmass voltage (Vo) and for each wavelength and  the seasonal change in filter response is given as well.

#6 Flin Flon

Wavelength             1020            870            670            500

DATE: 08-May-95       12517.458       12897.622      13899.506     13655.055

TIME: 22:32:37

DATE: 05-Nov-95       12582.104       12927.327      13833.724      13723.94

TIME: 15:58:58

Post/preseason          1.005          1.002           0.995          1.005

#11  Waskesiu

Wavelength             1020            870            670            500

DATE: 07-May-95       12885.336        9326.284      14941.283      18483.47

TIME: 14:41:54

DATE: 29-Dec-95       13404.445        9648.732      15809.717      18588.241

TIME: 17:31:53

Post/preseason          1.04            1.035          1.058          1.006

#12 Thompson

Wavelength             1020            870            670            500

DATE: 08-May-95       13327          13223          12849           17887

TIME: 15:49:24

DATE: 07-Dec-95       13291          13418          13149           17854

TIME: 16:37:45

Post/preseason        0.997          1.015          1.023           0.998

#31 YJP-SSA

Wavelength             1020            870            670            500

DATE: 07-May-95       13329.603      13645.573       14900.62       18606.043

TIME: 15:49:23

DATE: 29-Dec-95       13620.063      14025.419       15261.078      18132.432

TIME: 17:31:58

Post/preseason        1.022          1.028          1.024           0.975

#35 YJP-NSA

Wavelength             1020            870            670             500

DATE: 08-May-95       19516.054      14028.61       22462.976        9513.898

TIME: 22:21:34

DATE: 07-Jun-95       19819.766      14270.977      22896.422        9808.112

TIME: 11:12:32

DATE: 02-Dec-95       19953.95       14316.853      22858.584        9665.12

TIME: 16:34:38

Post/preseason        1.022          1.021          1.018           1.016

#6 Flin Flon

Wavelength              440            380            340             940

DATE: 08-May-95       18147.869      19241.212      19757.94        22399.36

TIME: 22:32:37

DATE: 05-Nov-95       18344.145      20505.336      18284.42        20831.22

TIME:  15:58:58

Post/preseason        1.108          1.066          0.925           0.93

#11 Waskesiu

Wavelength              440            380            340             940

DATE: 07-May-95       18296.37       21366.285      33970.048       21292.029

TIME: 14:41:54

DATE: 29-Dec-95       19135.821      22185.209      30718.195       21590.383

TIME: 17:31:53

Post/preseason        1.046          1.038          0.904           1.014

#12 Thompson

Wavelength              440            380            340             940

DATE: 08-May-95       16964          24463          32590           29583.1

TIME: 15:49:24

DATE: 07-Dec-95       17465          25282          31927           28451.3

TIME: 16:37:45

Post/preseason        1.03           1.033          0.98            0.962

#31 YJP-SSA

Wavelength             440            380            340             940

DATE: 07-May-95       16585.035      17619.795      32936.416       23163.098

TIME: 15:49:23

DATE: 29-Dec-95       15980.247      18374.366      28336.05        22616.378

TIME: 17:31:58

Post/preseason        0.964          1.043          0.86            0.976

#35 YJP-NSA

Wavelength             440            380            340             940

DATE: 08-May-95       18035.776       6789.077      33650.941       32735.451

TIME: 22:21:34

DATE: 07-Jun-95       17950.115       7319.054      34008.235       32404.751

TIME: 11:12:32

DATE: 02-Dec-95       18170.429       7149.50       32357.469       31599.466

TIME: 16:33:38

Post/preseason        1.007          1.053          0.962           0.965

1996: Cimel sunphotometer data are calibrated as follows:

The time and date are given for each zero airmass voltage (Vo) and for each wavelength, and the seasonal change in filter response is given as well, where appropriate.

#12 Thompson

Wavelength            1020            870            670             500

DATE: 27-Apr-96       13420.234      13491.316      13087.821       18244.657

TIME: 20:05:38

DATE: 04-Nov-96       13557.683      13635.545      12996.507       18142.348

TIME: 17:32:28

Post/preseason        1.01            1.011         0.993           0.994

#12 Thompson

Wavelength             440            380            340             940

DATE: 27-Apr-96       17474.941       25292.378     30613.31        29172.311

TIME: 20:05:38

DATE: 04-Nov-96       17271.154       24877.615     30012.10        28021.078

TIME: 17:32:28

Post/preseason	    0.988           0.984         0.98            0.961

#10 Paddockwood

Wavelength            1020            870            670             500

DATE: 31-Mar-96       12449.513        8361.421     11602.164       15602.52

TIME: 15:59:22

#10 Paddockwood

Wavelength              440            380            340             940

DATE: 31-Mar-96       15192.358       20776.75      26675.68        20253.18

TIME: 15:59:22

#31 YJP SOUTH

Wavelength            1020            870            670             500

DATE: 29-Dec-95       13620.063       14025.419     15261.078       18132.432

TIME: 17:31:58

#31 YJP SOUTH

Wavelength              440            380            340             940

DATE: 29-Dec-95       15980.247       18374.366     28336.050       22616.378

TIME: 17:31:58

#35 YJP NORTH

Wavelength             1020            870            670             500

DATE: 24-Apr-96       19600.860       14273.589     22715.018        9523.237

TIME: 15:20:45

DATE: 20-Dec-96       19295.777       13997.458     22520.035        9453.443

TIME: 18:32:59

Post/preseason        0.984           0.981         0.991            0.993

#35 YJP NORTH

Wavelength	            440            380            340             940

DATE: 24-Apr-96       18016.307        6759.045     30243.207       31001.937

TIME: 15:20:45

DATE: 20-Dec-96       18160.719        6866.885     29525.022       29548.983

TIME: 18:32:59

Post/preseason        1.008           0.976         1.016            0.953

#11 Waskesiu

Wavelength             1020            870            670             500

DATE: 24-Apr-96       13622.427        9649.122     15575.813       18969.570

TIME: 16:13:30

DATE: 02-Dec-96       13602.240        9565.654     15565.203       18980.755

TIME: 19:10:59

Post/preseason        0.999           0.991         0.999            1.001

#11 Waskesiu

Wavelength              440            380            340             940

DATE: 24-Apr-96       19495.370       29884.542     22098.695       21705.495

TIME: 16:13:30

DATE: 02-Dec-96       19322.585       28941.093     21926.102       21078.678

TIME: 19:10:59

Post/preseason        0.991           0.992         0.968            0.971

5. Data Acquisition Methods

A preprogrammed sequence of measurements is taken by these instruments starting at an airmass of 7 in the morning and ending at an airmass of 7 in the evening.  During the large airmass periods, direct Sun measurements are made at 0.25 airmass intervals; at smaller airmasses, the interval between measurements is typically 15 minutes.  The almucantar measurements are taken at 0.5-degree intervals near the Sun (within 6 degrees) and increase from 2 to 10 degree intervals away from the solar position.  The data are collected and transmitted via the Geostationary Environmental Satellite (GOES) at 1-hour intervals to a computer at Wallops Island Flight Facility [Holben et al., 1996].

The hourly transmitted radiometer data stream includes date, time, temperature, battery voltage, wet sensor status, and time of transmission as well as several levels of identification numbers.  The Vitel transmitter adds a time stamp at the time of transmission, as does the Wallops receiving station.  The transmitter also checks for parity errors and signal strength of the transmission.  After data are downloaded from the central receiving station, a status report and a troubleshooting report are automatically generated and e-mailed to appropriate system and instrument managers.  The status report provides a comprehensive assessment of the operation of the radiometer and the Vitel transmitter for the data transmitted with the current download.  Network managers then have sufficient information to assess the operation of individual stations.

Within Demonstrat, a package of user-friendly UNIX software, the raw data (voltages) are converted to AOT or precipitable water using the relevant instrument-specific calibration coefficients.

6. Observations

6.1 Data Notes

The data sets are generally complete from May to October or September with some exceptions noted below.

1994:

#11 YJP-NSA			26-Jun - 04-Jul 		collimator obstruction

#32 Waskesiu, SK		21-Jul - 25-Jul		collimator obstruction

1995:

#11 Waskesiu, SK		01-Aug - 22-Aug		collimator obstruction

#31 YJP-SSA			04-Sep - 07 Sep

#31 YJP-SSA			12-Sep - 22-Sep

#31 YJP-SSA			01-Jun - 01-Jul		removed because of local forest 								fire

1996:

#10 Paddockwood		18-Apr - 27-Apr		* Installed in February *

02-Sep - 14-Sep

#11 Waskesiu, SK		01-May - 12-May

04-Sep - 30-Sep

#31 YJP-SSA			23-Sep - 02-Oct

15-May - 29-May

04-Sep - 08-Sep		(440-nm unusable)

12-Sep - 23-Sep 		(440-nm unusable)

#35 YJP-NSA			24-Sep - 03-Oct

The hand-held records are generally complete for the whole year depending on availability of the observer.

6.2 Field Notes

None given.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

Deployment Sites            Latitude    Longitude   UTM Easting  UTM Northing

1994:

Flin Flon, MB               54.67777N   101.67843W    327315.2     6062229

NSA-YJP                     55.89575N    98.28706W    544583.9     6194706.9

NSA-Thompson Airport        55.78344N    97.83359W    573151.1     6182593.1

SSA-YJP                     53.87581N   104.64529W    523320.2     5969762.5

Prince Albert Airport       53.20004N   105.68383W    454320.6     5894742.2

SSA-Lake Waskesiu           53.91672N   106.06717W    429909.5     5974783.3

1995:

SSA-YJP                     53.87581N   104.64529W    523320.2     5969762.5

NSA-YJP                     55.89575N    98.28706W    544583.9     6194706.9

SSA-Lake Waskesiu           53.91672N   106.06717W    429909.5     5974783.3

Flin Flon, MB               54.67777N   101.67843W    327315.2     6062229

NSA-Thompson Zoo            55.75N       97.8867W     571137       6178837

1996:

SSA-YJP                     53.87581N   104.64529W    523320.2     5969762.5

NSA-YJP                     55.89575N    98.28706W    544583.9     6194706.9

SSA-Lake Waskesiu           53.91672N   106.06717W    429909.5     5974783.3

SSA-Paddockwood School      53.50951N   105.56697W    462400       5929100

NSA-Thompson Zoo            55.75N       97.8867W     571137       6178837

In addition, a hand-held sunphotometer was operated at Lake Waskesiu and Thompson during each year.

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

Each sunphotometer takes measurements that are generally representative of the local area under quiescent conditions.  During forest fire episodes, however, the spatial resolution depends on the nature of smoke dispersion.

7.1.4 Projection

Not Applicable

7.1.5 Grid Description

Not Applicable

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Automatic sunphotometer data are acquired at 0.25 or 0.5 airmass intervals from an airmass of 7 up to 2.  Air mass is approximately equal to 1/cos(zenith angle).  Then, measurements are made every 15 minutes until an afternoon airmass of 2, where time intervals are again dictated by airmass fractions.

7.2.2 Temporal Coverage Map

The following are the operation periods for the Cimel automatic sunphotometers during the 1994, 1995, and 1996 BOREAS campaigns:

1994	OPERATION PERIODS

Flin Flon, MB			19-May - 13-Sep

NSA-YJP				18-May - 26-Jun, 4-Jul - 01-Nov

SSA-YJP				23-May - 13-Oct

Waskesiu, SK			25-May - 21-Jul, 25-Jul - 13-Oct

Thompson, MB			08-Jun - 13-Jun, 27-Jul - 10-Sep

Prince Albert, SK			17-May - 06-Jun, 20-Jul - 26-Jul, 12-Sep -18-Sep

1995	OPERATION PERIODS

Flin Flon, MB			18-May - 07-Sep

NSA-YJP				16-May - 03-Nov

SSA-YJP				25-May - 01-Jun, 01-Jul - 12-Sep, 22-Sep - 21-Nov

Waskesiu, SK			24-May - 01-Aug, 22-Aug - 04-Nov

Thompson, MB			15-May - 29-Oct

1996	OPERATION PERIODS

Paddockwood, SK			27-Feb - 07-Nov

NSA-YJP				14-May - 24-Sep, 30-Sep - 09-Oct

SSA-YJP				10-May - 14-May, 28-May - 20-Sep, 01-Oct - 23-Oct

Waskesiu, SK			08-May - 14-May, 23-May - 04-Sep, 29-Sep - 27-Oct

Thompson, MB			14-May - 09-Sep

The following are the peration periods for the hand-held sunphotometers during 1994, 1995, and 1996 BOREAS campaigns.  Gaps may indicate extended cloudy conditions, instrument problems, or operator unavailability.

1994	OPERATION PERIODS

Waskesiu, SK			04-Jan - 03-Mar, 22-Mar - 26-Sep, 10-Oct - 22-Dec

Thompson, MB			01-Jan - 29-Jun, 01-Aug - 21-Oct

1995	OPERATION PERIODS

Waskesiu, SK			01-Jan - 11-Apr, 04-May - 02-Sep, 21-Sep - 08-Oct

Thompson, MB			04-Feb - 20-Dec

1996	OPERATION PERIODS

Waskesiu,  SK			03-Jan - 31-Dec

Thompson, MB			03-Jan - 31-Dec

7.2.3 Temporal Resolution

Cimels operated approximately every 15 minutes from morning to evening.  Hand-held sunphotometers were operated near noon only.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (r11sunpd.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (r11sunpd.def).

8. Data Organization

8.1 Data Granularity

All of the RSS-11 Ground Network of Sunphotometer Measurements are contained in one dataset.

8.2 Data Format(s)

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with  a single apostrophe marks. There are no spaces between the fields.  Sample data records are shown in the companion data definition files (r11sunpd.def).

9. Data Manipulations

9.1 Formulae

Equation						Used for

Calculation of optical depth

Calculation of precipitable water

Calibration of water vapor channel

Cloud-screening procedure

9.1.1 Derivation Techniques and Algorithms

Optical thickness is calculated from spectral extinction of direct beam radiation at each wavelength based on Beer's Law:

where                     V= digital voltage measured at wavelength 

m = optical airmass

 = total optical thickness

R = relative Earth-Sun distance

Attenuation due to Rayleigh scatter and absorption by ozone and gaseous pollutants is estimated and removed to isolate the AOT ().

The dependence of transmission, Tw, on water column abundance can be written as the following [Halthore et al., 1992, Bruegge et al., 1992]:

where W is the vertical column abundance (cm), and the constants a and b depend on the wavelength position, width and shape of the filter function, and atmospheric conditions.

Sky radiance measurements are inverted with radiative transfer equations [Nakajima et al., 1983] to provide aerosol properties of size distribution and phase function over the particle size range of 0.1 to 5 µm.

9.2 Data Processing Sequence

9.2.1 Processing Steps

The automatic radiometers acquire data regardless of sky conditions, except for rain, and thus require cloud-screening procedures.  Three quality control schemes are considered to reject data obtained under marginal conditions.  The Cimels perform three scan sequences spaced 30 seconds apart, and thus acquire three AOT measurements at each wavelength.  If any of these triplets exhibit a coefficient of variation of more than 12%, the data derived from all channels are rejected.  Secondly, data exhibiting an increasing or nearly flat AOT with wavelength between 440 nm and 870 nm are considered cloud-contaminated.  Therefore, data with an Angstrom coefficient, a, of less than or equal to zero are removed.  The Angstrom coefficient is calculated by:

for  at 440 nm and 870 nm, where  is wavelength.

Finally, the remaining data are plotted along with the direct Sun observations acquired during almucantar measurements exhibiting high azimuthal symmetry about the solar plane, which are expected to represent cloudless conditions.  A regression line through these almucantar observations is plotted as well.  The abscissa shows the AOT at 440 nm, while the ordinate depicts the ratio of this AOT to the Angstrom coefficient described above.  The core of the remaining data set is found to follow the trend of the almucantar regression, and outliers are removed by subjectively drawn polygons.

Hand-held data are cloud-screened in a similar, but less rigorous, manner because the manual instruments do not take triplet measurements.  The same plotting technique is used with axes of x: [500nm AOT] and y: [500nm / a (500/870)], although no almucantar measurements are available to plot simultaneously.

9.2.2 Processing Changes

None.

9.3 Calculations

None.

9.3.1 Special Corrections/Adjustments

None.

9.3.2 Calculated Variables

Water vapor, AOT.

9.4 Graphs and Plots

None.

10. Errors

10.1 Sources of Error

Error	Result

-----------------------   ----------------------------------------------------

Tracking misalignment 	Overestimation of AOT and/or reduced reproducibility

Filter degradation	Generally underestimation of AOT

Detector response	Over- or underestimation of AOT

Temperature stability 	Over- or underestimation of AOT at 1020 nm

Collimator obstruction	Overestimation of AOT

Failure to find peak 	Overestimation of AOT

response (hand-held)

10.2 Quality Assessment

All data have been cloud-screened and checked for almucantar symmetry.

10.2.1 Data Validation by Source

Pre/postdeployment intercomparison was made with reference instruments, pre/postdeployment filter calculations were made and agreement of proximal instruments was verified

10.2.2 Confidence Level/Accuracy Judgement

Data are generally good, with an absolute AOT accuracy of typically ±0.02 for the automatic sunphotometers and ±0.04 for the hand-held sunphotometers.  Precipitable water measurements have agreed within 10% of radiosonde measurements [Halthore et al., 1997].

10.2.3 Measurement Error for Parameters and Variables

The Cimels make three direct Sun measurements at each wavelength in a 30-second scan sequence.  This group of three measurements is referred to as a triplet.  The coefficient of variability of the triplets for three reference instruments deployed at Mauna Loa was calculated based on 168, 264, and 288 observations, respectively.  For all wavelengths, the variability of a triplet was always less than 1%, and generally about 0.3%, giving an estimate of the instrument's reproducibility [Holben et al., 1996].  The calibration coefficients, Vo are usually determined by averaging the y-intercepts from three to seven Langley plots at Mauna Loa Observatory.  The averaged Vo values from all calibration sessions at Mauna Loa have a coefficient of variability of ~0.25% to 0.5% for the visible and near-infrared wavelengths, ~0.5% to 2% for the ultraviolet, and ~1.0% to 3.0% for the water vapor channel [Holben et al., 1996].  The overall accuracy of AOT measurements is expected to be in the range of 0.02 at an airmass of 1.0.  The hand-held sunphotometers were calibrated by intercomparison with colocated Cimels.  The estimated level of uncertainty for these instruments is greater (0.04) because of less frequent recalibration.  For the sky radiance measurements, calibration was performed at the NASA GSFC Calibration Facility using a calibrated integrating sphere to an accuracy of +/- 5%.  For the 940-nm channel that includes water absorption, calibration was performed using a variant of the modified Langley method as described in Halthore et al. [1997].  The method used is similar to that described elsewhere; for instance, Bruegge et al., 1992b, and Halthore et al., 1992b.  Column amounts of precipitable water derived from sunphotometer measurements at BOREAS have compared favorably with radiosonde observations [Halthore et al., 1997] to within +/- 10%.

10.2.4 Additional Quality Assessments

None given

10.2.5 Data Verification by Data Center

BORIS personnel have reviewed portions of the actual parameter values and generated plots for use in visually spotting any anomalous values.

11. Notes

11.1 Limitations of the Data

None given.

11.2 Known Problems with the Data

Most data are good, though occasionally the AOT at 1020 nm will exceed that at 870 nm, or the AOT at 500 nm will exceed that at 440 nm for very low aerosol conditions (AOT 500 < 0.04), when sensitivity to aerosol is minimal and calibration errors are greatly accentuated.  Most of the apparent errors are on the order of 0.01 in AOT, so it is typically a minor concern.  On most instruments, the 340-and 380-nm channels are less reliable than the longer wavelengths, likely because of the nature of the filter design, and at times, they yield AOT values that are lower for 340 nm than 380 nm.

Triplet variation is larger for instrument #31, which is currently suspected to result from a 4-quadrant detector that is misaligned or otherwise functioning inadequately.  Similar problems in other instruments at GSFC, not involved with BOREAS are being investigated.

11.3 Usage Guidance

None given.

11.4 Other Relevant Information

None given.

12.0 Application of the Data Set

The AOT data can be used as input for standard radiative transfer programs such as LOW-resolution Radiative Transfer Code (LOWTRAN-7), MODerate Resolution Radiative Transfer Code (MODTRAN), or the Second Simulation of the Satellite Signal in the Solar Spectrum (6S) to perform atmospheric correction of remotely sensed data.

13. Future Modifications and Plans

Possible fully objective cloud-screening routine.

14. Software

14.1 Software Description

"Demonstrat" is a package of user-friendly UNIX software developed at GSFC used for data analysis and can be found at spamer.gsfc.nasa.gov.

Within Demonstrat, the raw data (voltages) are converted to AOT or precipitable water using the relevant instrument-specific calibration coefficients.

14.2 Software Access

Guest accounts are available and accessible via X-term window.  Contact persons:

Brent Holben (Brent.N.Holben.1@gsfc.nasa.gov) or  Ilya Slutsker (Ilya.Slutsker.1@gsfc.nasa.gov).

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

beth@ltpmail.gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The RSS-11 sunphotometer data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

Oak Ridge, TN

(423) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

The data are available in tabular ASCII files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

None.

17.2 Journal Articles and Study Reports

Ahern, F.J., R.P. Gauthier, P.M. Teillet, J. Sirois, G. Fedosejevs, and D. Lorente, 1991, Investigation of continental aerosols with high-spectral-resolution solar-extinction measurements, Appl. Optics, 30, 5276-5287.

Bruegge, C.T., J.E. Conel, R.O. Green, J.S. Margolis, R.G. Holm, and G. Toon, 1992, Water vapor column abundance retrievals during FIFE, JGR, 97(D19), 18759-18768.

Bruegge, C.T., R.N. Halthore, B. L. Markham, M. Spanner, and R. Wrigley, 1992, Aerosol optical depth retrievals over the Konza Prairie, JGR, 97(d19), 18743-18758.

d'Almeida, G.A., and P. Koepke, 1998, An approach to a global optical aerosol climatology, in Aerosols and Climate, edited by P.V. Hobbs and M.P. McCormick, Deepak Publishing, Hampton, VA.

Halthore, R.N., B.L. Markham, R.A. Ferrare, and T.O. Aro, 1992, Aerosol optical properties over the midcontinental United States, JGR, 97(D17), 18769-18778.

Halthore, R.N., T.F. Eck, B.N. Holben and Brian Markham, 1997, Sunphotometric measurements of atmospheric water vapor column abundance in the 940-nm band, JGR.

Hansen, J.E. and A.A. Lacis, 1990, Sun and dust versus greenhouse gases:  An assessment of their relative roles in global climate change, Nature, 345, 713-719.

Hegg, D.A., P.V. Hobbs, R.J. Ferek, and A.P. Waggoner, 1995, Measurements of some aerosol properties relevant to radiative forcing on the east coast of the United States, J. Appl. Meteor., 34, 2306-2315.

Holben, B.N., T.F. Eck and R.S. Fraser, 1991b, Temporal and spatial variability of aerosol optical depth in the Sahel region in relation to vegetation remote sensing, Int. J. Remote Sens., 12, 1147-1163.

Holben, B.N., T.F. Eck, I. Slutsker, D. Tanré, J.P. Buis, A. Setzer, E. Vermote, J.A. Reagan, Y.J. Kaufman, T. Nakajima, F. Lavenu and I. Jankowiak, Automatic sun and sky scanning radiometer system for network aerosol monitoring, Rem. Sens. Environ. (in press)

Holben, B.N., Y.J. Kaufman, A. Setzer, D. Tanré, and D.E. Ward, 1991a, Optical properties of aerosol from biomass burning in the tropics, BASE-A, in Global Biomass Burning, the MIT Press, Cambridge, MA, 403-411.

Kaufman, Y.J., A. Setzer, D. Ward, D. Tanré, B.N. Holben, P. Menzel, M.C. Pereira, and R. Rasmussen, 1992, Biomass burning airborne and spaceborne experiment in the Amazonas (BASE-A), J. Geophys. Res., 97(D13), 14581-14599.

Kaufman, Y.J., B.N. Holben, D. Tanré, and D.E. Ward, 1994, Remote sensing of biomass burning in the Amazon, Remote Sensing Reviews, 10, 51-90.

Lenoble, J., 1993, Atmospheric Radiative Transfer, Deepak Publishing:  Hampton, VA, pp 532.

Markham, B.L., J.S. Schafer, B.N. Holben, and R.N.Halthore, 1997, "Atmospheric aerosol and water vapor characteristics over north central Canada during BOREAS", JGR (in press)

Nakajima, Y., M. Tanaka and T. Yamauchi, 1983, Retrieval of the optical properties of aerosols from aureole and extinction data, Appl. Opt., 22, 2951-2959.

Reagan J.A., K.J. Thome, and B.M. Herman, 1992, A simple instrument and technique for measuring columnar water vapor via Near-IR differential solar transmission measurements, IEEE Trans. Geosci. Remote Sensing, 30, 825-831.

Sellers, P.and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P.and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall and  K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P.and F. Hall. 1997. BOREAS Overview Paper. JGR Special Issue (in press).

Shaw, G.E., 1983, Sun photometry, Bull. Am. Meteorol. Soc., 64, 4-10.

Thome, K.J., B.M. Herman and J.A. Reagan, 1992, Determination of precipitable water from solar transmission, J. Appl. Met., 31, 157-165.

Twomey, S., 1991, Aerosols, clouds and radiation, Atmos. Environ., 25(A), 2435-2442.

Ward, D.E., R.A. Susott, J.B. Kauffman, R.E. Babbit, D.L. Cummings, B.Dias, B.N. Holben,Y.J. Kaufman, R.A. Rasmussen and A.W. Setzer, 1992, Smoke and fire characteristics for cerrado and deforestation burns in Brazil:  BASE-B experiment, J. Geophys. Res., 97(D13), 14601-14619.

18. Glossary of Terms

Aerosol optical depth - a dimensionless measure of the extinction of the direct solar beam due to scattering and absorption by atmospheric particulates.

Air mass - approximately equal to 1/cos(solar zenith angle)

Almucantar - sunphotometer procedure that measures the sky radiance in four spectral bands (440, 670, 870, and 1020 nm) at constant solar zenith angle, with varied azimuth angles ranging from 0.25-degree intervals near the solar azimuth position to 10-degree intervals far from the solar azimuth position.

Asymmetry parameter - average cosine of the scattering angle weighted by the phase function.

Phase function - a dimensionless measure of the relative scattering intensity of a particle as a function of angle relative to the original propagation direction.

Rayleigh scatter - scatter of solar energy by gaseous molecules that is highly predictable for a given atmospheric pressure.

19. List of Acronyms

6S      - Second Simulation of the Satellite Signal in the Solar Spectrum

AOT     - Aerosol Optical Thickness

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOReas Information System

CCRS    - Canada Centre for Remote Sensing

DAAC    - Distributed Active Archive Center

EOS     - Earth Observing Satellite

EOSDIS  - EOS Data and Information System

FOV     - Field of View

GOES    - Geostationary Operational Environmental Satellite

GSFC    - Goddard Space Flight Center

LOWTRAN - LOW resolution radiative TRANsfer code

MODTRAN - MODerate resolution radiative TRANsfer code

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

SSA     - Southern Study Area

URL     - Uniform Resource Locator

YJP     - Young Jack Pine

20. Document Information

20.1 Document Revision Date

Created:        20-Jun-1996

Revised:        19-Mar-1998

20.2 Document Review Dates

BORIS Review:   19-Sep-1997

Science Review: 16-Oct-1997

20.3 Document ID

20.4 Citation

If this data set is referenced by another investigator, please acknowledge the paper by Markham, et al (in press), listed in Section 17.

20.5 Document Curator

20.6 Document URL

Keywords:

----------------

Aerosol Optical Thickness

Water Vapor

Volume Distribution

Phase Function