2005 Amendments

The following table lists the codes, paragraphs, and pages in which the 90th National Conference on Weights and Measures made amendments.  In the column headed “Action,” changes are noted as “added,” “amended,” “deleted,” or “renumbered.”  Each code, section, or paragraph that has been changed will be noted as “Added 2005” or “Amended 2005.”

| SECTION | CODE | S&T ITEM NO. | PARAGRAPH | ACTION | PAGE |
| --- | --- | --- | --- | --- | --- |
| 2.20 | Scales | 320-2 | Footnote to S.1.8.4. | Amended | 2-8 |
|  |  | 320-4 | S.2.1.3. S.2.1.3.1. | Amended title of S.2.1.3. and created new subparagraph S.2.1.3.1. | 2-10 |
|  |  |  | S.2.1.3.2. | Added | 2-10 |
|  |  |  | S.2.1.3.3. | Amended and Renumbered from S.2.1.3.1. | 2-10 |
|  |  | 320-5 | Table S.6.3.b. Note 3 | Amended | 2-17 |
|  |  | 320-8 | T.N.4.5. | Amended | 2-32 |
|  |  |  | T.N.4.5.1., T.N.4.5.2. T.N.4.6, Table T.N.4.6., | Added | 2-32 – 2-33 |
| 2.21 | Belt-Conveyor Scale Systems | 321-1 | UR.3.4. | Added | 2-56 |
| 3.30. | Liquid-Measuring Devices | 330-1 | S.1.6.1. | Amended | 3-5 |
|  |  | 330-2 | N.4.2.2. | Amended | 3-14 |
| 3.31. | Vehicle-Tank Meters | 331-2 | S.1.4.1. | Amended | 3-23 |
|  |  | 331-3 | S.2.4. | Added | 3-23 |
|  |  | 331-4 | N.4.2. | Amended | 3-26 |
|  |  |  | N.4.5. | Added | 3-26 |
|  |  |  | T.4., Table T.4. | Added | 3-28 |
| 5 | Table of Contents | 360-1 | 5.59 | Added Tentative Electronic Livestock, Meat, and Poultry Evaluation Systems and/or Devices Code title and page number to table | 5-1 |
| 5.59. | Electronic Livestock, Meat, and Poultry Evaluation Systems and/or Devices – Tentative Code | 360-1 |  | Tentative Code Added to Handbook | 5-57 to 5-58 |
| Appendix A | Fundamental Considerations | 360-2 | 3. Testing Apparatus Footnote 2 | Amended and moved reference from 3.2. to 3.1. | A-2 |
|  |  |  | 3.1 | Amended | A-2 |
|  |  |  | 3.2 | Amended | A-2 |
|  |  |  | 3.3 | Amended | A-3 |
| Appendix D | Definitions | 320-8 | Dmax | Added | D-6 |
|  |  | 320-8 | Emax | Added | D-7 |
|  |  | 320-8 | non-automatic weighing instrument | Amended from “system” to “instrument” | D-14 |
|  |  | 320-5 | reading face | Amended to include reference to Section 2.20 | D-16 |

## 2005 Editorial Changes

| SECTION | CODE | PARAGRAPH | ACTION | PAGE |
| --- | --- | --- | --- | --- |
| Introduction |  | Section F. | Corrected reference to deadline to November 1. | 1 to 2 |
|  |  | Section S. | Added note to first paragraph to recognize use of NIST Handbook 44 requirements in other applications. | 6 |
| 1.10 | General | G-S.1.1.(c) | Corrected reference to G-S.1.(h) to G-S.1.(e). | 1-3 |
| 2.20 | Scales | Table S.6.3.b. Note 3 | Added sentence to the requirement to clarify that marking devices with a nominal capacity is a retroactive requirement. | 2-17 |
|  |  | Table 4 | Created language to reference GIPSA policy for 110 lb/sq ft rule | 2-24 |
|  |  | Table 7a | Inserted capacity limits for vehicle-on board weighing systems consistent with 1996 S&T Committee report. | 2-36 |
|  |  | UR.1.3. | Corrected “Added” date from 1995 to 1985. | 2-37 |
| 2.21 | Belt Conveyor Scale System | S.3. | Deleted “do not” to correct statement to read, “Except of systems that record the zero load reference at the beginning . . . . | 2-48 |
|  |  | N.3.2. | Inserted “material” in second paragraph to define type of individual tests. Text now reads “individual material tests.” | 2-49 |
| 2.24 | Automatic Weighing Systems | A.1.(e) | Changed “net weight” to “net content.” | 2-67 |
|  |  | T.3.3.1.2.(a) | Added reference to Table T.3. | 2-77 |
|  |  | T.3.3.1.2.(b) | Inserted missing text after term “latest” regarding NIST Handbook 133. Added text to clarify the parenthetical reference to 3 standard deviations. | 2-77 |
|  |  | T.3.3.2.1. | Deleted “Tolerances” from title. | 2-77 |
|  |  | T.3.3.2.2. | Deleted “Tolerances” from title. | 2-77 |
|  |  | T.3.3.2.2.(b) | Added text to clarify the parenthetical reference to 3 standard deviations. | 2-77 |
| 3.30. | Liquid-Measuring Devices | Table S.2.2. | Changed heading of the left column to the singular form of “Category.” Added “or shall not operate while in this mode” to the third paragraph under Category 2 in the left column; this phrase was inadvertently omitted between the 1998 and 1999 printings of the Handbook. | 3-9 |
|  |  | N.4.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-14 |
|  |  | UR.3.3. | Prior to 2001, UR.3.3. required that any computing device be used only for sales for which the device computed and displayed the sales price for the transaction. A 2001 editorial change to UR.3.3. inadvertently created language that could be interpreted as not applying to devices that compute at only one unit price. With concurrence of the 2005 S&T Committee, UR.3.3. was editorially changed to correct that error and reformatted to clarify its application. | 3-17 |
| 3.31 | Vehicle-Tank Meters | UR.2.2.1. | Changed “sale” to “delivery” to be consistent with S.2.4. and N.4.5. | 3-29 |
| 3.32. | LPG and Anhydrous Ammonia Liquid-Measuring Devices | N.4.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-36 |
| 3.33. | Hydrocarbon Gas Vapor-Measuring Devices | N.4.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-44 |
| 3.34. | Cryogenic Liquid-Measuring Devices | N.5.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-53 |
| 3.35. | Milk Meters | N.4.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-60 |
| 3.37. | Mass Flow Meters | Table S.3.5. | Deleted term “or in use” from reference to devices with remote configuration capability in Category 2 under “Categories of Device.” This term was to have been deleted per the 84th NCWM (1999). Changed heading of the left column to the singular form of “Category.” | 3-73 |
|  |  | N.6.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-76 |
| 3.38. | Carbon Dioxide Liquid-Measuring Devices Code | N.4.2. | Edited text to be consistent with “Special Tests” paragraph N.4.2. in Vehicle-Tank Meters Code per decision of NCWM S&T Committee at the 63rd NCWM (1978). | 3-82 |
| 5 | Table of Contents |  | Removed “Tentative Code” from 5.57 and 5.58. | 5-1 |
| Appendix D |  | automatic zero-setting mechanism | Added “(zero tracking)” to be consistent with 2005 amendments to Section 2.20 Paragraph S.2.1.3. | D-2 |
|  |  | multi-interval scale | Reinserted the term “(segment(s))” following the term “weighing range.” The term “(segment(s))” was inadvertently omitted between the 2004 and 2005 editions. | D-12 |
|  |  | zero-setting mechanism | Added “(zero tracking)” to “automatic zero-setting mechanism” sub-definition to be consistent with 2005 amendments to Section 2.20 Paragraph S.2.1.3. | D-23 |
|  |  | zero tracking | Added term with reference back to “automatic zero-setting mechanism.” | D-23 |