2004 Amendments

The following table lists the codes, paragraphs, and pages in which the 89th National Conference on Weights and Measures made amendments.  In the column headed “Action,” changes are noted as “added,” “amended,” “deleted,” or “renumbered.”  Each code, section, or paragraph that has been changed will be noted as “Added 2004” or “Amended 2004.”

| SECTION | CODE | S&T ITEM NO. | PARAGRAPH | ACTION | PAGE |
| --- | --- | --- | --- | --- | --- |
| Section 2 | Table of Contents | 324-1 | 2.24. | Deleted text “Tentative Code” | 2-1 |
| 2.20 | Scales | 320-1 | S.1.12. | Amended | 2-9 |
|  |  |  | UR.3.9. | Amended | 2-38 |
|  |  | 320-3 | Table S.6.3.a. | Amended | 2-16 |
|  |  |  | Table S.6.3.b. Note 24 | Added Note | 2-18 |
|  |  | 320-4 | N.3.2. | Added | 2-24 |
|  |  | 320-5 | N.1.5. | Amended | 2-22 |
|  |  | 320-6 | Table 3 Footnote 5 | Added Footnote | 2-14 |
| 2.21 | Belt-Conveyor Scale Systems | 321-1 | S.1.5. | Amended | 2-46 |
|  |  |  | UR.1. | Amended | 2-51 |
|  |  | 321-2 | N.2. | Amended | 2-48 |
|  |  |  | N.2.1., N.2.2., N.2.3. | Added | 2-48 |
|  |  | 321-3 | N.3.1.2., N.3.1.3. | Amended | 2-49 |
|  |  |  | T.1.1. | Added | 2-50 |
|  |  | 321-4 | N.3.1.4. | Amended | 2-49 |
|  |  | 321-5 | T.3.1.1. | Amended | 2-51 |
|  |  | 321-6 | UR.2.2.(b) | Amended | 2-52 |
|  |  | 321-7 | UR.3.2. | Amended Added new subsection (b) and renumbered existing U.R.3.2.(b) through UR.3.2.(e) to UR.3.2.(c) through UR.3.2.(f) | 2-53 through 2-54 |
| 2.24 | Automatic Weighing Systems | 324-1 | Preface | Amended to reflect change in status of code from “tentative” to “permanent” | 2-65 |
|  |  |  | A.1. | Amended | 2-65 |
|  |  |  | A.1. Footnote 1, Footnote 2 | Added | 2-65 |
|  |  |  | A.2.(g), Footnote 3 | Added | 2-66 |
|  |  |  | A.4. | Deleted | 2-66 |
|  |  |  | S.1.1.(a), S.1.1.1.(c) | Amended | 2-66 |
|  |  |  | S.1.2.1. | Amended | 2-66 |
|  |  |  | S.1.3.(b) | Amended | 2-67 |
|  |  |  | S.2.1.1. | Amended | 2-67 |
|  |  |  | S.2.2. Note | Amended | 2-68 |
|  |  |  | S.4.1. | Deleted; subsequent paragraphs renumbered | 2-68 |
|  |  |  | Table S.6. | Amended | 2-69 |
|  |  |  | N.1.4. | Added | 2-72 |
|  |  |  | N.2. | Title deleted | 2-72 |
|  |  |  | N.2.1. and N.2.2. | Renumbered to paragraphs N.1.5. and N.1.6. | 2-72 |
|  |  |  | N.3. | Renumbered to N.2. Amended paragraph and note. | 2-72 |
| 2.24 (cont’d) | Automatic Weighing Systems | 324-1 (cont’d) | N.3.1. | Amended title Renumbered paragraph and subparagraphs to N.2.1. | 2-73 |
|  |  |  | N.3.1.6. | Deleted |  |
|  |  |  | N.3.2., N.3.2.1. | Deleted |  |
|  |  |  | N.3.3 | Amended title | 2-73 |
|  |  |  | N.3.3.1., N.3.3.2. | Amended Renumbered to N.2.2.1. and N.2.2.2. | 2-73 |
|  |  |  | N.4. | Renumbered to N.3. | 2-73 |
|  |  |  | N.4.1. and N.4.2. | Amended, Renumbered to N.3.1. and N.3.2. | 2-73 |
|  |  |  | N.4.3., N.4.3.1., N.4.3.2. | Deleted |  |
|  |  |  | T.2.2. | Amended | 2-74 |
|  |  |  | T.3.1.1., T.3.1.2. | Amended title | 2-74 |
|  |  |  | T.3.2.1. | Amended | 2-74 |
|  |  |  | T.3.2.2. | Amended | 2-74 |
|  |  |  | Table T.3.2.1., Table T.3.2.2. | Amended title | 2-74 |
|  |  |  | T.3.3.1.1., T.3.3.1.2. | Amended title | 2-75 |
|  |  |  | T.3.3.1.2.(a), (b) | Amended | 2-75 |
|  |  |  | T.3.3.2.1., T.3.3.2.2. | Amended title | 2-75 |
|  |  |  | T.3.3.2.2.(b) | Amended | 2-75 |
|  |  |  | T.5. | Amended | 2-76 |
|  |  |  | T.6. | Amended | 2-76 |
|  |  |  | T.7.2. | Deleted |  |
|  |  |  | T.7.3. | Renumbered to T.7.2., Amended, and Added new note | 2-76 |
|  |  |  | T.8. | Amended | 2-77 |
|  |  |  | UR.3.2. | Amended | 2-77 |
|  |  |  | automatic gravimetric filling machine (instrument) | Moved to Appendix D | D-2 |
|  |  |  | automatic checkweigher | Amended and moved to Appendix D | D-1 |
|  |  |  | automatic weighing systems (aws) | Amended and moved to Appendix D | D-1 |
|  |  |  | non-automatic checkweigher | Moved to Appendix D | D-13 |
|  |  |  | non-automatic weighing system | Moved to Appendix D | D-13 |
|  |  |  | systematic (average) error () | Moved to Appendix D | D-19 |
|  |  |  | random error(s) | Moved to Appendix D | D-16 |
|  |  |  | test puck | Amended and moved to Appendix D | D-20 |
|  |  |  | weigh-labeler | Amended and moved to Appendix D | D-2 |
| 3.30. | Liquid-Measuring Devices | 330-1 | S.2.2.1. | Added | 3-8 |
|  |  | 330-2 | S.4.4.2. | Amended | 3-12 |
| Section 5 | Table of Contents | 358-7 | 5.58 | Deleted text “Tentative Code” | 5-1 |
| 5.58. | Multiple Dimension Measuring Devices | 358-1 | S.1.6. | Amended | 5-50 |
|  |  |  | Table S.1.6. | Amended | 5-50 |
|  |  |  | UR.5., Table UR.5. | Added | 5-55 through 5-56 |
|  |  | 358-2 | S.1.8. | Amended | 5-51 |
|  |  |  | Table S.4.1.b. | Amended | 5-53 |
|  |  | 358-3 | S.3. | Amended | 5-52 |
|  |  | 358-4 | N.1.4.1. | Added | 5-53 |
|  |  | 358-5 | T.3. | Amended | 5-54 |
|  |  | 358-6 | T.5.2., T.5.2.1., T.5.2.2. | Amended | 5-54 |
|  |  |  | T.7. | Deleted |  |
|  |  | 358-7 | Preface | Amended to reflect change in status of code from “tentative” to “permanent” | 5-49 |
|  |  |  | billed weight | Moved to Appendix D | D-3 |
|  |  |  | “d,” dimension division value | Moved to Appendix D | D-5 |
|  |  |  | dimensional Weight (or dim, weight) | Moved to Appendix D | D-6 |
|  |  |  | measuring element | Moved to Appendix D | D-11 |
|  |  | 330-5 | Retail Device | Amended | D-17 |
|  |  | 358-3 | Measurement Field | Added | D-11 |
|  |  | 358-4 | Test Object | Added | D-20 |

## 2004 Editorial Changes

| SECTION | CODE | PARAGRAPH | ACTION | PAGE |
| --- | --- | --- | --- | --- |
| Introduction |  | G. d. (1) | Replace “on a high density 8.9 cm (3.5 inch) disk” with “electronic media” | 2 |
| 1.10 | General | G-S.1. | Reorganized paragraph for ease of use. Renumbered subsections accordingly. | 1-2 |
|  |  | G-S.1.1.(c) | Changed references to G-S.1. subsections to correspond to reorganization of G-S.1. | 1-2 |
| 2.20 | Scales | T.N.8.3.1. | Inserted “when tested over the range” after the word “inclusive” for clarity of application. | 2-34 |
|  |  | Table 7a. | Changed “Operations” to “Applications” in title of table | 2-35 |
|  |  | UR.3.9. | Deleted term “gross” in title to be consistent with changes to S.1.12. | 2-38 |
|  |  | UR.3.11. | Added a new note to clarify that the type of “count” for filling prescriptions differs from the “sample count” in S.1.2.3. and S.6.6. | 2-39 |
| 2.24 | Automatic Weighing Systems | S.3. | Added a title paragraph to describe the subject addressed in subparagraphs S.3.1. through S.3.3. | 2-68 |
|  |  | N.3.2., Table N.3.2. | Created separate columns for “field” and “type evaluation” under the heading of “number of sample weights per test”; deleted text referring to “one half” and “but not less than 10” in N.3.2. | 2-73 |
|  |  | T.7.2. (b) and (c) (previously T.7.3.1.) | Inserted “when tested over the range” after the word “inclusive” for clarity of application. |  |
| Section 3 | Table of Contents | 3.38 | Deleted text “Tentative Code” since 3.38 became permanent in 2002. | 3-1 |
| 3.30. | Liquid-Measuring Devices | Table T.2. | Modified text in Application Section for Accuracy Class 0.3 and in Application Section for Accuracy Class 0.5 to follow same format. | 3-15 |
| 3.34. | Cryogenic Liquid-Measuring Devices | N.4. , Table N.4. | Updated N.4. references to density and volume correction publications and add Table N.4. to list current reference sources | 3-50 through 3-51 |
| Appendix A | Fundamental Considerations | 3. Testing Apparatus, Footnote 2 | Changed reference to “Office of Weights and Measures” to “Weights and Measures Division” | A-2 |
| Appendix D |  | package rate | Deleted definition since the term is not referenced in Handbook 44 and not a type evaluation feature. |  |
|  |  | retail devices | Inserted 3.37 to recognize use of term in Section 3.37. | D-17 |