651.0102  State responsibilities

All State laws dealing with air and water quality and disposal of solid wastes must meet the minimum requirements of the Federal laws.  Most states have such laws.  Many have laws, rules, or regulations specifically addressing management of agricultural wastes in terms of surface and ground water quality requirements, management facilities, and land application.  Many of the state laws, rules, and regulations are more stringent than those promulgated by the Federal Government.  In the absence of State requirements, EPA assumes enforcement.

651.0103  State laws and regulations

(a) Oregon Administrative Rules

1997 Compilation

DEPARTMENT OF ENVIRONMENTAL QUALITY

DIVISION 51

CONFINED ANIMAL FEEDING

OR HOLDING OPERATIONS

340-051-0005

Purpose

It is the purpose of these rules to protect the quality of the environment and public health in Oregon by requiring application of the best practicable waste

control technology relative to location, construction, operations and maintenance of confined animal feeding or holding facilities and operations.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

Table 1-1

Typical features of point and nonpoint sources of water pollution

| Point sources | Nonpoint sources |
| --- | --- |
|  | Relatively steady flow over time | Flows usually occur at random and intermittent intervals following rain, snow melt, or ground thaw events |
|  | Adverse impacts most severe during periods of low stream flow or cumulative in lakes | Adverse impacts most severe during or following storm events or cumulative in lakes |

Pollutants enter watercourses at identifiable points

|  | Pollutants enter watercourses at many, often unidentifiable, points |
| --- | --- |

340-051-0010

Definitions

Unless the context requires otherwise, as used in these rules:

(1) "Department" means the Oregon Department of Environmental Quality.

(2) "Confined Animal Feeding Operation" means the concentrated confined feeding or holding of animals or poultry, including, but not limited to horse, cattle,

sheep, or swine feeding areas, dairy confinement areas, slaughterhouse or shipping terminal holding pens, poultry and egg production facilities and fur

farms, in buildings or in pens or lots where the surface has been prepared with concrete, rock or fibrous material to support animals in wet weather or which have wastewater treatment works.

(3) "Person" means the state, any individual, public or private corporation, political subdivision, governmental agency, municipality, industry,

copartnership, association, firm, trust, estate or any other legal entity whatsoever.

(4) "Waste Control Facility" means all or any part of a system or systems used in connection with a confined feeding or holding operation for the:

(a) Control of drainage;

(b) Collection, retention, treatment, and disposal of liquid wastes or contaminated drainage waters; or

(c) Collection, handling, storage, treatment or processing and disposing of manure.

(5) "Waters of the State" include lakes, bays, ponds, impounding reservoirs, springs, wells, rivers, streams, creeks, estuaries, marshes, inlet, canals, the Pacific Ocean within the territorial limits of the State of Oregon, and all other bodies of surface or underground waters, natural or artificial, inland or

coastal, fresh or salt, public or private (except those private waters which do not combine or effect a junction with natural surface or underground waters)

which are wholly or partially within or bordering the state or within its jurisdiction.

Stat. Auth.: ORS Ch. 449 & 468.020

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72; DEQ 21-1990, f. & cert. ef. 7-6-90

340-051-0015

New, Modified or Expanded Facilities and Operations

A person constructing or commencing to operate a confined feeding or holding operation or waste control facility, or substantially modifying or expanding an existing confined feeding and holding operation or waste-control facility shall first submit detailed plans and specifications for said facility and operation and other necessary information to the Department and obtain approval of the proposed facility and operation from the Department in writing:

(1) Plans and specifications and other information to be submitted shall constitute a complete, descriptive proposal and should include, to the extent that such information is pertinent and available, the following:

(a) Location map showing ownership, zoning and use of adjacent lands and location of the proposed confined feeding or holding facility or operation in

relation to residences and domestic water supply sources;

(b) Topographic map of the proposed site showing the natural drainage pattern and the proposed surface water diversion and area and roof drainage control

system or systems;

(c) Climatological data for the proposed site describing normal annual and seasonal precipitation quantities and patterns, evaporation rates and prevailing winds;

(d) Information regarding the occurrence of usable groundwaters and typical soil types in the area of the proposed site and disposal areas;

(e) Estimated maximum numbers and types of animals to be confined at the site at any one time and estimated volume of wastes to be collected and disposed of;

(f) Detailed plans and specifications and procedures for wastewater and manure collection, handling, retention, storage, treatment and disposal systems;

(g) Details of feed preparation, storage, handling and use and proposed methods and facilities for controlling wastes that are likely to result therefrom;

(h) Any additional information which the Department may reasonably require to enable it to pass intelligently upon the effects of the proposed confined

feeding or holding operation upon environmental quality.

(2) Receipt of applications and a preliminary evaluation of completeness shall be made within 14 days to all applicants. Written notice of approval or

disapproval will be issued by the Department to the applicant within 45 days of receipt of complete plans and specifications. Any notice of disapproval will

contain itemized deficiencies.

(3) New or substantially modified or expanded facilities or operations shall be constructed in accordance with plans and specifications as approved in writing by the Department.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0020

Construction, Operation and Maintenance Requirements

All waste control facilities and confined feeding and holding operations shall be designed, constructed, maintained, and operated in accordance with the

following:

(1) All confinement areas, manure handling and accumulation areas and disposal areas and facilities shall be located, constructed, and operated such that

manure, contaminated drainage waters or other wastes do not enter the waters of the state at any time, except as may be permitted by the conditions of a specific waste discharge permit issued in accordance with ORS 449.083.

(2) Unless it can be demonstrated that contaminated drainage can be effectively controlled by other means, or unless a specific written variance is obtained

from the Department as provided in OAR 340-051-0025, the design, construction, operation, and maintenance of confined feeding and holding operations and waste control facilities shall be in conformance with "Guidelines for the Design and

Operation of Animal Waste Control Facilities". (OAR 340-051-0050 through 340-051-0080)

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0025

Variances From Specified Requirements

(1) The Department may by specific written variance waive certain requirements of these regulations when size of operation, location and topography, operational procedures, or other special conditions indicate that the purpose of these regulations can be achieved without strict adherence to all of the

requirements.

(2) The Department may, in accordance with a specific compliance schedule, grant reasonable time for existing confined feeding or holding operations to comply with these regulations.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0030

Advisory Committee

At the request of the animal industry, provision is made for a 13-man committee to serve in an advisory capacity to the Department of Environmental Quality on problems related to the location, construction, operation and maintenance of confined animal feeding and holding operations. The advisory committee will include one member each from:

(1) Oregon Horsemen's Association.

(2) Oregon Dairymen's Association.

(3) Oregon Sheep Growers Association.

(4) Oregon Purebred Swine Growers Association.

(5) Oregon State Fur Breeders Association.

(6) Oregon State Department of Agriculture.

(7) Department of Animal Science, Oregon State University.

(8) Western Oregon Livestock Association and divisional representation from:

(a) Oregon Cattlemen's Association (Producer representative and feeder representative);

(b) Oregon Poultry Council (Oregon Turkey Improvement Association representative, Oregon Poultry Growers Association and Oregon Broiler Growers Association representatives). Each member will be appointed by the presiding officer of the organization he represents and will serve at the pleasure of the organization. The Department shall not be liable for any of the expenses of the advisory committee or its individual members.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

Guidelines for the Design and Operation

of Animal Waste Control Facilities

340-051-0050

Scope

The guidelines contained in this rule are recommendations for design and operation of animal waste control facilities and are intended to supplement "Regulations Pertaining to Location, Construction, Operation and Maintenance of

Confined Animal Feeding or Holding Operations". They convey many of the criteria considered by the Department of Environmental Quality to conform to best practicable design and operational practices. Alternative methods of control will be acceptable if they can be shown to provide fully equivalent control.

Compliance with these guidelines will in most instances constitute satisfactory performance of the design and operation functions to which the "Regulations" apply. Any disapproval of submitted plans, or requirement to improve facilities or their operation, by the Department, will be, insofar as possible, referenced to applicable guidelines or appropriate sections of the "Regulations".

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0055

Drainage and Waste Volume Control

(1) Roof drainage and uncontaminated surface drainage should be diverted such that it is not allowed to flow through confinement areas or enter waste water holding lagoons, sumps or tanks, unless it can be demonstrated by detailed design and proven operational practices that wastes and contaminated drainage waters can be effectively controlled by other means.

(2) Where large winter use confinement areas are exposed to heavy rainfall, and wastewater storage and disposal capacities are limited, such areas should be

covered to minimize wastewater volume.

(3) Waste collection systems utilizing water for flushing manure from floors should minimize water use, and washwater reuse practices should be employed wherever possible.

(4) Animal drinking water and atmospheric control sprays should be managed such that drainage through contaminated areas is minimized.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0060

Collection and Storage Facilities

(1) Liquid Manure Systems:

(a) When waste holding lagoons are used to accumulate manure and contaminated drainage waters they should have sufficient usable capacity to contain the maximum accumulated rainfall and manure runoff from the entire collection area for the maximum expected period of accumulation. (As a generalized rule of thumb for design, ponds with capacity equal to 1/2 the average annual rainfall over the entire collection area will usually provide adequate operating and reserve capacity to catch one in ten year peak storm runoff from a feedlot);

(b) Waste holding lagoons and collection sumps should be constructed to provide for at least annual removal of accumulated solids to maintain effective storage capacity;

(c) Earth dikes should be constructed of good quality soil material, well compacted during construction, with sideslopes consistent with accepted earthfill practices for the materials used and stabilized with vegetation recommended by the Agricultural Extension Service, immediately following

construction;

(d) Waste holding lagoons or collection sumps with earth dikes should be constructed with overflow relief structures to prevent a washout in the event of failure in other parts of the system;

(e) Where unusually windy conditions prevail, or surface aeration equipment is used, dikes should be protected to prevent erosion;

(f) Reinforced concrete manure holding tanks should be constructed in accordance with, or at least equivalent to, specifications for steel placement and concrete quality contained in a design which has been prepared by or has been reviewed and found acceptable by a qualified structural engineer;

(g) Where seasonal groundwater levels rise above the bottom of a below-ground-level tank, drain tile should be laid at the base of the tank before it is backfilled.

(2) Solids Handling Systems:

(a) Manure solids should be collected, stored, and utilized or disposed of with a minimum of water (or rainfall) addition, in a manner which will prevent water pollution and minimize the production of flies and odors;

(b) Where large accumulations of manure are stored during winter months, contaminated drainage collection and holding or disposal facilities should be

provided.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0065

Conveyance Facilities and Practices

(1) Liquid manure irrigation systems should have delivery mains buried wherever practicable to minimize the amount of pipe exposed to the hazards of surface damage and failure.

(2) Trucks or tank wagons carrying manure or manure slurry on public roads should be of water tight construction and sufficiently closed or baffled to

prevent spillage of any kind.

(3) Manure slurry delivery pipelines crossing streams or gullies should be permanently placed with adequate protection from streamflow hazards and/or braced to prevent excessive bending stress in the pipe.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0070

Disposal Facilities and Practices

(1) Liquid Manure Disposal:

(a) When slurry is spread by tank wagon or truck, a predetermined plan of uniform coverage should be established and adhered to. Under no circumstances

should a tank be drained when not in motion across suitable receiving land;

(b) Liquid manure irrigation systems should be operated according to a predetermined plan of rotation to insure uniform coverage and prevent prolonged ponding or surface runoff from excessive applications. Leaks and sprinkler head malfunctions should be repaired immediately;

(c) The selection of equipment for land disposal should be based upon land configuration, labor requirement, and long term dependability of the system and its components;

(d) Adequate land should be provided on a year-round basis for effective assimilation of all manure slurry applied, regardless of the method of application used. Land with poor vertical drainage characteristics, high water table or steep slopes should not be selected for use in a year-round plan of manure disposal;

(e) The vegetative cover on disposal land should be harvested or grazed regularly to prevent thatch accumulations of mature grasses and weeds;

(f) Livestock should not be permitted to graze the disposal area during periods of saturated soil conditions;

(g) Seepage basins should not be used except where it can be demonstrated that ground water pollution will not result.

(2) Solids Disposal:

(a) Field spreading of manure should be uniform in distribution and limited in quantity to the capacity of the land to retain it;

(b) Manure should not be stored or deposited where it can be washed into the surface drainage;

(c) Manure solids should not be used as a fill or land raising material where they will pollute ground or surface waters;

(d) All dead animals should be promptly collected and disposed of in an approved manner.

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0075

Incidental Control Practices

(1) The application of manure or manure slurry to land areas should be accomplished when air movements is least likely to carry objectionable odors to residential or recreational areas.

(2) New confined feeding or holding facilities should not be located where prevailing winds are likely to carry odors into residential or recreational areas. Attention should also be given to expansion of suburban areas and the stability of local zoning restrictions in locating new operations or

substantially expanding existing operations.

Stat. Auth.: ORS Ch. 499

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

340-051-0080

Sources of Qualified Assistance for Design of Facilities

(1) Where drainage control, structural or mechanical facilities are sufficiently large or complex to require specialized professional design, the Department of

Environmental Quality may require that detailed plans and specifications be prepared by a qualified engineer for approval prior to construction.

(2) Appropriate design services are available through:

(a) USDA -- Soil Conservation Service;

(b) USDA -- Oregon State University Extension Service and associated plan services;

(c) Various equipment manufacturers;

(d) Independent consulting engineers. Useful design information is often available through:

(A) County extension offices and Agricultural Experiment Stations;

(B) Department of Environmental Quality engineering staff;

(C) Oregon State University Departments of Agricultural Engineering and Animal Science;

(D) Certain power companies and irrigation districts.

(e) Climatological data reporting services (Oregon State University and state climatologist);

(f) Other livestock operations which have waste control facilities in operation;

(g) Various livestock production associations;

(h) Soil and Water Conservation District offices.

(3) Where long range operational planning appears necessary to development of a workable waste control and disposal system, the Department of Environmental Quality may request that special planning assistance be obtained from Oregon

State University and recommendations therefrom be included in the proposal submitted.

(4) Any dam or dike in excess of ten feet in height, or any impoundment volume in excess of 9.2 acre feet is required by state laws to be designed by a qualified engineer and approved by the office of the State Engineer. A copy of "Rules and Regulations of the State Engineer", published annually, should be obtained prior to designing a facility of this type.

(5) Approval by the Department of Environmental Quality of a confined feeding or holding operation does not relieve the applicant from his obligation to comply with other pertinent federal, state or local statutes, regulations or ordinances.

[Publications: The publication(s) referred to or incorporated by reference in this rule are available from the Department of Environmental Quality.]

Stat. Auth.: ORS Ch. 449

Stats. Implemented: ORS

Hist.: DEQ 34, f. 2-3-72, ef. 2-15-72

(b) Permits

Permit Number:

Page 1 of 6 Pages

GENERAL PERMIT

WATER POLLUTION CONTROL FACILITIES PERMIT

Department of Environmental Quality

811 Southwest Sixth Avenue, Portland, OR  97204

Telephone:  (503) 229-5696

Issued pursuant to ORS 468.740

| ISSUED TO: | SOURCES COVERED BY THIS PERMIT: |
| --- | --- |
|  | All Owners or Operators of Wastewater Disposal Facilities covered by this Permit. | Any confined animal feeding operation (CAFO) including dog kennel with a wastewater disposal system |
|  | OCT 08 1990 |
| Lydia Taylor, Administrator | Date |

PERMITTED ACTIVITIES

Until this permit is terminated, modified, or revoked, the permittee is authorized to construct, install, modify, or operate a wastewater collection, treatment, control and disposal system in conformance with requirements, limitations, and conditions which follow:

This permit does not relieve the permittee from responsibility for compliance with any other applicable federal, state or local law, rule, standard, ordinance, order, judgment, or decree.

Definitions

a.   	"Confined animal feeding operation" means the concentrated confined feeding or holding of animals or poultry, including, but not limited to horse, cattle, sheep, or swine feeding areas, dairy confinement areas, slaughterhouse or shipping terminal holding pens, poultry and egg production facilities and fur farms, in buildings or in pens or lots where the surface has been prepared with concrete, rock or fibrous material to support animals in wet weather or which have wastewater treatment works.

b.	"Wastewater treatment works or wastewater disposal system" means all or any part of a system or systems used in connection with a confined feeding or holding operation for the:

1)	Collection, retention, treatment, and disposal of liquid wastes or contaminated drainage waters; or

2)	Collection, handling, storage, treatment or processing and disposing of liquid manure.

Note: For additional definitions, see page 6.

Permit Number:

Page 2 of 6 Pages

SPECIAL CONDITIONS

Waste Disposal Limitations not to be Exceeded by Persons Covered by This General Permit

No direct discharge or potentially harmful indirect discharge to state waters is permitted. All manure, silage pit drainage, washdown waters, contaminated precipitation, and other contaminated wastewater shall be distributed on land for dissipation by evapotranspiration at agronomic application rates. For purposes of planning, designing, and implementation of a resource management system, components should be extracted from the Oregon Animal Waste Installation Guidebook, written by the Soil Conservation Service and distributed by the Natural Resources Division of the Oregon Department of Agriculture (ODA).

Adequate waste storage shall be provided which will be sufficient to store all manure and wastewater during periods when it cannot be safely applied to cropland without contaminating waters of the state.

The permittee shall properly manage all parts of the wastewater disposal system.  Prior to the wet winter months of each year, the wastewater containment or storage facilities shall be dewatered if necessary and cleaned of solids accumulations so that the full design capacity of the system is available for winter storage.  Care should be taken during dewatering so that pond liners are not disturbed.  Caution should also be taken with inground tanks in high groundwater conditions to prevent flotation of tanks.

4.	In accordance with information submitted to the Department of Agriculture concerning the quantity of waste storage available and the amount of land available for manure and wastewater disposal, the maximum number of animals allowed robe confined at this location is:

Permit Number:

Page 3 of 6 Pages

5. 	Prior to increasing the number of animals for which the wastewater management system was designed, the permittee must provide evidence that the wastewater handling facilities are adequate and that there is sufficient acreage available for waste disposal.  If the permittee exceeds by more than 25 animals or more than 10% the number of animals established in Condition 4., whichever is greater, the permittee is in violation of the permit and is subject to enforcement action.

6.	Prior to construction or modifying any wastewater control facilities, detailed plans and specifications shall be approved in writing by the ODA or the Department of Environmental Quality (DEQ).

7.	When manure is spread on land care shall be taken to assure that the land application rate does not exceed the agronomic utilization rate for the nutrients in the manure.  It shall not be applied in a location, at a time, or in a manner whereby it is likely to contaminate waters of the state by runoff, seepage, or any other means.  Temporary storage of dry manure is permitted at greater than agronomic application rates.

Permit Number:

Page 4 of 6 Pages

G1.	This general permit does not cover activities covered by an individual Water Pollution Control Facilities (WPCF) permit until the individual permit has expired or been canceled.  Any person conducting an activity covered by an individual permit but which could be covered by this general permit may request that the individual permit be canceled.

G2.	Any permittee not wishing to be covered or limited by this general permit may make application for an individual WPCF permit in accordance with procedures in OAR 340-45-025.

G3.	The permittee shall at all times maintain in good working order and operate as efficiently as possible all treatment or control facilities or systems installed or used by the permittee to achieve compliance with the terms and conditions of this permit.

G4. 	The issuance of this permit does not convey any property rights in either real or personal property, or any exclusive privileges, nor does it authorize any injury to private property or any invasion of personal rights nor any infringement of Federal, State, or local laws, or regulations.

G5.	The Department of Environmental Quality, its officers, agents, or employees, the Department of Agriculture, its officers, agents, or employees, and the local soil and Water Conservation District directors and employees shall not sustain any liability on account of the issuance of this permit or on account of the construction or maintenance of facilities because of this permit.

G6.	In the event the permittee is unable to comply with all the conditions of this permit because of a breakdown of equipment or facilities, an accident caused by human error or negligence,  or any other cause such as an act of nature, the permittee will:

a. 	Immediately take action to stop, contain, and clean up the unauthorized discharges and correct the problem.

b.    	Immediately notify the Natural Resources Division of ODA so that an investigation can be made to evaluate the impact and the corrective actions taken and determine additional action that must be taken.

Compliance with these requirements does not relieve the permittee from responsibility to maintain continuous compliance with the conditions of this permit or the resulting liability for failure to comply.

Permit Number:

Page 5 of 6 Pages

G7. 	The Director of the Department of Environmental Quality may,  or upon the recommendation of  the Director of the Department of Agriculture,  revoke a general permit as it applied to any person and require such person to apply for and obtain an individual permit if:

a. 	The covered source or activity is a significant contributor of water pollution or creates other water quality problems;

b	The permittee is not in compliance with the terms and conditions of this general permit; or

c. 	Conditions or standards have changed so that the source or activity no longer qualifies for a general permit.

G9. 	Penalties:

Oregon Law (ORS 468.990) classifies a willful or negligent violation of the terms of a permit or failure to get a permit as a misdemeanor and a person convicted thereof shall be punishable by a fine of not more than $25,000 or by imprisonment for not more than one year, or by both.  Each day of violation constitutes separate offense.

In addition to the criminal penalties specified above, Oregon Law (ORS 468.140)  allows the Director of the Department of Environmental Quality to impose civil penalties up to $10,000 per day for violation of the terms or conditions of a permit.

In addition to the civil penalties which may be assessed by the Department, an additional penalty of $500 shall be assessed upon any owner or operator of a confined animal feeding operation who has not applied for a permit required by ORS 468.740.

G10.	Compliance with this permit does not relieve the permittee from the applicable requirements of other state and local agencies, such as but not limited to the following:

(1)	The requirement to have plans reviewed and approved by the Water Resources Department if constructing a pond with a dam or dike over 10 feet high or  with the capacity to hold more than 9.2 acre feet of water,

(2)	The requirement to get a water right permit from the Water Resources Department if applying wastewater for  the purpose of irrigation, and

Permit Number:

Page 6 of 6 Pages

(3)	The requirement to adhere to local building codes and get building permits where applicable.

Gll.	 Fees:

(1)	Each year, during the month of July, all permittees shall pay the Natural Resources Division of the Oregon Department of Agriculture a fee of $25, as required by ORS 468.740, as amended by HB 3445.

(2)	Any owner or operator who has been assessed a civil penalty by the Department of Environmental Quality as described in ORS 468.135, for mismanagement of an animal waste facility, pursuant to ORS 468.740, shall be assessed an annual fee of $1,000 for each of three consecutive years by the director of the Department in lieu of the $25 fee listed above.

G12. 	Additional Definitions:

(1) 	“Waters of the State or State waters” include lakes, bays, ponds, impounding reservoirs, springs, wells, rivers, streams, creeks,  estuaries, marshes, inlets, canals, the Pacific Ocean within the territorial limits of the State of Oregon and all other bodies of surface or underground waters, natural or artificial, inland or coastal, fresh or salt, public or private (except those private waters which do not combine or effect a junction with natural surface or underground waters) which are wholly or partially within or bordering the state or within its jurisdiction.

(2)	"Agronomic application rate" means a rate of animal waste application which matches nutrient requirements for specific crop at the disposal site on an annual basis.

IW\WC5940 (CW/hs)

(9/27/90)

651.0104  Owner/producer responsibilities

All work in which SCS assists must meet the requirements of Federal, State, and local laws, rules, and regulations.  Landowners, producers, and operators are responsible for obtaining required approvals and permits and for operating facilities in accordance with theses laws, rules, and regulations.

651.0105  Safety

Safety is an important aspect of planning, design, construction, and operation of an agricultural waste management system (AWMS).  SCS policy as it pertains to an AWMS includes:

Notification of utility companies when utilities are in the vicinity of engineering investigations of construction activities(National Engineering Manual (NEM), part 503).

Incorporating safety measures into structures (NEM, part 503)

Informing decisionmaker and contractor of safety requirements at preconstruction conferences (NEM, part 512.13).

Safety requirements for construction activities under formal SCS contracting (Federal Acquisition Regulations, Clause 52.236-13, and Code of Federal Regulations, 29 CFR 1910 & 1926).

Safety requirements for construction contracts under locally awarded contracts (120-V-CGCAM (National Contracts, Grants, and Cooperative Agreements Manual, part 516).

Safety requirements for construction by informal contracting acquired by the decisionmaker (110-GM (General Manual), part 402.4).

Withdrawing SCS assistance if unsafe construction conditions are not corrected (110-GM, part 402.13.