## 7-Day BR Forecast
|  |  |  | Western Area Power Admininstration | [8 empty] | publish date:
[5 empty] | Sierra Nevada Region | [6 empty] | 2007-03-15
7-Day Forecast of Base Resource
All values at Tracy Substation
Day | CVP gen |  | Loads |  | Reg & Res | Projected Purchases |  |  | CVP Corp. Transactions |  | Projected Base Resource (BR)
2007-03-19 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-19 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 795 | 222 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 380 | 0
2 | 794 | 212 | 258 | 13 | 193 | 50 | 9 | 0 | 0 | 0 | 0 | 380 | 0
3 | 794 | 211 | 258 | 13 | 193 | 50 | 10 | 0 | 0 | 0 | 0 | 380 | 0
4 | 794 | 211 | 258 | 13 | 193 | 50 | 10 | 0 | 0 | 0 | 0 | 380 | 0
5 | 795 | 211 | 258 | 14 | 193 | 50 | 11 | 0 | 0 | 0 | 0 | 380 | 0
6 | 796 | 211 | 258 | 15 | 193 | 50 | 12 | 0 | 0 | 0 | 0 | 380 | 0
7 | 770 | 202 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
8 | 772 | 245 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
9 | 771 | 541 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
10 | 771 | 541 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
11 | 770 | 210 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
12 | 771 | 222 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
13 | 770 | 219 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
14 | 771 | 222 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
15 | 770 | 279 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
16 | 769 | 279 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
17 | 769 | 286 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
18 | 770 | 649 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
19 | 771 | 610 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
20 | 771 | 610 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
21 | 771 | 483 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
22 | 769 | 215 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 0
23 | 797 | 239 | 258 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 380 | 0
24 | 796 | 229 | 258 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 380 | 0
Daily Energy (MWh) | B: 7559; C: 4928; D: 407; F: 400; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 1077
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-20 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-20 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 946 | 219 | 258 | 15 | 193 | 50 | 4 | 0 | 0 | 0 | 0 | 530 | 0
2 | 945 | 154 | 258 | 14 | 193 | 50 | 68 | 0 | 0 | 0 | 0 | 530 | 0
3 | 945 | 154 | 258 | 14 | 193 | 50 | 68 | 0 | 0 | 0 | 0 | 530 | 0
4 | 945 | 213 | 258 | 14 | 193 | 50 | 9 | 0 | 0 | 0 | 0 | 530 | 0
5 | 945 | 203 | 258 | 14 | 193 | 50 | 19 | 0 | 0 | 0 | 0 | 530 | 0
6 | 946 | 218 | 258 | 15 | 193 | 50 | 5 | 0 | 0 | 0 | 0 | 530 | 0
7 | 920 | 191 | 179 | 18 | 193 | 0 | 6 | 0 | 0 | 0 | 0 | 530 | 0
8 | 922 | 289 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
9 | 922 | 615 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
10 | 922 | 653 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
11 | 922 | 287 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
12 | 922 | 287 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
13 | 921 | 276 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
14 | 921 | 276 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
15 | 921 | 209 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
16 | 921 | 209 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
17 | 920 | 202 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
18 | 921 | 590 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
19 | 922 | 687 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
20 | 921 | 687 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
21 | 921 | 681 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
22 | 919 | 203 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0
23 | 847 | 132 | 158 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 530 | 0
24 | 846 | 132 | 158 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 530 | 0
Daily Energy (MWh) | B: 7767; C: 4728; D: 423; F: 400; G: 179; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 2518
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-21 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-21 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 896 | 199 | 258 | 15 | 193 | 50 | 24 | 0 | 0 | 0 | 0 | 480 | 0
2 | 896 | 238 | 258 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
3 | 895 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
4 | 895 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
5 | 895 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
6 | 897 | 239 | 258 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
7 | 870 | 223 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
8 | 872 | 233 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
9 | 873 | 342 | 179 | 21 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
10 | 873 | 342 | 179 | 21 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
11 | 872 | 273 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
12 | 872 | 247 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
13 | 871 | 245 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
14 | 871 | 247 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
15 | 871 | 289 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
16 | 870 | 290 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
17 | 870 | 284 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
18 | 871 | 554 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
19 | 871 | 714 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
20 | 871 | 714 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
21 | 871 | 475 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
22 | 869 | 235 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 0
23 | 797 | 156 | 158 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
24 | 796 | 142 | 158 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 480 | 0
Daily Energy (MWh) | B: 7389; C: 4728; D: 425; F: 400; G: 24; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 1598
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-22 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-22 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 889 | 242 | 258 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
2 | 888 | 237 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
3 | 888 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
4 | 888 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
5 | 888 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
6 | 890 | 239 | 258 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
7 | 863 | 223 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
8 | 865 | 275 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
9 | 865 | 360 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
10 | 865 | 360 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
11 | 865 | 265 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
12 | 865 | 288 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
13 | 863 | 244 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
14 | 864 | 248 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
15 | 864 | 279 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
16 | 863 | 280 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
17 | 863 | 277 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
18 | 863 | 448 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
19 | 864 | 561 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
20 | 864 | 636 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
21 | 864 | 575 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
22 | 862 | 235 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 473 | 0
23 | 790 | 156 | 158 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
24 | 789 | 142 | 158 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 473 | 0
Daily Energy (MWh) | B: 7278; C: 4728; D: 420; F: 400; G: 0; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 1491
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-23 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-23 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 904 | 218 | 258 | 14 | 193 | 50 | 4 | 0 | 0 | 0 | 0 | 489 | 0
2 | 904 | 170 | 258 | 14 | 193 | 50 | 52 | 0 | 0 | 0 | 0 | 489 | 0
3 | 904 | 169 | 258 | 14 | 193 | 50 | 53 | 0 | 0 | 0 | 0 | 489 | 0
4 | 904 | 169 | 258 | 14 | 193 | 50 | 53 | 0 | 0 | 0 | 0 | 489 | 0
5 | 904 | 169 | 258 | 14 | 193 | 50 | 53 | 0 | 0 | 0 | 0 | 489 | 0
6 | 905 | 171 | 258 | 15 | 193 | 50 | 52 | 0 | 0 | 0 | 0 | 489 | 0
7 | 879 | 223 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
8 | 880 | 298 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
9 | 881 | 417 | 179 | 20 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
10 | 880 | 417 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
11 | 880 | 256 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
12 | 880 | 294 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
13 | 879 | 297 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
14 | 879 | 295 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
15 | 878 | 284 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
16 | 878 | 285 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
17 | 878 | 279 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
18 | 879 | 510 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
19 | 880 | 751 | 179 | 19 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
20 | 879 | 751 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
21 | 879 | 340 | 179 | 18 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
22 | 877 | 234 | 179 | 16 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 489 | 0
23 | 806 | 156 | 158 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 489 | 0
24 | 805 | 148 | 158 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 489 | 0
Daily Energy (MWh) | B: 7301; C: 4728; D: 406; F: 400; G: 267; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 1507
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-24 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-24 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 882 | 241 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
2 | 882 | 237 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
3 | 882 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
4 | 882 | 236 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
5 | 881 | 235 | 258 | 13 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
6 | 882 | 237 | 258 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
7 | 854 | 220 | 179 | 15 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
8 | 856 | 230 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
9 | 856 | 293 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
10 | 856 | 297 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
11 | 856 | 231 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
12 | 855 | 243 | 179 | 16 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
13 | 855 | 242 | 179 | 16 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
14 | 854 | 254 | 179 | 15 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
15 | 854 | 242 | 179 | 15 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
16 | 854 | 243 | 179 | 15 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
17 | 854 | 237 | 179 | 15 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
18 | 855 | 390 | 179 | 16 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
19 | 856 | 796 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
20 | 856 | 864 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
21 | 856 | 339 | 179 | 17 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
22 | 855 | 234 | 179 | 16 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 467 | 0
23 | 783 | 151 | 158 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
24 | 782 | 141 | 158 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 467 | 0
Daily Energy (MWh) | B: 7069; C: 4728; D: 370; F: 400; G: 0; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 1356
[9 empty] | Ramp Rate Constraint: |  |  | None
Day | A: CVP gen; B: Required Energy; C: Loads; E: Reg & Res; F: Projected Purchases; I: CVP Corp. Transactions; K: Projected Base Resource (BR)
2007-03-25 | Projected Capacity | Projected Energy | Project Use Load Demand | First Preference Load Demand | Estimated Ancillary Services Capacity | PU Forward Off-Peak Purchase | PU & FP Capacity Purchase Reqmts. | Ancilliary Services Purchase Reqmt. | Bank Energy (from CVP Corp) | Bank Return Energy (to CVP Corp) | Daily Minimum Capacity | Daily Maximum Capacity | Capacity w/minimal energy
2007-03-25 | (MW) | (MWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | A | B | C | D | E | F | G | H | I | J | K | L | M
1 | 913 | 227 | 244 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
2 | 912 | 222 | 244 | 13 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
3 | 912 | 221 | 244 | 13 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
4 | 912 | 187 | 244 | 13 | 193 | 50 | 20 | 0 | 0 | 0 | 0 | 512 | 0
5 | 912 | 189 | 244 | 13 | 193 | 50 | 18 | 0 | 0 | 0 | 0 | 512 | 0
6 | 913 | 149 | 244 | 14 | 193 | 50 | 59 | 0 | 0 | 0 | 0 | 512 | 0
7 | 856 | 177 | 186 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
8 | 857 | 187 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
9 | 858 | 436 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
10 | 858 | 436 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
11 | 858 | 188 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
12 | 857 | 200 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
13 | 857 | 255 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
14 | 857 | 255 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
15 | 856 | 199 | 186 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
16 | 857 | 281 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
17 | 857 | 281 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
18 | 857 | 753 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
19 | 858 | 679 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
20 | 858 | 821 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
21 | 858 | 426 | 186 | 17 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
22 | 857 | 191 | 186 | 16 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
23 | 914 | 241 | 244 | 15 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
24 | 913 | 227 | 244 | 14 | 193 | 50 | 0 | 0 | 0 | 0 | 0 | 512 | 0
Daily Energy (MWh) | B: 7428; C: 4928; D: 369; F: 1200; G: 97; I: 0; J: 0
[9 empty] | Energy Avail. for BR (MWh): |  |  | 2173
[9 empty] | Ramp Rate Constraint: |  |  | None
Notes:
1. For the AS (Column E), it was assumed that Western's total operating reserve obligation to be equal to the sum of spinning reserve of 133 MW and regulation of 60 MW.
2. An average of 1.81 % transmission losses assessed between subcontrol area (SCA) generation and SCA loads.
3. Data includes committed schedules for those days (shaded gray) that have been committed and forecasted data for the remaining dates.
4. Note: Base Resource minimum and maximum capacity are calculated on a daily basis instead of hourly basis.