2.5.5

01-05

sk

sk - Pedestal Restricted Access Inserts(1)

Max. Splice

Manufacturer	Catalog No.	 Diameter  	          Maximum Splice Sizes

25xModules	   Single Pair Connector

3M	4604		64mm (2.5 in.)	100-Pair		50-Pair

4606		99mm (3.9 in.)	300-Pair		100-Pair

4608	135mm (5.3 in.)	600-Pair		300-Pair

4634		57mm (2.25 in.)	100-Pair		50-Pair

4635	102mm (4.0 in.)	300-Pair		100-Pair

4636	137mm (5.4 in.)	600-Pair		300-Pair

4636-XL	140mm (5.5 in.)	900-Pair		400-Pair

4637-XL	191mm (7.5 in.)	1200-Pair		400-Pair

Tyco Electronics	PedCap-RE-2G		48mm (1.9 in.)	20-50-Pair		25-50-Pair

PedCap-RE-3G		76mm (3.0 in.)		25-200-Pair		25-200-Pair

PedCap-RE-4G		84mm (3.3 in.)	100-400-Pair		100-400-Pair

PedCap-RE-6G	114mm (4.5 in.)		200-900-Pair		200-900-Pair

GT-3(2)		66mm (2.6 in.)		25-100-Pair		25-100-Pair

GT-4(2)		91mm (3.6 in.)		50-400-Pair		50-400-Pair

GT-6(2)	109mm (4.3 in.)	100-900-Pair		100-900-Pair

Uraseal	SAP-IICPR3N		76mm (3.0 in.)	 200-Pair		200-Pair

SAP-IICPR4N	102mm (4.0 in.)	 300-Pair		300-Pair

SAP-IICPR5N	127mm (5.0 in.)	 400-Pair		400-Pair

Notes:	(1)Pedestal restricted inserts should not be filled.  Splices that require filling should be placed in a splice case.

(2)Maximum splice sizes will vary with type of connector and/or gauge of cable used.