03E06/13/07

S403-03E.doc

Use on projects without statistical acceptance (typically between 0 and 4000 tons).

Section 403. - HOT ASPHALT CONCRETE PAVEMENT

Delete the Section and substitute the following:

Section 403. - HOT ASPHALT CONCRETE PAVEMENT

Description

403.01  This work consists of constructing one or more courses of hot asphalt concrete pavement.

Asphalt binder is designated according to AASHTO M 20, M 226, or M 320.

Construction Requirements

403.02  Composition of Mix (Job-Mix Formula).

Furnish hot asphalt concrete mix composed of crushed stone or gravel and asphalt binder mixed in an approved plant.  Use an aggregate quality, gradation and an asphalt binder grade conforming to those used locally in the construction of highways by the State Department of Transportation.  A job-mix formula developed solely for this project will not be allowed.

Submit a currently approved State Department of Transportation job-mix formula for approval at least 28 days before production.  Include the location of all commercial mixing plants to be used and a separate job-mix formula for each plant.

For each proposed job-mix formula, submit a production certification meeting state agency specifications and conforms to design parameters (a), (b), or (c) from Table 403-1 for the type of mix submitted.  The job-mix formula must meet design parameter (d) in Table 403-1.  Submit a sample of loose mix to the CO 21 days prior to placement.  Include a signed statement prepared by the testing laboratory that certifies the proposed job-mix formula meets the requirements of the contract and can be compacted in the field during production to meet the contract requirements.  For each job-mix formula include copies of laboratory test results with the following information:

•  Stockpile blend ratios

•  Individual stockpile and combined aggregate gradations

•  Target value for percent passing each sieve size for the aggregate blend

•  Aggregate properties

•  Target asphalt binder content

•  Maximum density value according to AASHTO T 209

•  Test values for (a), (b), or (c) and (d) from the Table 403-1

•  Submit loose mix sample three weeks prior to paving

•  History demonstrating the job-mix formula has been used in the area

Table 403-1

Hot Asphalt Concrete Mix Requirements

| Design Parameters | Specification |
| --- | --- |
| (a) Superpave (AASHTO M 323, R 35, and T 312) (1) Gyratory compactive effort (2) Volumetric properties at 0.3 to 3 million ESAL’s (AASHTO M 323) | 7, 75, 115 see Table 401-1 |
| (b) Hveem (AASHTO T 246 and AASHTO T 247) (1) Stabilometer, minimum (2) Percent Air Voids (1) | 35 3 - 5 |
| (c) Marshall (AASHTO T 245) (1) Stability, pounds minimum (2) Flow, 0.01 inch (3) Percent Air Voids (1) (4) Compaction, number of blows per side | 2800 8 - 16 3 - 5 75 |
| (d) Moisture Susceptibility (1) Retained strength, % minimum (AASHTO T 165 and T 167) or (2) Retained strength, % minimum (AASHTO T 283) | 70 80 |

(1) The percent of air voids are based on AASHTO T 166, AASHTO T 209 and AASHTO T 269.

Up to 25 percent recycled asphalt pavement material by mass may be used in the mix.

403.03  Surface Preparation.  Prepare the surface according to Subsection 401.06.

403.04  Weather Limitations.  Place hot asphalt concrete according to Subsection 401.07.

403.05  Hauling.  Haul the asphalt mix using vehicles conforming to Subsection 401.11.

403.06  Placing and Finishing.  Do not use mixes produced from different plants unless the mixes are produced according to the same job-mix formula, use material from the same sources, and are approved.

Place Hot asphalt concrete mix at a temperature conforming to Table 401-2.  Measure temperature of the mix in the hauling vehicle just before dumping into spreader or measure it in the windrow immediately before pickup.

Place the mix with a paver conforming to Subsection 401.05.  Control horizontal alignment using a reference line.  Automatically control the grade and slope from reference lines, a ski and slope control device, or dual skis.  Use skis having a minimum length of 30 feet.

In areas where mechanical spreading and finishing is impractical, place and finish the mix with alternate equipment to produce a uniform surface closely matching the surface obtained when using a mechanical paver.

For all 4R projects add the following to Subsection 403.06 (also include detail C634-50):

Add the following 2 paragraphs at the end of the Subsection:

Offset the longitudinal joint of one layer at least 6 inches from the joint in the layer immediately below.  Make the longitudinal joint in the top layer along the centerline of two-lane roadways or at the lane lines of roadways with more than two lanes.  For simple curve widening locations (widening only on one side) shift the centerline joint location such that the final layer is midway between the normal edge of shoulders.  The shift from the staked centerline will be towards the widened lane one-half the total curve widening specified for the given station as shown in the plans.

The CO will designate the job-mix formula to be used for wedge and leveling courses at each location.  Place wedge and leveling courses in maximum 3 inch lifts.  Complete the wedge and leveling before starting normal paving operations.

OR For all 3R projects add the following to Subsection 403.06:

Add the following 2 paragraphs at the end of the Subsection:

Offset the longitudinal joint of one layer at least 6 inches from the joint in the layer immediately below.  Make the longitudinal joint in the top layer along the centerline of two-lane roadways or at the lane lines of roadways with more than two lanes.  Make the longitudinal joint in the top layer along the existing striped centerline, as recorded under Subsection 152.03(n), or at the lane lines of roadways with more than two lanes.

The CO will designate the job-mix formula to be used for wedge and leveling courses at each location.  Place wedge and leveling courses in maximum 3 inch lifts.  Complete the wedge and leveling before starting normal paving operations.

Add the following to Subsection 403.06 when the hot mix haul is anticipated to be long. Also be sure to include the pay item 62202-1000 for “Material Transfer Vehicle”.

403.06  Placing and Finishing.  Add the following:

Use a Materials Transfer Vehicle (MTV) with storage and remixing capabilities on all mainline construction when placing asphalt concrete mixtures.  The MTV will independently remix and deliver mixture from the hauling equipment to the paving equipment.

Furnish an MTV with the following capabilities:

•  An unloading system to receive mixtures from the hauling equipment.

•  A minimum storage capacity of 13 tons with a remixing system in the MTV storage bin.

•  A discharge conveyor to deliver the mixture to the paver hopper.

•  The MTV system cannot exceed maximum legal loadings on structures.

Acceptable Material Transfer Vehicles are:

•  Barber Greene MTV-3500

•  Roadtec SB-1500

•  Roadtec SB-2500

In the event the MTV malfunctions during paving operations, the Contractor must suspend paving, however hot mix in transit and stored in the silo at the time of breakdown may be placed without the use of an MTV.  Do not resume hot mix placement until the MTV is operational.

403.07  Compacting.  Thoroughly and uniformly compact the asphalt surface by rolling.  Do not cause cracking, shoving, or undue displacement.  Continue rolling until all roller marks are eliminated, all cracks are sealed, and the required density is obtained.  Do not roll the mix after the surface cools below 175 ºF.

Monitor the compaction process with a nuclear density gauge.  Compact to a pavement specific gravity (density) that is no less than 92.0 percent of the maximum specific gravity (density) determined according to AASHTO T 209.

Cut 4 or 6-inch diameter core samples from the compacted pavement.  Fill and compact the core holes with asphalt concrete mixture.  Label the cores and protect them from damage due to handling or temperature during storage.  Perform specific gravity and thickness tests on the cores and deliver them to CO.

Along forms, curbs, headers, walls, and other places not accessible to the rollers, compact the mix with alternate equipment to obtain the required compaction.

403.08  Pavement Smoothness.  Use a 10-foot metal straightedge to measure at right angles and parallel to the centerline.  Defective areas are surface deviations in excess of ¼ inch in 10 feet between any two contacts of the straightedge with the surface.  Correct defective areas using approved methods.

403.09  Acceptance.  See Table 403-2 for sampling and testing requirements.

Hot asphalt concrete pavement will be evaluated under Subsections 106.02 and 106.03.

Hot asphalt concrete construction work will be evaluated under Subsections 106.02 and 106.04.

During placement of the mix the contractor will sample the loose mix according to Table 403-2.  A split sample will be submitted to the CO for verification.  Materials that do not meet the approved job-mix formula are considered unacceptable.

Measurement

403.10  Measure the Section 403 items listed in the bid schedule according to Subsection 109.02.

Payment

403.11  The accepted quantities will be paid at the contract price per unit of measurement for the Section 403 pay items listed in the bid schedule.  Payment will be full compensation for the work prescribed in this Section.  See Subsection 109.05.

TABLE 403-2

Sampling, Testing and Acceptance Requirements

| Material or Property | Type of Acceptance (Subsection) | Characteristic | Test Methods or Specifications | Sampling Frequency | Point of Sampling | Split Sample | Reporting Time |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hot Asphalt Concrete Pavement (design) | Measured and Tested for Conformance (106.03 & 106.04) | Job-mix formula verification | Subsection 403.02 (1) | 1 per job-mix formula | Flowing mix stream (bin or belt discharge) or behind the laydown machine before rolling. | --- | 21 days before approval of job-mix formula |
| Hot Asphalt Concrete Pavement (production) | Measured and Tested for Conformance (106.04) | Job-mix formula verification | Subsection 403.02 (1) | 1 per 700 ton | Behind the laydown machine before rolling | Yes | 24 hours |
|  |  | Compaction (2) | AASHTO T 166 and AASHTO T 209 | 1 per 700 ton | In-place after compaction. | “ | “ |
|  |  | Smoothness | Subsection 403.08 | --- | --- | --- | --- |

(1) Use only sieves indicated on the job-mix formula for the specified gradation.

(2) Cut core samples from the compacted pavement and carefully remove using a core retriever.  Fill and compact the sample holes with asphalt concrete mixture.