ROOF ACCESS Program

Lawrence Berkeley National Laboratory

Contents

Page

Glossary	2

I.  Policy	3

II.  Scope	3

III.  Introduction	3

IV.  Building Roof Categories	4

Restricted Access Roofs	4

Limited Access Roofs	5

Unrestricted Access Roofs	6

V.  Signs	6

VI.  Responsible Parties	7

VII.  Regulations/Orders/Standards	8

VIII.  Related PUB-3000 Chapters	8

Appendices

Appendix A:  Building Roof Access Categories

Appendix B:  LBNL Building Managers and Deputies (not currently available)

Glossary

As Low As Reasonably Achievable (ALARA) is the goal to minimize employee radiation exposure.

A High Efficiency Particulate Air (HEPA) filter is one that is capable of filtering 0.3-micron particles or greater with at least 99.97 percent efficiency.

A Heating, Ventilating, and Air Conditioning (HVAC) system is the system that supplies fresh air to a building.  It may also provide heating and/or cooling.

Long-term work is nonroutine roof work that is greater than three days in duration.  Examples include reroofing an entire building, or replacing large portions of ventilation systems.

Permissible Exposure Limit (PEL) and Threshold Limit Value (TLV) are employee airborne exposure limits established for particular chemicals by the Federal Occupational Safety and Health Administration (Fed/OSHA) and the American Conference of Governmental Industrial Hygienists (ACGIH), respectively.  DOE requires that employee exposures must not exceed PELs or TLVs.  Time Weighted Average (TWA), Short-Term Exposure Limit (STEL), and Ceiling (C) standards are summarized as follows:

Organizations and Standards				Work Exposure Duration

Fed/OSHA PEL-TWA and ACGIH TLV-TWA		8-hour shift and 40-hour week

Fed/OSHA PEL-STEL and ACGIH TLV-STEL		15 minutes

Fed/OSHA PEL-C and ACGIH TLV-C			Any point in time

Roof access means going onto a roof by any means.

Short-term work is routine work that is 8 hours or less per day for not more than 3 consecutive days.  Examples include small roof repairs, changing a blower motor, and replacing HVAC filters and environmental stack monitors.

Threshold Limit Value (TLV) is defined under Permissible Exposure Limit, above.

Roof Access PROGRAM

I.  Policy

Berkeley Lab will take a conservative approach to roof access in order to minimize potential exposure to chemicals, magnetic fields, and radiological hazards for personnel who are working on roofs.  This approach involves restricting or limiting access to building roofs when potentially hazardous materials originating from operations inside of a building may reach the roof, even though it unlikely these hazards will exceed occupational health limits.

II.  Scope

This policy applies to all personnel access on roofs maintained by Berkeley Lab.  The primary focus of this policy is to address concerns regarding employee exposure to chemicals, magnetic fields, and radiological hazards when working on rooftops.  Other safety issues involved when working on roofs, and equipment on roofs, (e.g., fall protection, electrical safety, lockout tagout) are covered separately in other PUB-3000 chapters.

III.  Introduction

Laboratory employees are often required to gain brief access to the roofs of Berkeley Lab buildings for such tasks as routine maintenance, equipment inspection, minor roof repairs, environmental sample collection, and changing HVAC filters.  Less frequently, work may require employees or contractors to be on roofs for extended periods of time, such as when reroofing or installing ventilation systems.  Although it is unlikely that individuals working on roofs will be exposed to chemical substances in concentrations that exceed the PEL or TLV (because of the large amount of dilution that occurs in a laboratory hood and the further dilution when the exhaust gases mix with the surrounding air),1 it is good practice to minimize employee chemical exposures.  Radioactive materials are also a concern, but the consistent use of HEPA or other specialized filters for hoods used for volatile radioactive materials mitigates release to the roof.  In keeping with the policy to minimize potential employee exposure, certain buildings have been placed into restricted or limited roof access categories.

1For example:  A laboratory hood typically exhausts at 800 cubic feet per minute (cfm), or 22,640,000 cubic centimeters (cc) per minute.  This means that every cubic centimeter of gas emitted in a minute is diluted by a factor of approximately 22 million in the laboratory exhaust system.  For example, it would take an emission rate of 226 cc/min of hydrogen sulfide gas (an odiferous gas that has a rotten egg type odor) to reach the PEL of 10 ppm inside the laboratory fume hood duct.  Because of its low odor threshold (i.e., 0.008 ppm or 1,200 times less than the PEL), releases of hydrogen sulfide gas can generate odor complaints when it is released at a rate of 0.2 cc/min .  One of the purposes of limiting roof access on certain buildings is to minimize employee exposure to noxious odors, even though it is likely that the airborne concentrations are well below the PEL.

IV.  Building Roof Categories

Berkeley Lab buildings have been placed into one of three roof access categories, depending on the type of work performed in the building.  Appendix A consists of a comprehensive list of Berkeley Lab Buildings and their assigned access category.

A.  Restricted Access building roofs require the approval of the Building Manager before any work is performed.

B.  Limited Access building roofs can be accessed by notified personnel for short-term work, long term work requires approval by the Building Manager.

C.  Unrestricted Access building roofs are open to work access with no special restrictions.

Future additions or recategorizations must be reviewed by the Building Manager, Maintenance Supervisor, and Industrial Hygienist assigned to these areas before a building roof access category is added or changed.  The types of building classifications are listed below.  Note that all trailers are designated as type C, open access, unless they are located in a restricted area.

Restricted Access Roofs

Buildings specified as having restricted access roofs in Appendix A were placed in that category because they are in a restricted access area, such as a hazardous waste yard, accelerator, etc., or because there is a research-related reason or hazard, such as a high magnetic field.  The Building Manager, who is the point of contact between building occupants and Facilities, also has the option to restrict access to roofs for other reasons, such as damage to sensitive equipment, disruption to building occupants, experiments, etc.

Restricted access roofs require that the Building Manager (or designee) be contacted for approval before any work can be performed on the roof.  Access doors must be kept locked and posted with the sign shown below.

Caution This roof is designated as "Restricted Access" Building Manager approval is required before any roof work can be performed Contact the Building Manager at ext.______

Limited Access Roofs

Buildings specified as having limited access roofs in Appendix A were placed in that category because there is some potential for diluted chemical emissions from the exhaust stacks to be present.  Typically these roofs have large numbers of exhaust stacks, or the exhaust stacks are relatively low in height.  In some cases there are enclosures that may restrict outside air flow in part of the roof area.

Roof work on limited access buildings has been placed into two classifications:

1.  Short-term (i.e., 8-hours per day for not more than 3 consecutive days)

2.  Long-term (i.e., >3 consecutive days).

Short-term work by employees who have been notified of the potential hazards associated with their task is permitted without restriction.  Verbal approval by the Building Manager is required for long-term work.  If requested, an Industrial Hygienist (or designee) will review the type and amounts of chemicals used in each laboratory hood in the building.  Experiments that have the potential to cause problems to roof workers (e.g., fuming acids, releasing odiferous chemicals such as hydrogen sulfide) may be restricted.  Access doors must be kept locked and posted with the sign shown below.

Caution This roof is designated as "Limited Access" Authorized Personnel Only For information contact the Building Manager at ext.______

Unrestricted Access Roofs

Buildings (including all trailers) with unrestricted access roofs were placed in that category because they are office-type buildings with virtually no potential for chemicals or other hazardous agents inside of the building to affect roof work.  The building manager should still be notified for long-term roof work and for work that may disrupt building occupant activities (e.g., shutdown of the HVAC system, roofing repair near an air intake, interruption of utilities, etc.).  Access doors to these roofs will not be posted with signs.

V.  Signs

Listed below are examples of signs that may be posted on laboratory hoods when they are out of service or their use has been limited because of roof work.

A.  Appropriate sign for posting on a laboratory fume hood when air is no longer exhausting through it (for example, when Facilities maintenance is replacing belts or the blower motor).

DO NOT USE FACILITIES DEPARTMENT NOTICE OUT OF SERVICE FUME HOOD and EXHAUST SYSTEM BLDG _________ DATE __________ FROM APPROXIMATELY ______TO _______ REASON ______________________________ FOR INFORMATION CONTACT _______________AT EXT_______

B.  Examples of signs that are appropriate for posting on hoods that exhaust adjacent to work areas where long-term roof work is being performed.  The type of sign used will depend if the Building Manager chooses to make a blanket work restriction or to designate a specific roof work schedule time.

| Caution Do not perform any experiment in this hood before contacting the Bldg. Mgr. __________at ext ______ Painters are working on the roof near the hood exhaust. Date______ | Warning Do not release hazardous or odoriferous materials into this hood during posted work times. Workers may be on the roof. Roof work schedules are posted at entrance doors, the elevators, and staircases. For information contact the Building Manager at ext.______ |
| --- | --- |

VI.  Responsible Parties

Personnel With Access to Roofs

•	Review the roof work plan and the implementation of this policy with your supervisor prior to starting work.

•	Determine the type of building roof access category from Appendix A.

•	Contact the Building Manager for:

A.  restricted access buildings.

B.  long term work on limited access buildings.

C.   work that will disrupt building occupants in unrestricted access buildings.

•	Ensure that the appropriate sign(s) are posted, and that other safety precautions, such as lockout/tagout, etc., are performed if they are required.

•	Stop work immediately and contact your supervisor if the previously discussed scope of work or conditions change.

•	Remove signs after the work has been completed, and inform the building manager of the completion of the work if they were notified.

Building Manager

•	Know the roof access classification of the building and the requirements for gaining access to the roof.

•	Appoint a designee for times when the Building Manager is not available.

•	Ensure that researchers and other building occupants are notified of roof work (e.g., laboratory hood shutdown) that may directly affect them.

•	Serve as the point of contact between Facilities and the building occupants, as needed.

EH&S Field Support Department

•	Upon request, assist in the evaluation of chemical, radiological, or other hazards that may affect roof workers.

•	Make final decisions on roof categories based on input from building operations personnel.

Facilities Supervisors/Project Managers/Superintendents

•	Review the roof work plan and the implementation of this policy with employee(s) prior to starting work.  Request assistance from EH&S if there are concerns regarding chemical, radiological, or other hazards.

•	Notify employees who perform roof work of the potential hazards associated with their task, as well as the measures implemented to mitigate these hazards.

•	Notify the Building Manager of work that may disrupt building occupant work activities, such as shutdown of the HVAC system, roofing repair near an air intake, or interruption of utilities.

•	Notify the Building Manager and EH&S of long-term roof work on restricted access and limited access roofs as far in advance as feasible.

•	Coordinate roof access procedures for outside contractors.

VII.  Regulations/Orders/Standards

29CFR 1926.500 - Fall Protection

VIII.  Related PUB-3000 Chapters

•  Occupational Safety

•  Lockout/Tagout

Appendices

Appendix A:  Building Roof Access Categories

Restricted access:  Requires approval from the building manager for all work     (i.e., both short and long term).  These buildings are shown in bold type in the table below.

Limited access:  Access only by notified personnel for short term work.  Long-term work   (i.e., >8 hours) requires the building manager's verbal approval.

Unrestricted access:  No special restrictions for roof work.  This also includes all trailers not individually listed in this table.

| Bldg | Description | Re-stricted | Limit-ed | Unre-stricted | Comments |
| --- | --- | --- | --- | --- | --- |
| 1 | Donner Laboratory |  |  | X | Limited access inside blower enclosure areas |
| 2 | Advanced Materials Laboratory Center | - | - | X | Limited access inside blower enclosure areas |
| 3 | Calvin Laboratory |  |  | X |  |
| 4 | Magnetic Fusion Energy (MFE) | - | - | X |  |
| 5 | Magnetic Fusion Energy (MFE) | - | - | X |  |
| 6 | Advanced Light Source (ALS) | X | - | - | Notify the Control Room - ALARA* |
| 7 | ALS storage/offices | - | - | X |  |
| 10 | ALS Labs/shops | - | X | - | ALARA |
| 14 | Earth Sciences, Accelerator & Fusion Research | - | - | X |  |
| 16 | MFE Lab |  |  | X |  |
| 17 | EH&S Shops | - | - | X |  |
| 25 | Mechanical Technology Shops | - | - | X |  |
| 25A | Electronics Shops | - | - | X |  |
| 26 | Medical Services | - | - | X |  |
| 27 | High Voltage Testing Facility | - | - | X |  |
| 29 | Electronics Instrumentation | - | - | X |  |
| 31 | Chicken Ranch Maintenance Building | - | - | X |  |
| 34 | ALS Chiller | - | - | X |  |
| 36 | Grizzly Substation Switch gear | - | - | X |  |
| 37 | Utilities service | - | - | X |  |
| 40 | Electronics Development Lab | - | - | X |  |
| 41 | Engineering & Electronics | - | - | X |  |
| 43 | Compressor Building | - | - | X |  |
| 44 | Air Pollution Studies | - | - | X |  |
| 45 | Fire Apparatus | - | - | X |  |
| 46 | Offices/shops | - | - | X |  |
| 46A | Engineering | - | - | X |  |
| 47 | Advanced Accelerator Study | - | - | X |  |
| 48 | Fire House | - | - | X |  |
| 50 | Physics, Accelerator & Fusion Rsrch | - | - | X |  |
| 50A | Administration, Directorate | - | - | X |  |
| 50B | Physics, Computer Center | - | - | X |  |
| 50C | Public Information Department | - | - | X |  |
| 50D | Nuclear Science | - | - | X |  |
| 50E | Physics | - | - | X |  |
| 50F | Computing Services | - | - | X |  |
| 51 | Bevatron | - | - | X |  |
| 51A | Bevatron Experimental Area | - | - | X |  |
| 51B | EPB Hall | - | - | X |  |
| 52 | MFE Lab | - | - | X |  |
| 53 | Super HILAC Development | - | - | X |  |
| 54 | Cafeteria | - | - | X |  |
| Bldg # | Description | Re-stricted | Limit-ed | Unre-stricted | Comments |
| 55 | Life Sciences | X | - | - | ALARA |
| 55A | NMR | X | - | - | Magnetic Fields |
| 56 | Life Sciences | X | - | - | ALARA |
| 58 | Heavy Ion Fusion | X | - | - | ALARA |
| 58A | Accelerator R&D Addition | X | - |  | ALARA |
| 60 | Physics Hi-bay | - | - | X |  |
| 61 | Standby Propane Bldg | - | - | X |  |
| 62 | Material & Chemical Sciences | - | X | - | Laboratory hood exhaust stacks |
| 63 | Energy & Environment (EE) | - | - | X |  |
| 64 | Life Sciences | - | - | X |  |
| 65 | Visitor's Center | - | - | X |  |
| 66 | Material & Chemical Sciences | - | X | - | Laboratory hood exhaust stacks |
| 68 | Upper Pump House | - | - | X |  |
| 69 | Purchasing / Receiving | - | - | X |  |
| 70 | Nuclear Sciences(NS), EE | - | X | - | Laboratory hood exhaust stacks |
| 70A | NS, LS, CS, ES |  | X |  | Laboratory hood exhaust stacks |
| 71 | HILAC | - | - | X |  |
| 71A | HILAC Rectifier | - | - | X |  |
| 71B | HILAC Annex |  |  | X |  |
| 72 | National Center for Electron Microscopy (NCEM) | - | - | X |  |
| 72A | High Voltage Electron Microscope | - | - | X |  |
| 72B | Atomic Resolution Microscope (ARM) | - | - | X |  |
| 72C | ARM Support | - | - | X |  |
| 73 | Atmospheric Aerosol Research | - | - | X |  |
| 74 | LS Lab | - | X | - | Laboratory hood exhaust stacks |
| 75 | NTLF, EH&S | X | - | - | ALARA |
| 75A | Hazardous Waste Storage | X | - | - | Restricted waste storage area |
| 75B | EH&S Trailers | - | - | X |  |
| 75C | EH&S | X | - | - | Restricted waste storage area |
| 76 | Facilities Maintenance | - | - | X |  |
| 77 | Engineering Shops |  |  | X |  |
| 77A | Engineering Shops | - | - | X |  |
| 77H | Engineering Shops | - | X |  | Contact UHVC supervisor - exhaust stacks |
| 78 | Craft Stores | - | - | X |  |
| 79 | Metal Stores | - | - | X |  |
| 80 | ALS | X | - | - | Notify the ALS Control Room - ALARA |
| 80A | ALS Offices | - | - | X |  |
| 81 | Gas Storage | - | - | X |  |
| 82 | Lower Pump House | - | - | X |  |
| 83 | Life Sciences Lab | - | X | - | Laboratory hood exhaust stacks |
| 84 | Life Sciences Lab | - | X | - | Laboratory hood exhaust stacks (when operational) |
| 85 | Hazardous Waste Handling Facility | X | - | - | Restricted waste storage area |
| 85B | EH&S Offices | - | - | X |  |
| 88 | 88 Cyclotron Hibay | X | - | - | Notify the Control Room - ALARA |
| 88 | 88 Cyclotron - Office Section | - | - | X |  |
| 90 | E& E, EH&S | - | - | X |  |

* ALARA (As Low As Reasonably Achievable) The goal is to minimize employee radiation exposure.

Appendix B:  LBNL Building Managers and Deputies