# Aegilops speltoides anther cDNA Library (E Akhunov, P Kianian, K Simons, C Otto, TJ Close, D-W Choi, D Zhang, A Chin, RD Fenton; TJ Close lab, UC Riverside, 4 Aug 2000); AS040E1X; AScDNA0001 Lot #1.

Source of RNA:

- Plant: diploid aegilops (Aegilops speltoides).  F2 plants from a cross of 2-12-4-8-1-1-1-(1) female by PI 36909-12-811-(1) male.

- Type of tissue: anther

- Growth conditions: Growth chamber, normal conditions, E. Akhunov, UCD.

- Samples: premeiotic anthers.

- Total RNA purification: hot phenol method. Nucleic Acid Res (1989) 17:2362.

- RNA pooling: one sample

- PolyA purification method: PolyATtrack mRNA Isolation System III (Promega)

- cDNA synthesis method: cDNA Synthesis Kit (Stratagene)

Name of vector: Uni-ZAP XR

- Uni-ZAP XR vector allows in vivo excision of the pBluescript phagemid

Description of Inserts:

- cDNAs were directionally cloned with EcoRI on the 5’ and XhoI on the 3’ end

- cDNAs larger than 0.5 kb were selected by size fractionation via gel filtration

Primary ( Phage Library:

- cDNA ligation: 100 ng of cDNA and 1 (g of vector

- Packaging: Gigapack III Gold Packaging Extract (Stratagene)

- Lambda ZAP yield: 1.8 x 107 pfu in 500 (l SM buffer.

- Non-recombinants (dark blue): not determined.

Mass Excision Phagemid Library:

- Complexity: 1 x 106 ( ZAP pfu (28 (l of primary library) added to 972 (l SM Buffer

- Host cells:  XL1-Blue-MRF' (Stratagene), ~ 5 x 107 log-phase cells in 1 ml 10 mM MgSO4

- Helper phage: ExAssist (Stratagene), ~1 x 109 pfu; 100 (l

- Addition of adsorbed mixture of above ingredients to 40 ml LB medium, 37(C

- Mass excision performed for ~3 hrs and centrifuged to create a cell pellet and supernatant

- Supernatant heated at 70(C for 20 min; this is the “Low Amplification” library (L).

- Cell pellet resuspended in 40 ml fresh LB and grown at 37(C for an additional 16 ~ 20 hr.

- Supernatant heated at 70(C for 20 min; this is the “High Amplification” library (H).

- Titered on SOLR (Stratagene) cells:

|  | Low Amplification | High Amplification |
| --- | --- | --- |
| Phagemid yield (cfu/ml) | 1.17 x 107 | 7.55 x 108 |
| Total phagemid yield (cfu/40ml) | 4.68 x 108 | 3.02 x 1010 |
| Amplification (cfu/plaque) | 4.68 x 102 | 3.02 x 104 |
| Percent dark blue colonies | ~ 2.5 | Not determined |