# Dear TC8.10 Member,

The International Alliance for Interoperability, of which ASHRAE is a member, is developing standard methods of describing HVAC equipment so that data can be transferred more easily and reliably between computer applications such as CAD, equipment sizing, cost estimation, energy calculations etc.  The aim is also to support commissioning and O&M as computer tools become available.  We are asking for your help in reviewing the draft specification for pumps given below.  We would like the list of properties to be complete for the applications mentioned and to use terminology that is both correct and commonly used.  As far as possible, we would also like to avoid duplication/redundancy.

Scott Fisher has invited me to attend your TC meeting at 2.15 on Monday, January 29 in Atlanta to answer any questions and get comments back from the TC.  I’d be most appreciative if you would review this between now and the 29th and write comments on a printed copy that I can collect at the meeting.  If you have any questions before the 25th, please email me at PHaves@lbl.gov or call me at Lawrence Berkeley National Laboratory, (510) 486 6512.  If you won’t be at the Atlanta meeting, please fax me your comments at (510) 486 4089, call me or email me.

Thanks in advance for your help,

Philip Haves,

Leader, Commercial Building Systems Group

Lawrence Berkeley National Laboratory, MS 90-3111

Berkeley, CA 94720

Tel: (510) 486 6512

Fax: (510) 486 4089

# Draft List of Properties for Pumps

1/5/01

### Type: circulator / endsuction / splitcase / vertical in line / vertical turbine

Net Positive Suction Head

Impeller seal material

Base type: frame / base / inline

Motor connection type: direct drive / belt drive / coupling

Size: height, length, width

Weight

Impeller size

Isolator compressibility factor

Isolator minimum static deflection

Vibration transmissibility

Performance at design conditions

Capacity

Total pressure rise

Rotation speed

Horsepower

Motor voltage

Motor phase

Motor current

Motor rotation speed

Motor efficiency

Fraction of motor inefficiencies to fluid stream

Noise class (NC)

Sound spectrum graph/table

Vibration transmissibility

VFD efficiency

Off-design performance

Head curve

Efficiency curve

VFD performance curve

### Sequences of operation

Start-up/shut-down/cut-out

Interlocks

Pump tests (no flow, end of curve)

Lead/lag staging

### Performance Verification Measurement Points

Water flow rate

Pressure rise

VFD speed

Motor data: Volts, PH, RLA