| NRCS Natural Resources Conservation Service | PIPELINE Conservation Practice Job Sheet 516 |
| --- | --- |
| New Mexico February 2005 |
| Client: |  | Tract: |  | Farm No. |  | Field No.: |  |
| Farm/Ranch Location: |  | County: |  | Acre(s): |  | Date: |  |
| Program: |  | Contract No: |  | Planned Installation Date: |  |
| Drawing No.: |  | Item No.: |  |  |
| Definition: |

A pipeline having an inside diameter of 8 inches or less.

Purpose:

To convey water from a source of supply to points of use for livestock, wildlife, or recreation.

Requirements:

- CONSTRUCTION SHALL NOT COMMENCE PRIOR TO THE ISSUANCE OF A DESIGN ACCEPTANCE LETTER ISSUED BY THE NRCS.  (See §NM521.01 of the National Engineering Manual.)

- It shall be the responsibility of the owner / lessee to obtain all necessary permits and/or rights, and to comply with all ordinances and laws pertaining to this installation.

- On Federal, State, or Tribal lands, or when federal funding is involved on private land, the landowner / lessee must have archaeological clearance and approval / permit from the responsible permitting agency prior to any construction.  If during installation, any cultural resources, historical resources, threatened or endangered species are found, the landowner / lessee must cease operations and obtain archaeological clearance and approval / permit from the responsible permitting agency prior to continuing construction.

- Installation shall be in accordance with the drawings, specifications, and special requirements.

- The following additional data is required: As applicable, document pipe manufacturer and pipe markings, length of lines by size, class, thickness, special coating, and pipe burial length; location and size of valves, air release valves, pressure release valves, and supports; number and location of outlets by size and type; pipeline profile, and applicable pressure testing.

- NM-ENG-176 may be used to assist in system design.

Practice Classification and Approval (NEM Section 501):

The highest Job Class identified for all applicable practices shall be used to identify the Job Class of the project.

| Job Class |
| --- |
| Length |  | Miles |  |
| Diameter |  | Inches |  |
| Static Pressure |  | Pounds per Square Inch |  |

Engineer Certification:

The designer shall certify that the design has been prepared in accordance with Practice Standard 516, the Statement of Work for Practice Standard 516, and any other applicable practice standards necessary to complete the design.

For designs prepared by NRCS personnel or non-NRCS personnel with assigned NRCS job approval authority:

Designed by: 									 Designer’s Engineering Job Approval Limit: 		 Date:

(signature)						(for this practice)

For designs prepared by non-NRCS personnel with no NRCS job approval authority assigned:

Designed by: 										  New Mexico PE License No.: 				  Date:

(signature)

Landowner/Operator Acknowledgement and Acceptance:

The landowner/operator acknowledges that:

- They have received a copy of the construction drawings and specifications, and understands the contents and requirements and,

- Maintenance of the installed work is necessary for proper performance for the life of the practice.  All federal cost shared practices must be maintained to these specifications for the expected life of the practice.

Accepted by: ____________________________________ Date: _____________________

Landowner/Operator

Practice Completion:

I have made an on-site inspection (or I am accepting owner/contractor documentation located in the case file), and have determined that the job, as installed, conforms to the drawings and specifications.

Accepted by: _____________________________ Job Title: ___________________ Date: ____________

Authorized NRCS Representative