Supporting Statement - Medical Devices; Device Tracking

A. Justification

1. Circumstances Necessitating Information Collection

On August 16, 1993, the Food and Drug Administration (FDA) issued final rules establishing regulations for tracking certain medical devices (58 FR 43442).  See Attachment (Attach.) 1A.  These regulations implemented section 519(e) of the Federal Food, Drug, and Cosmetic Act (act), as amended by the Safe Medical Devices Act of 1990 (Pub. L. 101-629) (SMDA) and the Medical Device Amendments of 1992 (Pub. L. 102-300).  See Attach. 1B, 1C, and 1D.

Under the SMDA, section 519(e) mandated that any person registered as manufacturing a device meeting the criteria in section 519(e)(1) must track that device by statute.  Under section 519(e)(2), the manufacturer of a device designated by FDA as requiring tracking was required to track that designated device.  Device tracking regulations went into effect on August 29, 1993, (21 CFR 821) (Attach. 1E).  They establish requirements for manufacturer tracking systems and distributor reporting, and contain illustrative lists of 19 device types that FDA believes meet the criteria requiring mandatory tracking, under the SMDA, and a list of 7 device types designated by FDA to require tracking, under the SMDA.

Effective February 19, 1997, section 519(e) was amended by the FDA Modernization Act of 1997 (Pub. L. 105-115) (FDAMA).  See Attach. 2A.  Amended section 519(e)(1) provides FDA with discretionary authority to issue orders that require a manufacturer to track a class II or class III device if its failure would be reasonably likely to have serious adverse health consequences, or it is intended to be implanted in the human body for more than one year, or it is life-sustaining or life-supporting and used outside a device user facility (Attach. 2B).  Amended section 519(e)(2) provides that patients may refuse to release, or refuse permission to release, their names, addresses, social security numbers, or other identifying information for tracking purposes.

FDA is issuing a final rule (Attach. 2C), which is the subject of this supporting statement, to conform current tracking regulations (21 CFR 821) to changes in tracking provisions effected by FDAMA.  Previously, 26 device types were tracked under the SMDA.  Presently, under FDAMA, 17 device types are tracked per orders issued by FDA.  It is no longer necessary for current tracking regulations to list example devices believed to meet SMDA mandatory tracking criteria, or to list devices designated by FDA to require tracking, under the SMDA.  Deletion of these lists is a change in this final rule.

On May 30, 2000, the Office of Management and Budget (OMB) approved the information collection related to the tracking of medical devices as it pertains to the previous rule approved in 1993.  The approved information collection was assigned OMB Control No. 0910-0442. .  At that time, OMB stated: “OMB files comment on this collection as it pertains to the new proposed rule, and FDA will resubmit this collection with any changes along with the final rule.  In drafting the final rule and paperwork submission, FDA should consider uses of appropriate technology (e.g. electronic submission of information) that could reduce burden.”

FDA is requesting approval from the Office of Management and Budget (OMB) for information collections in this final rule to amend the tracking regulations, "Medical Devices; Devices Tracking," 21 CFR 821, as follows:

821.2 - Reporting - Provides that manufacturers, importers, or distributors may request an exemption or variance from one or more tracking requirements.

821.25(a) - Reporting - Requires device manufacturers, subject to FDA tracking orders, to adopt a tracking method which can provide, upon FDA request: --- within 3 days, for all tracked devices, prior to distribution to patients, data about distributors, --- within 10 days, for tracked devices for single patient use, after distribution to patients, data about the devices, shipping, use, patients, and physicians, and --- within 10 days, for tracked devices for multiple patient use, after distribution to multiple distributors, data about the devices, shipping, multiple distributors, use, patients, and physicians.

821.25(b) - Recordkeeping - Requires manufacturers of tracked devices to keep current  records of tracking data per the standard operating procedure (SOP).

821.25(c) and (c)(3)  - Recordkeeping- Requires manufacturers to establish SOPs for collecting, maintaining, and auditing tracking data, and to incorporate, in a quality assurance program, procedures for auditing devices twice annually for the first three years of tracking, and annually thereafter.

821.25(d) - Reporting -  Requires manufacturers to notify FDA of distributors, final distributors, or multiple distributors not maintaining or reporting required information.

821.30(a) - Reporting (third party disclosure) -  Requires distributors, final distributors, and multiple distributors, upon acquiring tracked devices, to provide manufacturers with data about the distributors, the devices, receipt, and other usage.

821.30(b) - Reporting (third party disclosure)- Requires that final distributors, upon distributing to the patient tracked devices intended for single patient use, provide manufacturers with data about patient identities, the devices, use dates, physicians, and other usage

821.30(c)(2) - Reporting - Requires multiple distributors to provide data on current users of tracked device, current device locations, and other information, within 5 working days of a manufacturers, or within 10 working days of a FDA request.

821.30(d) - Reporting - Requires distributors, final distributors, or multiple distributors to make available for auditing, upon a manufacturers written request, required tracking information records.

2.  Purpose and Use of the Information

Tracking information is collected to facilitate identifying the current location of tracked devices, and patients (or end-users) possessing the devices, to the extent permitted by patients (see item 10 below).  This data is to be used by manufacturers and, as necessary, by FDA to expedite recalling distributed devices that are dangerous or defective, and to facilitate the timely notification of patients or licensed practitioners of risks associated with such devices.  Thus far FDA has not found it necessary to utilize tracking information for these purposes.

3.  Use of Information Technology and Burden Reduction

Respondents have complete flexibility to use tracking system procedures, computer technology, and automation that reduce the time needed to compile tracking information.  Based on inspections conducted to date, FDA believes that manufacturers and distributors keep at least 90% of these records in electronic format.  If FDA requests submission of reports, FDA expects that manufacturers will also submit at least 90% of these reports in electronic format.

4.  Efforts to Identify Duplication and Use of Similar Information

FDA is the only agency requiring the collection of information that tracks devices to distributors and patients.  Legal impediments prevent using Social Security and Internal Revenue Service data that might help locate patients, with tracked implants, who are lost to follow-up.

Under FDAs Quality System regulation (21 CFR 820.160) (Attach. 3), manufacturers must maintain distribution records identifying initial consignees of devices.  Under 821.30(a), some device distributors might report to manufacturers tracking data already contained in initial consignee records.  In practice, FDA believes many final distributors, such as hospitals receiving tracked implants directly from manufacturers, rely on manufacturer records identifying initial consignees as fulfilling the intent of 821.30(a).  They only report, under 821.30(b), when tracked implants are implanted in patients, and not when they are received. Also, many distributors and multiple distributors of tracked life-sustaining or life-supporting devices do not receive the devices directly from manufacturers.  Thus, duplicative reporting is minimal.

5.  Impact on Small Businesses

FDA attempts to minimize the impact by aiding small business in dealing with tracking through guidance provided by CDRHs Division of Small Manufacturers Assistance (DSMA), and its  scientific and compliance staffs.

6.  Consequence of Collecting the Information Less Frequently

FDA does not require a specific collection frequency, reviewing tracking data during FDA inspection, or upon FDA request.  Failure of manufacturers to record, and of distributors to report, data upon the distribution and patient receipt of tracked devices could delay the expeditious recall of distributed devices that are dangerous or defective.

7.  Inconsistencies with 5CFR 1320.6

This information collection is consistent with the guidelines prescribed in 5 CFR 1320.6.

- Consultations Outside FDA

FDA published a proposed rule on April 25, 2000 (Tab B). FDA received one public comment on the proposed rule.  The comment received maintained that infusion pumps should be tracked on the basis of high-risk uses (per FDA's February 1999 guidance) rather than on operating technology, i.e., whether or not they are electromechanical infusion pumps (per FDA's January 2000 guidance).  The commenter claimed that FDA's position in the January 2000 guidance "…would, again, make enteral feeding pumps which are electromechanical in nature, subject to tracking, while unfairly exempting enteral feeding pumps which are not electromechanical."

The issue raised by the comment is outside the scope of the regulation.  Specifically, the comment relates to the appropriateness of the issuance of orders that were issued pursuant to section 519(e) as amended by FDAMA, prior to the existence of this proposed regulation.  The comment also relates to the appropriateness of guidance that was published prior to the existence of this proposed regulation.  Since the issuance of these orders relating to infusion pumps took place under authority that was independent of the proposed regulation, the appropriateness of the order’s issuance is not within the scope of this regulation.

FDA does note, however, that, in describing the criteria for triggering the issuance of the future orders that will be issued under the regulation, the regulation mirrors the language of the statute.  If the commenter has concerns about the issuance of previous orders relating to infusion pumps, the firm may request an exemption from the tracking regulations, and may also submit comments on the guidance relating to the application of tracking requirements to infusion pumps.

In addition, on May 30, 2000, the Office of Management and Budget (OMB) approved the information collection related to the tracking of medical devices as it pertains to the previous rule approved in 1993.  The approved information collection was assigned OMB Control No. 0910-0442.  At that time, OMB stated: “OMB files comment on this collection as it pertains to the new proposed rule, and FDA will resubmit this collection with any changes along with the final rule.  In drafting the final rule and paperwork submission, FDA should consider uses of appropriate technology (e.g. electronic submission of information) that could reduce burden.”

FDA notes that the proposed rule, and now the final rule, provides for broad use of electronic submission for this information collection in accordance with FDA’s regulations governing electronic submission of information (21 CFR part 11).  FDA addresses the minor changes from the proposed rule in item 12 below.

9.  Explanation of Any Payment or Gift to Respondents

No payment or gift is provided to respondents.

10.  Confidentiality of Information

Tracking data identifying customers or patients, either reviewed by or submitted to FDA, is treated as confidential in accordance with 21 CFR Part 20.  Though they are not respondents, patients receiving tracked devices may refuse to provide personal identifying data under  821.55(a). See Attach. 2B.

11.  Sensitive Questions

Required tracking information does not include questions pertaining to sexual behavior, attitude, religious beliefs, or to other matters commonly considered private or sensitive in nature.

12.  Estimates of Burden Hours, Explanation, and Annualized Costs to Respondents

A.  Background Facts and Assumptions:

1.  Average figures.  Burden estimates for information collections are based on data and methods  set forth in FDAs 1999 analysis, Cost Assessment of Medical Device Tracking, (Attach. 6). That analysis estimates industry costs for current device tracking systems through the year 2006 and cost savings for devices no longer tracked under FDAMA.  Burdens, shown in the tables and described below, are average annual figures for the years 1999-2001.

Table 1.

Estimated Average Annual Reporting Burden 1

| CFR Section | No. of Respondents | Annual Frequency of Response | Total Annual Responses | Hours per Response | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 821.2 (also 821.30(e)) | 4 | 1 | 4 | 12 | 48 |
| 821.25(a) | 1 | 1 | 1 | 76 | 76 |
| 821.25(d) | 19 | 1 | 19 | 2 | 38 |
| 821.30(a), (b) | 17,000 | 65 | 1,105,000 | 0.1666 | 184,093 |
| 821.30(c)(2) | 1 | 1 | 1 | 28 | 28 |
| 821.30(d) | 17,000 | 13 | 221,000 | 0.1666 | 35,497 |
| Total |  |  |  |  | 219,780 |

1. There are no capital costs or operating and maintenance costs associated with this collection of information.

Table 2.

Estimated Average Annual Recordkeeping Burden 1

| CFR Section | No. of Recordkeepers | Annual Frequency of Recordkeeping | Total Annual Records | Hours per Record | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 821.25(b) | 209 | 41,331 | 8,638,179 | 0.2899 | 2,504,208 |
| 821.25(c) | 209 | 1 | 209 | 25.49 | 5,3282 |
| 821.25(c)(3) | 209 | 1,007 | 210,463 | 0.2899 | 61,013 |
| Total |  |  |  |  | 2,570,549 |

1. There are no capital costs or operating and maintenance costs associated with this collection of information.

2. Includes one-time burden of 1,584 hours.

2.  Respondents.  FDA has issued tracking orders to 209 manufacturers to track 13 types of devices intended to be implanted for more than one year (hereinafter referred to as tracked implants) and 4 types of life-sustaining or life-supporting devices used outside device user facilities (hereinafter referred to as tracked l/s-l/s devices).  See Attach. 4.

FDA estimates that the total number of distributor respondents, subject to tracking reporting requirements, is approximately 17,000 distributors.  This figure is a combined total that includes distributors, final distributors, and multiple distributors, as defined in the regulation, and is based on estimates from sources as follows:

- 171 wholesalers, electromedical equipment (SIC code 5047-03-04, Dun & Bradstreet),

- 1,252 retailers, hospital equipment and supplies (SIC code 599-09-04, Dun & Bradstreet),

- 10,500 home care dealers/medical equipment rental companies (median of 6,000 to 15,000 		dealer estimate, Health Industry Distributors Association, and includes the 5,046 		equipment rental company estimate (SIC code 7352-00-00), Dun & Bradstreet)

- 5,057 community hospitals in the U.S. (Hospital Statistics. Health Forum, an American 	     Hospital Association Company. 1999. Table 3. p 8.  (16,980 (total) rounded to 17,000.)

3.  Tracked implant devices.  Using implantation procedures data from the National Center for Health Statistics for 1993 through 1996, FDA applies a 2% annual growth rate to estimate number of procedures for tracked implant devices from 1997 through 2006.  See Attach. 6. Table 3 shows 1993-1996 figures, and Table 4, projections through 2001.  FDA issued tracking orders for dura mater implants in December 1998 and for abdominal aortic aneurysm (AAA) stent grafts in September 1999.  Data for these devices are first considered in the appropriate years.

Table 3.

Number of Implantation Procedures Per Tracked Implants (1993 - 1996)

| Device Type | ICD Number | Number of Procedures in 1993 | Number of Procedures in 1994 | Number of Procedures in 1995 | Number of Procedures in 1996 |
| --- | --- | --- | --- | --- | --- |
| Implantable Pacemaker Pulse Generator | 37.8 | 123,000 | 139,000 | 136,000 | 155,000 |
| Cardiovascular Permanent Implantable Pacemaker Electrode | 37.70-37.76 | 108,000 | 131,000 | 128,000 | 132,000 |
| Replacement Heart Valve | 35.2 | 58,000 | 54,000 | 61,000 | 69,000 |
| Automatic Implantable Cardioverter/Defibrillator | 37.9 | 21,000 | 21,000 | 27,000 | 26,000 |
| Implanted Cerebellar Stimulator | 2.93 | 2,000 | 2,000 | 2,000 | 2,000 |
| Implanted Diaphragmatic/Phrenic Nerve Stimulator | 34.85 | 2,000 | 2,000 | 2,000 | 2,000 |
| Implantable Infusion Pumps | 86.06 | 7,000 | 7,000 | 6,000 | 9,000 |
| Temporomandibular Joint* | 76.92 | 2,000 | 2,000 | 2,000 | 6,000 |
| Ventricular Bypass (Assist) Device | 37.61-37.63 | 33,000 | 35,000 | 48,000 | 56,000 |
| Dura Mater | 2.12 | 6,000 | 6,000 | 8,000 | 6,000 |
| Abdominal Aortic Aneurysm Grafts | -- | n/a | n/a | n/a | n/a |

* This product category includes: Temporomandibular Joint (TMJ) Prosthesis, Glenoid Fossa Prosthesis, and Mandibular Condyle Prosthesis.

Numbers of implantations correspond to numbers of distributed tracked implants.  FDA assumes that tracked implants are distributed directly from manufacturers to final distributors, which are mostly hospitals.

Table 4.

Tracked Implants - Estimates of Annual Distribution and Total Tracked Devices (1994 -2001)

(Based on Implantation Procedure Data)

| End of Year | New Implants * | Previous Implants | Total Tracked |
| --- | --- | --- | --- |
| 1994 | 393,000 | 0 | 393,000 |
| 1995 | 412,000 | 393,000 | 805,000 |
| 1996 | 457,000 | 805,000 | 1,262,000 |
| 1997 | 466,140 | 1,262,000 | 1,728,140 |
| 1998 | 475,463 | 1,728,140 | 2,203,603 |
| 1999** | 491,339 | 2,203,603 | 2,694,942 |
| 2000*** | 516,166 | 2,694,942 | 3,211,108 |
| 2001 | 526,489 | 3,211,108 | 3,737,598 |

*    Represents estimated number of tracked implants distributed annually.

**   Estimated distribution for dura mater implants is included in 1999 - 2001, et al estimates.

*** Estimated distribution for abdominal aortic aneurysm grafts is included in 2000 - 2001, et al estimates.

4. Tracked l/s-l/s devices.  In its Cost Assessment document (Attach. 6), FDA uses unit shipment data and forecasts from 1992 and 1994 published sources, in combination with various growth rates to estimate annual sales/distribution of four types of tracked l/s-l/s devices.  See Table 5. below (excerpted from Attach.6).

Table 5.

Tracked Life-Sustaining or Life-Supporting Devices -Estimated Number of Units ( 1991-2001)

|  | Breathing Frequency Monitors | Continuous Ventilators | DC-Defibrillators and Paddles |  |  | Infusion Pumps (electromechanical only) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Total Units | Total Units | Alternate Care Units | Physician Office Units | Total Units | Syringe Units | Ambulatory Units | Total Units |
| 1991 | n/a | n/a | 14,000 | 3,150 | 17,150 | n/a | n/a | n/a |
| 1992 | n/a | n/a | 17,850 | 3,591 | 21,441 | n/a | n/a | n/a |
| 1993 | n/a | n/a | 22,759 | 4,094 | 26,852 | n/a | n/a | n/a |
| 1994 | 12,200 | 4,300 | 29,017 | 4,667 | 33,684 | 23,600 | 30,900 | 54,500 |
| 1995 | 12,300 | 4,700 | 36,997 | 5,320 | 42,317 | 26,200 | 34,500 | 60,700 |
| 1996 | 12,800 | 5,100 | 47,171 | 6,065 | 53,236 | 29,100 | 37,500 | 66,600 |
| 1997 | 13,300 | 5,600 | 60,144 | 6,914 | 67,058 | 32,300 | 40,800 | 73,100 |
| 1998 | 13,900 | 6,200 | 76,683 | 7,882 | 84,565 | 35,700 | 44,100 | 79,800 |
| 1999 | 14,500 | 6,900 | 97,771 | 8,986 | 106,757 | 39,300 | 47,300 | 86,600 |
| 2000 | 15,100 | 7,700 | 124,658 | 10,244 | 134,902 | 43,000 | 50,400 | 93,400 |
| 2001 | 15,569 | 8,387 | 158,939 | 11,678 | 170,617 | 47,105 | 54,571 | 101,676 |

B.  Burden Estimates- Reporting

1.  Under 821.2, manufacturers, importers, or distributors, including final distributors, and multiple distributors, may request exemptions and variances from tracking requirements.  These requests must meet the requirements for citizen petitions under 21 CFR 10.30.  FDA’s burden estimates for citizen petitions are approved under OMB control number 0910-0183.

The estimate for 821.2 assumes requesters would need about 12 additional hours per petition to provide information not required under 10.30, such as suitable alternative tracking methods justifying a variance.  FDA has received an average of four requests a year for exemptions and variances from manufacturers, distributors, final distributors, multiple distributors, and trade associations in behalf of such firms.  Burdens for distributors, final distributors, and multiple distributors to submit variance or exemption requests, under 821.30(e) are included in the estimate for 821.2.

2.  821.25(a) requires manufacturers to adopt a tracking method that can provide, upon FDA request ---within 3 working days, for all tracked devices, prior to distribution to patients, data about the distributors, ---within 10 workings days, for tracked devices for single patient use, after distribution to patients, data about the devices, shipping, patients, use, and physicians, and --- within 10 working days, for tracked devices for multiple patient use, after distribution to multiple distributors, data about the devices, shipping, multiple distributors, use, patients, and physicians.

FDA has never requested such deadline disclosures.  Assuming one occurrence a year, FDA estimates it would take a firm some 20 hours to provide location data for all tracked devices within 3 days, and 56 hours to identify all patients and/or multiple distributors possessing tracked devices.

3.  Under 821.25(d) manufacturers must notify FDA of distributor noncompliance with reporting requirements.  FDA is unaware of receiving any such notices and assumes only repeated noncompliance would be reported.  FDA believes it would receive no more than 19 notices in any year.  This assumes manufacturers annually audit about 5% of the data reported by distributors against database entries and that some 10% of audited records (approximately 19,000) might be inaccurate and require further follow-up.  FDA believes only 0.1% of further audited data might represent repetitive distributor noncompliance and that it would take about 2 hours per incident to report repeated distributor noncompliance to FDA.

4.  Under 821.30(a), distributors, final distributors, and multiple distributors must report receipt related data to manufacturers, upon acquiring tracked devices.  Under 821.30(b), final distributors of tracked devices, intended to be used by a single patient over the useful life of the device, must report patient and usage related information, upon distributing the devices to patients.  The agency estimates distributor reporting burdens for tracked implants and tracked l/s-l/s devices as follows.

Distributor reporting for tracked implants:  Tracked implants are tracked devices intended for single patient usage.  FDA assumes hospitals, for the most part, are the direct recipients of  tracked implants.  As final distributors, they must report both the receipt and implantation of tracked implants, but FDA believes most, in practice, make only one report to manufacturers at  implantation.  FDA believes most hospitals rely on manufacturer distribution records identifying initial consignees of devices, as required by the Quality System regulation (21 CFR 820.160), in lieu of reporting the receipt of tracked devices back to the manufacturers.  Thus, only one report is attributed to final distributors of tracked implants in FDAs estimate.

FDA estimates it would take 10 minutes (0.1666 hours) for final distributors to report tracking data for each tracked implant distributed during the year (new implants per Table 4).  For 1999 - 2001, the average number of new implants per year is estimated as 508,567 devices, per Table 4.  The average annual burden for distributor reporting for these devices would be: 508,567 (average number of new implants) x 1 final distributor per device x 1 data report per final distributor x 0.1666 hours per report = 84,727 hours.

Distributor reporting for  tracked l/s-l/s devices:  FDA estimates there are from one to three, or a median of two, distributors or multiple distributors in distribution chains for three types of tracked l/s-l/s devices, that is: tracked breathing frequency monitors (infant apnea monitors), continuous ventilators, and DC-defibrillators and pads.  There are no final distributors for tracked l/s-l/s devices because each device is intended for multiple patient usage.  See schematic chart of  distribution chains for tracked devices, Attach. 7.  Each distributor or multiple distributor would make one data report per device received during the year.  See Table 6 for annual distribution.

For 1999 - 2001, the average number of total units (Table 5) and new devices (Table 6) of the above three types of tracked l/s-l/s devices distributed per year would be 157,035, as estimated per Table 5 .  The average annual burden for distributor reporting for these three types of tracked l/s-l/s devices is estimated as: 155,322 (average number of new devices) x 2 distributors or multiple distributors per device x 1 data report per distributor or multiple distributor x 0.1666 hours per report = 51,751 hours.

FDA estimates there are from one to five, or a median of 3, distributors or multiple distributors in distribution chains for one type of tracked l/s-l/s device, ie., electromechanical infusion pumps that are tracked.  See Attach. 7 schematic chart.  For 1999 - 2001, the average number of total units (Table 5) and new devices (Table 6) of tracked electromechanical infusion pumps distributed per year would be 95,272 devices, as estimated per Table 6. The average annual burden for distributor reporting for this one type of tracked l/s-l/s device would be: 95,272 (average number of new devices) x 3 distributors or multiple distributors x 1 data report x 0.1666 hours = 47,615 hours.

Table 6.

Tracked Life-Sustaining or Life Supporting Devices - Estimated Distribution

| End of Year | Breathing Frequency Monitors, Continuous Ventilators, & Defibrillators |  | Infusion Pumps |  | % Audited | Audits per Year |
| --- | --- | --- | --- | --- | --- | --- |
|  | New Devices | Average # of Distributors/ Data Reports | New Devices | Average # of Distributors/ Data Reports |  |  |
| 1994 | 50,184 | 2 | 54,500 | 3 | 5% | 2 |
| 1995 | 59,317 | 2 | 60,700 | 3 | 5% | 2 |
| 1996 | 71,136 | 2 | 66,600 | 3 | 5% | 2 |
| 1997 | 85,958 | 2 | 73,100 | 3 | 5% | 1 |
| 1998 | 104,665 | 2 | 79,800 | 3 | 5% | 1 |
| 1999 | 128,157 | 2 | 86,600 | 3 | 5% | 1 |
| 2000 | 157,702 | 2 | 93,400 | 3 | 5% | 1 |
| 2001 | 194,572 | 2 | 101,676 | 3 | 5% | 1 |

5.  821.30(c)(1) requires multiple distributors to keep written records, containing patient identity and other information, each time a tracked device is distributed to patients (or users).  This requirement does not impose a paperwork burden.  The required information is customer, and related information, which is recorded and/or kept on a daily basis by device rental and leasing firms, and other multiple distributors, as a customary and usual business practice, for purposes of billing, inventory control, liability protection, and other fiscal accounting.

6.  Under 821.30(c)(2), multiple distributors must provide data on current users of tracked devices, current device locations, and other information, within 5 working days of a request from a manufacturer, or within 10 working days of a request from FDA.  FDA is unaware of any manufacturer making such a request, nor has the agency made such a request.  Assuming one multiple distributor receives one request in a year from both a manufacturer and FDA, the agency estimates the multiple distributor would need from 3 to 4 days, or a median of 3.5 days, to comply.

7.  821.30(d) requires distributors, final distributors, or multiple distributors to make available for auditing, upon a manufacturers written request, records required under this tracking regulation.  FDA is unaware of manufacturers making written audit requests.  However, distributors, final distributors, and multiple distributors do incur a burden in responding to manufacturer requests to verify data pursuant to manufacturer auditing of tracking system data.  FDA assumes most such data verification is accomplished by telephone during distributor audit responses, which includes responses from final distributors and multiple distributors as well.

FDAs estimate of the burden for distributor audit responses assumes: manufacturers audit database entries for 5% of tracked devices distributed; entries in tracking system databases approximate, in number and amount, data reported by distributors (data reports);  and, each audited database entry prompts one distributor audit response.  FDA estimates that all distributors will take 10 minutes (0.1666 hours) to verify data.  FDA allows that 10% of audited data might be found noncompliant, i.e., discrepant, and would require further follow-up responses from distributors to confirm, correct, or update data.

Distributor audit responses for tracked implants:  Certain final distributors that handle tracked implants would be asked by manufacturers to verify data for 5% of the total number of implants actively tracked (total tracked implants in Table 7 =  new implants + previous implants in Table 4).  Data for dura mater and AAA stent grafts must be audited twice a year because the devices are in the first three years of tracking.  FDA adjusts for these devices by factoring in the percentage they constitute of total tracked devices (shown in Table 7).  Data for all other tracked implants are audited once a year.

For 1999 - 2001, the average number of total tracked implants tracked per year amounts to 3,214,549 devices, as estimated per Tables 4 and 7 as follows: 491,339 + 2,203,603 devices (for 1999) + 516,166 + 2,694,942 devices (for 2000) + 526,489 + 3,211,108 devices for (2001)  3.  The average annual burden for distributor audit responses regarding data for tracked implants, audited once a year, is estimated as: 3,214,549 devices (average number of total tracked implants) x 1 data report per device from final distributors x 1 database entry per data report x .05 (percentage of database entries audited) x .996 (percentage of entries audited once a year) x 1 distributor audit response per audited record x 0.1666 hours (10 minutes) per response = 26,678 hours.

Adding 10% for additional responses to follow-up verification of noncompliant data increases the burden to 29,346 hours.  Applying the above formula to the 0.37% (average percentage) of total tracked implants whose data are audited twice a year results in an additional 635 burden hours (includes 10% for additional follow-ups).

Distributor audit responses for tracked l/s-l/s devices: Distributors and multiple distributors of three types of tracked l/s-l/s devices, that is, breathing frequency (infant apnea) monitors, continuous ventilators, and DC-defibrillators would be asked to verify audited data for these devices.  Only the data for new devices distributed each year would be audited.  For 1999 - 2001, the average number of new devices for these three types of tracked l/s-l/s devices would be 160,144 devices, as estimated per Table 6 as follows: 128,157 devices (for 1999) + 157,702 devices (for 2000) + 194,572 devices (for 2001)  3.

The average annual burden for distributor audit responses regarding data for these three types of tracked l/s-l/s devices would be: 160,144 devices (average number of new devices distributed per year) x 2 data reports per device ( based on mean number of distributors or multiple distributors in distribution chains) x 1 database entry per distributor data report x .05 (percentage of entries audited) x 1 distributor audit response per audited record x 0.1666 hours per response = 2668 hours.  Adding 10% for additional responses to verify noncompliant data increases the burden to 2,935 hours.

For 1999 - 2001, the average number of total units(Table 5), and new devices (Table 6), for tracked electromechanical infusion pumps distributed per year would be 93,892 new devices, as estimated per Table 6 as follows: 86,600 devices (for 1999) + 93,400 devices (for 2000) + 101,676 devices (for 2001)  3.  The average annual burden for distributor audit responses regarding data for these devices is estimated as: 93,892 devices (average number of new devices) x 3 reports (based on mean number of distributors or multiple distributors) x 1 database entry x .05 entries audited x 1 distributor response x 0.1666 hours = 2,346 hours.  Adding 10% for additional follow-up responses by distributors increases the burden to 2,581 hours.

The total burden for 821.30(d) would be 35,497 hours (29,436 + 635 + 2935 + 2581).

Table 7

Tracked Implants: Estimated Distribution and Audit Frequency

| End of Year | Total Tracked | % Audited | Tracked Since 1994 |  | Tracked Since 1999 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | % of Total | Audits per Year | % of Total | Audits per Year |
| 1994 | 393,000 | 5% | 100% | 2 | n/a | n/a |
| 1995 | 805,000 | 5% | 100% | 2 | n/a | n/a |
| 1996 | 1,262,000 | 5% | 100% | 2 | n/a | n/a |
| 1997 | 1,728,140 | 5% | 100% | 1 | n/a | n/a |
| 1998 | 2,203,603 | 5% | 100% | 1 | n/a | n/a |
| 1999* | 2,694,942 | 5% | 99.8% | 1 | 0.2% | 2 |
| 2000** | 3,211,108 | 5% | 99.6% | 1 | 0.4% | 2 |
| 2001 | 3,737,598 | 5% | 99.5% | 1 | 0.5% | 2 |

*   Procedural data for dura mater is included in the 1999 through 2001 estimates.

** Procedural data for abdominal aortic aneurysm grafts is included in the 2000 through 2001 estimates

C.  Burden Estimates- Recordkeeping

8.  Under 821.25(b) manufacturers must maintain current tracking records in accordance with standard operating procedures (SOPs).  To maintain databases, manufacturers conduct transactions, such as receiving data from distributors (distributor data reports), registering  patients, making database entries, and auditing entries against distributor data.  Audit activities are estimated separately ( 821.25(c)(3)).

Database for tracked implants:  For this estimate, and in its Cost Assessment (Attach. 6),  FDA uses a consulted implant manufacturers estimate that his firm conducts some 2.5 database transactions at a cost of about $5 per transaction.  Using a composite wage rate of $17.25 for involved personnel, each transaction costing $5 would take personnel approximately 17 minutes (0.2899 hour) to complete.  For 1999-2001, the average number of total tracked implants actively tracked per year amounts to 3,214,549 devices, as estimated per Table 7 as follows: 2,694,942 devices (for 1999) + 3,211,108 devices (for 2000) + 3,737,598 devices (for 2001)  3.  The average annual burden for database transactions for tracked implants is estimated as: 3,214,549 (average number of total tracked implants) x 2.5 database transactions per year x 0.2899 hours per transaction = 2,329,744 hours.

Database for tracked l/s-l/s devices:  For three types of tracked l/s-l/s devices, i.e., tracked breathing frequency monitors, continuous ventilators, and DC-defibrillators, the average annual burden for database transactions would be: 160,144 devices (average number of new devices distributed per year) (128,157devices (for 1999) + 157,702 devices (for 2000) + 194,572 devices (for 2001) 3, per Table 6) x 2 distributors or multiple distributors per device (based on the mean number in distribution chains) x 1 data report per distributor x 1 database transaction per report x 0.2899 hour (17 minutes) per transaction = 92,851 hours.

For one type of tracked l/s-l/s device, i.e., electromechanical infusion pumps, the average annual burden would be: 93,892 devices (average number of new devices distributed per year) (86,600 devices (for 1999) + 93,400 devices (for 2000) + 101,676 devices (for 2001)  3, per Table 6) x 3 distributors or multiple distributors x 1 data report x 1 transaction x 0.2899 hour per transaction = 81,658 hours.

9.  Under 821.25(c), manufacturers must establish SOPs for collecting, maintaining, and auditing tracking data. Two dura mater manufacturers and one AAA stent graft manufacturer would have one- time burdens.  FDA estimates these three firms would take an average of two staff months to plan and develop a tracking system, and one month to draft and implement standard operating procedures (SOPs), including the development of audit SOPs.  This amounts to 1,584 hours (3 firms x 3 months x 22 working days per month x 8 hours per day).  There would be no such burdens for 206 manufacturers that have tracking systems in place.

Manufacturers with tracking systems in place would review and/or revise their tracking system SOPs on an annual basis, expending approximately 10 percent of the amount of time spent originally in drafting the SOPs, i.e., 22 days x 8 hours per day = 18 hours.  Over the next 3 years, 617 firms would annually revise tracking SOPs as follows: 204 firms (excludes dura mater firms) for 1999, 206 firms (excludes dura mater firms for the first year, and 209 firms (includes all) for the second and third year.  The total annual burden for revising SOPs for 3 years would amount to: 624 firms x 18 hours per firm = 11,232 hours.  The annual burden would be 3,744 hours (11,232/3).  Thus, the total burden for 821.25(c) would be 5,328 hours (1,584 hours + 3,744 hours).

10.  821.25(c)(3) requires that the auditing SOP of manufacturers include a quality assurance program that has audit procedures to be run for each tracked device product for the first 3 years of distribution and once a year thereafter.  As discussed under 821.30(d), FDAs burden estimate for manufacturer auditing assumes firms would audit 5% of records for products, based on numbers of devices actively tracked (implants) each year, or distributed (tracked l/s-l/s devices) each year.  Tracking database entries, corresponding in numbers and kind, to distributor data reports (and, for tracked implants, implanted patient reports) would be verified by phone through distributor data responses or patient contacts.  FDA provides for 10% further follow-ups for noncompliance, i.e., to change inaccurate or update data.  Burdens are estimated for auditing data for tracked implants and tracked l/s-l/s products as follows below.

Manufacturer auditing for tracked implants:  Using the same $5 per tracking transaction figure that was used for database maintenance estimates, FDA assumes auditing transactions would take 17 minutes (0.2899 hours).  Manufacturers would audit data for total tracked implants, as shown in Table 7.  Total tracked implants correspond to amounts actively tracked each year (new implants + previous implants in Table 4) and take into account devices distributed in previous years that are implanted and continue to be tracked for eight subsequent years, the approximate lifetime of implants that FDA uses.

On average, about 99.63% (99.8% (for 1999) + 99.6% (for 2000) + 99.5% (for 2001)  3, per Table 7) of the data audited (i.e. 5% of the total database entries corresponding to the average number of total tracked devices for 1999 - 2001) would be audited once a year and 10% of this data would be further audited.  On average, about .37% of the 5% of database entries audited (the approximate amount comprised by database entries for dura mater and AAA stents) would be audited twice.

For 1999 - 2001, the average annual burden for auditing tracked implants requiring one audit per year would be : 3,214,549 devices (average number of total tracked implants actively tracked each year) (2,694,942 devices (for 1999) + 3,211,108 devices (for 2000) + 3,737,598 devices (for 2001)  3, per Table 7) x 1 final distributor data report per new implant upon implantation  (or 1 implanted patient report per previous implant distributed) per database entry x .05 (percentage of database entries audited) x .996 (average percentage of entries audited once per year) x .2899 hours (17 minutes) per audit transaction = 46,423 hours.  Adding 10% for follow-up auditing increases the burden to 51,065 hours.

Applying the above formula to database entries for tracked implants requiring 2 audits per year (an average .0037 of total tracked devices) results in 345 hours.  A 10% additional follow-up rate makes 380 burden hours.

Manufacture auditing for tracked l/s-l/s devices:  For breathing frequency (infant apnea) monitors, continuous ventilator, and DC-defibrillators the data for new devices distributed each year would be audited.  For 1999-2001, the average annual burden for these devices would be: 160,144 devices (average number of new devices distributed per year) (128,157 devices (for 1999) + 157,702 devices (for 2000) + 194,572 devices (for 2001)  3, per Table 6) x 2 data reports per device (based on the mean of the number of distributors or multiple distributors in distribution chains) x 1 database entry per distributor or multiple distributor data report x .05 (percentage of entries audited) x .2899 hours = 4,642 hours.  Adding 10% for additional follow-up results in 5,106 hours.

Applying the above formula to 93,892 electromechanical infusion pumps that are tracked l/s-l/s devices (average number of new devices), having a mean of 3 distributors or multiple

D.  Annualized Cost - Estimates

Based on average annual burdens, derived over 1999 - 2001, FDA estimates that respondents will expend approximately $3,499,973 ($3.5 million) to comply with reporting requirements, and approximately $44,402,648 ($44.4 million) to comply with recordkeeping requirements of the tracking regulation, as proposed for amendment in this proposed rule.  Recordkeeping costs include one-time costs of about $56,580.  See Table 8. Below.

Table 8.

Estimated Average Annual Costs

| Type Burden | CFR Section | Total Annual Hours * | Hourly Wage Rates (Composite) | Total Annual Costs * |
| --- | --- | --- | --- | --- |
| Reporting | 821.2 (including 821.30(e)): Exemption/variance requests | 48 | $25.13 | $1,206 |
|  | 821.25(a): Manufacturers provide data in 3, 10, or 10 days | 76 | $17.25 | $1,311 |
|  | 821.25(d): Manufacturers report distributor non-compliance | 38 | $31.46 | $1,195 |
|  | 821.30(a),(b): Distributors, final distributors and multiple distributors report data upon receipt and when distributed to patients. | 185,475 | $15.82 ** | $2,934,215 |
|  | 821.30(c)(2): Multiple distributors provide data in 5 days to manufacturers and FDA upon request. | 28 | $17.25 | $483 |
|  | 821.30(d): Distributors, final distributors, and multiple distributors provide records upon written audit requests by manufacturers (or verify data as requested during manufacturer auditing of tracking systems). | 35,497 | $15.82 ** | $561,563 |
| Total (Reporting) |  |  |  | $3,499,973 |
| Recordkeeping | 821.25(b): Manufacturers register patients and record and maintain current data in implementing tracking system databases | 2,504,253 | $17.25 | $43,198,364 |
|  | 821.25(c): Manufacturers develop and implement tracking systems and draft SOPs, including audit SOP within quality assurance program | 4,236 | $35.72 | $151,310 *** |
|  | 821.25(c)(3): Manufacturers audit data in implementing audit SOP. | 61,042 | $17.25 | $1,052,975 |
| Total (Recordkeeping) |  |  |  | $44,402,648 |

There are no capital costs or operating and maintenance costs associated with this collection of information

*      Annual averages for the period 1999 - 2001.

**    Not a composite rate.

***  Includes estimated one-time costs of $56,580 (1,584 hours (821.25(c) x $35.72)

Wage rates shown above are based on figures found in the 1997 National Occupational Employment and Wage Estimates, U.S. Dept. Of Labor, Bureau of Labor Statistics, at http:// stats.bls.gov/oes/national/  (28 June 1999).

The composite hourly wage rate of $25.13 assumes the following participation by personnel at manufacturers, and comparable personnel at various type distributors: 20 percent, by the general manager/top executive ($41.03 per hour, including 40% for benefits); 70 percent, by managers or supervisors ($21.87 per hour, including benefits); and 10 percent, by secretaries ($16.13 per hour, including benefits).

The composite hourly wage rate of $17.25 assumes the following participation by personnel at manufacturers, and comparable personnel at multiple distributors (821.30(c)(2): 10% by managers/ supervisors ($21.87 per hour, including 40% for benefits); 45% by computer operators ($17.57 per hour, including 40% for benefits), and 45% by audit clerks ($15.88/hr, including 40% for benefits).

The composite hourly wage rate of $31.46 assumes the equal participation at manufacturers of general managers ($41.03 per hour, including 40% for benefits x .5) and managers/supervisors ($21.87 per hour, including benefits x .5).  .

The $15.82 hourly wage rate for personnel at the various type distributors is the 1997 figure of $11.30 given by the Bureau of Labor Statistics (as noted above) for shipping, receiving, and traffic clerks, with the addition of 40% for benefits ($11.30 x 1.40).

The $35.72 composite hourly wage rate of $35.72 assumes the 50 percent expenditure at manufacturers of general manager/top executive time ($41.03 per hour, including 40% for benefits); 40 percent, computer programmer time ($33.98 per hour, including benefits); and 10 percent, secretarial time ($16.13 per hour, including benefits)

13.  Estimates of Other Total Annual Cost Burden to Respondents or Recordkeepers

No capital and start-up, operating and maintenance, or other costs not identified in item 12., above, are estimated for this information collection.

14.  Annualized Cost to the Federal Government

The 209 tracked device manufacturers will be inspected once every two years under FDAs Quality System (Q/S) inspection program.  The field force will spend about 1 hour per inspection to check tracking systems, using a significant points check list.  Headquarters will spend about 10 minutes (10/60 hour or 0.1666 hour) reviewing checklist results.  Total hours would be 121 hours (104 firms inspected per year x 1 hour per inspection) + (104 checklist results x 0.1666 hour per headquarters review per checklist).

Based on a cost of $92,296 per full time equivalent (FTE) position (40 hours per week x 52 weeks per year) --- the average salary, including benefits, of involved FDA employees --- the annualized cost to FDA would be about $5,369 ($92,296 x 121/2080 hours = $5,369).

15.  Explanation for Program Changes or Adjustments

Under OMB Control No. 0910-0442, OMB approved a burden of 10,175,490 responses and 2,790,693 burden hours. At that time, there were 207 manufacturers tracking devices.  In 2000, FDA ordered three manufacturers that did not previously track devices to track their devices cleared for marketing and FDA rescinded a previous tracking order issued to one firm.  Therefore, 209 manufacturers currently track devices (207 previous + 3 additional - 1 rescinded).  FDA has no reason to believe that the change in the number of manufacturers will result in a change in the number of devices implanted.  The change will only result in differences in market share.

The analysis for §821.25(c) changes because of the additional manufacturers that received tracking orders since the publication of the April 2000 proposal.  As described above, three additional manufacturers received orders, and one was rescinded, the analysis of §821.25(c) is changed by the additional manufacturers.

Under §821.25(c), manufacturers must establish standard operating procedures (SOP’s) for collecting, maintaining, and auditing tracking data. FDA estimates the three new firms would take an average of two staff months to plan and develop a tracking system, and one month to draft and implement standard operating procedures (SOP's), including the development of audit SOP's. This amounts to 1,584 hours (3 firms x 3 months x 22 working days per month x 8 hours per day).

16.  Plans for Tabulation and Publication and Project Time Schedule

Tracking information collections are not collected as part of a statistical analysis.

17.  Reason(s) Display of OMB Expiration Date is Inappropriate

FDA is not seeking approval to not display the OMB expiration date for OMB approval.

18.  Exceptions to Certification for Paperwork Reduction Act Submissions

There are no exceptions to the certification statement in Item 19, OMB Form 83-I.

Attachments:

Attach. 1A: Final rule of August 16, 1993

Attach. 1B: FFD&C Act, section 519(e), as added by the SMDA

Attach. 1C: SMDA, section 2(b)

Attach. 1D: Medical Device Amendments of 1992, section 2

Attach. 1E: Tracking regulations, codified in 21 CFR 821

Attach. 2A: FDA Modernization Act of 1997, section 211

Attach. 2B: FFD&C Act, section 519(e), as amended by the FDAMA

Attach. 2C: Final Rule to Amend Tracking Regulation

Attach. 3:   Quality System Regulation, 21 CFR 820.160 Distribution

Attach. 4:   Guidance on Medical Device Tracking, includes list of types of tracked devices

Attach. 5:   January 15, 1998 Public Meeting, Attendees and Speakers

Attach. 6: Cost Assessment of Medical Device Tracking

Attach. 7: Schematic Chart, Distribution Chains for Tracked Devices

Chron:trkpras9.wpd

drafted: 6/18,22,23/99

revised: 8/16/99

revised: 9/14-16, 20-21per P. Schlosburg/K. Parker (9/9) comments

revised: 10/4-12

revised: 11/19-23, per P. Schlosburg/K. Parker (11/9, 11/19) comments.

Revised: 11/30-12/1, per P. Schlosburg/K. Parker (11/30) comments

Edits: 12/3,6 (changed date format from 1999- to 1999: at beginning of date series; then, Edits: 12/6: changed from 1999: at beginning to for 1999" at end of date series, per P 	Schlosburg; added costs table/explanation wage rates.

Edits: 12/13 (changed date format from for 1999" at end to (for 1999, 2000, 2001)at end.

Edits: 12/17 (changed distributors to 17,000 in text and tables) per L Barons 12/17 reg flex 	revision.