These deliverables apply to this individual practice.  For other planned practice deliverables refer to those specific Statements of Work.

DESIGN

Deliverables:

- Design documentation that will demonstrate that the criteria in NRCS Idaho Conservation Practice Standard 533 have been met and are compatible with other planned and applied practices.

  - Practice purpose(s) as identified in the conservation plan.

  - Inform the decision maker they are responsible for any required permits. .

  - Impacts on adjacent properties and structures.

  - Compliance with NRCS national and state utility safety policy (NEM Part 503-Safety, Subpart A - Engineering Activities Affecting Utilities 503.00 through 503.06).

  - Practice standard criteria related field surveys, soils/geologic investigations, computations and analyses to develop plans and specifications including but not limited to:

    - Complete pumping plant plan layout, cross-sections and profiles which show dimensions and elevations

    - Types of materials, applicable steel reinforcement details for concrete structures, special joints/connections, gates, valves, screens, etc. as applicable.

    - Requirements for pump and motor, including pump shade

    - Special requirements for diverting/dewatering the site and/or foundation treatment as applicable

    - Backfill requirements

    - Appurtenances

    - Safety features for excavations, railings and grates for structures as applicable

- Written plans and specifications including sketches and drawings shall be provided to the client that adequately describes the requirements to install the practice and obtain necessary permits.

- Design Report and Inspection Plan as appropriate (NEM Part 511, Subpart B Documentation, 511.11 and Part 512, Subpart D Quality Assurance Activities, 512.30 through 512.32).

- Operation and Maintenance Plan

- Certifications that the design meets practice standard criteria and comply with applicable laws and regulations (NEM Subpart A, 505.03(b)(2)).

- Design modifications during installation as required.

INSTALLATION

Deliverables

- Pre Installation conference with client and contractor.

- Verification that client has obtained required permits.

- Staking and layout according to plans and specifications including applicable layout notes.

- Installation inspection (according to inspection plan as appropriate).

  - Actual materials used.

  - Dimensions and elevations of components of structures

  - Type, size and description of pump and motor and appurtenances, including pump curve

  - Inspection records

- Facilitate and implement required design modifications with client and original designer.

- Advise client/NRCS on compliance issues with all federal, state, tribal, and local laws, regulations and NRCS policies during installation.

- Certification that the installation process and materials meets design and permit requirements.

CHECK OUT

Deliverables

- As-Built documentation.

  - Extent of  practice units applied

  - As-Built Drawings show

- Pumping plant location and layout

- Dimensions and elevations of completed structures

- Type and size of appurtenances

  - Final quantities

- Certification that the installation meets NRCS standards and specifications and is in compliance with permits (NEM Subpart A, 505.03(c)(1)).

- Progress reporting.

REFERENCES

- NRCS Idaho Field Office Technical Guide (eFOTG), Section IV, Conservation Practice Standard - Pumping Plant, 533 and Idaho Construction Specification

- NRCS Idaho Operation and Maintenance Worksheet, Pumping Plant, 533

- NRCS Idaho Documentation Checklist, Pumping Plant, 533

- NRCS National Engineering Manual (NEM)

- NRCS National Environmental Compliance Handbook

- NRCS Cultural Resources Handbook