96E02/14/07

S552-96E.doc

Use on projects when structural concrete is required. Generally structural concrete is required for bridges, culverts, walls, and foundations (items that require load analysis or “that you can drive on”). A low water crossing may be paid under Section 552 or 501 as determined by the Design Team (including roadway designer, bridge engineer, and pavements engineer).

Section 552. - STRUCTURAL CONCRETE

Material

552.02  Add the following:

Concrete Coloring Agent	711.05

Precast Reinforced Concrete Box Sections	706.07

Precast Concrete Units	725.11

Construction Requirements

When structural concrete is required, include 703.02 and the following:

552.03  Composition (Concrete Mix Design).  Delete the first sentence of the first paragraph and Table 552-1 and substitute the following:

Design and produce concrete mixtures that conform to Tables 552-1 and 552-1A for the class of concrete specified.

Table 552-1

Composition of Concrete

| Class of Concrete | Minimum Cement Content (pound per cubic yard) | Maximum W/C Ratio | Slump (1) (inches) | Maximum Nominal Coarse Aggregate Size (5) (inches) |
| --- | --- | --- | --- | --- |
| A | 611 | 0.49 | 2 to 4 | 1½ |
| A(AE) | 611 | 0.44 | 1 to 4 | 1½ |
| B | 517 | 0.58 | 2 to 4 | 2½ |
| B(AE) | 517 | 0.58 | 2 to 4 | 2½ |
| C | 658 | 0.49 | 2 to 4 | ¾ |
| C(AE) | 658 | 0.44 | 1 to 3 | ¾ |
| D(AE)(2) | 611 | 0.40 | 1 to 3 | 1½ |
| E(AE)(3) | 611 | 0.40 | 4 to 6 (4) | ¾ |
| P (Prestressed) | 658 | 0.44 | 0 to 4 | 1 |
| P(AE) | 658 | 0.44 | 0 to 4 | 1 |
| Seal | 658 | 0.54 | 4 to 8 | 1½ |

(1) Maximum slump is 8 inches if approved mix design includes a high-range water reducer.

(2) Concrete with a water reducing and retarding admixture conforming to AASHTO M 194, type D.

(3) A latex modified concrete with 0.037 gallons of modifier per pound of cement.

(4) Measure the slump 4 to 5 minutes after the concrete is discharged from the mixer.

(5) Meeting the processing requirements of AASHTO M43, Table 1 – Standard Sizes of Processed Aggregate.

Table 552-1A

Minimum Air Content for Air Entrained Concrete

| Nominal Maximum Aggregate Size (1) | As Delivered Minimum Air Content (2) (3) (%) |
| --- | --- |
| 2½ inch | 3.5 |
| 2 inch | 3.5 |
| 1½ inch | 4.0 |
| 1 inch | 4.5 |
| ¾ inch | 4.5 |
| ½ inch | 5.5 |

(1) Meeting the processing requirements of AASHTO M 43, Table 1 – Standard Sizes of Processed Aggregate.

(2) These air contents apply to the total mix.  When testing these concretes, aggregates larger than 1½ inches is removed by handpicking or sieving, and air content is determined on the minus 1½-inch fraction of the mix.  Air content of the total mix is computed from the value determined on the minus 1½-inch fraction.

(3) For P(AE) concrete, the as delivered minimum air contents may be reduced 1.0 % and the maximum air content is 6.0 %

When a hydration stabilizing admixture may be approved for use, include 552.08, 552.09, 711.03 and the following: NOTE TO DESIGNER: This section is formatted slightly different than the rest of the FP.

(l) Dosage of admixtures.  Delete the text and substitute the following:

When requested by the CO, provide a qualified person from the admixture manufacturer to help establish the proper dosage.  Do not mix chemical admixtures together in a mix unless they are compatible.  Furnish supporting documentation of compatibility from the manufacturers.

(1) Air-entraining admixtures.  Entrained air may be obtained with either an air-entraining hydraulic cement or an air-entraining admixture.

(2) Set accelerating admixtures.  Do not use chloride accelerators.  Do not use set accelerating admixtures with class P (prestressed) concrete.

(3) Hydration stabilizing admixtures.  Hydration stabilizing admixtures may be used to extend the allowable delivery time for concrete.  Base the dosage on the time needed to delay the initial set of the concrete for delivery and discharge on the job.  Include the design discharge time limit in the dosage submittal.  The maximum allowable design discharge time is 3.50 hours.

Add the following:

Do not use precast units unless included in the plans or approved by the CO.

When a hydration stabilizing admixture may be approved for use, include 552.08, 552.09, 711.03 and the following:

Include the following with projects with bridge deck concrete, except when reasons are noted for excluding high range water reducers: (FLHSS).

552.08  Delivery.  Add the following after the second paragraph:

If a hydration stabilizing admixture is approved for use in the concrete mix, deliver and place the concrete within the approved design discharge time limit.  Limit the slump loss to no more than 2 inches during the stabilization period.  An approved and compatible hydration activator may be used at the discharge site to ensure proper placement and testing.

(a) Truck mixer/agitator.  Delete Table 552-2 and substitute the following:

Table 552-2

Concrete Discharge Time Limits

| Cement Type | Admixtures | Time Limit (hour) |
| --- | --- | --- |
| Type I, IA, II, or IIA | None | 1.00 |
| Type I, IA, II, or IIA | AASHTO M 194, type B, D, or G | 1.50 |
| Type I, IA, II, or IIA | Hydration stabilizer | Approved design discharge time limit, 3.50 maximum |
| Type III | None | 0.75 |
| Type III | AASHTO M 194, type B, D, or G | 1.25 |

Add the following:

Concrete discharge times noted in Table 552-2 may be extended to 3 hours provided an extended set admixture conforming to AASHTO M 194, Type B or D is incorporated into the plastic concrete at time of mixing.  Determine dosage required to stabilize concrete using job site materials and field trial mixtures.  The extended-set admixture shall provide the following benefits:

(1) Control the hydration of all cement minerals and gypsum.

(2) Control slump loss of the stabilized concrete to within 2 inches of initial slump after addition of extended set admixture.

(3) Provide setting time characteristics measured at the end of the stabilization period to within 1 hour of that of the untreated concrete mixture.

Include the dosage and type of extended-set admixture with proposed mix design.  When requested, the admixture manufacturer shall provide the service of a qualified person to assist in establishing the proper dose of extended-set admixture and make dosage adjustments required to meet changing job site conditions.

552.09  Quality Control of Mix.  Add the following after the first paragraph:

At least 2 weeks prior to the start of concrete placement operations, arrange a pre-concrete placing conference.  Coordinate attendance with the CO and any applicable subcontractors.  Be prepared to discuss and/or submit the following:

(1) Proposed concrete placement schedule.

(2) Review approved concrete mix design and determination of batch weights.

(3) Discuss Section 153, Contractor Quality Control, minimum frequency schedule for process control sampling and testing (to be performed by the Contractor).

(4) Discuss batching, mixing, placing, and curing requirements.

(5) Discuss Subsections 106.03, Certification, and 106.05, Statistical Evaluation of Material for Acceptance.

When a hydration stabilizing admixture may be approved for use, include 552.03, 552.09, 711.03 and the following:

(a) Mixing.

(7) Add the following:

(l) If a hydration stabilizing mixture is used, record the slump at the plant before adding the stabilizer.

(b) Delivery and sampling.

(3) Add the following after the last paragraph:

If hydration stabilizing admixture is used, determine the slump before placement.  Reject all concrete with a slump loss of more than 2 inches as compared to the slump recorded at the batch plant before adding the stabilizer.

(4) Add the following after the last paragraph:

Furnish and maintain curing facilities for compressive cylinders meeting the requirements of AASHTO T 23.  The facilities shall have capacity sufficient to cure 4 cylinders from each compressive strength sample set.

552.12  Construction Joints.  Delete the third paragraph and substitute the following:

When the joint is between two fresh concrete placements, rough float the first placement to thoroughly consolidate the surface and leave the surface in a roughened condition.  Clean the joint surface of laitance, curing compound, and other foreign material.  Use an abrasive blast or another approved method to expose the aggregate on the joint surface.  Re-tighten forms where the joint overlaps the first placement.  Immediately before placing new concrete, flush the joint surface with water and allow to dry to a surface dry condition.

Include the following when integral concrete coloring is to be used. Insert the description of the concrete to be colored and the color number in the spaces provided below. Also include the standard SCR for subsection 711.05.

552.16  Finishing Formed Concrete Surfaces.  Add the following after the first paragraph:

Use an approved form release agent which will produce a minimum of staining, air holes, and hydration discoloration.

Add the following:

(g) Class 7 - Integral color finish.  All concrete in the                                       shall be integrally colored by adding a concrete coloring agent.  The colored concrete after curing shall match as closely as practicable to Standard Color Chart Number                of Federal Specification 595B.

Prepare five square textured test panels with each panel being 12 inch square.  Use coarse and fine aggregates and cement as delivered on the project at the job mix rates with variable quantities of coloring agent as directed by the CO.  Complete a Class 1 finish according to (a) above.  The CO will select a test panel to serve as a guide for the colored concrete. Use the same rate of coloring agent used in the selected panel on all relative subsequent work.  Prepare and transport the test panels to the project staging area a minimum of two weeks prior to placing concrete requiring coloring agent.

552.19  Acceptance.  Delete the third sentence of the second paragraph and substitute the following:

Perform sampling and testing according to Table 552-7.

Measurement

Include the following when concrete for footing is to be poured against disturbed rock.

552.20

Add the following:

The volume of concrete required, outside the neat lines of the footing, to pour against undisturbed rock as shown on the plans will not be measured for payment.  When the CO directs the removal of material below the established elevation of the bottom of the footing, the volume at concrete required to fill the void will be measured for payment.

Include the following when integral concrete coloring is used in the concrete.

Add the following:

Measure concrete coloring agent by the pound.

Payment

Include the following when integral concrete coloring is used in the concrete.

552.21  Add the following:

Pay Item	Pay Unit

55222	Concrete coloring agent	Pound