96E06/13/07

S566-96E.doc

Use on projects as appropriate.

Section 566. - SHOTCRETE

Description

566.01  This work consists of batching, mixing, transporting, applying, finishing, testing, and cleaning-up shotcrete materials.

Material

566.02  Material will conform to the following subsections:

Shotcrete Fine Aggregate	703.01

Shotcrete Coarse Aggregate	703.18

Combined Shotcrete Aggregate Grading	703.18

Chemical Admixtures (Wet mix only)	711.03

Air-Entraining Admixture (Wet mix only)	711.02

Curing Compound	711.01

Portland Cement, Type II, Low Alkali	701.01

Water	725.01

Fly Ash	725.04

Silica Flume	725.04

Reinforcing fibers	725.29

Shotcrete consist of a pneumatically-applied mixture of Portland cement, aggregate, and water, which is conveyed through a hose and projected at high velocity onto a surface.  The mixture may contain admixtures to provide quick set, high early strength, and satisfactory adhesion.

Construction Requirements

566.03  General.  Conform to the following:

ACI 506.2	Specifications for Proportioning and Application of Shotcrete.

ACI 506R	Guide to Shotcrete

AASHTO T 23	Making and Curing Concrete Test Specimens in the Field.

AASHTO T 24	Obtaining and Testing Drilled Cores and Sawed Beams of Concrete.

AASHTO C 311	Method for Sampling and Testing Fly Ash or Natural Possolans for

use as a Mineral Admixture in Concrete.

ASTM C 1077	Practice for Laboratories Testing Concrete and Concrete Aggregates for use in Construction and Criteria for Laboratory Evaluation.

SUBMITTALS

Submit the following (a, b, and c) at least 36 calendar days before placing shotcrete:

(a) Shotcrete Materials, Preparation, and Application.

(1) Proposed method of applying shotcrete.

(2) Description of proposed equipment for mixing and applying shotcrete.

(3) Proposed shotcrete mix design according to Subsection 556.06.

(4) Provide other information necessary to verify compliance with ACI 506.2.

(b) Reports and Records.  Submit results of all testing of shotcrete samples to the CO.  Submit preconstruction testing reports with the proposed shotcrete mix design.  (See Subsection 556.07 for required preconstruction testing.)  Submit field quality control test reports within two working days of performing the tests.  Include the following information in the reports:

(1) Sample identification including mix design and test panel number and orientation.

(2) Date and time of sample preparation including curing conditions and sample dimensions.

(3) Date, time, and type of test.

(4) Complete test results including load and deformation data during testing, sketch of sample prior to and after testing, and any unusual occurrences observed.

(5) Names and signature of person performing the test.

(6) Location of steel reinforcement, if used, covered by shotcrete.

(7) Name of nozzleman.

(c) Product, Equipment Data, and Samples.

(1) Applicable manufacturers' instructions, recommendations, literature, performance, and test data for materials and mixing and application equipment.

(2) Representative samples of shotcrete materials, if request by the CO.

(3) Certification that shotcrete materials conform to the standards specified herein.

(d) Prepare and submit a summary of shotcrete production and application for each shift.  Furnish the summary to the CO within 24 hours. Include the following information in the report:

(1) Quantity and location of shotcrete applied including sketches.

(2) Observations during production and application.

(3) Description of placement equipment.

(4) Batch number(s) if applicable.

566.04  Qualifications.  The Contractor shall submit the following written documentation at least 20 calendar days prior to placing shotcrete:

(a) Project References.  References from at least 3 projects of comparable nature completed in the last 2 years.  References shall include project name, owner's name, and phone numbers.

(b) Nozzlemen Experience and Training.  Describe the experience of each nozzleman.  Nozzlemen shall have previous experience and training in the application of shotcrete on at least two projects of comparable nature.  Nozzlemen shall demonstrate their ability to place shotcrete to meet the requirements of these specifications prior to production placement.

(c) Foreman Experience.  Describe the experience of each shotcrete foreman.  Foreman shall have direct shotcrete application experience on comparable projects.

(d) Testing Laboratory Certification.  Provide documentation that testing laboratory complies with the requirement of ASTM C 1077 and has experience in performing the tests specified in this section.  The testing laboratory shall demonstrate the ability to perform the requisite tests, or be accredited by AASHTO to meet the requirements of ASTM C 1077.

566.05  Equipment.

For dry mix, provide a water supply system consisting of a job site storage tank, and a positive displacement pump capable of supplying water through a regulating valve accurately controllable by the nozzleman in sufficient amount and at a pressure recommended by the manufacturer of the delivery machine.

Use equipment for mixing shotcrete materials which is capable of handling and applying shotcrete containing the specified maximum size aggregate and admixtures.  An air hose and blow pipe shall be available for use to clear dust and rebound during shotcrete application.

Use an air supply system capable of supplying the delivery machine and hose with air at the pressures and volumes recommended by the manufacturer of the machine.  No air supply system shall be used that delivers air contaminated by oil or that is incapable of maintaining constant pressure.

Use a delivery machine capable of introducing materials to the delivery hose at a uniform rate with ejection from the nozzle at velocities that will secure adherence of material to the treated surface with minimum rebound and maximum density.

566.06  Shotcrete Mix.

(a) Mix Proportions.  Proportion cement, aggregate, and admixtures to obtain the specified strengths, entrained air content, and set times specified, and required field performance.  Submit mix proportions to the CO for acceptance.  The wet mix process is required when air entrainment or chemical admixtures are used.

(b) Compressive Strength.  Test in accordance with AASHTO T 24.  The design mix and the production work, as represented by test cores, shall develop compressive strength values as required by the contract.

(c) Water.  Use the amount of water required to produce shotcrete of suitable strength, consistency, quality, and uniformity with the minimum amount of rebound.

(d) Materials.  Unless otherwise approved by the CO, use the same types and sources of materials as submitted with the mix proportions in the field trials and production work.

566.07  Preconstruction Testing.

(a) General.  The purpose of preconstruction testing is to ascertain the compatibility of the proposed ingredients; to verify that the proposed mix design meets the strength and set time specified; and to demonstrate the capability of the equipment, workmanship, and materials to produce acceptable quality shotcrete under field conditions as determined by inspection and laboratory tests on samples taken from field trial test panels.  Perform preconstruction field trials and laboratory testing in a manner that will allow demonstration of achievement of these objectives to be demonstrated.

(b) Field Trials.  Conduct preconstruction field trials of shotcrete production and application prior to starting production shotcreting.  Have each proposed nozzleman make the field trials on two vertical test panels. Construct test panels on wood forms at least 3 feet by 3 feet in size.  Cure test panels in accordance with AASHTO T 23, except do not immerse the panels.  Allow the CO the opportunity to witness all phases of the field trial work.

(c) Coring.  Obtain six cores from each test panel to verify the shotcrete mix design requirements.  Take cores from each test panel in accordance with AASHTO T 24 except that cores shall be 3 inches in diameter.  The ends of the cores shall be trimmed to provide cylinders 3 inches long.

(d) Testing of Core Samples.  Soak cores in water 40 hours prior to testing.  Identify core specimens by mix designation and test panel number.  Moist cure but do not immerse cores from the time they are taken until the time they are tested.  Perform compressive strength tests on core samples in accordance with AASHTO T 24.  Test three cores after curing for three days, and test three cores after curing for 28 days.  All specified strength requirements will be satisfied before the shotcrete mix design will be considered for approval.  Allow the CO the opportunity to witness the tests.

566.08  Proportioning and Mixing.

(a) Mix Design Acceptance.  The CO will accept or reject the shotcrete mix design based on the results of the preconstruction field trails and testing.  Do not use any shotcrete mix that has not been approved by the CO.  Prior to approving any changes to an approved mix design, the CO may request additional preconstruction testing at no additional cost to the government.

(b) Proportioning Materials.  Use the proportions of ingredients determined on the basis of the approved mix design.

566.09  Surface Preparation and Application of Shotcrete.

(a) Surface Preparation.  Clean loose material, mud, rebound, and other foreign matter from all surfaces which are to receive shotcrete, whether rock or previously shotcreted.  Apply shotcrete to moist, unfrozen surfaces only.

(b) Shotcrete Application Requirements.

(1) Use nozzlemen/operators whose qualifications have been approved and who have fabricated test panels from which shotcrete test results were obtained and found acceptable under these specifications.

(2) Hold the nozzle at a distance and position such that the stream of flowing material will impinge as nearly as possible at right angles to the receiving surface.  Apply shotcrete in a circular fashion to build up the required layer thickness.  Apply mixed material within 45 minutes after adding cement.

(3) Shotcrete shall flow from the nozzle in a steady uninterrupted flow.  When flow becomes intermittent, direct the flow away from the work area until it becomes steady.

(4) Provide equipment which permits application of shotcrete to surfaces at an approximate range of 3 to 6 feet from the nozzle.  The surface of each shotcrete layer shall be uniform and free of sags, drips, or runs.

(5) The maximum thickness of any individual shotcrete application is 2 inches.  Build up layers as to achieve the minimum thickness.  Install approved measuring pins to indicate the thickness of the shotcrete layer(s).  Install pins on 6-foot centers longitudinally and transversely with no less than two pins per increment of surface area to receive the shotcrete.

(6) Remove laitance, loose material, and rebound.  Rebound shall be promptly removed from the work areas.

(7) Taper construction joints over a distance of at least 1 foot to a thin edge.  Thoroughly wet the surface of such joints before any adjacent section of shotcrete is placed.  Do not use square construction joints.

(8) Construct shotcrete such that a dense and uniform mixture without rebound inclusions, segregation, or disassembly weakness to bond between layers results.

566.10  Protection and Curing.

(a) Protect and cure in accordance with ACI 506.2.

(b) Keep shotcrete surfaces moist and covered whenever ambient outside temperature at the exposed shotcrete sections below 32(F at any time during curing.

(c) Apply curing compound to exposed shotcrete surfaces.  Apply in accordance with curing compound manufacturer's recommendations.

566.11  Field Quality Control.

(a) Weather Limitations.  Do not place shotcrete in cold weather unless adequately protected when the ambient temperature is below 40(F and falling, or when shotcrete will be subjected to freezing temperature before obtaining a minimum strength of 750 psi.  The temperature of shotcrete when deposited shall not be less than 50(F nor more than 86(F.

Do not perform shotcrete operations during high winds and heavy rains.

(b) Production Test Panels.  Prepare production test panels at the rate of one for every 6005 square yards of shotcrete applied.  Make test panels 5 feet by 5 feet.  Apply the shotcrete 4 inches thick.  Obtain six 3-inch diameter core specimens from each panel and determine the compressive strength of two of the specimens in accordance with AASHTO T 24 at three days, and two specimens at 28 days.

(c) In-Place Test Cores.  Obtain in-place test cores from completed work at locations and times determined by the CO.  Obtain two test cores for every 600 square yards of shotcrete placed.  Obtain cores in accordance with AASHTO T 24.  Cure core specimens in accordance with AASHTO T 23 until the specimens are tested.  If any core fails to show adequate bond or shows obvious defects as determined by the CO, two additional cores shall be taken within 6 feet of the unsatisfactory core.  If either of these additional cores fail to show adequate bond with the rock or show obvious defects, the shotcrete in the area surrounding the unsatisfactory cores will be considered to be defective shotcrete and the CO may require additional thickness of shotcrete, or may require removal and replacement with new shotcrete, at no additional cost to the government.  Additional core specimens may be required at any time if, based on field observations, defective shotcrete is suspected.  Determine the compressive strength of cores taken from the completed work in accordance with AASHTO T 24.  Test one core at three days, and one core at 28 days for each set of two cores taken in every 600 square yards of shotcrete placed.  Fill all core holes with shotcrete so as to be flush with the surrounding shotcrete surface, and to the satisfaction of the CO.

(d) Shotcrete System.  If the CO determines that the Contractor's selected shotcreting system fails to provide satisfactory in-place shotcrete in accordance with these specifications, the Contractor shall change to another system.

566.12  Acceptance.  Shotcrete will be accepted under Subsection 106.04.

Measurement

566.13  Shotcrete will be measured by the square yard of shotcrete approved.

Payment

566.14  The accepted quantities measured as provided above will be paid for at the contract price per unit of measurement for the pay item listed below that is shown in the bid schedule.  Payment will be full compensation for the work prescribed in this section.  See Subsection 109.05.

Payment will be made under:

Pay Item	Pay Unit

56601	Shotcrete	Square yard