SOP Number: 	CIT-MAC-110

SOP Name:   		 NIH LAN/Telecommunications Closet Access

Owners:   		National Institutes of Health (NIH) CIT Telecommunications

SOP Scope:  		 	The purpose of this Standard Operating Procedure is to document the

Procedure and processes that comply with: 1) directives associated with

Inspector General Audit guidelines, 2) DHHS ISSO security requirements

and 3) NIH Policy on Key, Lock and Card Key Services.  The procedure

will demonstrate the process for authorized NIH personnel to gain access

to locked NIH LAN and Telecommunications closets.

Related SOPs:

| Daily MAC (CIT-MAC-101) Floor Plan Survey (CIT-MAC-104) Line Card Administration (CIT-OAM-701) Building One MAC (CIT-PRM-203) Building Projects (CIT-PRM-201) Building Projects PMO (CIT-PRM-202) | Red Emergency Back-up Phones (CIT-EMS-302) Security Phones (CIT-EMS-303) Blue Light Phones (CIT-EMS-301) ECC Systems (CIT-EMS-305) Elevator Phones (CIT-EMS-304) |
| --- | --- |

Standard Operating Procedures:

- A master listing of contacts for obtaining NIH LAN/Telecommunications closet keys will

be maintained and updated by CIT Telecommunications.  By the 1st of each month a CIT Telecommunications representative will forward the following information to the NIH Help Desk:

  - Updated LAN/Telco Master Closet Key Listing

  - CIT Telecommunications/LAN Closet Criteria

  - Closet Examples

2.   The LAN/Telco Master Closet Key is a listing of all LAN or Telecommunications closets

located in all NIH buildings (on or off campus).  It includes pertinent key holder information, i.e. location group, contact name, telephone number, address of building, if the key is a Card Key or a Metal Key etc.  See Exhibit 1 - LAN/Telco Master Closet Key Listing

3.   	The CIT Telecommunications/LAN Closet Criteria is a document referencing industry guidelines for closet construction specifications and maintenance. See Exhibit 2 - CIT Telecommunications/LAN Closet Criteria.  The closet examples are photographs of closets that are well maintained and examples of closets that are not maintained properly.   See Exhibit 3- Closet Examples

4.	All requests for changes in contact names or closet key holders for the LAN/Telco Master Closet Key Listing will be forwarded to the CIT Telecommunications Branch Chief to authorize and confirm any changes to the listing.

5.	 All inquiries for access to a NIH LAN/Telecommunications Closet will be forwarded to the NIH Help Desk at 301-594-6248. Access to a closet may require a METAL key or a CARD key and would include authorized NIH personnel and authorized primary vendors.

6.  There is a listing of Contacts for NIH LAN/Telco Closet Key Access in Exhibit 4.  This

list is used for internal purposes and for CIT Management problem resolution only.  All inquires and request for closet access should go through the NIH Help Desk.

7.	All person’s requesting access to an NIH closet must have completed the IT and Physical

Security Awareness Training.

NIH Help Desk Procedures

1.	When the NIH Help Desk is contacted, the Agent will assist by contacting the appropriate NIH key holder by referencing LAN/Telco Master Closet Key Listing and conferencing the requester with the correct NIH key holder contact, when possible.

2.	The NIH Help Desk must create a new Remedy Service Ticket for each NIH Campus

building LAN or Telco closet access request.

3.  	The NIH Help Desk must determine if the closet open or close request is associated with

TELEPHONE or DATA support services.  Telephone service is associated with

Telecommunications closets and Data service is associated with LAN closets.

4.     The NIH Help Desk updates the service ticket with the appropriate information using

the query criteria listed below:

a.    IC name and telephone number that is requesting Telco or LAN closet access

b.    Closet type: Telco or LAN?

c.     Building and closet room number(s)

d.    Reason for the closet access request

e.    Date and time for the closet access

f.     Duration of the closet access

g.    Suite or Lab outer entry required before closet access.

h.    Has the person requesting access completed the IT and Physical Security Awareness

Training?

i.    Other pertinent information as provided by the IC POC

See Exhibit 5 – Closet Access Request Remedy Screen

5. 	For Telco closet access, the NIH Help Desk assigns the Remedy Service Ticket to “DNST-

Cabling Infrastructure -SLA and MAC Team” (Assignee = dnstcismac) Mark Campbell

(Primary) or Randy Massagee (Secondary) and provides a live hand-off of the Remedy ticket

by calling the Cable Infrastructure contacts.

6.	Should the Cabling Infrastructure designate be unable to contact anyone to gain access to the

Telco closets, they will contact the NIH Locksmith at 301-496-3507.   When contacting the NIH Locksmith, provide them with a contact name and room number.  The Cabling Infrastructure designate will keep the requestor updated throughout notification to the NIH Locksmith and after resolution.

7. 		For LAN closet access, the NIH Help Desk assigns the Remedy Service Ticket to DNST -Network and Engineering - Network Operations Section/Network Operations

Center/DNST-NOC (Internal Use) and provides a “live hand-off” of the Remedy Service

Ticket by calling the Network Operations Center.  The Remedy Ticket will be assigned to the

NOC personnel that receives the call.

8.	Should the Network Operations Center designate be unable to contact anyone to gain access to the closets, they will then contact the NIH Locksmith at 301-496-3507.   When contacting the NIH Locksmith, provide them with a contact name and room number.  The Network Operations Center (NOC) designate will keep the requestor updated throughout notification to the NIH Locksmith and after resolution.

9.	When the requestor has gained access via the DNST NOC personnel or the DNST Cabling Infrastructure MAC Team, the Remedy Service Ticket will be closed.

10.  Should the NIH Help Desk Agent encounter any problems with processing the request, they

will get assistance from an NIH Help Desk Supervisor.

Change or Repair of NIH LAN/Telco Closet Door Locks

1.	Requests to change or repair the closet door will also be forwarded by the NIH Help Desk to the Telecom or LAN designate for disposition.   The NIH Help Desk Agent will assign the Remedy Ticket for disposition as follows:

a.	For change or repair of Telco closet door locks the NIH Help Desk assigns the Remedy Service Ticket to “DNST-  Cabling Infrastructure -SLA and MAC Team” (Assignee = dnstcismac) Mark Campbell (Primary) or Randy Massagee (Secondary) and provides a live hand-off of the Remedy ticket by calling the Cable Infrastructure contacts.

b.	For change or repair of LAN closet door locks, the NIH Help Desk assigns the Remedy Service Ticket to DNST -Network and Engineering - Network Operations Section/Network Operations Center/DNST-NOC (Internal Use) and provides a “live hand-off” of the Remedy Service Ticket by calling the Network Operations Center.  The Remedy Ticket will be assigned to the NOC personnel that answers the call.

2.		For CARD Key locks the DNST Cable or NOC representative will contact the Access Control Help Desk at 301-451-4766 for assistance.

3.		For METAL locks the DNST Cable or NOC representative will contact Clarence Bruce at 301-496-3507 for assistance.

Delivery Schedule:

Requests for access to NIH LAN/Telecommunications closets are negotiated on an individual as needed basis through the Help Desk.

Exhibits

Exhibit 1 -  LAN/Telco Master Closet Key Listing

Exhibit 2 - CIT Telecommunications/LAN Closet Construction Criteria

Exhibit 3 -  Closet Examples

Exhibit 4 -  Contact Listing for NIH LAN/Telco Closet Key Access

Exhibit 5 -  Closet Access Request Remedy Screen

Exhibit - 1

LAN/Telco Master Closet Key Listing

| LG | ADDRESS | ZIP |  | KEY TYPE | CIT has key | NOTES/CAVEATS |
| --- | --- | --- | --- | --- | --- | --- |
| 20004 | 6006 Executive Blvd Rockville MD | 20852 |  | Guard | No |  |
|  | 6006 Exec Blvd LAN Closet Rm 301 |  | 1 |  | No |  |
| 20005 | Federal Building 7550 Wisconsin Ave Bethesda MD | 20814 |  | NA | No |  |
| 20006 | Gateway Building 7201 Wisconsin Ave Bethesda MD | 20814 |  | Engineer 301-440-5351 | No |  |
|  | 7201 Wisc Ave Telecom Closet Floor 2 Room 228 |  | 1 |  | No | Engineer 301-440-5351 |
| 25039 | 9800 Medical Center Drive Rockville MD | 20850 | 1 | Temporary Locks on 1,2,3 floor closets | No | See Joe Collins A.R.E. 301-573-9698 |
|  |  |  |  | supplied by A. R. E. Property Mgmt |  |  |
| 20038 | Key West Medical Ctr 9610 Medical Center Drive Rockville MD | 20850 | 1 |  | No |  |
| 20013 | ANIMAL FARM 101 Club Hollow Road Poolesville MD | 20837 | 1 | None Needed | n/a |  |
| 20023 | 6101 EXECUTIVE 6101 Executive Blvd Rockville MD | 20852 |  | UG = Maint / Closet =Medeco | No | See NCI Closet exception below |

Exhibit 2 - CIT Telecommunications/LAN Closet Construction Criteria

Will contain link to PDF document

Exhibit 3 – Closet Examples

Will contain link to PDF document

Exhibit 4:

Contact Listing for NIH LAN/Telco Closet Key Access

| Contact Name & Position | Telephone Number | Area of Responsibility |
| --- | --- | --- |
| Richard Payne, CIT Telecommunications | 301-451-1410 | Maintain and updates LAN/Telco Master Closet Key Listing |
| Greg Duling CIT Telecommunications | 301-594-9470 | Team Leader Emergency Telecommunications Services Section |
| Yvonne A. Brooks, CIT Telecommunications Branch Chief | 301-594-9409 | Authorizes LAN/Telco Master Closet Key Listing updates |
| Anthony Trang CIT Cable Management Branch | 301-594-7411 | Maintains keys for all NIH Telco closets and handles escalations relative to closet access |
| Mark Campbell DNST Cabling Infrastructure SLA and MAC Team | 301-594-9456 | PRIMARY- Assigned and processes Remedy Service Ticket for NIH Telco Closet access |
| Randy Massagee DNST Cabling Infrastructure SLA and MAC Team | 301-594-1480 | SECONDARY -Assigned and processes Remedy Service tickets for NIH Telco Closet access |
| Brian Simpson Network Operations Center Section Chief (NOC) | 301-451-5164 | Maintains keys for all NIH LAN closets handles escalations relative to closet access |
| Patricia Baldwin Network Operations Center Supervisor (NOC) | 301-594-7435 | Area is assigned and processes Remedy Ticket for NIH LAN Closet access |
| NIH Help Desk | 301-594-6248 | Receives all calls for request for access to NIH closets and opens Remedy ticket |
| Network Operations Center (NOC) | 301-451-3141 | Receives calls and handles Remedy Service Tickets for NIH LAN Closet access requests |
| Access Control Help Desk | 301-451-4766 | Handles repair and changing of CARD Key access locks |
| Clarence Bruce Office of Director. Office of Research | 301-496-3507 | Handles repair and changing of NIH metal locks |

Exhibit 5 - Closet Access Request Form Remedy Screen

# Text boxes

National Institutes of Health

Center for Information Technology

CIT Telecommunications

Standard Operating Procedures