OMB INFORMATION COLLECTION

SUPPORTING STATEMENT

Current Good Manufacturing Practices and Related Regulations for Blood and Blood Components; and Requirements for Donor Testing, Donor Notification, and “Lookback”

0910-0116

# JUSTIFICATION

## Need and Legal Basis

The Food and Drug Administration (FDA) is requesting an extension of Office of Management and Budget (OMB) Control No. 0910-0116 and OMB approval of the information collection requirements (Tab A) as listed below:

| 21 CFR 606.100(b) | Recordkeeping | Requires that written standard operating procedures (SOPs) be maintained for the collection, processing, compatibility testing, storage and distribution of blood and blood components used for transfusion and manufacturing purposes. |
| --- | --- | --- |
| 21 CFR 606.100(c) | Recordkeeping | Requires the review of all pertinent records to a lot or unit of blood prior to release. Any unexplained discrepancy or failure of a lot or unit of final product to meet any of its specifications must be thoroughly investigated, and the investigation, including conclusions and followup, must be recorded. |
| 21 CFR 606.110(a) | Recordkeeping | Requires a physician to certify in writing that the donor’s health permits plateletpheresis or leukapheresis if a variance from additional regulatory standards for a specific product is used when obtaining the product from a specific donor for a specific recipient. |
| 21 CFR 606.121 | Disclosure | Requires container label for blood and blood components by all blood establishments. |
| 21 CFR 606.122 | Disclosure | Requires an instruction circular, containing adequate directions for use, be available for distribution if the product is intended for transfusion. |
| 21 CFR 606.151(e) | Recordkeeping | Requires that records of expedited transfusions in life-threatening emergencies be maintained. |
| 21 CFR 606.160 | Recordkeeping | Requires that legible and indelible contemporaneous records of each significant step be made and maintained for no less than 5 years. |
| 21 CFR 606.160(b)(1)(ix) | Recordkeeping | Requires a facility to maintain records of notification of donors deferred or determined not to be eligible for donation, including appropriate follow-up if the initial notification attempt fails. |
| 21 CFR 606.160(b)(1)(xi) | Recordkeeping | Requires an establishment to maintain records of notification of the referring physician of a deferred autologous donor, including appropriate follow-up if the initial notification attempt fails. |
| 21 CFR 606.165 | Recordkeeping | Requires that distribution and receipt records be maintained to facilitate recalls, if necessary. |
| 21 CFR 606.170(a) | Recordkeeping | Requires records to be maintained of any reports of complaints of adverse reactions as a result of blood collection or transfusion. Each such report must be thoroughly investigated, and a written report, including conclusions and followup, must be prepared and maintained. |
| 21 CFR 606.170(b) | Reporting | Requires that fatal complications of blood collection and transfusions be reported to FDA as soon as possible and that a written report shall be submitted within 7 days. |
| 21 CFR 610.40(c)(1)(ii) | Reporting | Requires each dedicated donation be labeled, as required under § 606.121, and with a label entitled “INTENDED RECIPIENT INFORMATION LABEL” containing the name and identifying information of the recipient. |
| 21 CFR 610.40(g)(1) | Recordkeeping | Requires an establishment to appropriately document a medical emergency for the release of human blood or blood components prior to completion of required testing. |
| 21 CFR 610.40(g)(2) | Reporting | Requires an establishment to obtain written approval from FDA to ship human blood or blood components for further manufacturing use prior to completion of testing. |
| 21 CFR 610.40(h)(2)(ii)(A) | Reporting | Requires an establishment to obtain written approval from FDA to use or ship human blood or blood components found to be reactive by a screening test for evidence of a communicable disease agent(s) or collect from a donor with a record of a reactive screening test. |
| 21 CFR 610.40(h)(2)(ii)(C) and (h)(2)(ii)(D) | Reporting | Require an establishment to label reactive human blood and blood components with the appropriate screening test results, and, if they are intended for further manufacturing use into injectable products, with a statement indicating the exempted use specifically approved by FDA. |
| 21 CFR 610.40(h)(2)(vi) | Reporting | Requires each donation of human blood or blood component that tests reactive by a screening test for syphilis and is determined to be a biological false positive be labeled with both test results. |
| 21 CFR 610.42(a) | Reporting | Requires a warning statement, including the identity of the communicable disease agent, on medical devices containing human blood or blood components found to be reactive by a screening test for evidence of infection due to a communicable disease agent(s) or syphilis. |
| 21 CFR 610.46(a) | Reporting Disclosure | Requires blood establishments to notify consignees, within 72 hours, of repeatedly reactive tests results so that previously collected blood and blood components are appropriately quarantined. |
| 21 CFR 610.46(b) | Reporting-Disclosure | Requires blood establishments to notify consignees of licensed, more specific test results for HIV within 30 calendar days after the donor’s repeatedly reactive test. |
| 21 CFR 610.47(b) | Reporting-Disclosure | Requires transfusion services not subject to Centers for Medicare and Medicaid Services regulations to notify physicians of prior donation recipients or to notify recipients themselves of the need for HIV testing and counseling. |
| 21 CFR 630.6(a) | Reporting | Requires an establishment to make reasonable attempts to notify any donor who has been deferred as required by § 610.41, or who has been determined not to be eligible as a donor. |
| 21 CFR 630.6(d)(1) | Reporting | Requires establishment to provide certain information to the referring physician of an autologous donor who is deferred based on the results of tests as described in § 610.41. |

In addition to the Current Good Manufacturing Practices (CGMP’s) in part 606 (21 CFR part 606), there are regulations in part 640 (21 CFR part 640) that require additional standards for certain blood and blood components as follows:  §§640.3(a)(1), (a)(2), and (f); 640.4(a)(1) and (a)(2); 640.25(b)(4) and (c)(1); 640.27(b), 640.31(b), 640.33(b), 640.51(b), 640.53(b) and (c); 640.56(b) and (d); 640.61; 640.63(b)(3), (e)(1), and (e)(3); 640.65(b)(2); 640.66; 640.71(b)(1), 640.72; 640.73; and 640.76(a) and (b).  The information collection requirements and estimated burdens for these regulations are included in the part 606 burden estimates, as described in section 12, below.

Under the statutory requirements contained in section 351 of the Public Health Service Act (42 U.S.C. 262, Tab B), no blood, blood component, or derivative may move in interstate commerce unless:  (1) It is propagated or manufactured and prepared at an establishment holding an unsuspended and unrevoked license; (2) the product complies with regulatory standards designed to ensure safety, purity, and potency; and (3) it bears a label plainly marked with the product’s proper name, manufacturer, and expiration date.  In addition, under sections 351 and 361 of the Public Health Service Act (42 U.S.C. 262 and 264, Tab C) and the provisions of the Federal Food, Drug, and Cosmetic Act (the act) that apply to drugs (21 U.S.C. 321 et seq.) (Tab D), FDA may issue and enforce regulations necessary to prevent the introduction, transmission, or spread of communicable diseases between States or Possessions or from foreign countries into the States or Possessions.  The CGMPs and related regulations implement FDA’s statutory authority to ensure the safety, purity, and potency of blood and blood components.  The “lookback” requirements are intended to help ensure the continued safety of the blood supply by providing necessary information to users of blood and blood components and appropriate notification of recipients of transfusion who are at increased risk for transmitting Human Immunodeficiency virus (HIV) infection.  The public health objective in testing human blood donors for evidence of infection due to communicable disease agents and in donor notification is to prevent the transmission of communicable disease.

## Information Users

The information collection requirements in the CGMP regulations, donor testing, donor notification, and “lookback” requirements provide FDA with the necessary information to perform its duty to ensure the safety, purity, and potency of blood and blood components.  These requirements establish accountability and traceability in the processing and handling of blood and blood components and enable FDA to perform meaningful inspections.  The recordkeeping requirements serve preventative and remedial purposes, and ensure that industry has the necessary information to perform the “lookback” procedures.  The disclosure requirements identify the various blood and blood components and important properties of the product, demonstrate that the CGMP requirements have been met, and facilitate the tracing of a product back to its original source.  Consignee notification ensures that the prior collections of blood and blood components are appropriately quarantined.  Recipient notification provides an opportunity for counseling, appropriate testing, early treatment and precautions necessary to prevent further spread of the virus.  The reporting requirements inform FDA of any deviations that occur and that may require immediate corrective action.

FDA recognizes that there are rare emergencies, i.e., where a patient’s need for blood is so acute as to preclude any testing of the blood, that would afford the release for use prior to the completion of testing for markers of infection due to communicable disease agents.  Upon FDA approval, collection facilities are permitted to ship under quarantine blood and blood components for further manufacturing before testing is completed to ensure the continued availability of biological products such as interferon, which requires rapid preparation from blood.

Blood establishments intending to distribute human blood or blood components for further manufacture or autologous use that are reactive for markers of infection with communicable disease agents are required to apply for approval by FDA.  The written application would describe the intended use of the blood or blood component, including identification of all consignees and the procedures for collecting, handling, labeling, and shipping the blood.

The disclosure requirements ensure that personnel handling human blood or blood components that have tested repeatedly reactive for markers of infection with communicable disease agents are aware of this fact and can take appropriate safety precautions.

The donor notification process is intended to prevent further donations from donors who have been deferred for positive test results for markers of communicable disease agents(s) as prescribed in § 610.41 or for failing to satisfy the donor eligibility criteria under §§ 640.3 or 640.63 prior to collection.  Deferred donors are informed of:  (1) the reason for the decision, (2) the types of donation that the donor should not donate in the future, if appropriate, (3) the results of the tests for evidence of infection due to communicable disease agents that were the basis for deferral, if applicable, and (4) information concerning medical follow-up and counseling.  By having this information, the deferred donor may make informed decisions as to his or her medical welfare.  Since autologous donors donate blood or blood components for their own use per prescription by their physician, reactive test results for a communicable disease agent on an autologous donor are sent to the referring physician.  Awareness of reactive test results will aid the referring physician in the treatment and counseling of the autologous donor.

Without this information, FDA could not monitor industry procedures and discharge its statutory responsibility for protecting the nation’s health.

## Improved Information Technology

Establishments may use computer tapes, discs, microfiche or microfilm in lieu of hard copy records for the purpose of maintaining records.  Computers may be used for filing reports to FDA.  Notification of consignees can be accomplished by phone, fax, or mail.  FDA is not aware of any other improved technology to reduce the burden except that unautomated blood establishments could reduce the time required to maintain records with respect to input and retrieval by becoming computerized.

## Duplication of Similar Information

FDA is the only agency that requests this information.  There is no similar kind of information available from any other source.

## Small Businesses

FDA believes that its duty requires the equal application of the regulations to all enterprises.  While FDA does not believe it can apply different standards with respect to statutory requirements, FDA does provide special help to small businesses.  The Center for Biologics Evaluation and Research (CBER), Office of Communication, Training and Manufacturer’s Assistance provides assistance to small businesses subject to FDA’s regulatory requirements.

## Less Frequent Collection

Less frequent information collection would not provide the information necessary for blood establishments to perform the “lookback” procedures, and for FDA to monitor the establishment procedures and assure the prevention of communicable disease.  Records are reviewed at the time of inspection for compliance with FDA regulations and for any appropriate corrective action.  Initial preparation of SOPs is a one-time burden.

There are no technical or legal obstacles to reducing the burden.

## Special Circumstances

There are no special circumstances for the collection of the information requirements.

## Federal Register Notice/Outside Consultation

In accordance with 5 CFR 1320.8(d), a 60-day notice for public comment on the information collection provisions was published in the Federal Register of June 21, 2005 (70 FR 35680, Tab E).  No comments were received from the public.

## Payment/Gift to Respondent

FDA has not provided and has no intention to provide any payment or gift to respondents.

## Confidentiality

The confidentiality of information received by FDA would be consistent with the Freedom of Information (FOI) Act and the agency’s regulations under 21 CFR Part 20.  After an FDA investigator completes a routine inspection of a blood or blood component manufacturing establishment, the completed report with the results of the inspection become public information, available under the FOI Act.  However, certain information, such as donor and patient names, for example, is deleted from any information released by FDA under the FOI Act and FDA regulations.  Manufacturers of human blood and blood components are not required to reveal any proprietary information or trade secrets to achieve compliance with the provisions.

## Sensitive Questions

Establishments as part of the donor screening process for blood collection must ask questions of sensitive nature.  These questions are used to evaluate the suitability of a donor.  Donors not meeting certain criteria are deferred from donating.  This information is necessary to help prevent the transmission of communicable diseases and protect public health.  These records are maintained by the establishment and may be reviewed by FDA during an inspection.

## Burden Estimate (Total Hours and Wages)

The total annual estimated burden imposed by this collection of information is 564,678 hours.

Table 1. – Estimated Annual Reporting Burden

| 21 CFR Section | No. of Respondents | Annual Frequency per Response | Total Annual Responses | Hours per Response | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 606.170(b)1 | 82 | 1 | 82 | 20 | 1,640 |
| 610.40(c)(1)(ii) | 1,628 | 8 | 12,000 | 0.08 | 960 |
| 610.40(g)(2) | 1 | 1 | 1 | 1 | 1 |
| 610.40(h)(2)(ii)(A) | 1 | 1 | 1 | 1 | 1 |
| 610.40(h)(2)(ii)(C) and (h)(2)(ii)(D) | 40 | 12 | 480 | 0.2 | 96 |
| 610.40(h)(2)(vi) | 1,628 | 13 | 18,000 | 0.08 | 1,440 |
| 610.42(a) | 1 | 1 | 1 | 1 | 1 |
| 610.46(a) | 1,709 | 16 | 26,544 | 0.17 | 4,512 |
| 610.46(b) | 1,709 | 16 | 26,544 | 0.17 | 4,512 |
| 610.47(b) | 134 | 1 | 134 | 1 | 134 |
| 630.6(a)2 | 570 | 760 | 433,333 | 0.08 | 34,667 |
| 630.6(a)3 | 85 | 106 | 9,000 | 1.5 | 13,500 |
| 630.6(d)(1) | 81 | 37 | 3,000 | 1 | 3,000 |
| Total | 64,464 |

1 The reporting requirement in § 640.73, which addresses the reporting of fatal donor reactions, is included in the estimate for § 606.170(b).

2 Notification of donors determined not to be eligible for donation based on failure to satisfy eligibility criteria.

3 Notification of donors deferred based on reactive test results for evidence of infection due to communicable disease agents.

TABLE 2. -Estimated Annual Recordkeeping Burden

| 21 CFR Section | No. of Record-keepers | Annual Frequency per Recordkeeping | Total Annual Records | Hours per Record | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 606.100(b)1 | 2494 | 1 | 249 | 24 | 5,976 |
| 606.100(c) | 2494 | 10 | 2,490 | 1 | 2,490 |
| 606.110(a)2 | 395 | 1 | 39 | 0.5 | 20 |
| 606.151(e) | 2494 | 12 | 2,988 | 0.083 | 248 |
| 606.1603 | 2494 | 1,928 | 480,000 | 0.75 | 360,000 |
| 606.160(b)(1)(ix) | 1,709 | 1,024 | 1,750,000 | 0.05 | 87,500 |
| 606.160(b)(1)(xi) | 1,628 | 4 | 6,750 | 0.05 | 338 |
| 606.165 | 2494 | 1,928 | 480,000 | 0.083 | 39,840 |
| 606.170(a) | 2494 | 12 | 2,988 | 1 | 2,988 |
| 610.40(g)(1) | 1,628 | 1 | 1,628 | 0.5 | 814 |
| Total | 500,214 |

1 The recordkeeping requirements in §§ 640.3(a)(1), 640.4(a)(1), and 640.66, which address the maintenance of SOPs, are included in the estimate for § 606.100(b).

2 The recordkeeping requirements in § 640.27(b), which address the maintenance of donor health records for the plateletpheresis, are included in the estimated for § 606.110(a).

3 The recordkeeping requirements in §§ 640.3(a)(2) and (f); 640.4(a)(2); 640.25(b)(4) and (c)(1); 640.31(b); 640.33(b); 640.51(b); 640.53(b) and (c); 640.56(b) and (d); 640.61; 640.63(b)(3), (e)(1), and (e)(3); 640.65(b)(2); 640.71(b)(1); 640.72; and 640.76(a) and (b), which address the maintenance of various records are included in the estimate for § 606.160.

4 Five percent of CMS transfusion services and FDA-registered blood establishments (0.05 X 4,980).

5 Five percent of plateletpheresis and leukopheresis establishments (0.05 X 773)

Respondents to this collection of information are licensed and unlicensed blood establishments that collect blood and blood components, including Source Plasma and Source Leukocytes inspected by FDA, and other transfusion services inspected by CMS.  Based on information received from CBER’s database systems, there are approximately 81 licensed Source Plasma collection establishments with multiple locations and 1,628 registered Whole Blood collection establishments for a total of 1,709 establishments.  There are approximately 2,156 registered blood establishments inspected by FDA.  Of these establishments, approximately 773 perform plateletpheresis and leukopheresis.  These establishments annually collect approximately 28 million units of Whole Blood, blood components including Source Plasma, and Source Leukocytes and are required to follow FDA “lookback” procedures, and approximately 134 are registered transfusion services that are not subject to CMS’s “lookback” regulations.  Based on CMS records, there are an estimated 4,980 transfusion services approved for Medicare reimbursement.

The reporting and recordkeeping estimates are based on information provided by industry, CMS, and FDA experience.  Based on information received from industry, we estimate that there are an average of 13 million donations of Source Plasma from approximately 2 million donors and 15 million donations of Whole Blood, including 300,000 (2% of 15 million) autologous, from approximately 8 million donors.  Assuming each autologous donor makes an average of 2 donations, FDA estimates that there are approximately 150,000 autologous donors.

FDA estimates that approximately 5 percent (12,000) of the 240,000 donations that are donated specifically for the use of an identified recipient would be tested under the dedicated donors testing provisions in § 610.40(c)(1)(ii).

Under § 610.40(g)(2) and (h)(2)(ii)(A), the only product currently shipped prior to completion of testing is a licensed product, Source Leukocytes, used in the manufacture of interferon, which requires rapid preparation from blood.  Shipments of Source Leukocytes are pre-approved under a biologics license application and each shipment does not have to be reported to the agency.  Based on information from CBER’s database system, FDA receives an estimated 1 application per year from manufacturers of Source Leukocytes.

Under § 610.40(h)(2)(ii)(C) and (h)(2)(ii)(D), FDA estimates that each manufacturer would ship an estimated 1 human blood or blood component per month (12 per year) that would require two labels; one as reactive for the appropriate screening test under § 610.40(h)(2)(ii)(C), and the other stating the exempted use specifically approved by FDA under § 610.40(h)(2)(ii)(D).  According to CBER's database system, there are an estimated 40 licensed manufacturers that ship known reactive human blood or blood components.

Based on information we received from industry, we estimate that approximately 18,000 donations annually test reactive by a screening test for syphilis, and are determined to be biological false positives by additional testing and labeled accordingly (§ 610.40(h)(2)(vi)).

Human blood or a blood component with a reactive screening test, as a component of a medical device, is an integral part of the medical device, e.g., a positive control for an in vitro diagnostic testing kit.  It is usual and customary business practice for manufacturers to include on the container label a warning statement that identifies the communicable disease agent.  In addition, on the rare occasion when a human blood or blood component with a reactive screening test is the only component available for a medical device that does not require a reactive component, then a statement of warning is required to be affixed to the medical device.  To account for this rare occasion under § 610.42(a), we estimate that the warning statement would be necessary no more than once a year.

Based on information received from industry, we estimate that there are approximately 4,424 repeat donors that will test reactive on a screening test for HIV with 159 confirmed positive.  We estimate that each repeat donor has donated two previous times and an average of three components were made from each donation.  Under § 610.46(a) and (b), this estimates results in 26,544 (4,424 x 2 x 3) notifications of the HIV screening test results to consignees by collecting establishments for the purpose of quarantining affected blood and blood components, and another 26,544 (4,424 x 2 x 3) notifications to consignees of subsequent test results.

Under 610.47(b), based also on the information received from industry, we estimate that 80% of the 159 (127) confirmed HIV positive were from repeat donors of Whole Blood donations.

Industry estimates that approximately 13 percent of 10 million potential donors (1.3 million donors) who come to donate annually are determined not to be eligible for donation prior to collection because of failure to satisfy eligibility criteria.  It is the usual and customary business practice of 1,709 collecting establishments to notify on site and to explain the reason why the donor is determined not to be suitable for donating.  Based on such available information, we estimate that two-thirds of the 1,709 collecting establishments provided on site additional information and counseling to a donor determined not to be eligible for donation as usual and customary business practice.  Consequently, we estimate that only one-third or 570 collection establishments would need to provide, under § 630.6(a), additional information and counseling on-site to the estimated 433,333 (one-third of 1.3 million) ineligible donors.

It is estimated that another 4.5 percent of 10 million donors (450,000 donors) are deferred annually based on test results.  We estimate that currently 95 percent of the establishments that collect 98 percent of the blood and blood components notify donors who have reactive test results for HIV, Hepatitis B Virus (HBV), Hepatitis C Virus (HCV), Human T-Lymphotropic Virus (HTLV), and syphilis as usual and customary business practice.  Consequently, 5 percent (85) of the industry (1,709) collecting 2 percent (9,000) of the deferred donors (450,000) would notify donor under § 630.6(a).

As part of usual and customary business practice, collecting establishments notify an autologous donor’s referring physician of reactive test results obtained during the donation process required under § 630.6(d)(1).  However, we estimate that 5 percent of the 1,628 blood collection establishments (81) may not notify the referring physicians of the estimated 2 percent of 150,000 autologous donors with reactive test results (3,000) as their usual and customary business practice.

The recordkeeping chart reflects the estimate that 95% of the recordkeepers, which collect 98% of the blood supply, had developed SOP’s as part of their customary and usual business practice.  Establishments may minimize burdens associated with CGMP and related regulations by using model SOP’s developed by industries’ accreditation organizations.  These accreditation organizations represent almost all registered blood establishments.

Under 606.160(b)(1)(ix), we estimate the total annual records based on the 1.3 million donors determined not to be eligible to donate and each of the 450,000 (1,300,000 + 450,000 = 1,750,000) donors deferred based on reactive test results for evidence of infection due to communicable disease agents.  Under § 606.160(b)(1)(xi), only the 1,628 registered blood establishments collect autologous donations and, therefore, are required to notify referring physicians.  We estimate that 4.5 percent of the 150,000 autologous donors (6,750) will be deferred under § 610.41 and thus result in the notification of their referring physicians.

FDA has concluded that the use of untested or incompletely tested but appropriately documented human blood or blood components in rare medical emergencies should not be prohibited.  We estimate the recordkeeping under § 610.40(g)(1) to be minimal with one or less occurrence per year.  The reporting of test results to the consignee in § 610.40(g) does not create a new burden for respondents because it is the usual and customary business practice or procedure to finish the testing and provide the results to the manufacturer responsible for labeling the blood products.

The hours per response and hours per record are based on estimates received from industry or FDA experience with similar recordkeeping or reporting requirements.

Cost to Respondents

The estimated annual cost to respondents is $26,539,866.

| Activity | No. of Hours | Cost per Hour | Total Cost |
| --- | --- | --- | --- |
| Reporting | 64,464 | $47 | $3,029,808 |
| Recordkeeping | 500,214 | $47 | $23,510,058 |
| Total | $26,539,866 |

The cost is based on a pay rate of $31/hour for a medical technologist (MT), who is responsible for recording donor, quarantine, testing, and disposition of information, notifying consignees of test results, and has the training and skills to handle various recordkeeping requirements.  The cost estimate is also based on a supervisor, at a pay rate of $42/hour who is responsible for updating SOPs, recording donor information, and notifying physicians of recipients or recipients of test results, investigating, writing, and reporting a fatality, and a Medical Director (MD), at a pay rate of $69/hour, who is responsible for updating SOPs, recording donor information, and notifying physicians of recipients or recipients of test results, investigating, writing, and reporting a fatality.  These salary estimates include recordkeeping and reporting-disclosure requirements that are performed by the MT, supervisor, or MD, the cost/hour includes the average salary of the three ($47).  These salary estimates include benefits but no overhead costs.

## Capital Costs (Maintenance of Capital Costs)

There are no capital and start-up, or operation, maintenance and purchase costs associated with the collection of information requirements.

## Cost to Federal Government

The estimated annualized cost to the Federal Government is $1,949,520.  This estimate is based on a FDA reviewer or investigator at an average grade scale of GS-12/5 ($44/hour), who reviews the requests for approval submitted under §§ 610.40(g)(2) and 610.40(h)(2)(ii)(A), or performs biannual on-site inspections.  The inspection cost includes inspection of a facility, review of facility records, and report preparation.  The estimated cost is also based on a GS-13/5 ($53/hour) Consumer Safety Officer who compiles, reviews, and analyzes fatality reports.  These salary estimates include benefits but no overhead costs.

| Activity | Number of Respondents | Number of Hours | Cost per Hour | Total Cost |
| --- | --- | --- | --- | --- |
| Product Release Review | 2 | 1 | $44 | $88 |
| Inspection | 1,078 | 40 | $44 | $1,897,280 |
| Fatality Report Review | 82 | 12 | $53 | $52,152 |
| Total | $1,949,520 |

## Program or Burden Changes

FDA is consolidating OMB control number 0910-0472 into 0910-0116.  The previous estimated total annual burden was 335,346 hours for 0910-0116 and 145,270 hours for 0910-0472 (for a total of 480,616 hours).  The current estimated total annual burden is 564,678 hours.  The overall increase in burden (+84,062 hours) is mostly attributed to the revised estimate for the hours per record under § 606.160.

## Publication and Tabulation Dates

There are no results to publish for this information collection.

## Display of OMB Approval Date

FDA is not seeking approval to exempt display of the expiration date for OMB approval.

## Exceptions to “Certification for Paperwork Reduction Act Submissions”

There are no exceptions to Item 19 of OMB Form 83-I.