21.  COTS Hardware Maintenance

Hardware for the ECS Project consists of commercial-off-the-shelf (COTS) hardware procured especially for the ECS Project and a minimal amount of Government furnished equipment (GFE).  As of August 31, 1997, the Government had provided only Liebert power distribution units (a COTS hardware product) for use and support by the ECS Contractor.  Therefore, M&O support (maintenance) tasking for only COTS hardware is discussed in this section.  The discussion is based on: 194-602-OP1-001, “Property Management Plan for the ECS Project”; 423-41-02, “Functional and Performance Requirements Specifications”; 501-CD-001, “ECS Performance Assurance Implementation Plan”; 601-CD-001-004, “Maintenance and Operations Management Plan”; 613-CD-002-001, “Version 2.0 COTS Maintenance Plan for the ECS Project”; 616-CD-002-001, “Version 2.0 Integrated Support Plan for the ECS Project”; 532-CD-002-001, “Environmental Control Plan for the ECS Project.”

21.1	COTS Hardware Support - General

COTS hardware support consists of preventive maintenance and corrective maintenance accomplished in compliance with procedures and guidance contained in this section.  Preventive maintenance and corrective maintenance may be accomplished by the warranty support provider, COTS hardware support provider contracted for post-warranty support, or the local maintenance coordinator (LMC) using local DAAC resources.  COTS hardware support is available from the COTS hardware support provider during the contracted principal period of maintenance (PPM) or on a time-and-materials (T&M) basis, in accordance with the terms of the appropriate support contract.  The LMC ensures that requirements of this section are complied with by all COTS hardware support providers and that information entered in the electronic trouble ticket is accurate.

The integrated logistics support (ILS) maintenance coordinator is a staff position in the ILS office, which is under the ILS manager in the maintenance and operations (M&O) managerÕs area of responsibility.  The ILS maintenance coordinator is available during normal work hours to provide assistance to the LMC in obtaining COTS hardware support if normal c-in efforts do not provide a satisfactory vendor effort and to receive information from the LMC.  The ILS maintenance coordinator may be reached via the Internet, telephone, or FAX with the Internet being the preferred method.  The Internet address is ilsmaint@eos.hitc.com; the telephone number is 1-800-ECS-DATA, select option #1 then dial 4180 or 5180.  The FAX number is 1-301-925-0438.

21.1.1	Corrective Maintenance

Corrective maintenance is the unscheduled repair of equipment and includes fault detection, diagnosis, isolation, and resolution through line replaceable units (LRU) replacement.  COTS hardware corrective maintenance will be documented using procedures in SectionÊ8.1, Trouble Ticket System Procedures; Section 9, Configuration Management; the safety requirements of Section 21.1.4, COTS Hardware Support Safety, and the guidance found in 609-CD-001-001 and expanded in document 609-DR-002-001 (Draft).  The 609 document provides Project guidance and direction for documenting COTS hardware problems, corrective actions, and hardware support management actions.  The 609 document may be found on the Internet at  http://edhs1.gsfc.nasa.gov/.  Once at the web site, type in the number 609 in the Quick Search block to access all versions of the 609 document.

21.1.2	Preventive Maintenance

EMASS and Storage TechnologyÕs automated tape library robots are currently the only hardware requiring scheduled preventive maintenance.   Preventive maintenance is typically performed by  the original equipment manufacturer (OEM) during a corrective maintenance procedure.   Otherwise it will be scheduled by the LMC in conjunction with the responsible maintenance organization and the using organization to minimize operational impact.  Preventive maintenance will be documented by preparing a trouble ticket and a MWO using procedures in this documentÕs Section 8.2, Using the Trouble Ticket System Tool and the  guidance found in the 609 document.

21.1.3	Configuration Management

Configuration Management (CM) requirements are addressed in Section 9 of this document.  Ensuring compliance with Section 9 procedures during COTS hardware support by a COTS hardware support provider or local site support personnel is the responsibility of the LMC.  The process to be used in documenting CM issues is contained in the 609 document.

21.1.4	COTS Hardware Support Safety

COTS hardware support will be accomplished using safety procedures to protect  personnel and equipment from harm.  Guidance for establishment of safety practices, standards, and procedures is found in Section 6 of the ECS Performance Assurance Implementation Plan (PAIP), 501-CD-001-004.  The LMC will ensure that these safety procedures, as well as applicable local safety requirements, are known and observed during COTS hardware support by local site support personnel or COTS hardware support providers.

COTS hardware safety practices include electrostatic discharge (ESD) protection; safe dissipation of static electricity; work place common grounding requirements; and parts handling and protection while in storage, outside the manufacturerÕs protective packaging, and being readied for installation or removal.  When not being worked on or when outside protected areas, electronic parts and assemblies are to be covered by an ESD protective covering or packaging.  During installation or removal of electronic parts or LRUs, a common ground will be established between the technician, worktable/area, the part/LRU, and the equipment it is to be installed in/removed from.  The ESD program will be locally developed by the LMC using the Environmental Control Plan, 532-CD-002-001 for guidance.

It is the responsibility of the LMC to ensure compliance with these safety procedures by the COTS hardware support provider or local site support personnel.

21.2	COTS Hardware Support - Contract Information

The ECS procurement organization is located at the ECS development facility (EDF) and is responsible for ordering initial warranty support and post-warranty support where appropriate.  Questions or comments concerning COTS hardware support are to be directed to the ILS maintenance coordinator using procedures contained in Section 21.1, COTS Hardware Support - General.

21.2.1	Management of COTS Hardware Support Contracts

COTS hardware is typically procured with a twelve-month extended on-site warranty from the OEM.  Some resellers provide two or three years of return-to-depot warranty support instead of on-site support.  At the conclusion of the warranty period a support contract for one or more years is purchased.  In arriving at a support decision for a COTS hardware item, the ECS ILS office considers operational availability (Ao) and mean down time (MDT) requirements, operational commitments, and costs.  Once maintenance terms are determined, the ILS maintenance coordinator directs the ECS procurement office to procure follow-on (post-warranty) COTS hardware maintenance support.  Based on support considerations, OEM support is typically procured.  However, cost and support considerations may result in support being provided by a third party provider.  The support providerÕs identity and maintenance terms are entered into the ILS web pageÕs hardware support spreadsheet (see Table 21.2-1) and the maintenance fields in the procurement database (see Table 21.2-2) by the ILS maintenance coordinator.  To access the ILS web page open the EDHS home page (http://edhs1.gsfc.nasa.gov/) then select the Maintenance & Operations button.  When that page opens, scroll to the bottom and click on the COTS Hardware - Software link.  You are now in the ILS COTS ECS Hardware - Software Maintenance web site.  Continue to click the next page links at the bottom of each page (except for the first page, itÕs at the top) until you reach that part of the ILS web site desired.

Table 21.2-1.  ILS Web Page Hardware Support Fields

| 1 | 2 | 3 | 4 |
| --- | --- | --- | --- |

Authorized Caller

ManufacturerÕs Name

Support              ProviderÕs Name

| Type Equipment |
| --- |
| 5 | 6 | 7 | 8 |
| Information Needed to Obtain Vendor Support |

Contract Maintenance Terms

Support VendorÕs Name and Contact #Õs

|  | Support Contract Terms (type spt, response time & PPM) |
| --- | --- |

21.2.2	Contract Maintenance Terms

Warranty maintenance is provided by the OEM/vendor during the first year.  Typically post-warranty support is provided by the same OEM/vendor that provided the warranty support.  The LMC can determine equipment types, their maintenance support provider, and other information relating to their support by referring to the COTS hardware spreadsheet in the ILS web page.

21.2.3	COTS Hardware Database

Information related to COTS hardware support contracts is maintained in a procurement database.  Table 21.2-3, Typical Procurement Database Fields,  shows fields normally in such a database.

Table 21.2-2.  Typical Procurement Database Fields

| Field Name | Information |
| --- | --- |
| PO number | Purchase order number |
| Vendor | Name of the firm that sold the COTS product |
| Vendor Code | Abbreviated vendor name |
| ECS Equip Name | ECS name given to a major hardware item |
| Status | Status as to received, installed, consumable item, out for maintenance, or archived |
| Parent ID Number | EIN assigned to a major hardware item by the property administrator |
| Part ID Number | EIN applied to a subordinate hardware item by the property administrator |
| Part Number | OEMÕs part number |
| Serial Number | OEMÕs assigned serial number |
| Cost of Unit | Purchase order cost |
| ProductÕs Name | Name of the item as stated on vendor purchase order |
| Model or Version | Model or version of the item |
| OEMÕs Initials | Initials of the OEM or software developer |
| OEMÕs Name | Full name of the OEM or software developer |
| Date Hardware Received | Date item received by ECS (generally at the EDF) |
| Received by | Name of person receiving the COTS product from the vendor |
| ReceiverÕs Phone | Phone number of person that received the products |
| Hardware Installation Date | Date item was first installed ( date the warranty period begins). |
| Date Support Ends | ECS COTS hardware or software warranty or support expiration date |
| User of the Hardware | Name of the person assigned responsibility for the ECS COTS product |
| UserÕs Phone | Phone number of person assigned responsibility for ECS COTS product |
| Location | Site where the product is located (E. G., GSFC, SMC, EOC, etc.) |
| Building | Building in which the product is located |
| Room | Specific room in which the product is located |
| Maintenance Contract | The contract number or maintenance vendorÕs access authorization information |
| Maintenance Code | Initials of the maintenance support provider |
| Maintenance Vendor | The name of the firm providing maintenance support |
| Maintenance ProviderÕs Phone | Phone number for the maint vendorÕs technical support desk or help desk |
| Hardware or Software | Identification of the product as hardware or software |
| Comment | For any remarks to be added that are not included in other fields |

The ECS ILS office uses the procurement database information to manage COTS hardware support contracts.  During Release B, the LMC can obtain extracts of maintenance contract information via the Internet on the ILS web page.  Information fields in the ILS web page are updated periodically by the ILS maintenance coordinator.

The LMC can obtain specific COTS hardware information from the procurement database by requesting the ILS maintenance coordinator to run a special query.  The LMC should be specific in identifying the information wanted.  If the information requested is too voluminous to provide to the LMC telephonically, it will be E-mailed to the requester.  The request for hardware support information should be made using procedures in Section 21.1.  The time it takes for the ILS maintenance coordinator to provide a reply will vary with the criticality and complexity of the request.

Generally, COTS hardware support providers require an access code and/or the serial number of the host equipment item to verify that the item is under support contract (e.g., support requested for a computer monitor or keyboard problem, the parent workstation or server serial number would be provided as the access code).  The ILS maintenance coordinator determines what information is needed by the maintenance providers to verify support is authorized.  For some equipment, names of authorized contact persons are required by the COTS hardware support provider.  The ILS maintenance coordinator arranges, within the limits imposed by the COTS hardware maintenance provider and the needs of individual DAACs, for specified personnel to become authorized contact persons.  The ILS maintenance coordinator will include the authorized contact person list in the appropriate field in the ILS web page COTS hardware support spreadsheet.  Recommended changes to the names of authorized contacts are to be provided to the ILS maintenance coordinator by the LMC for updating the ILS web site COTS hardware support spreadsheet.  The LMC is to identify changes to the authorized contact list as a permanent or temporary change and, if temporary, the inclusive dates of the change.  A temporary change may occur when the authorized contact person is ill, on vacation, in training, or other short-term change of work availability status has occurred or is expected to occur.  The LMC is to provide the ILS maintenance coordinator the change information as soon as it is known, using procedures in Section 21.1.

21.3	Hardware Repairs - Standard

The LMC is the DAACÕs focal point for directing and coordinating corrective maintenance of ECS hardware.  The users, operators, maintainers, and managers of the ECS hardware require the aggregate capability to report, track, control, monitor, open, and close hardware problems and solutions to ensure the ECS hardware suite is retained in an approved configuration.  Each of these people (users, maintainers, and managers) has specific capability requirements not needed by others.  The users and operators of the ECS hardware need only to be able to report encountered problems to a central office for resolution and obtain timely feedback on the outcome of the  problem  resolution effort.  The maintainers need a capability to be promptly informed of problems, open and close trouble tickets and maintenance work orders, dispatch system/network administrators or repair technicians/engineers, update repair efforts as they occur, capture and retain problems and solutions for future reference including part numbers, serial numbers, location, and equipment ID.  Managers need a capability to track repair status, use hardware information to update property records when changes occur, review proposed and actual repair actions for appropriateness, ensure repair actions maintain approved ECS configuration, and identify support problem areas.  These capabilities are provided for use by each area through the use of the Remedy applicationÕs trouble ticket, XRPÕs inventory, logistics and maintenance capability (includes a maintenance work order/dispatch ticket), system configuration and baseline management capability, and DDTS for configuration change requests (CCR) recording and processing.

Users, operators, and support personnel who encounter a problem will report the problem using the Remedy trouble Ticket application and guidance in document 609-CD-003-001, Version 2.0 Operations Tool Manual.  Maintainers will be notified of problems, dispatch appropriate personnel, ensure accuracy of information and updates, track repairs, and close out the dispatch work order using procedures in this section and guidance in document 609-CD-CD-003-001, Version 2.0 Operations Tool Manual.

Managers of ECS hardware will use both the work order information and the configuration management information contained in this section and Section  9, Configuration Management, of this document and guidance found in document 609-CD-CD-003-001, Version 2.0 Operations Tool Manual

21.3.1	Hardware Problem Reporting

COTS hardware problems are tracked by the LMC from the initial notification of a COTS HW problem through its successful repair.  The vehicle for tracking COTS HW problems is a combination of the trouble ticket described in Section 8, Configuration Management,  and the Maintenance Work Order (MWO) from the XRPÕs Inventory, Logistics, and Management  application described in document  609-CD-003-001, Version 2.0 Operations Tools.   Anyone may open a trouble ticket.  Thus, the first person [this may be either a user, operator, LMC, system administrator (SA), network administrator (NA), or responsible engineer (RE)] experiencing or observing a COTS hardware problem will initiate a trouble ticket.  Usually  the opening of a COTS HW trouble ticket is by a user or operator since they are most likely to be the first person to experience a problem with the ECS COTS products.  In all cases the trouble ticket is annotated with the specifics of the problem, equipment it is on and the equipmentÕs location.   Once the problem information is keyed in, the trouble ticket is forwarded  to the User Services office.   Typically, the User Services office assigns the trouble ticket to an administrator (systems/network) for initial verification of the problem.   After verification and any repair efforts by the administrator (to be annotated on the trouble ticket) it is forwarded by the administrator to the organization best capable of performing the repair/fix.  If the problem is with COTS HW, the administrator forwards (by E-mail) the trouble ticket to the LMC for resolution., constituting notification of a problem.

Note:  Remedy has a second level hardware information screen that was developed for a previous release but is not used in Release B0 or subsequent releases.

Upon receiving  the trouble ticket  the LMC opens a MWO  using the XRP ILM application.  The ILM application generates  a unique number for each MWO opened and prints it on the MWO.  The trouble ticket and the MWO are cross linked by unique reference numbers  by the LMC.  The LMC cross references the trouble ticket to the MWO by keying into the MWO the trouble ticketÕs own unique identifying number.  The MWO is referenced to the trouble ticket  by the LMC keying into the trouble ticketÕs Comment block the MWOÕs unique identification number.

The MWO may be printed and given as a hard copy to the technician/engineer assigned to correct the problem.  The technician/engineer must complete the hard copy MWO with thorough and legible entries.  The LMC is responsible for accurately and timely entering the hand scribed information into the electronic copy of the MWO that is part of the ILM tool.  If more convenient, the technician/engineer assigned to repair the COTS hardware may enter the data directly to the electronic MWO.  However, the LMC is still responsible for verifying the accuracy of the information.  If a change needs to be made to a MWO after it has been completed and forwarded, the ILM application provides such a capability through a change screen.  It is the LMCÕs responsibility to ensure  such changes are made or personally accomplish the changes..

The MWO is used by the LMC to dispatch and monitor site and OEM personnel in the resolution of the problem indicated on the trouble ticket and the recording of events and information associated with the problem solution and closure.  The LMC will ensure that the MWO contains a complete and accurate sequence of events as requested in the ILM data fields.  Information as to the applications that were running, the commands given immediately prior to the apparent COTS hardware problem, the  troubleshooting accomplished, and embedded diagnostics that were exercised  needs  to be included in the narrative portion of the  MWO.  Information provided by the maintenance contractorÕs  technical support center, as well as the results of using that information, is also to be annotated in the narrative portion of the MWO.  The accuracy  and completeness of the MWO  information is paramount .  It is the LMCÕs responsibility to ensure this information is accurately entered.

Upon completion of the MWO resulting in the failed item being made operational, the trouble ticket  is annotated with a  briefly comment to indicate the problem was resolved and to ensure the link to the MWO Ôs unique identification number  is accurate.  An electronic  copy of the MWO and the  trouble ticket  is forwarded to the Configuration Administrator by the LMC.  The Configuration Administrator acts as closing authority for opened trouble tickets.  The LMC will ensure that the procedures of Section 8 and guidance in the 609 document  are followed in annotating the trouble ticket and the MWO as well as when forwarding trouble tickets and MWOÕs to the Configuration Administrator.

21.3.2	Initial Troubleshooting/Diagnostics

Once failure occurs and the operator, SA, and/or NA are the first to recognize the problem, they will perform diagnostics to isolate the problem to its source (i.e., Operating System, COTS software, ECS software, science software, network, or COTS hardware) using the actions in Table 21.3-1, Initial Troubleshooting/Diagnostics Procedures.   If these efforts do not correct the problem, they will open a trouble ticket and include all actions they have take, results of those actions, and a recommendation as to who the trouble ticket should be forwarded to for corrective action.

Table 21.3-1.  Initial Troubleshooting/Diagnostics Procedures

| Step | Occurrence | Action |
| --- | --- | --- |
| 1 | System problem discovered by an operator, SA or NA. |

a.	Review error message against the applicable hardware/software operator manual.

b.	Verify that power, network, and interface cables are properly connected and functioning properly.

c.	Run internal systems and/or network diagnostics.

d.	Review system logs for evidence of previous related problems or configuration changes that may be contributing to the problem.

e.	Attempt to reboot the system.

f.	If problem is fixed a trouble ticket is not needed.

| g. If the problem is not fixed go to Table 21.3-2 of this document. |
| --- |
| 2 | System problem reported to User Services office by other than an operator, SA or NA |

a.    User Services office forwards trouble ticket to the SA and/or NA who do the following:

1)  Review error message against the applicable hardware/software operator manual.  Record the error message on the trouble ticket.

2)  Verify that power, network, and interface cables are properly connected and functioning properly.

3)  Run internal systems and/or network diagnostics.

4)  Review system logs for evidence of previous related problems or configuration changes that may be contributing to the problem.

5)  Attempt to reboot the system.

b.	Problem is resolved

1)  Complete the trouble ticket and forward to Configuration Administrator.

c.	Problem is not resolved

1)  Annotate trouble ticket with all actions taken and their results

2)  Forward trouble ticket to the organization you believe responsible for correcting the problem.

NOTE: Report software related problem to the SA/Sustaining Engineering Organization (SEO) (refer to Section 22, Software Maintenance) If the problem is hardware related notify the LMC.

Should User Services office receive the initial problem report from other than the operator, SA, and/or NA the trouble ticket is routed by User Services office to the SA and/or NA for initial troubleshooting/diagnostics using procedures in Table 21.3-1, Initial Troubleshooting/Diagnostics Procedures.  If their efforts succeed in correcting the problem they close out the trouble ticket and forward it to the Configuration Administrator.  If their efforts do not result in a correction  of the problem the SA and/or NA annotate the trouble ticket with the actions they have taken and the results before forwarding the trouble ticket  to the organization they believe to be the appropriate one to perform the needed corrective action.

21.3.3	Hardware Corrective Maintenance Actions

Hardware problems are reported to the LMC if the initial troubleshooting does not resolve the problem.  The LMC will attempt to identify the cause of the problem and employ DAAC resources to resolve the problem using procedures of Table 21.3-2, Hardware Corrective Maintenance Actions.  If unable to correct the problem using DAAC resources, the LMC arranges for maintenance vendor on-site support in accordance with Section 21.3.4, Contract On-Site hardware Support.

Table 21.3-2.  Hardware Corrective Maintenance Actions (1 of 2)

| Step | Occurrence | Action |
| --- | --- | --- |
| 1 | COTS hardware problem discovered by an operator, SA or NA. not resolved by initial trouble-shooting. |

a. 	Open a trouble ticket

b.	Annotate trouble ticket with all actions taken and their results

c.	Indicate the organization you recommend to perform corrective action to find and fix the problem (COTS SW is SEO, COTS HW is LMC.

| d. Forward trouble ticket to the User Services office |
| --- |
|  | COTS hardware problem forwarded to SA or NA. by User Services not resolved by initial trouble-shooting. |

a.	Annotate trouble ticket with all actions taken and their results

b.	Forward trouble ticket to the organization you believe responsible for correcting the problem.

NOTE: Report software related problem to the SA/Sustaining Engineering Organization (SEO) (refer to Section 22, Software Maintenance) If the problem is hardware related notify the LMC.

2

LMC attempts to identify cause of problem.

a.  LMC reviews the trouble ticket.

b.	LMC opens a MWO and annotates actions and results to date.

c.	LMC enters the unique identification number of the trouble ticket into the MWO.

d.	LMC enters the unique identification number of the MWO into the trouble ticket.

e.  LMC contacts SA or NA to assist in additional troubleshooting, as necessary.

f.  LMC, SA, and/or NA accomplish the following:

1)  Performs initial troubleshooting, including that described in the COTS hardware manuals.

2) Record all actions and results into the MWO.

Table 21.3-2.  Hardware Corrective Maintenance Actions (2 of 2)

| Step | Occurrence | Action |
| --- | --- | --- |
| 3 |

Problem resolved by local staff.

a.  If no hardware replaced.

1)  Correct problem, verify resolution.

2)  Close MWO, annotating actions taken.

b.  hardware replaced with maintenance spare

1)  Failed LRU is replaced.

a)	Old part number recorded in MWO

b)	Old serial number recorded in MWO

c)	Old model/version recorded in MWO

d)	New part number recorded in MWO

e)	New serial number recorded in MWO

f)	New model/version recorded in MWO

g)	Down time recorded in clock hours in MWO

h)	Delay time identified by reason and recorded by clock hours in MWO.

2)  CM  requirements are accomplished following procedures in Section  9.

3)  Failed LRU replacement ordered in accordance with Section 21.4.1.

4)  Failed LRU routed in accordance with Sections 21.3.5 or  21.4.3.

c.  LMC closes MWO noting actions taken to resolve the problem

| d. LMC forwards completed trouble ticket and MWO to the Configuration Administrator. |
| --- |
| 4 | Hardware problem is not resolved by staff. | a. SA/NA notifies the LMC that hardware problem remains open. Maintenance contract support is needed. |

21.3.4	Contract On-Site Hardware Support

The LMC will notify the applicable maintenance contractor and request assistance in diagnosing the problem or dispatch of a maintenance engineer to the site if local DAAC resources can not  resolve the problem.  The call for support will be documented in the MWO by the LMC, noting the date and time the contractor was called.  Table 21.3-3 identifies the steps associated with obtaining contract maintenance support.  It is important that all vendor maintenance activities and start/stop times associated with them are recorded in ILMÕs MWO.  This is the principal  means of monitoring, measuring, and managing the maintenance vendorÕs contractual performance in support of the ECS system downtime goals.  Data fields have been specifically created in ILMÕs MWO  to capture this information.

Table 21.3-3.  Obtaining On-Site Hardware Support (1 of 2)

| Step | Occurrence | Action |
| --- | --- | --- |
| 1 |

Local support effort did not resolve the problem.

a.  LMC gathers information needed to obtain contract maintenance support.

1)  Make, model, serial number, and location of failed systems.

2)  Description of problem and symptoms (from trouble ticket).

3)  Criticality of the COTS hardware experiencing the problem.

b.  Using the ILS web page at http://edhs1.gsfc.nasa.gov/ the LMC determines:

1)  Name and telephone number of maintenance provider

2)  Access code needed to obtain support

3)  Telephone number of the support providerÕs technical support center.

4)  Site authorized contact person

| c. LMC records the information in a and b, above, into the MWO. |
| --- |
| 2 | LMC calls the appropriate support providerÕs technical support center to obtain on-site assistance. |

a.  Provides information from Step 1 above to the support provider to establish a  need for on-site support.

b.  Obtains the reference case number from the COTS hardware support provider.

c. Updates the MWO to reflect time and date of the call and

case  reference number.

d. Notifies problem originator that contractor is on the way.

3

Maintenance  technician arrives at the site.

a.  LMC arranges for site access using local established procedures.  Records arrival time.

b.  LMC escorts maintenance technician to the hardware.

c.  LMC assists the maintenance technician in resolving the problem.  This includes:

1)  Arranging for the equipment to be shut down.

2)  Demonstrating the problem.

3) Obtaining site available technical references, when needed.

Table 21.3-3.  Obtaining On-Site Hardware Support (2 of 2)

| Step | Occurrence | Action |
| --- | --- | --- |

| 4 | Maintenance technician corrects the problem. |
| --- | --- |

a.  If a part is replaced, LMC:

1)  Obtains from the failed part:

a)  serial number

b)  Equipment identification number (EIN) (the number on the silver label)

c)  model/version

2)  Obtains from the new part:

a)  part number

b)  serial number

c)  manufacturerÕs model number (if different from part removed, a configuration change request [CCR] is required for CM)

3)  Updates the MWO with following information:

a)  actions taken to correct the problem.

b)  part number of the new item.

c)  serial number of the old and new item.

d)  Model/version of the old and new item

e)  EIN of the old part, (if applicable)

f)  EIN assigned to the new item, (if applicable)

g)  replacement LRUÕs model number

h)  name of the item replaced.

I)    time and date repair started

j)    time and day repair completed repair

k)   any delay time experienced in completing the repairs and reason for delay.

b.  If no parts were replaced  the LMC updates the MWO with:

1)  Actions taken to correct the problem.

2)  Time and date repair started

3)  Time and date repair completed

4)  Delay time experienced in completing the repairs:

a)  start and stop times

c)  reason for each delay

c. Forward the completed MWO and trouble ticket to the Configuration Administrator

21.3.5	Return-to-Depot Support

In some cases (e.g., X terminals) on-site support is not provided by the OEM.  Instead, a return-to-depot support is provided whereby an advance replacement LRU is requested from the vendor by the LMC prior to returning the failed repair.  The vendor ships the requested part and provides a return materials authorization (RMA) number for the return of the failed LRU.  When the replacement unit arrives, it is placed in spares inventory using the procedures in this document  in Section 23, Property Administration, if an on-site spare was used to replace the failed unit.  Otherwise, the new LRU is installed in the equipment.  The failed unit is returned to the vendor using procedures in Section 21.4.3.

21.4 	Maintenance Spares

Replacement LRUs are provided by the organization performing the maintenance support (i.e., the OEM or vendor for warranty maintenance, the COTS hardware support provider for post-warranty maintenance support, or the ECS Project for self-maintenance support by local DAAC M&O staff.)  Replacement LRUs provided by the OEM/vendor/COTS hardware maintenance support provider will typically be obtained from within the metropolitan area where the DAAC is located, and will seldom be stocked on the DAAC site.

The ECS ILS manager may elect to procure selected maintenance spares to provide a more rapid return to service for failed critical units.  These spares may be centrally stocked at GSFC, stored on-site in the DAAC property room, or as installed spares in equipment.  Maintenance spares will be identified by the ILS maintenance coordinator in document 618-CD-002-001, Release B Replacement Parts List and Spare Parts List.  Maintenance spares are procured, replenished, and managed by the ILS Office using the process identified in Paragraphs 4.6.3 and 4.6.4 of Release b COTS Maintenance Plan, document 613-CD-003-001;  Section 23, Property Administration; and appropriate local DAAC policies and procedures.

21.4.1	Installed Maintenance Spares

Some COTS hardware items have extra LRUs installed to provide hot-swappable spares or excess capability so that a failure does not bring the system down or the unit can be made operational expeditiously.  Such spares include RAID disks, power supplies, network cards and tape drives.

When a maintenance spare fails, the LMC, after returning the system to an operational status, contacts the appropriate hardware support provider, vendor, or OEM, as appropriate, and arranges for an advance replacement to be shipped to the DAAC.  The LMC also obtains an RMA number for the return of the failed LRU.  The LMC uses the information from the ILS web siteÕs COTS Hardware Support spreadsheet to determine the appropriate maintenance support provider to contact.  The advanced replacement part from the maintenance support provider is air-shipped to the DAAC.  The LMC will return the failed item to the location specified on the RMA using the carton in which the advanced replacement part was received.  The RMA number will be prominently displayed on the carton and on the failed item.  The receipt, installation, and return of the LRU is accomplished using procedures of this document found in Section 8, Problem Management; Section 9, Configuration Management; Section 23, Property Management; guidance found in document 609, Version2.0 Operations Tools;  and local procedures.

21.4.2	Use of Maintenance Spares

The LMC will control the use of on-site maintenance spares.  Centrally stocked spares can be requested from the ILS coordinator using procedures in Section 21.1.  Replacement or repair of maintenance spares is performed by the COTS hardware maintenance provider using procedures in Section 21.3.

21.4.3	Return of Failed LRUs

During the warranty period and subsequent maintenance contract, the failed unit belongs to the support provider who is responsible for repairing or replacing the failed LRU.  The LMC is responsible for the return of the failed LRUs if either site spares or advanced replacement LRUs (e.g., systems under return-to-depot support) are used to replace the failed LRU.  After a failed LRU that is to be returned by the LMC is removed it will be tagged and processed for return to a maintenance facility for repair or replacement.  The LMC will use the RMA number provided with the advance replacement LRU or request an RMA number from the appropriate site spare provider if a site spare was used.  The failed unit is returned to the vendor (unless the vendor specifies another location) using the same carton in which  the replacement unit was shipped.  The RMA number will be prominently displayed on the outside of the return carton and on the tag attached to the failed item.  The LMC will ensure that replacement of LRUs is documented in the trouble ticket.

21.5	Non-standard Hardware Support

Non-standard COTS hardware support consists of maintenance support outside the PPM (support incurring time and materials charges) or escalated support actions by the maintenance support provider.

21.5.1	Escalation of COTS Hardware Support Problem

Hardware support providers have escalation policies based on elapsed time from start of the corrective effort.  The escalation policies direct increased management attention and/or resources to the problem, which is relatively invisible to the DAACs.  Escalation of a hardware support providerÕs efforts may also be requested anytime the corrective effort is not progressing satisfactorily.  The LMC may request escalation by calling the maintenance contractorÕs technical support center and providing the case number generated when the problem was first reported.  The LMC can also contact the ILS maintenance coordinator for assistance in obtaining a satisfactory resolution.

21.5.2	Time and Material (T&M) Hardware Support

T&M support is expensive and generally exceeds $150/hour, two-hour minimum.  It is to be used only as a last resort for mission critical repairs.  The LMC will obtain authorization from the ILS maintenance coordinator or the System Monitoring and Coordination Center (SMC) in the ILS maintenance coordinatorÕs absence, for T&M support.  Once T&M support is approved, the ILS maintenance coordinator (or LMC if the ILS maintenance coordinator is not available) calls the appropriate COTS hardware providerÕs technical support center and requests T&M support.  The LMC will verify the time of arrival and departure of T&M technicians; delay time; travel times; replaced LRU part number, serial number, name; and total dollar charge.  This information and a legible photo copy of the completed T&M work order are to be sent to the ILS maintenance coordinator within one business day.

22.  Software Maintenance

22.1	Introduction

The ECS organization provides maintenance and operations for ECS hardware, software, and firmware systems delivered under the ECS contract to the ECS sites. The functions performed by each of the M&O organizations are described in the M&O Management Plan, CDRL 601-CD-001-001.

In general, ECS organizations procure, produce, deliver, and document the modifications, and enhancements made to ECS software, firmware, and hardware. No custom firmware has been identified as part of the ECS program. Commercial Off-The-Shelf  software (COTS SW), firmware, and hardware will be maintained in accordance with the COTS Maintenance Plan, CDRL 613-CD-001-001.   The Project maintenance philosophy for software is to provide ECS centralized support for developed items and vendor support for COTS SW.

Specific software support procedures are discussed in this section.  ECS Project software consists of COTS, custom-developed, and  science software. Science software, developed for use on the ECS project, is the responsibility of the scientific community  (see section 22.3).  Staffing requirements are discussed in the ECS Operations Plan, CDRL 608-CD-001-002.  Training is discussed in the ECS Training Plan , CDRL 622-CD-001-002. Specific schedules of programmed activities are contained in the Intermediate Logic Network Diagrams, CDRL 108-CD-tbd.

Software maintenance includes:

¥	COTS support contract with the software vendor for license to use; telephone assistance in resolving COTS SW problems, as well as obtaining patches and upgrades.

¥	Resources, including equipment, software tools and personnel to maintain ECS in accordance with specified functional performance, and availability requirements.

¥	Services required to produce, deliver, integrate, install, test, validate and document modifications of existing ECS software and firmware. The maintenance activity includes: software configuration management (CM) including support for change control, configuration status accounting, audit activities, and software quality assurance (QA).  Each site is the CM authority over its own resources subject to ESDIS delegation of roles for ECS management.

The siteÕs Local Maintenance Coordinator, System Administrator, Network Administrator, and COTS Software License Administrator handle COTS software problem administration, issues concerning upgrade installation, troubleshooting, and vendor liaison. The ECS Sustaining Engineering Office (SEO) provides assistance when COTS software issues exceed the capabilities of the site System Administrator or the Network Administrator to resolve.  M&O tasks for COTS software support are described in Section 22.1, based on 613-CD-003-001, ÒRelease B COTS Maintenance Plan for the ECS ProjectÓ and 194-602-OP1-001, “Property Management Plan for the ECS Project.”

Custom software is maintained by the SEO, FOS, M&O, and ECS developers.  The SEO Software Librarian acts as the configuration manager for the M&O master software library (ECS operational baseline) and distributes copies of this library to SEO who in turn, provides both a distributed backup and local availability of the library.  The SEO Configuration Management Administrator, SEO Software Maintenance Engineer, and the ECS-site (DAAC, EOC, and SMC CM Administrators and Software Maintenance Engineers) implement changes to the ECS baseline.  M&O tasks for custom software maintenance are described in Section 22.2, based on 614-CD-001-003, “Developed Software Maintenance Plan”; 102-CD-001-002, “M&O Configuration Management Plan”; ECS#301-CD-003-001, “System Implementation Plan for ECS Turnovers”; 605-CD-001-003, “Operations Scenarios for the ECS Project:  Release A”; and 194-602-OP1-001, “Property Management Plan for the ECS Project.”

22.1.1	COTS Software Maintenance

Installation of patches, upgrades and software problem isolation is accomplished by M&O personnel at the site.  COTS software procured for the ECS contract is supported by the COTS software vendor through a support contract.  (NB: The term software vendor refers to the company having the legal right to authorize software use and to modify the software code.)  COTS software vendor support consists of telephone support for resolution of usage and interface problems, access to an on-line solution database, providing upgrades and patches, escalation of support, and resolving COTS software code problems.

The Activity Checklist table that follows provides an overview of COTS Software Support procedures.  Column one (Order) shows the order in which tasks might be accomplished.  Column two (Role) lists the Role/Manager/Operator responsible for performing the task.  Column three (Task) provides a brief explanation of the task.  Column four (Section) provides the Procedure (P) section number or Instruction (I) section number  where details for performing the task can be found.  Column five (Complete?) is used as a checklist to keep track of which task steps have been completed.

Table 22.1-1.  COTS Maintenance - Activity Checklist

| Order | Role | Task | Section | Complete? |
| --- | --- | --- | --- | --- |
| 1 | Site Local Maintenance Coordinator | Assist System Administrator in obtaining COTS SW support | (I) 22 |
|  | 2 | COTS Software License Administrator | Manage COTS Software Maintenance Contracts | (I) 22.1.3 |
|  | 3 | COTS Software License Administrator | Manage Software Licenses | (I) 22.1.3 |
|  | 4 | SEO Librarian | Distribute Software | (I)22.1.4 |
|  | 5 | System /Network Administrator | Install and troubleshoot COTS Software | (I) 22.1.5 |
|  | 6 | Sustaining Engineering Office/(SW License Admin.) |

Interface with CCB

| (SW License Admin. may go before CCB whenever there is an upgrade in current software version, new patches, or a need to purchase additional software licenses in order to satisfy project requirements. SW License Admin. should be informed and involved in any overall change to the baseline.) | (I) 22.1.4-22.1.5 |
| --- | --- |
|  | 7 | Authorized Site Personnel | Obtain COTS Software Support | (P) 22.1.6 |

22.1.2	COTS SW Maintenance Survey Results

A COTS Maintenance Survey of ECS software has been undertaken to determine the proper approach to maintenance issues related to the following:

¥  Existing maintenance agreements

¥  SW dependencies (compatible versions),

¥  Freeware,

¥  Expert point of contact (Responsible Engineer) information,

¥  Where deployed (SMC, DAAC, EDF, EOC)

¥  Release schedule, and

¥  OEM, vendor, terms and conditions, and  maintenance costs.

One major objective was to conduct a survey on the process of purchasing future maintenance for COTS SW products.  Specifically, what is the nature of customization for each product in order to judge the feasibility of continuing vendor maintenance; are there any other options available; what would be the value of pursuing agreements from the vendors; and ensuring an informed maintenance approach for each COTS product.  The results are being maintained in a matrix index of information related to each product such as level of customization, code ownership, complexity factor related to number/ type of interfaces, maintenance approach,  etc.  This survey should be made available to the EDF for future purchasing and to the Sustaining Engineering Office (SEO) for maintenance planning.  The results are closely held due to proprietary rights and volatility of the data.

A complexity factor for upgrade activities was considered and assigned as low (L), medium (M), or high (H) to indicate the degree of required knowledge of the product to install an upgrade at the site.  It was noted that in some cases, such as for the BMC Optima SNMP toolkit, a low-level of knowledge was indicated, even though at some point in the update a high degree of knowledge is required.  An upgrade of this COTS SW  would require a recompile of all ECS custom code, but the upgrade at the site would be a fairly simple reinstall of the custom code (no reconfiguration required).  This corresponding upgrade method information poses serious concerns for our maintenance approach, i.e., central vs. distributed; expert vs. novice installer; regression testing strategy, etc.  We have surveyed appropriate engineers to determine the best approach and understand the myriad problems to be avoided.

Freeware presents special problems for maintenance consideration.  As an example, we have had a request to upgrade PERL, which is freeware that is available from several convenient places on the internet.  PERL is extensively used in the Pre-Release B.0 Testbed for scripting.  It would easily become problematic for each DAAC to download any freeware version they choose and thus induce incompatibilities.  The SEO will provide a single point of contact for sourcing this freeware. We will also consider companies who will package freeware on media with appropriate documentation and possible support.  Whether sourced from a vendor or centrally collected, having a single point of control will allow us to control versions of freeware in use, avoid incompatibilities, and perform consistent regression testing and verification activities.  At a minimum, the SEO with proper technical consultation of developers, operators,  and users will look at freeware and determine the proper source for it.  The maintenance problems can then be minimized to a great degree by agreement on a single sourcing point for freeware.  The SEO will then track these source points for ongoing maintenance and upgrades.

We will not field any SW which does not have an identifiable source.  On freeware, we can become that source and thus police the version which is deployed.  It will be up to the ESDIS CCB to determine the use of SW add-ons which will be used that cannot be proven to have a deleterious effect on ECS.  We will keep track of DAAC-unique add-ons and determine which ones we will not support in subsequent releases.  A free-flow of information is essential to safe-guard ECS assets from the effects of SW add-ons at the DAACs.   Thus, such information will be maintained under configuration management control.  Where determined necessary, developers may bundle freeware with custom code products in ECS SW releases.

The survey results have implications for allocation of staffing to SEO SW maintenance and on-site support regarding specific expertise required, number of billets, locations of support elements, and deployment of ECS logistics support components (training, documentation, maintenance release deployment strategy, test and support, technical data, and computer resources).

22.1.3	Management of COTS Software Maintenance Contracts

COTS software vendor support is contracted by the ECS procurement office at the EDF.  After the first year of warranty support, support is contracted for a period of one or more years and extended or modified as operationally required.  Information related to COTS software support contracts is maintained in a database used by the COTS Software License Administrator to monitor/track the expiration dates and contract terms.

For Version 2, the COTS SW License Administrator will track software licenses via the ILM tool.  .  As a COTS SW vendor support requirement nears its expiration date, the COTS SW License Administrator determines through consultation with SEO, the need for continued COTS software support.  Once a determination is made to continue COTS software support, the COTS SW License Administrator coordinates with the ECS procurement office for extension/modification of the support contract.   Requested changes to COTS SW support contracts should be provided by the site System Administrator to the COTS SW License Administrator.  The COTS SW License Administrator may be contacted by email at ilsmaint@eos.hitc.com and by dialing 1-800-ECS-DATA, Option #3, then dial extension 0726.

22.1.4	 Management of COTS Software Licenses

Functions of the COTS SW License Administrator include the following:

1.	Maintain accountability for all COTS SW licenses procured for the ECS contract.  Accountability includes tracking and reporting the as-installed location of all licenses procured for the ECS contract. This information will be generated from the findings of the software physical configuration audit.  Once the software configuration audit has been performed, the software licenses will be tracked by monitoring the status of COTS SW CCRs as they are implemented and through configuration data maintained in Inventory and Logistics Manager (ILM), ECS’ inventory database.

2.	Assist the SEO organization in impact analysis of proposed COTS SW upgrades and patches on other COTS SW applications incorporated in the ECS system design

3.	Maintain a database containing license keys of all project-purchased COTS SW.  The COTS SW installation team will provide the machine identifications to the COTS SW License Administrator, who shall then obtain the necessary license keys from vendors for SW installation and populating the COTS SW database.

4.	Provide SW upgrades, with vendor-provided release notes and version description documents, to SEO for testing and distribution.

5.	Keep SEO and all other ECS sites informed as to how they may access vendor patch libraries for use in resolution of software problems.

COTS software licenses vary by the type of software and the software vendors’ policies.  COTS software license types include:  floating, per site, specific number of concurrent users, unlimited users, and lifetime use without regard to number of users or location.  The quantity and type of COTS software licenses initially required are identified to the ECS procurement office by ECS design engineers. COTS software licenses are received and entered into the ILM database by the COTS SW License Administrator.  The COTS SW License Administrator maintains the master copy of COTS SW license agreements, as well as a COTS software license database.

22.1.5	COTS Software Installation

The COTS software upgrades are subject to ECS CCB approval before they may be loaded on any platform.  The COTS SW License Administrator, using procedures contained in Section 9, ÒConfiguration Management,Ó notifies the SEO organization of the upgrades that have been received.  The COTS SW License Administrator distributes the COTS software upgrade as directed by the CCB.  The site Software Maintenance Engineer, Network Administrator, and the System Administrator are responsible for upgrading the software on the host machine and providing follow-up information to the Configuration Management Administrator (CMA) and the COTS SW License Administrator.  The site Local Maintenance Coordinator will notify the appropriate personnel (Release Installation Team, System Administrator, Network Administrator, Software Maintenance Engineer) when the COTS software is received.

COTS software patches may be provided by the COTS software vendor in response to a DAACÕs call requesting assistance in resolving a COTS software problem.  The problem may or may not exist at other locations.  When a COTS software patch is received directly from a COTS software vendor (this includes downloading the patch from an on-line source), the DAACÕs CCB will be informed via CCR prepared by the requesting Operator, System Administrator, Network Administrator, or site Software Maintenance Engineer.  It is the responsibility of the Operator, System Administrator, Network Administrator, or site Software Maintenance Engineer to notify the CCB of the patchÕs receipt, purpose, and installation status, using procedures contained in Section 9, ÒConfiguration Management,Ó and to comply with the CCB decisions.  The Operator, System Administrator, Network Administrator, or site Software Maintenance Engineer installs COTS SW patches as directed by the CCB.

In addition to providing patches to resolve problems at a particular site, the software vendor will periodically provide upgrades of COTS software in order to improve the product.  Such upgrades are issued are issued to all licenses covered by a software maintenance contract.  Therefore, the COTS software upgrades will be shipped to the COTS Software License Administrator, who receives and enters them into inventory. When there is a desire to upgrade to a more current version of the software, a CCR must be submitted for approval by the ESDIS CCB.  Once the upgrade is approved and installed, and the CCR closed, the CM Administrator and COTS SW License Administrator are notified of the configuration change for updating of ECS records.

22.1.6	Obtaining COTS Software Support

COTS SW support involves both site capability and contracted support.  Site capability is provided by the System Administrator, Network Administrator, and site Software Maintenance Engineer.  Contracted support is provided by the COTS SW vendor.  When the System Administrator, Network Administrator, or site Software Maintenance Engineer confirm that a problem is attributed to the COTS SW, the COTS SW vendorÕs technical support center is contacted by authorized personnel at the site.

The software vendorÕs technical support center will verify contract support authorization and then assist in pinpointing the COTS SW problem to provide a recommended solution.  The solution may comprise of  a patch,  work-around, or include the fix in a future release.  If a patch exists to correct the problem, the patch will be identified and provided by the software vendor over the internet or mailed to the requester.  If a patch is required but not available, the site and vendor together determine the seriousness of the problem.  If the problem is critical, a temporary patch or work-around may be  provided, if non-critical,   the solution to the software problem may be scheduled by the software vendor to be incorporated in a future update or release.  (NB:  The DAAC and ESDIS CCBs must authorize the patch to be installed as a permanent installation.  This decision may be made after-the-fact.  That is, if the patch is needed  in order to proceed with operations, notify the CCB of the requirement in accordance with Section 9, ÒConfiguration Management.Ó  Applicable requirements of Section 8.1, ÒTrouble Ticket System Procedures,Ó must be followed.)

The COTS Software License Administrator obtains the support authorization codes from the vendors and arranges for specified personnel to become an authorized contact person, based upon the limitations imposed by the vendor, and the needs of individual DAACS.  The software vendorÕs technical support telephone numbers, the names of personnel authorized (by site and software) to contact the vendor, and the authorization/access codes will be provided to the siteÕs Local Maintenance Coordinator by the COTS Software License Administrator through the M&O web site entitled “COTS Hardware- Software Maintenance”.  This web site can be accessed via the EDHS 1 Server, as a subsection of the Maintenance and Operations segment.  The web address to the EDHS 1 Server is (http://edhs1.gsfc.nasa.gov/).  Once the EDHS Server has been accessed, click on the yellow section labeled “Maintenance and Operations”. This leads to a lists which details all information available on the Maintenance and Operations web page, then select “COTS Hardware-Software Maintenance”.  Once the maintenance web presentation has materialized,  click on the purple highlighted section entitled “DAAC Site Selection”.   Select the appropriate DAAC location, click on the software option. A software matrix will appear.  In order to receive detailed vendor information, select from vendor names on the left side of the page.   The software matrix fields include the following:

| SW Mfgr | SW Product | Sites Using SW | Tech. Support # | Fax # | Tele. Spt. Hrs. | Auth. Callers | Info. Needed for obtaining Spt. |
| --- | --- | --- | --- | --- | --- | --- | --- |

Response Time/

| Commitment | Internet Address |
| --- | --- |

Changes to the information in the ÒCOTS Software SupportÓ web site are to be provided to the COTS Software License Administrator as they occur, for  updating the web site.  Specifically, the need to  identify or replace the authorized contact person, must be provided by the site’s Local Maintenance Coordinator to the COTS Software License Administrator.  E-mail is the preferred notification method.  The Local Maintenance Coordinator will follow these steps:

1.	Send e-mail  to ilsmaint@eos.hitc.com.

2.	If e-mail is not available, call 1-800-ECS-DATA, Option 3;  then dial extension 0728.

3.	Identify the change as either a permanent or temporary change.  A temporary change may occur when the authorized contact person is ill, on vacation, in training, or other short-term change of work availability status has occurred or is expected to occur.

4.	Provide the COTS Software License Administrator the change information as soon as it is known.

22.1.7	COTS Software Problem Reporting

The first person experiencing or observing a potential COTS SW problem (an Operator, System Administrator, Network Administrator, or the site Software Maintenance Engineer) will initiate a trouble ticket according to the procedures found in Section 8.1, ÒTrouble Ticket System Procedures.Ó  The site user service desk forwards the trouble ticket to the System Administrator, Network Administrator, or the site Software Maintenance Engineer as appropriate and in accordance with Subsection 8.1.4.

22.1.8	Troubleshooting COTS Software

The initial troubleshooting/diagnostics procedures are accomplished by the siteÕs engineering staff.  The Operator, System Administrator, Network Administrator, or the site Software Maintenance Engineer will attempt to isolate the source of the problem to hardware, the network, COTS, custom-developed, or science software.

If it is confirmed to be a COTS SW problem, the System Administrator, Network Administrator, or the site Software Maintenance Engineer contacts the vendor’s technical support center for assistance.  Information on contacting the software vendorÕs technical support center is in Section 22.1.4.1, ÒCOTS Software Problem Reporting.Ó

One avenue to troubleshooting the COTS SW problem is to scan the software vendorÕs web siteÕs solutions database to learn of any solutions for similar problems.  The software vendorÕs web site address can be obtained as stated in Section 22.1.6, above.  Another avenue to troubleshooting the COTS SW problem is to exercise any software diagnostic routine embedded or down-loadable that will determine the status of the COTS SW on the equipment.  As part of this effort, the System Administrator, Network Administrator, or the site Software Maintenance Engineer reviews the troubleshooting-diagnostics and corrective actions taken to date.  Additional troubleshooting/diagnostic procedures and problem isolation techniques may be performed.  These troubleshooting, diagnostics, and/or isolation procedures/techniques may be contained in the software/hardware vendorÕs operational/technical manuals or in locally devised troubleshooting/diagnostic procedures.

COTS SW problems that cannot be corrected using site and contracted software support may be escalated to the ECS SEO.  The SEO is staffed with Senior Systems Engineers knowledgeable on COTS SW and can assist in diagnosing the problem.  The site Local Maintenance Coordinator may go directly to the software vendor or to the ILS Maintenance Coordinator to obtain an escalation of software vendor support if the software vendorÕs efforts have not produced satisfactory results within a reasonable period of time.  The escalation may result in increased vendor management review of the problem resolution, the assignment of additional resources to resolve the problem, and/or a more highly qualified technician assigned to resolve the software problem.

22.1.9	Corrective Action Reporting

COTS software corrective action reporting follows the procedures contained in Section 8, ÒProblem ManagementÓ and the configuration control requirements contained in Section 9, ÒConfiguration Management,Ó when a configuration item is removed and/or replaced with a different version or release.

The appropriate site engineer (System Administrator, Network Administrator, or site Software Maintenance Engineer) will record the solution and results provided by the COTS software vendorÕs technical support center on the trouble ticket.  The site Local Maintenance Coordinator verifies that trouble tickets contain accurate sequence of events and are correctly entered into the trouble ticket management system.  The trouble ticketÕs sequence of events includes stating the applications that were running and the commands given immediately prior to the apparent COTS software problem.  Include on the trouble ticket all troubleshooting accomplished and any embedded/down-loaded diagnostics software that were exercised.  Also note on the trouble ticket, the corrective actions resulting from the troubleshooting/diagnostics efforts.

This page intentionally left blank.

23.	Property Management

This section describes procedures for the receipt, control, and accountability of ECS property at ECS sites.  The ÒProperty Management Plan for the ECS ProjectÓ is the base document that addresses the process and policies regarding how ECS property is to be managed throughout the Project.  This section supplements the information contained in that plan.  Personnel assigned responsibility for site property administration functions should be thoroughly familiar with the contents and policies contained within that document.

Personnel designated as site Property Administrators are responsible for the day-to-day receipt, inspection, storage, issue, inventory, recording, accounting, and reporting of ECS property at ECS sites.  Property Administrators will follow the process and policies approved in the Property Management Plan, procedures contained herein, and ECS-approved local procedures developed between site Property Administrators and local facility property control offices.  Locally developed procedures will be forwarded to and reviewed by the ECS ILS Manager to ensure that they are in conformance with provisions of the ECS Property Management Plan and are conducive to the maintenance of control and accountability of ECS property at the site.

The Activity Checklist table that follows provides an overview of Property Management.  Column one (Order) shows the order in which tasks might be accomplished.  Column two (Role) lists the Role/Manager/Operator responsible for performing the task.  Column three (Task) provides a brief explanation of the task.  Column four (Section) provides the Procedure (P) section number or Instruction (I) section number  where details for performing the task can be found.  Column five (Complete?) is used as a checklist to keep track of which task steps have been completed.

Table 23.1-1.  Property Management - Activity Checklist

| Order | Role | Task | Section | Complete? |
| --- | --- | --- | --- | --- |
| 1 | Property Administrator | Receive equipment and software | (I) 23.1 |
|  | 2 | Property Administrator | Tag equipment | (I) 23.2 |
|  | 3 | Property Administrator | Maintain site property records | (I) 23.3.1 |
|  | 4 | Property Administrator | Compile and submit inventory reports | (I) 23.3.2 |
|  | 5 | Property Administrator | When necessary, report lost, damaged, or destroyed property | (I) 23.3.3 |
|  | 6 | Property Administrator | When appropriate, submit information for Relief From Accountability in a timely manner | (I) 23.3.4 |
|  | 7 | Property Administrator | Prepare and submit all reports for equipment relocation | (I) 23.4 |
|  | 8 | Property Administrator | Perform scheduled inventories and audits | (I) 23.5 |
|  | 9 | Property Administrator | Ensure secure storage facilities | (I) 23.6 |
|  | 10 | Property Administrator | Ensure timely preparation of pre-shipping activities | (I) 23.7 |

23.1	Receipt of Equipment and Software

Upon receipt of ECS equipment the site Property Administrator will perform a receiving inspection to verify correctness of delivery and quantity received, and to determine if there is evidence of damage during shipment.  The Property Administrator will verify the number of pieces received against the carrierÕs shipping document and the condition of the material. On both the carrierÕs and siteÕs copy of the shipping document, the receiving individual will note any damages or shortages to the shipment and will sign the documents, thereby acknowledging receipt of the shipment. The signature of the carrierÕs representative will be obtained when container shortages, damages, and other transit-related discrepancies are identified.

Property received will be promptly moved from the loading dock to a controlled inventory area for unpacking, inspection, detailed component level inventory, and preparation of a Receiving/ Inspection Record.  Items received will be reconciled against purchase orders, shipping documents, packing lists, or related documents to ensure accountability for all items, attachments, and accessories. Item identification, configuration, and quantity will be matched against the vendorÕs packing list, the purchase order, and/or the detailed configuration list (if supplied by the Purchasing Office).  Receiving/Inspection Records will contain the following information:

Dates of receipt and inspection.

Names of shipper and carrier.

ShipperÕs bill of lading number and/or carrierÕs shipping document number.

Purchase order number or Return Maintenance Authorization (RMA) number (if indicated on shipping documents ).

List of items received (shipperÕs document or packing list can be referenced, if attached, and annotated to indicate receipt of items).

Serial numbers of serially numbered items.

Model/version numbers (shipperÕs document or packing list can be referenced if models/versions received are same as indicated on the shipperÕs document/packing list).

Equipment identification numbers (EIN) or equipment control numbers (ECN) of tagged items.  [Note:  EINs are assigned to ECS-purchased reportable equipment and ECNs apply to government-furnished property (GFP).]

Condition of shipment (note all damages to material).

Shipment discrepancies (include shortages, overages, and incorrect items/quantities/models).

The Receiving/Inspection Record will be forwarded electronically (i.e. fax of internet) to the ECS Property Administrator within on day of receipt of the shipment (fax # 303-925-0438, internet ecsprop@eos.hitc.com). The Receiving/Inspection Record will be attached to the shipping document and retained in the siteÕs property files as a permanent record of the property received.  Such documents will be retained until accountability is transferred to the Government.

The Receiving/Inspection Record is used by the ECS Property Administrator to build the inventory records in the Inventory, Logistics, and Maintenance (ILM) database.  Site Receiving/Inspection Records will be retained until accountability is transferred to the Government.  Site property records will be maintained by the Site Property Administrator to reflect any changes to the original data (i.e., maintenance failures/repairs, returns, location changes).

Received property will be secured and protected from electrostatic discharge (ESD) during movement, storage, and while awaiting assembly and issue.  Access to the property storage areas will be controlled at all times to prevent unauthorized entry.

23.2	Equipment Tagging

ECS equipment (e.g., contractor-acquired and GFP) that is separately identifiable and/or meets the criteria for controlled equipment (described in the Property Management Plan) will be tagged with ECS property tags containing an ECS equipment identification number (EIN).  (Figure 23.2-1 illustrates ECS property tags.)  ECS equipment shipped to the EDF for staging and subsequent shipment to the sites is tagged by the ECS Property Administrator.  Tags will be supplied by the ECS Property Administrator. ECS equipment shipped directly from the vendor to the site will be tagged by the site Property Administrator immediately upon receipt.  Tags will be placed on the equipment in an area so that they are visible and easily accessible by bar-code scanners.  Vendor-loaned and HITS capital equipment will not be tagged with ECS property tags.

Figure 23.2-1.  ECS Property Tags (actual size)

Components of major equipment that are not separately identifiable or stocked for use as spares/repair parts for a higher assembly (i.e., workstations, servers, data storage devices and major communications equipment) will not be assigned an EIN, but will be tagged with the round non-reportable property tag (e.g., mice, keyboards, or other devices that can be moved and have a value of less than $1,000.00).  Such components will be controlled as inventory items and reported by manufacturer, description, model/version, serial number (if assigned), stock location, condition code, quantity, and, when installed as a component of centrally reportable equipment, by next higher assembly.

Property tags of loaned GFP equipment containing a NASA equipment control number will not be removed by the site Property Administrator.  At the time of receipt of such property, the Property Administrator will affix an ECS property tag with EIN next to the government tag.  The NASA ECN will be recorded in the property record and cross referenced to the EIN.

Prior to disposing of ECS equipment (or prior to returning it to the Government), ECS property tags will be removed.  Removed ECS property tags will be retained with the property turn-in document by affixing the tag to the document or to a blank sheet attached to the turn-in document.  Turn-in documents will be forwarded to the ECS Property Administrator for retention in the accountable records.

23.3 Property Records and Reporting

The ECS Project uses the ILM property to support the property management, control and reporting functions for Contractor-acquired and GFP equipment.  Property records are created and maintained in this system by the ECS Property Administrator. At Version 2 this database will be accessible to Site Property Administrators on a read-only basis. However, Site Property Administrators will be able to do queries and to prepare reports.

At a minimum, site property records in ILM will contain the following fields:

Manufacturer.

Item description.

EIN [for controlled equipment (see Section 23.2)].

Parent EIN (for components of equipment having an EIN; this is the EIN of the next higher assembly).

Date received.

Location (e.g., GSFC, EDC).

Building Number.

Room Number.

Serial Number.

Model/Version Number.

Purchase Order Number.

Property records will contain a line for each item having an EIN (e.g., workstation, server, monitor, printer) and each of its major components (e.g., network interface cards, RAM chips, graphics card, hard drive, tape drive, CD ROM, SCSI card, operating system, COTS applications, RAID drives).  For an example of the level of detail, refer to the Installation Receipt Report provided at the time of site installation.  It is the responsibility of the Site Property Administrator to notify the ECS Property Administrator of inventory, configuration, and location changes so that site property records can be maintained current

23.3.1 Maintaining Property Records

Site Property Administrators will update local property records within one business day of property changes, including the following:  receipt and/or installation of new equipment, relocation’s, dispositions, and component configuration changes.

Support documentation used to post changes to property records will be retained by the site Property Administrator to provide complete, current, and auditable accountability data.  Some of the documents to be used for posting changes to property records include the following:

Receiving/Inspection Record -- Prepared by the Site Property Administrator at the time equipment is received.  It is used to record the physical condition of property received, quantities received, shipping data, date received, and the name of the persons who received and inspected the property.

Installation Receipt Report -- This report is provided by the installation team at the time equipment is installed and is used to record receipt of equipment installed at the site. It can be used to update site property records with installed location, date, and name of the person accepting receipts.  This report is signed by the Site Property Administrator to acknowledge receipt of new equipment.

Inventory Report -- Prepared by the Site Property Administrator and used to report the results of 100 percent annual inventories required to be conducted of ECS equipment and GFP.

Trouble Tickets -- Prepared by the site LMC and used to update property record with equipment changes resulting from maintenance or relocation actions (e.g., serial/model changes, component replacements, and relocation at the site).

Disposition Record -- Prepared by the site Property Administrator and used to record the disposition of ECS equipment. Includes the identification of ECS equipment disposed of as a result of disposition actions approved by the NASA Property Administrator (i.e., DCMAO).

23.3.2 Property Reporting

The Site Property Administrator will submit the following reports:

Inventory Change Report (ICR) – Forwarded within on business day of receipt/inspection of additional ECS property at the site or of inventory changes resulting from maintenance actions, relocation, or reconfigurations that will result in changes to the ECS property records.

Annual Inventory Report – Forwarded upon completion of the annual property inventory conducted in accordance with the ECS Property Management Plan.  The Site Property Administrator will generate an Inventory Reconciliation Report from the ILM system for use in the conduct of the inventory.  Annual Inventory Reports will identify dates of the inventory, person(s) conducting the inventory, discrepancies noted, and actions taken to resolve the discrepancies.

23.3.3  Reporting Loss, Theft, Damage or Destruction

If ECS or GFP property at the site is lost, stolen, damaged, or destroyed, the site Property Administrator will notify the ECS Property Administrator and supply following information:

Description of items lost, stolen, damaged, or destroyed.

Cost of property lost, stolen, damaged, or destroyed and cost of repairs in instances of damage (if actual costs are not known, reasonable estimates will be given).

Date, time, and cause of the loss, theft, damage, or destruction.

Actions taken by Contractor to prevent further loss, theft, damage, or destruction and to prevent repetition of similar incidents.

Other facts or circumstances relevant to the determination of liability and responsibility for repair or replacement.

Statement that no insurance costs or other means of covering loss, theft, damage, or destruction of Government property were charged to the contract, if applicable.

Statement that, in the event the Contractor was or will be reimbursed or compensated for loss, damage, or destruction of Government property (e.g., reimbursement by a subcontractor) the Government will receive equitable reimbursement.

The ECS Property Administrator will provide this information without delay to the ECS Contracts Manager, who will immediately notify the Government Property Administrator (e.g., DCMAO).

23.3.4 Obtaining Relief from Accountability

The Site Property Administrator will provide all pertinent information (e.g., type of equipment, reasons for obtaining relief from accountability) without delay to the ECS Contracts Manager, who will immediately notify the Government Property Administrator (e.g., DCMAO).

23.4 Equipment Relocation

This section provides instructions for equipment relocation within a DAAC (intra-site relocation); between ECS sites, and between ECS sites and non-ECS sites (inter-site relocation); to a vendor (off-site relocation); and transfer to outside the contract (external transfer).

23.4.1	Intra-site Relocation

Requirements for equipment reallocations within the facility or between facilities at the same site will be processed through the site Property Administrator  to maintain control and accountability of equipment inventories.  A Trouble Ticket will be used to document and forward the relocation request to the site Property Administrator. The site Property Administrator will approve the request and schedule the relocation.  Configuration management authorization is required prior to reconfiguring equipment or software within a DAAC.  When completed, the Trouble Ticket will be closed by the site Property Administrator and the new location entered into the property record.

23.4.2	Inter-site Relocation

Requests to relocate equipment to another ECS site (or to a non-ECS site) will be forwarded by the losing site’s Property Administrator to the ECS Property Administrator.  Such requests will identify by EIN and equipment description what is to be moved, where and when it is to be moved, and the reason for the relocation.  The ECS Property Administrator will coordinate the relocation resources and schedule between the losing and gaining Property Administrators.  Once completed, the gaining Property Administrator will report completion of the relocation to the ECS Property Administrator, who will update the property record with the new location and date of the action.  Any loss or damage to the equipment will be reported using the procedure described in section 23.3.3 when it occurs or is first discovered. Configuration management authorization is required prior to reconfiguring equipment or software between DAACs.  Inter-site relocations will be reported by site Property Administrators as they occur.

23.4.3	Relocation Off-site for Vendor Repairs

For equipment returned to a maintenance vendor for repair, the repair document will be retained in a “pending actions” file until the item is returned.  The repair document will identify RMA number, date of shipment, expected return date, and vendor point of contact.  Status code “O” (out for repair) will be entered into the site property record.  Property tags will not be removed.  Once returned, the date of return will be recorded on the repair document, and the serial number and EIN will be verified.  The equipment status code in the property record will be changed to reflect status “R” (received) or “I” (installed).  In the event the original equipment is replaced by the vendor because it is beyond repair, the site Property Administrator should attempt to recover the property tag from the vendor. In any case the site Property Administrator shall report the item as unserviceable/non-repairable to the ECS Property Administrator, who will archive the property record. If a component is non-reparable and must be replaced via another procurement action, the site administrator should initiate actions described in section 23.3.4 to obtain relief from accountability.

23.4.4	External Transfers

Transfers of ECS property outside the contract must be approved by the ECS Contracting Officer.  Upon approval by the ECS Contracting Officer, transfers of ECS property to the Government or to other contracts will be as directed in written instructions provided by the site Property Administrator.

23.5	Inventories and Audits

Site Property Administrators will complete a 100 percent physical inventory of controlled ECS property and GFP at the site not later than August 30 annually.  Notification of the scheduled date of the inventory will be provided to the ECS Property Administrator 30 days prior to the inventory start date, who will advise the Government Property Administrator of the site inventory schedules.  ECS personnel responsible for maintaining property records will not assist in the conduct of these inventories.  Inventories will be designed to achieve the following objectives:

Verify that accountable equipment is still on hand.

Confirm or determine current locations and custodial responsibility for equipment and material.

Identify unrecorded equipment which qualifies for control.

Locate or identify missing equipment.

Identify unused or underutilized equipment and equipment or material in need of repair or rehabilitation.

The site Property Administrator will, at the time of completion of the annual inventory, forward a marked up copy of the Inventory Reconciliation Report to the ECS Property Administrator. The Inventory Report will be signed by the siteÕs ECS Manager attesting that a 100 percent inventory was conducted and that all equipment is accounted for except for those indicated as not on hand.  All discrepancies will be explained.

23.6 Storage

ECS property will be stored in clean, orderly, and secure areas conforming to the environmental controls for temperature, humidity, and electrostatic discharge (ESD) specified in the ECS Environmental Control Plan.  Access will be limited to authorized personnel and controlled by the site Property Administrator.  ECS property tags will appear on all COTS equipment to distinguish contractor-acquired and vendor-loaned equipment from GFP.  Material will be inspected to determine serviceability before being stored.  Material that is unserviceable will be segregated and disposed of following procedures described in the ECS Property Management Plan, Section 19.

23.6.1 Segregation Requirements

Contractor-owned and vendor-loaned property will be segregated from Government-owned property during storage.  Site Property Administrators will ensure that storage areas are kept in a clean, orderly manner.  Material will be stored on shelves, in bins or drawers as appropriate, and its storage location entered into the site property record.  Special storage areas or controls will be provided for items subject to corrosion, humidity, and temperature.  Such items will be inspected semi-annually by the site Property Administrator.

23.6.2 Stock Rotation

Material designated as “stock,” such as computer tapes and CD’s, will be distributed on a first-in, first-out basis.

23.6.3 Physical Security

ECS property will be stored in secured areas where access will be limited to authorized personnel and controlled by the site Property Administrator.

23.7 Packing and Shipping

Prior to shipping centrally reportable equipment to the EDF or other ECS sites, the site Property Administrator will report intent-to-ship to the ECS Property Administrator or receiving site Property Administrator.  The report will identify the expected shipment date, carrier, shipping document number, estimated weight and cube, number of pieces, shipper and ship-to-address. Prior to shipment, a pre-shipment inspection will be performed to verify the following:

Correct identification of equipment on packing lists and shipping documents including configurations, serial numbers, number of containers, and ship-to address.

Adherence to packaging and marking standards.

Inclusion of appropriately prepared documents within shipping containers.

ECS property being shipped from vendors and the EDF will be shipped to the DAAC facility to the attention of the site Property Administrator.  Local policy at some sites may require delivery to a site central receiving point.  In such cases, written procedures will be developed between the site Property Administrator and the site’s central receiving office regarding notification of receipts, documentation required, and provisions for local delivery to the DAAC facility.  The delivery of ECS equipment to site central receiving points versus direct delivery to the DAAC facility will be determined based on agreements and procedures established between the host facility and the DAAC.

This page intentionally left blank.

24.  Installation Planning

The ECS Facilities Plans (DID 302) and the Installation Plans developed for each ECS release are the products of the facility and installation planning process.  DAAC Facilities Plans are distributed 30 days after each Release Critical Design Review (CDR).  These plans identify space, power, and cooling requirements based on design information available at CDR.  The Installation Plans are distributed two months prior to installation of equipment at each ECS Release.  As such, the Facilities Plan identifies facility preparation requirements and general installation planning that is based on final design information.  The Installation Plans provide the detailed planning required by installation teams and the sites to make final preparation for installing Release equipment.  Both documents are provided in draft to the DAACs for review and comment prior to publication.

24.1	Responsibilities

Installation planning and coordination is the responsibility of the ECS Installation Planner, who is part of the Integrated Logistics Support (ILS) Office within M&O.  Using information obtained during site surveys, the Installation Planner prepares the Facility Plans and the Installation Plans and coordinates actions needed to prepare for and conduct the installations.  DAAC M&O personnel support the Installation Coordinator by providing information to complete the Site Survey Questionnaire; reviewing the Facility Plan and the Installation Plan; ensuring that site preparations/coordination are completed on schedule; facilitating receipt and installation of the hardware; and accepting installation of the hardware and software by signing the Installation Receipt Report.

24.2	Process Description

DAAC site surveys have been previously conducted to obtain DAAC-specific information needed to begin the installation planning process.  This information was documented in a Survey Questionnaire prepared for each DAAC and is used in the preparation of the Facility Plans and the Installation Plans.  This information, plus design and equipment specifications, is used to prepare the Facilities Plans, which project facility requirements and provide a preliminary plan for the placement of systems within the DAACs.  DAACs review this information and provide requested changes, which are considered in the preparation of the Installation Plans.

Two months prior to the installation of hardware, a detailed Installation Plan is produced to identify the planned placement of hardware in the facility and how the hardware will be configured and networked, and to identify site preparations necessary to support the installation. Installation teams use the Installation Plan to install the systems and networks.  After the equipment is installed and tested, the installation team leader obtains the DAAC Manager’s signature on the Installation Receipt Reports, which details the locations and equipment that have been installed and networked. Within three weeks following the installation, the Installations Planner will update the facility diagrams and network diagram to reflect the as-installed configuration at the site. These diagrams are submitted to the ECS CCB and, when approved, become part of the operations baseline for the site. The baselined diagrams are provided to the site and are the responsibility of the LMC to update as changes occur.

24.3	Maintenance of Facility and Network Diagrams

Facility and network diagrams reflect the as-installed configuration. The baseline version of these diagrams is maintained by the ECS Installations Coordinator.  As changes to these diagrams occur (e.g., relocation of equipment within the site, additions/deletions to the LAN), the LMC will inform the ECS Installations Coordinator by redlining the diagrams.  The Installations Coordinator will update the CAD system to reflect the change(s) and provide an updated facility drawing to the site’s LMC.

24.4	Maintenance of LAN Cable Management Scheme

Within three weeks of the completed hardware installation, a LAN Cable Management Scheme is supplied to the DAAC LMC by the ECS Installations Coordinator.  This matrix will identify the cable number, type, length, decibel loss rating, and location of cables installed; and will identify the IP addresses of the equipment connected by the cables. The LMC will update this matrix as LAN changes occur.

25.  COTS Training

The procedures to request COTS training have been developed based on these sources:  DID 622 ECS Training Plan, DID 525 Training and Certification Records, DID 626 M&O Certification Plan, and DID 607 M&O Manual for the ECS Project.  The (SEO ECS Operations Trainer) arranges for COTS training by working with the COTS Training Coordinator, the ILS Contractor Manager,  as well as the potential students.

The Activity Checklist table that follows provides an overview of these procedures.  Column one (Order) shows the order in which tasks might be accomplished.  Column two (Role) lists the Role/Manager/Operator responsible for performing the task.  Column three (Task) provides a brief explanation of the task.  Column four (Section) provides the Procedure (P) section number or Instruction (I) section number  where details for performing the task can be found.  Column five (Complete?) is used as a checklist to keep track of which task steps have been completed.

Table 25.1-1.  COTS Training - Activity Checklist

| Order | Role | Task | Section | Complete? |
| --- | --- | --- | --- | --- |
| 1 | (COTS Training Coordinator) | Submit request for COTS Training | (P) 25.1 |
|  | 2 | COTS Training Coordinator | Forward request to ILS Manager | (P) 25.2 |
|  | 3 | (COTS Training Coordinator) | Arrange for equipment and classroom space | (P) 25.2 |
|  | 4 | (COTS Training Coordinator) | Ensure that initial registration will be filled or arrange for cancellation without penalty | (I) 25.3 |
|  | 5 | (COTS Training Coordinator) | Maintain COTS training records | (I) 25.4 |
|  | 6 | (COTS Training Coordinator) | Monitor DAAC COTS training budget | (I) 25.5 |

25.1	Requesting COTS Training

The COTS Training Coordinator must request training to initiate the following procedures at least 30 days prior to the desired training date.  The procedures are accomplished in the following order:

1	The COTS Training Coordinator requests training using COTS Training Request Format via cc:mail to the SEO ECS Operations Trainer, the COTS Training Request Format must include the following information:

¥	Student(s) name and position/role

¥	Training need

¥	COTS course requested

¥	Dates preferred

(Price of COTS course))

(Manager approving purchase of training)

(Course location)

(Duration of course)

2	(SEO ECS Operations Trainer) verifies that the training requested meets the following criteria:

¥	Relates to an ECS M&O function

¥	Relates to COTS product in the ECS system design

¥	Is cost effective and within budget constraints

3	COTS Training Coordinator determines the proposed training details, including the following:

¥	Training vendor

¥	Individual or group training, based on cost effectiveness

¥	On-site or off-site class location

¥	Available vendor training dates

4	(All COTS training must be approved by both the SEO ECS Operations Trainer and the ILS Contractor Manager prior to procurement.)  COTS Training Coordinator forwards the training request to the (SEO ECS Operations Trainer) for approval, once approved by the SEO ECS Operations Trainer, it is then forwarded to the ILS Contractor Manager.  The ILS Contractor Manager will either approve or deny the request.

5	COTS Training Coordinator maintains record of approval of training purchase.

25.2	Coordinating COTS Training

If the ILS Manager approves the request for COTS training, the COTS Training Coordinator will provide all vendor training details to the COTS Purchasing Manager.  The COTS Purchasing Manager produces the purchase order and provides a copy to the COTS Training Coordinator, who will then order the training from the vendor.  The procedures to coordinate training are accomplished in the following order:

1	When approved, the COTS Training Coordinator submits all training details to the COTS Purchasing Manager.

2	The COTS Training Coordinator orders training from the vendor.

3	Purchasing Manager processes the purchase order and provides a copy to the COTS Training Coordinator.

4	The COTS Training Coordinator forwards the purchase order to the vendor to reserve training.

5	The COTS Training Coordinator generates a notice to students that includes training vendor, course, date(s), other relevant information.

6	For on-site training, COTS Training Coordinator makes necessary arrangements for classroom space and equipment configuration; coordinates use of any operational equipment required for course, with on-going operations; forwards site location details to vendor instructor.

7	Students attend training.

8	Prior to COTS training, the COTS Training Coordinator provides students with a COTS Training Evaluation Form, which evaluates the effectiveness of the course.  In cases when COTS training is found to be substandard or ineffective, the COTS Training Coordinator contacts the SEO ECS Operations Trainer, ILS Contractor Manager, and the DAAC or site manager, together they come to a consensus as to whether or not to pursue compensation for the training.

9	Depending upon the decision rendered, the COTS Training Coordinator seeks refund, replacement training seat, or training credit from the vendor.

10	The COTS Training Coordinator maintains training records at site in accordance with DIDs 622 and 525.  Required record fields include:  student name, vendor name, course name and number, course dates, and location.

11	The (COTS Training Coordinator) will forward a copy of the training record to the SEO ECS Operations Trainer in format specified by DID 622.

25.3	Canceling/Rescheduling COTS Training

COTS training vendors generally withhold all or part of registration fees for course seats canceled too close to the start date of training.  The deadline for cancellation without penalty varies between vendors, but the maximum deadline is three weeks prior to course start date.  In order to preserve ECS COTS training funds, any cancellations of COTS training by ECS personnel must be made within three weeks of the start date to avoid these financial penalties.

If student(s) need to cancel after this three-week deadline, the (DAAC or site manager) will be responsible for substituting an equally qualified individual to attend the course, and for notifying the COTS Training Coordinator to ensure proper record keeping and registration with the vendor.

25.4	Maintenance of COTS Training Records

The (COTS Training Coordinator) will maintain records of all training accomplished as specified in DID 622.  For COTS training, these records will include the following fields:

Student name

Vendor name

Course title and number

Course location

Course duration

Dates attended

Certification (if applicable)

The COTS Training Coordinator will submit training record information to the SEO ECS Operations Trainer for DID 525 as specified in DID 622.

25.5	Contractor COTS Training Funds Accounting

COTS training funds will be allocated to each ECS M&O organization, based upon staffing levels and functions performed at the site.  The ECS M&O organizations to be allocated funds for COTS training are as follow:

DAACs

SMC

SEO

ILS

ECS Development Facility operations

While the coordination and purchasing responsibilities for COTS training fall primarily with the ECS COTS Training Coordinator, the (SEO ECS Operations Trainer) will be responsible to  the M&O organization for spending the allocated COTS training budget judiciously.

Travel funds are not included in the COTS training budget.  These must be secured from the organization to which each student belongs.

The COTS Training Coordinator will distribute quarterly balance reports to the (SEO ECS Operations Trainer) for planning purposes.