Frequently Asked Questions______________________________________________________

Why is BPA cutting more trees on the Right-of-Way than they did in the past?

Where can I find more information about the North America Electric Reliability Corporation (NERC) Vegetation Management Standard?

Why does BPA need to manage vegetation?

Why does BPA need access roads through landowner property and on the right-of-way?

Does BPA have the right to cut “landowner’s” trees?

Isn’t BPA trespassing when they come onto private property?

How can landowners find out the width of their right-of-way?

Can landowners plant and grow trees?

Who should landowners contact before cutting trees that are near or in BPA’s right-of-way?

Will BPA trim trees outside of the right-of-way instead of cutting them?

Will BPA top trees in the ROW instead of cutting them?

How often are areas patrolled or reviewed?

Why is BPA cutting more trees on the Right-of-Way than they did in the past?

In June of 2007 the North America Electric Reliability Corporation (NERC) mandated a new Vegetation Management Standard for all transmission utility owners.  Any vegetation within the BPA right-of-way easement that causes an outage will put BPA out of compliance with this new standard, and subject to penalties.

Where can I find more information about the North America Electric Reliability Corporation (NERC) Vegetation Management Standard?

Transmission & Distribution World article on NERC's Transmission Vegetation Management Program Standard:

http://tdworld.com/mag/power_nercs_transmission_vegetation/

The NERC standard (FAC-003-1) can be found at: ftp://www.nerc.com/pub/sys/all_updl/standards/rs/FAC-003-1.pdf

Why does BPA need to manage vegetation?

The Bonneville Power Administration (BPA) manages the vegetation on and near its rights-of-way (ROW) to keep people safe and the system reliable. Trees (and other tall growing vegetation) that grow close to high-voltage transmission lines can be a hazard. Trees don’t have to touch a high-voltage transmission line to be dangerous. In certain circumstances, electricity can “arc” from wires through the air to trees or equipment, resulting in fires, injuries or even fatalities to anyone near the tree or equipment. Touching any part of the electrical path can cause serious injury or death.

Tree related power outages are more than just an inconvenience; they can disrupt service to homes, businesses, hospitals and important community services. In order to prevent these power disruptions, trees close to power lines are removed or trimmed. For all of these reasons BPA maintains an active Vegetation Management Program.

Why does BPA need access roads through landowner property and on the rights-of-way?

BPA acquires, constructs, and maintains road systems that provide access to and along BPA’s transmission lines for the primary use by Transmission Line Maintenance crews.  BPA has legal rights, established in the easement, for roads located within the ROW.  For roads located outside of the ROW, BPA may have secured rights through an easement which reserves the right to use the access for ingress and egress.  The goal is to provide safe access and reduced response times for field and line crews during emergency and regular maintenance activities that restore or enhance system reliability.

Does BPA have the right to cut “landowner’s” trees?

BPA owns a rights-of-way easement along the length of the transmission line. Width varies by transmission line.  BPA's rights within the easement include the right to construct, reconstruct, operate, maintain, and patrol the transmission line.  These rights apply to both occupied and unoccupied ROWs.  Rights usually reserved to the landowner include the right to cultivate, occupy, and use the land for any purpose that does not conflict with BPA’s use of its easement. In order to avoid potential conflicts, it is BPA’s policy to review all proposed uses within the transmission line rights-of-way easement by our realty group and electrical effects group. In such reviews we consider the safety of the public, the safety of our Employees, and the ability to operate and maintain the line.

Isn’t BPA trespassing when they come onto private property?

No, BPA's easement rights allow us to access private property to construct, reconstruct, operate, maintain, and patrol the transmission line.  BPA will make efforts to notify landowners when we are planning to remove vegetation or have performed vegetation clearing.

How can landowners find out the width of their right-of-way?

Your local Natural Resource Specialist (NRS) or Realty Specialist can provide you with the width of the ROW on your property.  You will need to provide them with the line name, mile number, and structure number.  All of these things can be located on the yellow plaque attached to the transmission structure/pole nearest your home.

Can landowners plant and grow trees?

You should consult your local NRS before planting any vegetation on the ROW to avoid removal of your newly planted trees.  The general rule for the “right tree in the right place” is to only allow trees that will have 30 feet of clearance between the conductor, when the conductor is at its lowest point, and the top of the tree is at its MATURE height.  The 30 feet of clearance is very difficult to measure, BPA’s engineers have the necessary information to calculate the clearance.  In some cases where the tree(s) that is proposed to be planted meets this “right tree in the right place” scenario a Tree & Brush (T&B) Agreement may be granted.  Due to many operational concerns and factors T&B Agreements are rarely issued.  Consult your local NRS for more information.

Who should landowners contact before cutting trees that are near or in BPA’s right-of-way?

Never cut or trim a tree near a transmission line, call BPA.  You should contact your local NRS or phone 1-800-836-6619 for assistance.

Will BPA trim trees outside of the right-of-way instead of cutting them?

It is BPA’s policy not to trim, but to remove off-ROW trees that pose a hazard to the transmission line.  Also, trimming can introduce infection that will weaken the tree over time.

Will BPA top trees in the right-of-way instead of cutting it?

It is BPA’s policy not to top trees within the ROW.  Continual topping and trimming of trees that are close to high-voltage transmission lines is not as safe or reliable as removing them.  Topping trees is also avoided because it puts our employees and contractors in a dangerous situation when doing the work.

How often are areas patrolled?

The Vegetation Management personnel patrol every mile, of every line, every year to inspect all vegetation.  The transmission line maintenance crews will also patrol every mile, of every line, every year to insure reliability of the system.  All lines are flown by helicopter at least 3 times a year.  Other departments in BPA may also patrol areas for other maintenance needs.

If you spot an area of concern or have questions, please contact the NRS in your area or call the toll-free number:  1-800-836-6619.