4940.3 Rev-1

_________________________________________________________________

TABLE OF CONTENTS

Paragraph                                               Page

CS100       OBJECTIVE                                   1

CS200       GENERAL ACCEPTABILITY                       1

CS300       SUBMISSION OF EXHIBITS                      3

CS400       SEWAGE COLLECTION SYSTEMS                  11

CS500       SEWAGE PUMPING STATIONS                    25

CS600       SEWAGE TREATMENT WORKS                     31

CS700       PRIMARY TREATMENT                          35

CS800       SLUDGE DIGESTION AND DISPOSAL              41

CS900       SECONDARY TREATMENT                        50

CS1000      DISINFECTION                               59

CS1100      WASTE STABILIZATION PONDS                  61

CS1200      LAND APPLICATION SYSTEMS                   69

CS1300      ONSITE WASTEWATER TREATMENT AND

DISPOSAL SYSTEMS                           74

CS1400      ALTERNATIVE OR INNOVATIVE TECHNOLOGY       77

___________________________________________________________________________

HUD-WASHINGTON, D.C.

___________________________________________________________________________

4940.3 Rev-1

___________________________________________________________________________

FOREWORD

The purpose of these standards is to present criteria for nation-wide use

by developers, builders, and consulting engineers in developing privately

owned central sewerage systems that will provide properties developed under

a program of the Department of Housing and Urban Development - Federal

Housing Administration (HUD-FHA) with adequate facilities for disposing of

all domestic wastes in a manner that will not create a nuisance or endanger

the public health.  The material includes design information applicable

to the fulfillment of the objectives of the various sewerage system

components, as well as the technical exhibits to be submitted to HUD-FHA

at each appropriate project stage.

Preliminary conferences with field office personnel are recommended when

the installation or expansion of sewerage systems is contemplated for the

purpose of discussing the applicability and the implementation of these

standards.

These Minimum Design Standards apply to central sewerage systems and

community sewage collection system extensions and treatment plant

expansions.  All exhibits included in the processing stages indicated under

CS300, Submission of Exhibits, will be required for sewerage systems

proposed for construction.

The design of existing systems and those which, due to unusual

circumstances, are under construction at the time HUD-FHA consideration is

requested shall conform to these standards to the extent of complying with

the objective set forth in CS100.  The exhibits included under Final

Planning and Construction Stages will be required to the extent applicable.

"As-built" in lieu of "preconstruction" design plans and specifications are

to be submitted for completed systems, for all stages of construction that

have been completed on existing systems, and for all stages of construction

that have been completed or partially completed as of the date that HUD-FHA

consideration was requested.  The exhibits required for the remaining

uncompleted portions of the system and the application of these minimum

design standards will be the same as for systems proposed for construction.

___________________________________________________________________________

HUD-WASHINGTON, D.C.

___________________________________________________________________________

4940.3 Rev-1

___________________________________________________________________________

References:

A.   ASCE Manual of Engineering Practice No. 36,

Sewage Treatment Plant Design.

B.   Wastewater Treatment Plant Design, Manual of Practice No. 8,

Water Pollution Control Federation (a/k/a Water Environmental

Federation).

C.   ASCE Manual of Engineer Practice No. 37,

Design and Construction of Sanitary and Storm

Sewers.

D.   Design and Construction of Sanitary and Storm Sewers,

Manual of Practice No. 9, Water Pollution

Control Federation (a/k/a Water Environment Federation).

E.   EPA Design Manual, On-sits Waste Water Treatment and

Disposal Systems, EPA 625/1-30-012, October 1980.

F.   Recommended Standards for Waste Water Treatment Facilities

by Great Lakes Upper Mississippi River Board of State Sanitary

Engineers, published by Health Education Service, Albany, New

York.

G.   HUD Handbook 4940.2, Minimum Design Standards for

Community Water Supply Systems.

H.   HUD Handbook 4910.1, Minimum Property Standards for

Housing.

I.   HUD Handbook 4075.12 REV, Central Water and Sewage

Systems (ownership and organization) dated 9/76.

J.   HUD Handbook 4145.1 REV-2, Architectural Processing and

Instructions for Home Mortgage Insurance dated March 1990.

K.   Wastewater Engineering, Collection, Treatment, Disposal,

Metcalf & Eddy, Inc., McGraw-Hill Book Company.

___________________________________________________________________________

HUD-WASHINGTON, D.C.

___________________________________________________________________________

4940.3 Rev-1

___________________________________________________________________________

References: - Continued

L.   Handbook of PVC Pips Design and Construction, Uni-Bell Plastic

Pipe Association.

M.   Concrete Pips Handbook, American Concrete Pipe Association.

N.   Environmental Protection Agency Manuals:

o    Phosphorus Removal (Sept. 1987)                 625/1-87/001

o    Land Treatment of Municipal Wastewater

(Oct. 1981)                                     625/1-81/013

o    Supplement for Land Treatment of Municipal

Wastewater (Oct. 1984)                         625/1-81/013a

o    Dewatering Municipal Wastewater Sludges

(Sept. 1987)                                    625/1-87/014

o    Land Application of Municipal Sludge            625/1-83/016

(Oct. 1983)

o    Odor and Corrosion Control in Sanitary

Sewerage Systems and Treatment Plants

(Oct. 1985)                                     625/1-85/018

o    Municipal Wastewater Disinfection (Oct. 1986)   625/1-86/021

o    Constructed Wetlands and Aquatic Plant

Systems for Municipal Wastewater Treatment

(Oct. 1988)                                     625/1-88/022

o    Fine Pore Aeration Systems (Oct. 1989)          625/1-89/023

o    Alternative Collection Systems for Small

Communities (Oct. 1991)                         625/1-91/024

o    On site Wastewater Treatment and Disposal

Systems (Oct. 1980)                             625/1-80/012

___________________________________________________________________________

HUD-Washington, D.C.