# WASTE TREATMENT

## PRACTICE INTRODUCTION

USDA, Natural Resources Conservation Service―Practice Code 629

### WASTE TREATMENT

Waste treatment is the mechanical, chemical, or biological treatment of agricultural waste.

### PRACTICE INFORMATION

The purpose of the practice is to change the form or composition of waste as part of an agricultural waste management system. The composition or form of the waste is modified to provide additional utilization alternatives. This includes the separation of liquids and solids (e.g., milk room waste) for further processing or for effective transport and subsequent utilization or treatment in a subsurface drain field; the dilution of raw agricultural waste (e.g., silage leachate), which contains excess or unavailable nutrients for land application based on crop utilization requirements.  Value added by-products can be produced to offset treatment costs. Planned mitigating practices include Pest Management (595), Nutrient Management (590), and Waste Utilization (633).

### COMMON ASSOCIATED PRACTICES

Waste Treatment is commonly used in a Conservation Management System with the following practices:

Waste Storage Facility (313)

Waste Treatment Lagoon (359)

Waste Transfer (634)

Subsurface Drain (606)

Heavy Use Area Protection (561)

Wastewater Treatment Strip (635)

For further information, refer to the practice standard in the local Field Office Technical Guide and associated specifications and job sheets.

# Text boxes

I.11 (+) Marketable by-products

Notes:

Effects are qualified with a plus (+) or minus (-). These symbols indicate only an increase (+) or a decrease (-) in the effect upon the resource, not whether the effect is beneficial or adverse.

* Various practices for management and/or treatment of manure/wastes

I.12 (+) Agribusiness

C.1 (+) Water quality and compliance with water quality standards

I.14 (-) Cost of future regulatory compliance

C.4 (+) Income and income stability (individuals and community)

I.7 (-) Pathogens

I.8 (-) Nutrient and pathogen transport to receiving waters

I.9 (-) Odors

I.13 (+/-) Net return to producer

D.3 Chemical treatment of waste

I.3 (-) Wear and tear on irrigation equipment

D.2 Biological treatment of waste to break down organic material

Start

Waste Treatment                                                  4/2007

I.1 (+) Ability to manipulate waste stream and handle wastes as separate solid and liquid components

C.3 (+) Public/private health and safety, community relations

Initial setting: Established operation producing manure or agricultural processing wastes

C.2 (+) Air quality

I.6 (-) Nutrients

Nutrient Management (590)

D.1 Mechanical treatment of waste

Waste Treatment (629)

I.5 (+) Alternatives for solid waste utilization

Conservation management systems for manure/waste management *

Waste Utilization (633)

I.10 (-) Greenhouse gas emissions

I.2 (+) Nutrient-laden liquids available for irrigation

D.4 (+) Cost of infrastructure, operation, and maintenance

I.4 (-) Maintenance costs

Associated practice

LEGEND

1. Installation of system for mechanical, chemical, or biological treatment of agricultural wastes

(+) increase; (-) decrease

Pathway

C.  Cumulative effect

I.  Indirect effect

D.  Direct effect

#.  Created by practice