October 10, 2008

Via Electronic Submission

Division of Dockets Management (HFA-305)

Food and Drug Administration

5630 Fishers Lane, rm. 1061

Rockville, MD 20852

Re:	Docket No. FDA-2006-N-0178; Comments on Proposed Reclassification of

“Absorbable Hemostatic Device” and Draft Guidance Document

Dear FDA:

DuPont BioMedical (DuPont) appreciates the opportunity to submit comments on FDA’s proposed reclassification of “absorbable hemostatic devices” (21 C.F.R. § 878.4490) and the corresponding draft guidance document.  73 Fed. Reg. 52804 and 52861 (September 11, 2008) (reopening of comment period).  DuPont is capitalizing on the company’s materials expertise to serve the medical community by introducing products that are intended to be safer, more effective, and easier to use than current alternatives.

DuPont generally supports the proposed reclassification of devices covered only by product codes “LMF” (absorbable hemostatic agent, collagen based) and “LMG” (absorbable hemostatic agent, not collagen based).  See Draft Guidance, Section 4, page 6.  However, DuPont recommends that FDA clarify which mechanism(s) of action would not be covered by the new regulation.  Specifically, under the proposed classification regulation, an absorbable hemostatic device is one intended to “produce hemostasis by accelerating the clotting process of the blood.”  Proposed 21 C.F.R. § 878.4490(a); 71 Fed. Reg. 63728, 63732 (October 31, 2006).  The description of this action is extremely broad and could be read to cover a wide variety of products (potentially covering new technologies).  However, during the early stages of the reclassification process, FDA personnel suggested that devices that function only as a tamponade should be excluded from the reclassified definition.

Specifically, at the meeting of the General and Plastic Surgery Devices Advisory Committee (Panel) on July 24, 2003, FDA’s Dr. David Krause suggested that products that simply block bleeding were not intended to be covered.  In discussing the scope of the new definition, Dr. Krause stated as follows:  “[B]one wax doesn't meet that definition [of absorbable hemostatic agent] because it does not accelerate clotting.  It merely acts as a tamponade.  It just blocks bleeding.  It doesn't really induce hemostasis, which these [other] products do.”  Although there was a brief discussion about terminology, the Panel appeared to endorse Dr. Krause’s view.

For consistency, DuPont recommends that FDA clarify the discussion in the regulation and guidance to make clear that products that do not initiate or interact with the clotting cascade are outside the scope of the new regulation.  This will ensure that the regulation is in line with the Agency’s past understanding of the types of devices covered.

*     *     *

DuPont appreciates the opportunity to submit comments on FDA’s proposed reclassification of absorbable hemostatic devices.  Please feel free to contact me if you need additional information.

Sincerely,

Howard Mann

Regulatory Affairs Manager

# Footnotes

Meeting Transcript, page 139 (available at: (http://www.fda.gov/ohrms/dockets/ac/03/transcripts/3973t1.doc).

Meeting transcript, page 140.

# Text boxes

DuPont Applied BioSciences

BioMedical

P. O. Box 80301

Experimental Station 301/201

Wilmington, DE   19880-0301

Tel:   (302) 695-3364

Fax:  (302) 695-9696

email:  Howard.K.Mann@usa.dupont.com

Howard K. Mann