### Library Creation Process SOP

### Transformation and Plating

Version Number:		3.0

Start Production Date:		12-MAR-01

Author:			Amy Geotina

Reviewed by:			Sanjay Israni

SOP Change Document:		x

# Summary

This protocol is for the high-throughput electro transformation of pUC18 vector transformed into DH10B electro-competent cells and plated onto LB Amp 100 X-gal plates.

# Materials & Reagents

Materials/Reagents/Equipment			Vendor			Stock Number

##### Disposables

LB Amp 100 X-gal plates (254mm)		Teknova			L133-A100X

Nunc 384 well plate, cell culture			Applied Scientific

##### Stock Solutions

LB Broth with 7.5% Glycerol			Teknova			0181-G7.5

SOC Media					Teknova			0166-10

##### Reagents

ElectroMax Competent cells			Gibco-BRL		18290-015

##### Equipment

Cell-Porator					Life Technologies

# Procedure

Transformation

- Place one Micro-Electroporation Chamber and one 1.5ml eppendorf tube on ice for each library to be transformed and label each with the library name.

- Put 500ml SOC into one 14ml round bottom falcon tube per library and label with the library name.

- Add the following in order in the 1.5 ml eppendorf tube on ice:

1ul Ligation Reaction

25µl of DH10B ElectroMax DH10B Competent Cells (thaw on ice) pipette once or twice, mix with pipette tip gently

Notes:  	This mixture must be kept on ice at all times.

Dispose of any unused competent cells that have been thawed in autoclave waste.

- Fill the temperature control compartment of the Chamber Safe with a mixture of ice and water to keep the samples at approximately 4(C.  Place the Chamber Rack in the Chamber Safe.

- Pipette 25 ul of the ligation and cells between the bosses in a Micro-Electroporation Chamber.  Be sure no air bubbles are present as that may cause arcing.

- Place each Chamber in a slot in the Chamber Rack carefully.  If not using all of the slots fill the empty ones with blank Chambers. Use a Chamber only once and discard in autoclave waste.

- Close lid of the Chamber and secure the latch.

- Plug in the pulse cable into the right side of the Chamber.

- Turn the knob to point to the slot containing the Chamber to be electroporated.

- Set the resistance on the Voltage Booster to 4 kiloohms;  set the Pulse Control unit to LOW ohms for DC volts, the capacitance to 330 uF and the change rate to Fast.  Double check all settings.

- Charge the unit to by setting the CHARGE ARM to Charge.  Press UP on the voltage control button until the voltage is 5 to 10 volts higher than 410.  Switch the CHARGE ARM to Arm and once the voltage drops to 410 push the trigger button for 1 second.  NOTE:  The DC voltage display on the Pulse Control unit should read less than 10 volts after a pulse.  If not, discharge the capacitor using the Down Button.

- Turn the knob on the Chamber to point at the next sample and repeat steps 8 and 9.

- After all samples have been electroporated, unplug the pulse cable and release the latch to remove the samples.

- Immediately transfer samples from the microchamber into the falcon tube containing 500 ml of SOC before repeating steps 6-14 with the next four samples.

- Incubate at 37( C on the wheel for 1 hour.  Put on ice after 1-hour incubation period.

Plating

- While the transformation mixture is incubating, determine the number of LB/AMP/IPTG/X-gal bioassay plates necessary for plating.  This number depends on the number of 384 well destination plates needed and transformation efficiency.  Allow the plates to dry before use, place them slightly ajar in a 37oC incubator for up to 1.5 hours.

- After 1 hour, plate ~20ul of transformation mixture onto the desired number of bioassay agar plates. Use glass/metal spreaders to spread the reaction on the plates.  Dip into ethanol and flame between plates to sterilize.

- Incubate the plates at 37oC for 17-20 hours on until average colony size is large enough for the colony picker to image.

Fixing

- Check deli for 384-well destination plates each day for plates that have been picked.  Check for any plates that have picking IDs that belong to you. Hold each plate up to the light and mark on the underside of each plate any wells that did not grow (i.e. the well is clear). If more than five wells/quadrant are missing, the plate must be fixed. Do not seal plates with more than 20 wells where there was no growth. A perfect plate is preferred.  If there are too many missing wells, have a new plate picked and use that one as a fix source.

- Remove liquid via vacuum system for each no growth well.

- Transfer the entire contents of a well from a fixing plate of the same library into the empty well.  Change pipette tips between each sample.  Fixing plates are labeled as such and are plates that do not have enough colonies to fill each of the 384 wells. You may need to create a fix plate by hand-picking with a sterile toothpick colonies that were not picked by the picker and incubating overnight.

Sealing

- After checking each destination plate to assure that they have no more than 20 wells without growth, place aluminum seal over each plate.

- Once sealed, place 2 labels on each plate.  One on lid in A1 corner and the second on the base of the plate that corresponds to A1-H1.

- Scan plates into database.

- Place sealed and labeled plates in –80C freezer.  Place each plate in numerical order in freezer rack that corresponds to library name.

- Write library and plate number entered in freezer and database onto the whiteboard in room 139.