M&V Plan and Savings Calculation Methods Outline

v. 1.0, Nov. 2004

[Note:  All content called for in this outline is required (if applicable), except items noted as optional.]

# 1.	Executive Summary / M&V Overview & Proposed Savings Calculations

## 1.1	Proposed Annual Savings Overview

Table 1.  Proposed Annual Savings Overview

[Include all applicable fuels / commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, coal, water, etc.]

| ECM | Total energy savings (MBtu/yr) | Electric energy savings (kWh/yr) | Electric demand savings (kW/yr)* | Natural gas savings (MBtu/yr) | Water savings (gallons/yr) | Other energy savings (MBtu/yr) | Total energy & water cost savings, Year 1 ($/yr) | Other energy-related O&M cost savings, Year 1 ($/yr) | Total cost savings, Year 1 ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total savings |  |  |  |  |  |  |  |  |  |
| First Year Guaranteed Cost Savings: $ |
| Notes *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. MBtu=106 Btu. If energy is reported in units other than MBtu, provide a conversion factor to MBtu for link to delivery order schedules (e.g., 0.003413 MBtu/kWh). |

### 1.1.1	Site Use and Savings Overview (Optional)

Fill in Table 1A or provide equivalent information.

Table 1A.  Site Use and Savings Overview (Optional)

|  | Total energy (MBtu/yr) | Electric energy (kWh/yr) | Electric demand (kW/yr)* | Natural gas (MBtu/yr) | Water (gallons/yr) | Other energy (MBtu/yr) |
| --- | --- | --- | --- | --- | --- | --- |
| Total proposed project savings |  |  |  |  |  |  |
| Usage for entire site** |  |  |  |  |  |  |
| % Total site usage saved |  |  |  |  |  |  |
| Project square footage (KSF) |  |  |  |  |  |
| Total site square footage (KSF) |  |  |  |  |  |
| % Total site area affected |  |  |  |  |  |
| Notes MBtu=106 Btu *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. **Define usage period. KSF = 103 square feet. If energy is reported in units other than MBtu, provide a conversion factor to MBtu for link to delivery order schedules (e.g., 0.003413 MBtu/kWh). |

## 1.2	M&V Plan Summary

Table 2.  M&V Plan Summary

| ECM. | ECM Description | M&V Option Used* | Summary of M&V Plan |
| --- | --- | --- | --- |

* M&V options include A, B, C, and D. Guidelines include M&V Guidelines: Measurement & Verification for Federal Energy Projects, Version 2.2 (www.eere.energy.gov/femp/financing/superespcs_mvresources.cfm); and International Performance Measurement & Verification Protocol (IPMVP), Volume I, March 2002 (www.ipmvp.org).

# 2.	Whole Project Data / Global Assumptions

## 2.1	Risk & Responsibility

### 2.1.1	Summarize allocation of responsibility for key items related to M&V.

Reference location of Risk & Responsibility Matrix1 (if required).

## 2.2  Energy, Water, and Operations & Maintenance (O&M) Rate Data

### 2.2.1	Detail baseline energy and water rates.

### 2.2.2	Provide performance period rate adjustment factors for energy, water, and O&M cost savings, if used.

## 2.3  Schedule & Reporting for Verification Activities

### 2.3.1	Define requirements for witnessing of measurements during:

Baseline development

Post-installation verification activities

Performance period

### 2.3.2	Define schedule of verification reporting activities.

Table 3.  Schedule of Verification Reporting Activities

| Item | aRecommended time of submission | aOwner’s review and acceptance period |
| --- | --- | --- |
| Post-Installation Report | 30 to 60 days after acceptance | 30 days |
| Annual Report | 30 to 60 days after annual performance period | 30 days |

aTimes are recommended based on industry practice; modify as needed.

### 2.3.3	Define content and format of reports:

Post-installation report.

Use Post-Installation Report Outline.

Annual M&V reports.

Use Annual Report Outline1.

Interval M&V reports

Develop report outline if needed.

## 2.4	Operations, Preventive Maintenance, Repair, and Replacement Reporting Requirements

### 2.4.1	Define Government and ESCO reporting requirements:

Summarize key verification activities and reporting responsibilities of government and ESCO on operations, preventive maintenance, repair, and replacement items from details in ECM specific M&V Plans.

Define content of reports and reporting schedule.

## 2.5	Construction Period Savings

### 2.5.1	Provide overview of how construction period savings will be calculated, if applicable.

## 2.6	Status of Rebates

Include if applicable.

### 2.6.1	Provide a summary of the source of any third-party rebates or incentives provided on this project.

### 2.6.2	Provide status of any third-party rebates or incentives.

## 2.7	Dispute Resolution

### 2.7.1	Describe plan for resolving disputes regarding issues such as baseline, baseline adjustment, energy savings calculation, and the use of periodic measurements.

# 3.	ECM [Name / #] M&V Plan and Savings Calculation Methods

Develop section for each ECM.

## 3.1	Overview of ECM, M&V Plan, and Savings Calculation for ECM

### 3.1.1	Summarize the scope of work, location, and how cost savings are generated.

Describe source of all savings including energy, water, O&M, and other (if applicable).

### 3.1.2	Specify the M&V guideline and option used1.

### 3.1.3	Provide an overview of M&V Activities for ECM.

Explain intent of M&V plan, including what is being verified.

### 3.1.4	Provide an overview of savings calculations methods for ECM.

Provide a general description of analysis methods used for savings calculations.

## 3.2	Energy and Water Baseline Development

### 3.2.1	Describe in general terms how the baseline for this ECM is defined.

### 3.2.2	Describe variables affecting baseline energy or water use.

Include variables such as weather, operating hours, set point changes, etc.

Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

### 3.2.3	Define key system performance factors characterizing the baseline conditions.

Include factors such as comfort conditions, lighting intensities, temperature set points, etc.

### 3.2.4	Define requirements for government witnessing of measurements if different than whole project data requirements included in Section 2.3.

### 3.2.5	Provide details of baseline data collected, including:

Parameters monitored/measured

Details of equipment monitored, i.e. location, type, model, quantity, etc.

Sampling plan, including details of usage groups and sample sizes

Duration, frequency, interval, and seasonal or other requirements of measurements

Personnel, dates, and times of measurements

Proof of government witnessing of measurements (if required)

Monitoring equipment used

Installation requirements for monitoring equipments (test plug for temperature sensors, straight pipe for flow measurement, etc.)

Certification of calibration / calibration procedures followed

Expected accuracy of measurements/monitoring equipment

Quality control procedures used

Form of data (.xls, .cvs, etc.)

Results of measurements (attach appendix and electronic forma as necessary)

Completed data collection forms, if used

### 3.2.6	Provide details of baseline data analysis performed, including:

Analysis using results of measurements

Weather normalized regressions

Weather data used and source of data

## 3.3	Proposed Energy & Water Savings Calculations and Methodology

### 3.3.1	Provide detailed description of analysis methodology used.

Describe any data manipulation or analysis that was conducted prior to applying savings calculations.

### 3.3.2	Detail all assumptions and sources of data, including all stipulated values used in calculations.

### 3.3.3	Include equations and technical details of all calculations made. (Use appendix and electronic format as necessary.) Include description of data format (headings, units, etc.).

### 3.3.4	Details of any savings or baseline adjustments that may be required.

### 3.3.5	Detail energy and water rates used to calculate cost savings.

Provide performance period energy and water rate adjustment factors, if different from in section 2.2.2.

### 3.3.6	Detail proposed annual savings for this energy conservation measure for performance period.

Summarize information in Table 4.

## 3.4	Operations and Maintenance and Other Cost Savings

### 3.4.1	Provide justification for O&M cost savings, if applicable.

Describe how savings are generated

Detail cost savings calculations.

Provide performance period O&M cost savings adjustment factors, if different from in section 2.2.2.

### 3.4.2	Provide justification for other cost savings, if applicable.

Describe how savings are generated.

Detail cost savings calculations.

Provide performance period adjustment factors, if different from in section 2.2.2.

## 3.5	Proposed Annual Savings For ECM

Table 4.  Proposed Annual Savings For ECM

[Include all applicable fuels / commodities for project, e.g., electric energy, electric demand, natural gas, fuel oil, coal, water, etc.]

|  | Total energy use (MBtu/yr) | Electric energy use (kWh/yr) | Electric energy cost, Year 1 ($/yr) | Electric demand* (kW/yr) | Electric demand cost, Year 1 ($/yr) | Natural gas use (MBtu/yr)* | Natural gas cost, Year 1 ($/yr) | Water use (gallons/yr) | Water cost, Year 1 ($/yr) | Other energy use (MBtu/yr) | Other energy cost, Year 1 ($/yr) | Other energy-related O&M costs, Year 1 ($/yr) | Total costs, Year 1 ($/yr) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baseline use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post-installation use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Notes *Annual electric demand savings (kW/yr) is the sum of the monthly demand savings. MBtu = 106 Btu. If energy is reported in units other than MBtu, provide a conversion factor to MBtu for link to delivery order schedules (e.g., 0.003413 MBtu/kWh). |

## 3.6	Post-Installation M&V Activities

### 3.6.1	Describe the intent of post-installation verification activities, including what will be verified.

### 3.6.2	Describe variables affecting post-installation energy or water use.

Include variables such as weather, operating hours, set point changes, etc.

Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

### 3.6.3	Define key system performance factors characterizing the post-installation conditions such as lighting intensities, temperature set points, etc.

### 3.6.4	Define requirements for government witnessing of measurements if different than whole project data requirements included in Section 2.3.

### 3.6.5	Provide details of post-installation data to be collected, including:

Parameters to be monitored

Details of equipment to be monitored (location, type, model, quantity, etc.)

Sampling plan, including details of usage groups and sample sizes

Duration, frequency, interval, and seasonal or other requirements of measurements

Monitoring equipment to be used

Installation requirements for monitoring equipment

Calibration requirements / procedures

Expected accuracy of measurements/monitoring equipment

Quality control procedures to be used

Form of data to be collected (.xls, .cvs, etc.)

Sample data collection forms (optional)

### 3.6.6	Detail data analysis to be performed.

## 3.7	Performance Period Verification Activities

### 3.7.1	Describe variables affecting performance period energy or water use.

Include variables such as weather, operating hours, set point changes, etc.

Describe how each variable will be quantified, i.e. measurements, monitoring, assumptions, manufacturer data, maintenance logs, engineering resources, etc.

### 3.7.2	Define key system performance factors characterizing the performance period conditions.

Include factors such as comfort conditions, lighting intensities, temperature set points, etc.

### 3.7.3	Describe the intent of performance period verification activities – what will be verified.

### 3.7.4	Provide detailed schedule of performance period verification activities and inspections.

### 3.7.5	Define requirements for government witnessing of measurements if different than whole project data requirements included in Section 2.3.

### 3.7.6	Provide details of performance period data to be collected, including:

Parameters to be monitored

Details of equipment to be monitored  (location, type, model, quantity, etc.)

Sampling plan, including details of usage groups and sample sizes

Duration, frequency, interval, and seasonal or other requirements of measurements

Monitoring equipment to be used

Installation requirements for monitoring equipment

Calibration requirements/procedures

Expected accuracy of measurements/monitoring equipment

Quality control procedures to be used

Form of data to be collected (.xls, .cvs, etc.)

Sample data collection forms (optional)

### 3.7.7	Detail data analysis to be performed.

### 3.7.8	Define operations, preventive maintenance, repair, and replacement reporting requirements.

Detail verification activities and reporting responsibilities of government and ESCO on operations, preventive maintenance, repair, and replacement items.

Define contents of report and reporting schedule, if different than in global section 2.4.

# Footnotes

1 The Risk/Responsibility Matrix is Attachment 5 of the Super ESPC IDIQ contract and is also available on FEMP’s web site at www.eere.energy.gov/femp/financing/superespcs_mvresources.cfm.

Electronic copies of Post-Installation Report Outline and Annual Report Outline are available at www. eere.energy.gov/femp/financing/superespcs_mvresources.cfm.

1 Guidelines include M&V Guidelines: Measurement & Verification for Federal Energy Projects, Version 2.2 (www.eere.energy.gov/femp/financing/superespcs_mvresources.cfm); and International Performance Measurement & Verification Protocol (IPMVP), Volume I, March 2002 (www.ipmvp.org). M&V options include A, B, C, and D.