## RatingChart
[9 empty] | Annual Total Electric Use (kWh) | Annual Total Non-Electric Fuel Use (MMBtu) | Building Gross Floor Area (sq-ft) | EUI - Annual Total Source Energy Use Intensity (kBtu/sf)
[9 empty] | 723000 | 2840 | 103000 | 107.5942
[9 empty] | Rating for this building: |  |  | 56.701
Developed by the Buildings Technology Center
at Oak Ridge National Laboratory
http://www.ornl.gov/ORNL/BTC/
also see http://eber.ed.ornl.gov/benchmark/
This chart for performance rating is created from your data for | [5 empty] | 97 | buildings. |  | point of contact: sharptr@ornl.gov
Rev. 071108
Clear data using button, enter your data, then use button to create chart.
Count | Building ID | Annual Total Electrical Use (kWh) | Annual Total Non-Electrical Fuel Use (MMBtu)1 | Building Gross Floor Area (sq-ft) | Annual Total Source Energy Use per Sq-Ft (kBtu/sf) | Percentage With Lower kBtu/sf (more efficient) |  | Number of Buildings Entered
1 | School1 | 98720 | 0 | 90750 | 12.4012 | 100 |  | 97
2 | School2 | 314967 | 1224.0275 | 299640 | 16.0681 | 97.9381
3 | School3 | 972810 | 4172 | 873709 | 17.4681 | 96.9072
4 | School4 | 352619 | 0 | 136844 | 29.3755 | 95.8763
5 | School5 | 84000 | 2901 | 105087 | 36.7181 | 94.8454
6 | School6 | 205120 | 3713 | 130878 | 46.2367 | 93.8144
7 | School7 | 341235 | 7553 | 179833 | 63.6317 | 92.7835 |  | Note:
8 | School8 | 308640 | 3178 | 101794 | 65.7848 | 91.7526 |  | 1 This is the sum of the annual energy use of
9 | School9 | 1019280 | 364 | 173550 | 69.0509 | 90.7216 |  | all non-electric fuels in MMBtu (millions of Btu).
10 | School10 | 356480 | 6983 | 166444 | 66.3699 | 89.6907
11 | School11 | 233797 | 3822 | 96995 | 66.8827 | 88.6598
12 | School12 | 232735 | 5030.505 | 114624 | 67.0338 | 87.6289
13 | School13 | 233520 | 3917 | 95860 | 68.6327 | 86.5979
14 | School14 | 138520 | 4910 | 93971 | 69.0546 | 85.567 |  | EUI | Rating
15 | School15 | 158160 | 4582 | 92036 | 69.3753 | 84.5361 |  | 107.5942 | 56.701
16 | School16 | 172800 | 4838 | 96948 | 70.2224 | 83.5052
17 | School17 | 225792 | 8419 | 157163 | 69.9467 | 82.4742
18 | School18 | 322723 | 4047 | 103700 | 74.5038 | 81.4433
19 | School19 | 469006 | 8281 | 180000 | 75.7093 | 80.4124
20 | School20 | 301080 | 4355 | 97704 | 79.7031 | 79.3814
21 | School21 | 191862 | 5426 | 96209 | 79.1322 | 78.3505
22 | School22 | 284573 | 9110 | 155544 | 79.4253 | 77.3196
23 | School23 | 279400 | 5499 | 106530 | 81.5184 | 76.2887
24 | School24 | 288950 | 6538 | 119230 | 82.4627 | 75.2577
25 | School25 | 273120 | 6246 | 111936 | 83.6154 | 74.2268
26 | School26 | 428320 | 4773 | 112440 | 85.8756 | 73.1959
27 | School27 | 413234 | 6012 | 123846 | 86.5823 | 72.1649
28 | School28 | 291520 | 5358 | 100250 | 86.5968 | 71.134
29 | School29 | 363600 | 5832 | 113391 | 87.9879 | 70.1031
30 | School30 | 364600 | 6820 | 120620 | 91.0002 | 69.0722
31 |  | 282100 | 7114 | 113337 | 91.1436 | 68.0412
32 |  | 464620 | 3928 | 96125 | 95.9653 | 67.0103
33 |  | 441800 | 4369 | 97474 | 96.4926 | 65.9794
34 |  | 631360 | 2566 | 96854 | 100.8064 | 64.9485
35 |  | 1565265 | 12226 | 296750 | 101.3312 | 63.9175
36 |  | 360900 | 14264 | 184154 | 99.7983 | 62.8866
37 |  | 596160 | 3560 | 98580 | 105.054 | 61.8557
38 |  | 265759 | 10936 | 138950 | 100.5085 | 60.8247
39 |  | 490578 | 5081 | 101720 | 104.9311 | 59.7938
40 |  | 426720 | 8193 | 125451 | 104.0853 | 58.7629
41 |  | 1098000 | 14198 | 253422 | 105.4178 | 57.732
42 |  | 255285 | 7580 | 99129 | 105.8242 | 56.701
43 |  | 427680 | 5639 | 96444 | 109.0224 | 55.6701
44 |  | 561000 | 6640 | 118343 | 110.1493 | 54.6392
45 |  | 619752 | 12060 | 175000 | 109.2867 | 53.6082
46 |  | 411960 | 7569 | 108893 | 112.6367 | 52.5773
47 |  | 460720 | 7302 | 110346 | 113.7713 | 51.5464
48 |  | 228560 | 7785 | 92816 | 111.9482 | 50.5155
49 |  | 456845 | 7699 | 112552 | 114.6762 | 49.4845
50 |  | 216400 | 9117.2 | 102673 | 112.8258 | 48.4536
51 |  | 994610 | 12936 | 208496 | 116.427 | 47.4227
52 |  | 367728 | 9327.0749 | 116800 | 115.7464 | 46.3918
53 |  | 777700 | 3292 | 100030 | 121.5413 | 45.3608
54 |  | 295040 | 7948 | 95146 | 118.8853 | 44.3299
55 |  | 292160 | 15900 | 163116 | 117.8954 | 43.299
56 |  | 647292 | 10612 | 148753 | 120.9463 | 42.268
57 |  | 512392 | 10931.658 | 139024 | 120.6477 | 41.2371
58 |  | 177320 | 10431.6235 | 105129 | 118.4552 | 40.2062
59 |  | 435240 | 10411 | 124179 | 123.795 | 39.1753
60 |  | 500760 | 10444.11 | 129036 | 125.1804 | 38.1443
61 |  | 540800 | 5488 | 91095 | 127.9227 | 37.1134
62 |  | 554190 | 10350 | 130539 | 127.6842 | 36.0825
63 |  | 344700 | 8668.45 | 98324 | 128.1277 | 35.0515
64 |  | 903949 | 10915 | 160915 | 131.871 | 34.0206
65 |  | 683880 | 6640 | 108000 | 133.6688 | 32.9897
66 |  | 273960 | 9695 | 98319 | 130.373 | 31.9588
67 |  | 509796 | 13228 | 145000 | 131.3081 | 30.9278
68 |  | 636137 | 5367 | 93500 | 134.9622 | 29.8969
69 |  | 636137 | 5367 | 93500 | 134.9622 | 28.866
70 |  | 356400 | 8775 | 96900 | 132.4867 | 27.8351
71 |  | 312223 | 9778 | 100396 | 132.8473 | 26.8041
72 |  | 306400 | 9985 | 99355 | 135.6546 | 25.7732
73 |  | 245520 | 13967 | 124179 | 135.0142 | 24.7423
74 |  | 562480 | 10168 | 119603 | 138.6276 | 23.7113
75 |  | 590400 | 9519 | 116587 | 139.3771 | 22.6804
76 |  | 413036 | 8611 | 96000 | 138.7459 | 21.6495
77 |  | 1297957 | 0 | 98829 | 149.7203 | 20.6186
78 |  | 738600 | 11368.206 | 137442 | 143.9752 | 19.5876
79 |  | 298810 | 13594 | 120353 | 141.2548 | 18.5567
80 |  | 1266900 | 0 | 91340 | 158.1198 | 17.5258
81 |  | 786600 | 9490 | 122677 | 150.454 | 16.4948
82 |  | 2925447 | 19707 | 323527 | 163.9959 | 15.4639
83 |  | 363150 | 11171 | 94700 | 161.678 | 14.433
84 |  | 2423480 | 8054 | 203950 | 174.953 | 13.4021
85 |  | 532140 | 9779 | 92132 | 171.9858 | 12.3711
86 |  | 2957970 | 26618 | 338654 | 178.1726 | 11.3402
87 |  | 1029918 | 7256 | 103981 | 182.6975 | 10.3093
88 |  | 3854164 | 27103 | 386175 | 183.9593 | 9.2784
89 |  | 1630000 | 0 | 91000 | 204.1978 | 8.2474
90 |  | 4368600 | 32133 | 393093 | 208.4368 | 7.2165
91 |  | 1816528 | 18680 | 190250 | 207.0351 | 6.1856
92 |  | 1265040 | 11385 | 119823 | 215.3715 | 5.1546
93 |  | 367440 | 19787 | 111722 | 214.6025 | 4.1237
94 |  | 1168800 | 13454 | 120000 | 223.1527 | 3.0928
95 |  | 2888400 | 12300 | 174213 | 259.6119 | 2.0619
96 |  | 906989 | 18510 | 114280 | 252.4473 | 1.0309
97 |  | 1274800 | 22484 | 141382 | 261.8206 | 0
98 |  |  |  |  | #DIV/0! | -1.0309
99 |  |  |  |  | #DIV/0! | -2.0619
100 |  |  |  |  | #DIV/0! | -3.0928
101 |  |  |  |  | #DIV/0! | -4.1237
102 |  |  |  |  | #DIV/0! | -5.1546
103 |  |  |  |  | #DIV/0! | -6.1856
104 |  |  |  |  | #DIV/0! | -7.2165
105 |  |  |  |  | #DIV/0! | -8.2474
106 |  |  |  |  | #DIV/0! | -9.2784
107 |  |  |  |  | #DIV/0! | -10.3093
108 |  |  |  |  | #DIV/0! | -11.3402
109 |  |  |  |  | #DIV/0! | -12.3711
110 |  |  |  |  | #DIV/0! | -13.4021
111 |  |  |  |  | #DIV/0! | -14.433
112 |  |  |  |  | #DIV/0! | -15.4639
113 |  |  |  |  | #DIV/0! | -16.4948
114 |  |  |  |  | #DIV/0! | -17.5258
115 |  |  |  |  | #DIV/0! | -18.5567
116 |  |  |  |  | #DIV/0! | -19.5876
117 |  |  |  |  | #DIV/0! | -20.6186
118 |  |  |  |  | #DIV/0! | -21.6495
119 |  |  |  |  | #DIV/0! | -22.6804
120 |  |  |  |  | #DIV/0! | -23.7113
121 |  |  |  |  | #DIV/0! | -24.7423
122 |  |  |  |  | #DIV/0! | -25.7732
123 |  |  |  |  | #DIV/0! | -26.8041
124 |  |  |  |  | #DIV/0! | -27.8351
125 |  |  |  |  | #DIV/0! | -28.866
126 |  |  |  |  | #DIV/0! | -29.8969
127 |  |  |  |  | #DIV/0! | -30.9278
128 |  |  |  |  | #DIV/0! | -31.9588
129 |  |  |  |  | #DIV/0! | -32.9897
130 |  |  |  |  | #DIV/0! | -34.0206
131 |  |  |  |  | #DIV/0! | -35.0515
132 |  |  |  |  | #DIV/0! | -36.0825
133 |  |  |  |  | #DIV/0! | -37.1134
134 |  |  |  |  | #DIV/0! | -38.1443
135 |  |  |  |  | #DIV/0! | -39.1753
136 |  |  |  |  | #DIV/0! | -40.2062
137 |  |  |  |  | #DIV/0! | -41.2371
138 |  |  |  |  | #DIV/0! | -42.268
139 |  |  |  |  | #DIV/0! | -43.299
140 |  |  |  |  | #DIV/0! | -44.3299
141 |  |  |  |  | #DIV/0! | -45.3608
142 |  |  |  |  | #DIV/0! | -46.3918
143 |  |  |  |  | #DIV/0! | -47.4227
144 |  |  |  |  | #DIV/0! | -48.4536
145 |  |  |  |  | #DIV/0! | -49.4845
146 |  |  |  |  | #DIV/0! | -50.5155
147 |  |  |  |  | #DIV/0! | -51.5464
148 |  |  |  |  | #DIV/0! | -52.5773
149 |  |  |  |  | #DIV/0! | -53.6082
150 |  |  |  |  | #DIV/0! | -54.6392
151 |  |  |  |  | #DIV/0! | -55.6701
152 |  |  |  |  | #DIV/0! | -56.701
153 |  |  |  |  | #DIV/0! | -57.732
154 |  |  |  |  | #DIV/0! | -58.7629
155 |  |  |  |  | #DIV/0! | -59.7938
156 |  |  |  |  | #DIV/0! | -60.8247
157 |  |  |  |  | #DIV/0! | -61.8557
158 |  |  |  |  | #DIV/0! | -62.8866
159 |  |  |  |  | #DIV/0! | -63.9175
160 |  |  |  |  | #DIV/0! | -64.9485
161 |  |  |  |  | #DIV/0! | -65.9794
162 |  |  |  |  | #DIV/0! | -67.0103
163 |  |  |  |  | #DIV/0! | -68.0412
164 |  |  |  |  | #DIV/0! | -69.0722
165 |  |  |  |  | #DIV/0! | -70.1031
166 |  |  |  |  | #DIV/0! | -71.134
167 |  |  |  |  | #DIV/0! | -72.1649
168 |  |  |  |  | #DIV/0! | -73.1959
169 |  |  |  |  | #DIV/0! | -74.2268
170 |  |  |  |  | #DIV/0! | -75.2577
171 |  |  |  |  | #DIV/0! | -76.2887
172 |  |  |  |  | #DIV/0! | -77.3196
173 |  |  |  |  | #DIV/0! | -78.3505
174 |  |  |  |  | #DIV/0! | -79.3814
175 |  |  |  |  | #DIV/0! | -80.4124
176 |  |  |  |  | #DIV/0! | -81.4433
177 |  |  |  |  | #DIV/0! | -82.4742
178 |  |  |  |  | #DIV/0! | -83.5052
179 |  |  |  |  | #DIV/0! | -84.5361
180 |  |  |  |  | #DIV/0! | -85.567
181 |  |  |  |  | #DIV/0! | -86.5979
182 |  |  |  |  | #DIV/0! | -87.6289
183 |  |  |  |  | #DIV/0! | -88.6598
184 |  |  |  |  | #DIV/0! | -89.6907
185 |  |  |  |  | #DIV/0! | -90.7216
186 |  |  |  |  | #DIV/0! | -91.7526
187 |  |  |  |  | #DIV/0! | -92.7835
188 |  |  |  |  | #DIV/0! | -93.8144
189 |  |  |  |  | #DIV/0! | -94.8454
190 |  |  |  |  | #DIV/0! | -95.8763
191 |  |  |  |  | #DIV/0! | -96.9072
192 |  |  |  |  | #DIV/0! | -97.9381
193 |  |  |  |  | #DIV/0! | -98.9691
194 |  |  |  |  | #DIV/0! | -100
195 |  |  |  |  | #DIV/0! | -101.0309
196 |  |  |  |  | #DIV/0! | -102.0619
197 |  |  |  |  | #DIV/0! | -103.0928
198 |  |  |  |  | #DIV/0! | -104.1237
199 |  |  |  |  | #DIV/0! | -105.1546
200 |  |  |  |  | #DIV/0! | -106.1856
201 |  |  |  |  | #DIV/0! | -107.2165
202 |  |  |  |  | #DIV/0! | -108.2474
203 |  |  |  |  | #DIV/0! | -109.2784
204 |  |  |  |  | #DIV/0! | -110.3093
205 |  |  |  |  | #DIV/0! | -111.3402
206 |  |  |  |  | #DIV/0! | -112.3711
207 |  |  |  |  | #DIV/0! | -113.4021
208 |  |  |  |  | #DIV/0! | -114.433
209 |  |  |  |  | #DIV/0! | -115.4639
210 |  |  |  |  | #DIV/0! | -116.4948
211 |  |  |  |  | #DIV/0! | -117.5258
212 |  |  |  |  | #DIV/0! | -118.5567
213 |  |  |  |  | #DIV/0! | -119.5876
214 |  |  |  |  | #DIV/0! | -120.6186
215 |  |  |  |  | #DIV/0! | -121.6495
216 |  |  |  |  | #DIV/0! | -122.6804
217 |  |  |  |  | #DIV/0! | -123.7113
218 |  |  |  |  | #DIV/0! | -124.7423
219 |  |  |  |  | #DIV/0! | -125.7732
220 |  |  |  |  | #DIV/0! | -126.8041
221 |  |  |  |  | #DIV/0! | -127.8351
222 |  |  |  |  | #DIV/0! | -128.866
223 |  |  |  |  | #DIV/0! | -129.8969
224 |  |  |  |  | #DIV/0! | -130.9278
225 |  |  |  |  | #DIV/0! | -131.9588
226 |  |  |  |  | #DIV/0! | -132.9897
227 |  |  |  |  | #DIV/0! | -134.0206
228 |  |  |  |  | #DIV/0! | -135.0515
229 |  |  |  |  | #DIV/0! | -136.0825
230 |  |  |  |  | #DIV/0! | -137.1134
231 |  |  |  |  | #DIV/0! | -138.1443
232 |  |  |  |  | #DIV/0! | -139.1753
233 |  |  |  |  | #DIV/0! | -140.2062
234 |  |  |  |  | #DIV/0! | -141.2371
235 |  |  |  |  | #DIV/0! | -142.268
236 |  |  |  |  | #DIV/0! | -143.299
237 |  |  |  |  | #DIV/0! | -144.3299
238 |  |  |  |  | #DIV/0! | -145.3608
239 |  |  |  |  | #DIV/0! | -146.3918
240 |  |  |  |  | #DIV/0! | -147.4227
241 |  |  |  |  | #DIV/0! | -148.4536
242 |  |  |  |  | #DIV/0! | -149.4845
243 |  |  |  |  | #DIV/0! | -150.5155
244 |  |  |  |  | #DIV/0! | -151.5464
245 |  |  |  |  | #DIV/0! | -152.5773
246 |  |  |  |  | #DIV/0! | -153.6082
247 |  |  |  |  | #DIV/0! | -154.6392
248 |  |  |  |  | #DIV/0! | -155.6701
249 |  |  |  |  | #DIV/0! | -156.701
250 |  |  |  |  | #DIV/0! | -157.732
251 |  |  |  |  | #DIV/0! | -158.7629
252 |  |  |  |  | #DIV/0! | -159.7938
253 |  |  |  |  | #DIV/0! | -160.8247
254 |  |  |  |  | #DIV/0! | -161.8557
255 |  |  |  |  | #DIV/0! | -162.8866
256 |  |  |  |  | #DIV/0! | -163.9175
257 |  |  |  |  | #DIV/0! | -164.9485
258 |  |  |  |  | #DIV/0! | -165.9794
259 |  |  |  |  | #DIV/0! | -167.0103
260 |  |  |  |  | #DIV/0! | -168.0412
261 |  |  |  |  | #DIV/0! | -169.0722
262 |  |  |  |  | #DIV/0! | -170.1031
263 |  |  |  |  | #DIV/0! | -171.134
264 |  |  |  |  | #DIV/0! | -172.1649
265 |  |  |  |  | #DIV/0! | -173.1959
266 |  |  |  |  | #DIV/0! | -174.2268
267 |  |  |  |  | #DIV/0! | -175.2577
268 |  |  |  |  | #DIV/0! | -176.2887
269 |  |  |  |  | #DIV/0! | -177.3196
270 |  |  |  |  | #DIV/0! | -178.3505
271 |  |  |  |  | #DIV/0! | -179.3814
272 |  |  |  |  | #DIV/0! | -180.4124
273 |  |  |  |  | #DIV/0! | -181.4433
274 |  |  |  |  | #DIV/0! | -182.4742
275 |  |  |  |  | #DIV/0! | -183.5052
276 |  |  |  |  | #DIV/0! | -184.5361
277 |  |  |  |  | #DIV/0! | -185.567
278 |  |  |  |  | #DIV/0! | -186.5979
279 |  |  |  |  | #DIV/0! | -187.6289
280 |  |  |  |  | #DIV/0! | -188.6598
281 |  |  |  |  | #DIV/0! | -189.6907
282 |  |  |  |  | #DIV/0! | -190.7216
283 |  |  |  |  | #DIV/0! | -191.7526
284 |  |  |  |  | #DIV/0! | -192.7835
285 |  |  |  |  | #DIV/0! | -193.8144
286 |  |  |  |  | #DIV/0! | -194.8454
287 |  |  |  |  | #DIV/0! | -195.8763
288 |  |  |  |  | #DIV/0! | -196.9072
289 |  |  |  |  | #DIV/0! | -197.9381
290 |  |  |  |  | #DIV/0! | -198.9691
291 |  |  |  |  | #DIV/0! | -200
292 |  |  |  |  | #DIV/0! | -201.0309
293 |  |  |  |  | #DIV/0! | -202.0619
294 |  |  |  |  | #DIV/0! | -203.0928
295 |  |  |  |  | #DIV/0! | -204.1237
296 |  |  |  |  | #DIV/0! | -205.1546
297 |  |  |  |  | #DIV/0! | -206.1856
298 |  |  |  |  | #DIV/0! | -207.2165
299 |  |  |  |  | #DIV/0! | -208.2474
300 |  |  |  |  | #DIV/0! | -209.2784
301 |  |  |  |  | #DIV/0! | -210.3093
302 |  |  |  |  | #DIV/0! | -211.3402
303 |  |  |  |  | #DIV/0! | -212.3711
304 |  |  |  |  | #DIV/0! | -213.4021
305 |  |  |  |  | #DIV/0! | -214.433
306 |  |  |  |  | #DIV/0! | -215.4639
307 |  |  |  |  | #DIV/0! | -216.4948
308 |  |  |  |  | #DIV/0! | -217.5258
309 |  |  |  |  | #DIV/0! | -218.5567
310 |  |  |  |  | #DIV/0! | -219.5876
311 |  |  |  |  | #DIV/0! | -220.6186
312 |  |  |  |  | #DIV/0! | -221.6495
313 |  |  |  |  | #DIV/0! | -222.6804
314 |  |  |  |  | #DIV/0! | -223.7113
315 |  |  |  |  | #DIV/0! | -224.7423
316 |  |  |  |  | #DIV/0! | -225.7732
317 |  |  |  |  | #DIV/0! | -226.8041
318 |  |  |  |  | #DIV/0! | -227.8351
319 |  |  |  |  | #DIV/0! | -228.866
320 |  |  |  |  | #DIV/0! | -229.8969
321 |  |  |  |  | #DIV/0! | -230.9278
322 |  |  |  |  | #DIV/0! | -231.9588
323 |  |  |  |  | #DIV/0! | -232.9897
324 |  |  |  |  | #DIV/0! | -234.0206
325 |  |  |  |  | #DIV/0! | -235.0515
326 |  |  |  |  | #DIV/0! | -236.0825
327 |  |  |  |  | #DIV/0! | -237.1134
328 |  |  |  |  | #DIV/0! | -238.1443
329 |  |  |  |  | #DIV/0! | -239.1753
330 |  |  |  |  | #DIV/0! | -240.2062
331 |  |  |  |  | #DIV/0! | -241.2371
332 |  |  |  |  | #DIV/0! | -242.268
333 |  |  |  |  | #DIV/0! | -243.299
334 |  |  |  |  | #DIV/0! | -244.3299
335 |  |  |  |  | #DIV/0! | -245.3608
336 |  |  |  |  | #DIV/0! | -246.3918
337 |  |  |  |  | #DIV/0! | -247.4227
338 |  |  |  |  | #DIV/0! | -248.4536
339 |  |  |  |  | #DIV/0! | -249.4845
340 |  |  |  |  | #DIV/0! | -250.5155
341 |  |  |  |  | #DIV/0! | -251.5464
342 |  |  |  |  | #DIV/0! | -252.5773
343 |  |  |  |  | #DIV/0! | -253.6082
344 |  |  |  |  | #DIV/0! | -254.6392
345 |  |  |  |  | #DIV/0! | -255.6701
346 |  |  |  |  | #DIV/0! | -256.701
347 |  |  |  |  | #DIV/0! | -257.732
348 |  |  |  |  | #DIV/0! | -258.7629
349 |  |  |  |  | #DIV/0! | -259.7938
350 |  |  |  |  | #DIV/0! | -260.8247
351 |  |  |  |  | #DIV/0! | -261.8557
352 |  |  |  |  | #DIV/0! | -262.8866
353 |  |  |  |  | #DIV/0! | -263.9175
354 |  |  |  |  | #DIV/0! | -264.9485
355 |  |  |  |  | #DIV/0! | -265.9794
356 |  |  |  |  | #DIV/0! | -267.0103
357 |  |  |  |  | #DIV/0! | -268.0412
358 |  |  |  |  | #DIV/0! | -269.0722
359 |  |  |  |  | #DIV/0! | -270.1031
360 |  |  |  |  | #DIV/0! | -271.134
361 |  |  |  |  | #DIV/0! | -272.1649
362 |  |  |  |  | #DIV/0! | -273.1959
363 |  |  |  |  | #DIV/0! | -274.2268
364 |  |  |  |  | #DIV/0! | -275.2577
365 |  |  |  |  | #DIV/0! | -276.2887
366 |  |  |  |  | #DIV/0! | -277.3196
367 |  |  |  |  | #DIV/0! | -278.3505
368 |  |  |  |  | #DIV/0! | -279.3814
369 |  |  |  |  | #DIV/0! | -280.4124
370 |  |  |  |  | #DIV/0! | -281.4433
371 |  |  |  |  | #DIV/0! | -282.4742
372 |  |  |  |  | #DIV/0! | -283.5052
373 |  |  |  |  | #DIV/0! | -284.5361
374 |  |  |  |  | #DIV/0! | -285.567
375 |  |  |  |  | #DIV/0! | -286.5979
376 |  |  |  |  | #DIV/0! | -287.6289
377 |  |  |  |  | #DIV/0! | -288.6598
378 |  |  |  |  | #DIV/0! | -289.6907
379 |  |  |  |  | #DIV/0! | -290.7216
380 |  |  |  |  | #DIV/0! | -291.7526
381 |  |  |  |  | #DIV/0! | -292.7835
382 |  |  |  |  | #DIV/0! | -293.8144
383 |  |  |  |  | #DIV/0! | -294.8454
384 |  |  |  |  | #DIV/0! | -295.8763
385 |  |  |  |  | #DIV/0! | -296.9072
386 |  |  |  |  | #DIV/0! | -297.9381
387 |  |  |  |  | #DIV/0! | -298.9691
388 |  |  |  |  | #DIV/0! | -300
389 |  |  |  |  | #DIV/0! | -301.0309
390 |  |  |  |  | #DIV/0! | -302.0619
391 |  |  |  |  | #DIV/0! | -303.0928
392 |  |  |  |  | #DIV/0! | -304.1237
393 |  |  |  |  | #DIV/0! | -305.1546
394 |  |  |  |  | #DIV/0! | -306.1856
395 |  |  |  |  | #DIV/0! | -307.2165
396 |  |  |  |  | #DIV/0! | -308.2474
397 |  |  |  |  | #DIV/0! | -309.2784
398 |  |  |  |  | #DIV/0! | -310.3093
399 |  |  |  |  | #DIV/0! | -311.3402
400 |  |  |  |  | #DIV/0! | -312.3711
401 |  |  |  |  | #DIV/0! | -313.4021
402 |  |  |  |  | #DIV/0! | -314.433
403 |  |  |  |  | #DIV/0! | -315.4639
404 |  |  |  |  | #DIV/0! | -316.4948
405 |  |  |  |  | #DIV/0! | -317.5258
406 |  |  |  |  | #DIV/0! | -318.5567
407 |  |  |  |  | #DIV/0! | -319.5876
408 |  |  |  |  | #DIV/0! | -320.6186
409 |  |  |  |  | #DIV/0! | -321.6495
410 |  |  |  |  | #DIV/0! | -322.6804
411 |  |  |  |  | #DIV/0! | -323.7113
412 |  |  |  |  | #DIV/0! | -324.7423
413 |  |  |  |  | #DIV/0! | -325.7732
414 |  |  |  |  | #DIV/0! | -326.8041
415 |  |  |  |  | #DIV/0! | -327.8351
416 |  |  |  |  | #DIV/0! | -328.866
417 |  |  |  |  | #DIV/0! | -329.8969
418 |  |  |  |  | #DIV/0! | -330.9278
419 |  |  |  |  | #DIV/0! | -331.9588
420 |  |  |  |  | #DIV/0! | -332.9897
421 |  |  |  |  | #DIV/0! | -334.0206
422 |  |  |  |  | #DIV/0! | -335.0515
423 |  |  |  |  | #DIV/0! | -336.0825
424 |  |  |  |  | #DIV/0! | -337.1134
425 |  |  |  |  | #DIV/0! | -338.1443
426 |  |  |  |  | #DIV/0! | -339.1753
427 |  |  |  |  | #DIV/0! | -340.2062
428 |  |  |  |  | #DIV/0! | -341.2371
429 |  |  |  |  | #DIV/0! | -342.268
430 |  |  |  |  | #DIV/0! | -343.299
431 |  |  |  |  | #DIV/0! | -344.3299
432 |  |  |  |  | #DIV/0! | -345.3608
433 |  |  |  |  | #DIV/0! | -346.3918
434 |  |  |  |  | #DIV/0! | -347.4227
435 |  |  |  |  | #DIV/0! | -348.4536
436 |  |  |  |  | #DIV/0! | -349.4845
437 |  |  |  |  | #DIV/0! | -350.5155
438 |  |  |  |  | #DIV/0! | -351.5464
439 |  |  |  |  | #DIV/0! | -352.5773
440 |  |  |  |  | #DIV/0! | -353.6082
441 |  |  |  |  | #DIV/0! | -354.6392
442 |  |  |  |  | #DIV/0! | -355.6701
443 |  |  |  |  | #DIV/0! | -356.701
444 |  |  |  |  | #DIV/0! | -357.732
445 |  |  |  |  | #DIV/0! | -358.7629
446 |  |  |  |  | #DIV/0! | -359.7938
447 |  |  |  |  | #DIV/0! | -360.8247
448 |  |  |  |  | #DIV/0! | -361.8557
449 |  |  |  |  | #DIV/0! | -362.8866
450 |  |  |  |  | #DIV/0! | -363.9175
451 |  |  |  |  | #DIV/0! | -364.9485
452 |  |  |  |  | #DIV/0! | -365.9794
453 |  |  |  |  | #DIV/0! | -367.0103
454 |  |  |  |  | #DIV/0! | -368.0412
455 |  |  |  |  | #DIV/0! | -369.0722
456 |  |  |  |  | #DIV/0! | -370.1031
457 |  |  |  |  | #DIV/0! | -371.134
458 |  |  |  |  | #DIV/0! | -372.1649
459 |  |  |  |  | #DIV/0! | -373.1959
460 |  |  |  |  | #DIV/0! | -374.2268
461 |  |  |  |  | #DIV/0! | -375.2577
462 |  |  |  |  | #DIV/0! | -376.2887
463 |  |  |  |  | #DIV/0! | -377.3196
464 |  |  |  |  | #DIV/0! | -378.3505
465 |  |  |  |  | #DIV/0! | -379.3814
466 |  |  |  |  | #DIV/0! | -380.4124
467 |  |  |  |  | #DIV/0! | -381.4433
468 |  |  |  |  | #DIV/0! | -382.4742
469 |  |  |  |  | #DIV/0! | -383.5052
470 |  |  |  |  | #DIV/0! | -384.5361
471 |  |  |  |  | #DIV/0! | -385.567
472 |  |  |  |  | #DIV/0! | -386.5979
473 |  |  |  |  | #DIV/0! | -387.6289
474 |  |  |  |  | #DIV/0! | -388.6598
475 |  |  |  |  | #DIV/0! | -389.6907
476 |  |  |  |  | #DIV/0! | -390.7216
477 |  |  |  |  | #DIV/0! | -391.7526
478 |  |  |  |  | #DIV/0! | -392.7835
479 |  |  |  |  | #DIV/0! | -393.8144
480 |  |  |  |  | #DIV/0! | -394.8454
481 |  |  |  |  | #DIV/0! | -395.8763
482 |  |  |  |  | #DIV/0! | -396.9072
483 |  |  |  |  | #DIV/0! | -397.9381
484 |  |  |  |  | #DIV/0! | -398.9691
485 |  |  |  |  | #DIV/0! | -400
486 |  |  |  |  | #DIV/0! | -401.0309
487 |  |  |  |  | #DIV/0! | -402.0619
488 |  |  |  |  | #DIV/0! | -403.0928
489 |  |  |  |  | #DIV/0! | -404.1237
490 |  |  |  |  | #DIV/0! | -405.1546
491 |  |  |  |  | #DIV/0! | -406.1856
492 |  |  |  |  | #DIV/0! | -407.2165
493 |  |  |  |  | #DIV/0! | -408.2474
494 |  |  |  |  | #DIV/0! | -409.2784
495 |  |  |  |  | #DIV/0! | -410.3093
496 |  |  |  |  | #DIV/0! | -411.3402
497 |  |  |  |  | #DIV/0! | -412.3711
498 |  |  |  |  | #DIV/0! | -413.4021
499 |  |  |  |  | #DIV/0! | -414.433
500 |  |  |  |  | #DIV/0! | -415.4639
501 |  |  |  |  | #DIV/0! | -416.4948
502 |  |  |  |  | #DIV/0! | -417.5258
503 |  |  |  |  | #DIV/0! | -418.5567
504 |  |  |  |  | #DIV/0! | -419.5876
505 |  |  |  |  | #DIV/0! | -420.6186
506 |  |  |  |  | #DIV/0! | -421.6495
507 |  |  |  |  | #DIV/0! | -422.6804
508 |  |  |  |  | #DIV/0! | -423.7113
509 |  |  |  |  | #DIV/0! | -424.7423
510 |  |  |  |  | #DIV/0! | -425.7732
511 |  |  |  |  | #DIV/0! | -426.8041
512 |  |  |  |  | #DIV/0! | -427.8351
513 |  |  |  |  | #DIV/0! | -428.866
514 |  |  |  |  | #DIV/0! | -429.8969
515 |  |  |  |  | #DIV/0! | -430.9278
516 |  |  |  |  | #DIV/0! | -431.9588
517 |  |  |  |  | #DIV/0! | -432.9897
518 |  |  |  |  | #DIV/0! | -434.0206
519 |  |  |  |  | #DIV/0! | -435.0515
520 |  |  |  |  | #DIV/0! | -436.0825
521 |  |  |  |  | #DIV/0! | -437.1134
522 |  |  |  |  | #DIV/0! | -438.1443
523 |  |  |  |  | #DIV/0! | -439.1753
524 |  |  |  |  | #DIV/0! | -440.2062
525 |  |  |  |  | #DIV/0! | -441.2371
526 |  |  |  |  | #DIV/0! | -442.268
527 |  |  |  |  | #DIV/0! | -443.299
528 |  |  |  |  | #DIV/0! | -444.3299
529 |  |  |  |  | #DIV/0! | -445.3608
530 |  |  |  |  | #DIV/0! | -446.3918
531 |  |  |  |  | #DIV/0! | -447.4227
532 |  |  |  |  | #DIV/0! | -448.4536
533 |  |  |  |  | #DIV/0! | -449.4845
534 |  |  |  |  | #DIV/0! | -450.5155
535 |  |  |  |  | #DIV/0! | -451.5464
536 |  |  |  |  | #DIV/0! | -452.5773
537 |  |  |  |  | #DIV/0! | -453.6082
538 |  |  |  |  | #DIV/0! | -454.6392
539 |  |  |  |  | #DIV/0! | -455.6701
540 |  |  |  |  | #DIV/0! | -456.701
541 |  |  |  |  | #DIV/0! | -457.732
542 |  |  |  |  | #DIV/0! | -458.7629
543 |  |  |  |  | #DIV/0! | -459.7938
544 |  |  |  |  | #DIV/0! | -460.8247
545 |  |  |  |  | #DIV/0! | -461.8557
546 |  |  |  |  | #DIV/0! | -462.8866
547 |  |  |  |  | #DIV/0! | -463.9175
548 |  |  |  |  | #DIV/0! | -464.9485
549 |  |  |  |  | #DIV/0! | -465.9794
550 |  |  |  |  | #DIV/0! | -467.0103
551 |  |  |  |  | #DIV/0! | -468.0412
552 |  |  |  |  | #DIV/0! | -469.0722
553 |  |  |  |  | #DIV/0! | -470.1031
554 |  |  |  |  | #DIV/0! | -471.134
555 |  |  |  |  | #DIV/0! | -472.1649
556 |  |  |  |  | #DIV/0! | -473.1959
557 |  |  |  |  | #DIV/0! | -474.2268
558 |  |  |  |  | #DIV/0! | -475.2577
559 |  |  |  |  | #DIV/0! | -476.2887
560 |  |  |  |  | #DIV/0! | -477.3196
561 |  |  |  |  | #DIV/0! | -478.3505
562 |  |  |  |  | #DIV/0! | -479.3814
563 |  |  |  |  | #DIV/0! | -480.4124
564 |  |  |  |  | #DIV/0! | -481.4433
565 |  |  |  |  | #DIV/0! | -482.4742
566 |  |  |  |  | #DIV/0! | -483.5052
567 |  |  |  |  | #DIV/0! | -484.5361
568 |  |  |  |  | #DIV/0! | -485.567
569 |  |  |  |  | #DIV/0! | -486.5979
570 |  |  |  |  | #DIV/0! | -487.6289
571 |  |  |  |  | #DIV/0! | -488.6598
572 |  |  |  |  | #DIV/0! | -489.6907
573 |  |  |  |  | #DIV/0! | -490.7216
574 |  |  |  |  | #DIV/0! | -491.7526
575 |  |  |  |  | #DIV/0! | -492.7835
576 |  |  |  |  | #DIV/0! | -493.8144
577 |  |  |  |  | #DIV/0! | -494.8454
578 |  |  |  |  | #DIV/0! | -495.8763
579 |  |  |  |  | #DIV/0! | -496.9072
580 |  |  |  |  | #DIV/0! | -497.9381
581 |  |  |  |  | #DIV/0! | -498.9691
582 |  |  |  |  | #DIV/0! | -500
583 |  |  |  |  | #DIV/0! | -501.0309
584 |  |  |  |  | #DIV/0! | -502.0619
585 |  |  |  |  | #DIV/0! | -503.0928
586 |  |  |  |  | #DIV/0! | -504.1237
587 |  |  |  |  | #DIV/0! | -505.1546
588 |  |  |  |  | #DIV/0! | -506.1856
589 |  |  |  |  | #DIV/0! | -507.2165
590 |  |  |  |  | #DIV/0! | -508.2474
591 |  |  |  |  | #DIV/0! | -509.2784
592 |  |  |  |  | #DIV/0! | -510.3093
593 |  |  |  |  | #DIV/0! | -511.3402
594 |  |  |  |  | #DIV/0! | -512.3711
595 |  |  |  |  | #DIV/0! | -513.4021
596 |  |  |  |  | #DIV/0! | -514.433
597 |  |  |  |  | #DIV/0! | -515.4639
598 |  |  |  |  | #DIV/0! | -516.4948
599 |  |  |  |  | #DIV/0! | -517.5258
600 |  |  |  |  | #DIV/0! | -518.5567
601 |  |  |  |  | #DIV/0! | -519.5876
602 |  |  |  |  | #DIV/0! | -520.6186
603 |  |  |  |  | #DIV/0! | -521.6495
604 |  |  |  |  | #DIV/0! | -522.6804
605 |  |  |  |  | #DIV/0! | -523.7113
606 |  |  |  |  | #DIV/0! | -524.7423
607 |  |  |  |  | #DIV/0! | -525.7732
608 |  |  |  |  | #DIV/0! | -526.8041
609 |  |  |  |  | #DIV/0! | -527.8351
610 |  |  |  |  | #DIV/0! | -528.866
611 |  |  |  |  | #DIV/0! | -529.8969
612 |  |  |  |  | #DIV/0! | -530.9278
613 |  |  |  |  | #DIV/0! | -531.9588
614 |  |  |  |  | #DIV/0! | -532.9897
615 |  |  |  |  | #DIV/0! | -534.0206
616 |  |  |  |  | #DIV/0! | -535.0515
617 |  |  |  |  | #DIV/0! | -536.0825
618 |  |  |  |  | #DIV/0! | -537.1134
619 |  |  |  |  | #DIV/0! | -538.1443
620 |  |  |  |  | #DIV/0! | -539.1753
621 |  |  |  |  | #DIV/0! | -540.2062
622 |  |  |  |  | #DIV/0! | -541.2371
623 |  |  |  |  | #DIV/0! | -542.268
624 |  |  |  |  | #DIV/0! | -543.299
625 |  |  |  |  | #DIV/0! | -544.3299
626 |  |  |  |  | #DIV/0! | -545.3608
627 |  |  |  |  | #DIV/0! | -546.3918
628 |  |  |  |  | #DIV/0! | -547.4227
629 |  |  |  |  | #DIV/0! | -548.4536
630 |  |  |  |  | #DIV/0! | -549.4845
631 |  |  |  |  | #DIV/0! | -550.5155
632 |  |  |  |  | #DIV/0! | -551.5464
633 |  |  |  |  | #DIV/0! | -552.5773
634 |  |  |  |  | #DIV/0! | -553.6082
635 |  |  |  |  | #DIV/0! | -554.6392
636 |  |  |  |  | #DIV/0! | -555.6701
637 |  |  |  |  | #DIV/0! | -556.701
638 |  |  |  |  | #DIV/0! | -557.732
639 |  |  |  |  | #DIV/0! | -558.7629
640 |  |  |  |  | #DIV/0! | -559.7938
641 |  |  |  |  | #DIV/0! | -560.8247
642 |  |  |  |  | #DIV/0! | -561.8557
643 |  |  |  |  | #DIV/0! | -562.8866
644 |  |  |  |  | #DIV/0! | -563.9175
645 |  |  |  |  | #DIV/0! | -564.9485
646 |  |  |  |  | #DIV/0! | -565.9794
647 |  |  |  |  | #DIV/0! | -567.0103
648 |  |  |  |  | #DIV/0! | -568.0412
649 |  |  |  |  | #DIV/0! | -569.0722
650 |  |  |  |  | #DIV/0! | -570.1031
651 |  |  |  |  | #DIV/0! | -571.134
652 |  |  |  |  | #DIV/0! | -572.1649
653 |  |  |  |  | #DIV/0! | -573.1959
654 |  |  |  |  | #DIV/0! | -574.2268
655 |  |  |  |  | #DIV/0! | -575.2577
656 |  |  |  |  | #DIV/0! | -576.2887
657 |  |  |  |  | #DIV/0! | -577.3196
658 |  |  |  |  | #DIV/0! | -578.3505
659 |  |  |  |  | #DIV/0! | -579.3814
660 |  |  |  |  | #DIV/0! | -580.4124
661 |  |  |  |  | #DIV/0! | -581.4433
662 |  |  |  |  | #DIV/0! | -582.4742
663 |  |  |  |  | #DIV/0! | -583.5052
664 |  |  |  |  | #DIV/0! | -584.5361
665 |  |  |  |  | #DIV/0! | -585.567
666 |  |  |  |  | #DIV/0! | -586.5979
667 |  |  |  |  | #DIV/0! | -587.6289
668 |  |  |  |  | #DIV/0! | -588.6598
669 |  |  |  |  | #DIV/0! | -589.6907
670 |  |  |  |  | #DIV/0! | -590.7216
671 |  |  |  |  | #DIV/0! | -591.7526
672 |  |  |  |  | #DIV/0! | -592.7835
673 |  |  |  |  | #DIV/0! | -593.8144
674 |  |  |  |  | #DIV/0! | -594.8454
675 |  |  |  |  | #DIV/0! | -595.8763
676 |  |  |  |  | #DIV/0! | -596.9072
677 |  |  |  |  | #DIV/0! | -597.9381
678 |  |  |  |  | #DIV/0! | -598.9691
679 |  |  |  |  | #DIV/0! | -600
680 |  |  |  |  | #DIV/0! | -601.0309
681 |  |  |  |  | #DIV/0! | -602.0619
682 |  |  |  |  | #DIV/0! | -603.0928
683 |  |  |  |  | #DIV/0! | -604.1237
684 |  |  |  |  | #DIV/0! | -605.1546
685 |  |  |  |  | #DIV/0! | -606.1856
686 |  |  |  |  | #DIV/0! | -607.2165
687 |  |  |  |  | #DIV/0! | -608.2474
688 |  |  |  |  | #DIV/0! | -609.2784
689 |  |  |  |  | #DIV/0! | -610.3093
690 |  |  |  |  | #DIV/0! | -611.3402
691 |  |  |  |  | #DIV/0! | -612.3711
692 |  |  |  |  | #DIV/0! | -613.4021
693 |  |  |  |  | #DIV/0! | -614.433
694 |  |  |  |  | #DIV/0! | -615.4639
695 |  |  |  |  | #DIV/0! | -616.4948
696 |  |  |  |  | #DIV/0! | -617.5258
697 |  |  |  |  | #DIV/0! | -618.5567
698 |  |  |  |  | #DIV/0! | -619.5876
699 |  |  |  |  | #DIV/0! | -620.6186
700 |  |  |  |  | #DIV/0! | -621.6495
701 |  |  |  |  | #DIV/0! | -622.6804
702 |  |  |  |  | #DIV/0! | -623.7113
703 |  |  |  |  | #DIV/0! | -624.7423
704 |  |  |  |  | #DIV/0! | -625.7732
705 |  |  |  |  | #DIV/0! | -626.8041
706 |  |  |  |  | #DIV/0! | -627.8351
707 |  |  |  |  | #DIV/0! | -628.866
708 |  |  |  |  | #DIV/0! | -629.8969
709 |  |  |  |  | #DIV/0! | -630.9278
710 |  |  |  |  | #DIV/0! | -631.9588
711 |  |  |  |  | #DIV/0! | -632.9897
712 |  |  |  |  | #DIV/0! | -634.0206
713 |  |  |  |  | #DIV/0! | -635.0515
714 |  |  |  |  | #DIV/0! | -636.0825
715 |  |  |  |  | #DIV/0! | -637.1134
716 |  |  |  |  | #DIV/0! | -638.1443
717 |  |  |  |  | #DIV/0! | -639.1753
718 |  |  |  |  | #DIV/0! | -640.2062
719 |  |  |  |  | #DIV/0! | -641.2371
720 |  |  |  |  | #DIV/0! | -642.268
721 |  |  |  |  | #DIV/0! | -643.299
722 |  |  |  |  | #DIV/0! | -644.3299
723 |  |  |  |  | #DIV/0! | -645.3608
724 |  |  |  |  | #DIV/0! | -646.3918
725 |  |  |  |  | #DIV/0! | -647.4227
726 |  |  |  |  | #DIV/0! | -648.4536
727 |  |  |  |  | #DIV/0! | -649.4845
728 |  |  |  |  | #DIV/0! | -650.5155
729 |  |  |  |  | #DIV/0! | -651.5464
730 |  |  |  |  | #DIV/0! | -652.5773
731 |  |  |  |  | #DIV/0! | -653.6082
732 |  |  |  |  | #DIV/0! | -654.6392
733 |  |  |  |  | #DIV/0! | -655.6701
734 |  |  |  |  | #DIV/0! | -656.701
735 |  |  |  |  | #DIV/0! | -657.732
736 |  |  |  |  | #DIV/0! | -658.7629
737 |  |  |  |  | #DIV/0! | -659.7938
738 |  |  |  |  | #DIV/0! | -660.8247
739 |  |  |  |  | #DIV/0! | -661.8557
740 |  |  |  |  | #DIV/0! | -662.8866
741 |  |  |  |  | #DIV/0! | -663.9175
742 |  |  |  |  | #DIV/0! | -664.9485
743 |  |  |  |  | #DIV/0! | -665.9794
744 |  |  |  |  | #DIV/0! | -667.0103
745 |  |  |  |  | #DIV/0! | -668.0412
746 |  |  |  |  | #DIV/0! | -669.0722
747 |  |  |  |  | #DIV/0! | -670.1031
748 |  |  |  |  | #DIV/0! | -671.134
749 |  |  |  |  | #DIV/0! | -672.1649
750 |  |  |  |  | #DIV/0! | -673.1959
751 |  |  |  |  | #DIV/0! | -674.2268
752 |  |  |  |  | #DIV/0! | -675.2577
753 |  |  |  |  | #DIV/0! | -676.2887
754 |  |  |  |  | #DIV/0! | -677.3196
755 |  |  |  |  | #DIV/0! | -678.3505
756 |  |  |  |  | #DIV/0! | -679.3814
757 |  |  |  |  | #DIV/0! | -680.4124
758 |  |  |  |  | #DIV/0! | -681.4433
759 |  |  |  |  | #DIV/0! | -682.4742
760 |  |  |  |  | #DIV/0! | -683.5052
761 |  |  |  |  | #DIV/0! | -684.5361
762 |  |  |  |  | #DIV/0! | -685.567
763 |  |  |  |  | #DIV/0! | -686.5979
764 |  |  |  |  | #DIV/0! | -687.6289
765 |  |  |  |  | #DIV/0! | -688.6598
766 |  |  |  |  | #DIV/0! | -689.6907
767 |  |  |  |  | #DIV/0! | -690.7216
768 |  |  |  |  | #DIV/0! | -691.7526
769 |  |  |  |  | #DIV/0! | -692.7835
770 |  |  |  |  | #DIV/0! | -693.8144
771 |  |  |  |  | #DIV/0! | -694.8454
772 |  |  |  |  | #DIV/0! | -695.8763
773 |  |  |  |  | #DIV/0! | -696.9072
774 |  |  |  |  | #DIV/0! | -697.9381
775 |  |  |  |  | #DIV/0! | -698.9691
776 |  |  |  |  | #DIV/0! | -700
777 |  |  |  |  | #DIV/0! | -701.0309
778 |  |  |  |  | #DIV/0! | -702.0619
779 |  |  |  |  | #DIV/0! | -703.0928
780 |  |  |  |  | #DIV/0! | -704.1237
781 |  |  |  |  | #DIV/0! | -705.1546
782 |  |  |  |  | #DIV/0! | -706.1856
783 |  |  |  |  | #DIV/0! | -707.2165
784 |  |  |  |  | #DIV/0! | -708.2474
785 |  |  |  |  | #DIV/0! | -709.2784
786 |  |  |  |  | #DIV/0! | -710.3093
787 |  |  |  |  | #DIV/0! | -711.3402
788 |  |  |  |  | #DIV/0! | -712.3711
789 |  |  |  |  | #DIV/0! | -713.4021
790 |  |  |  |  | #DIV/0! | -714.433
791 |  |  |  |  | #DIV/0! | -715.4639
792 |  |  |  |  | #DIV/0! | -716.4948
793 |  |  |  |  | #DIV/0! | -717.5258
794 |  |  |  |  | #DIV/0! | -718.5567
795 |  |  |  |  | #DIV/0! | -719.5876
796 |  |  |  |  | #DIV/0! | -720.6186
797 |  |  |  |  | #DIV/0! | -721.6495
798 |  |  |  |  | #DIV/0! | -722.6804
799 |  |  |  |  | #DIV/0! | -723.7113
800 |  |  |  |  | #DIV/0! | -724.7423
801 |  |  |  |  | #DIV/0! | -725.7732
802 |  |  |  |  | #DIV/0! | -726.8041
803 |  |  |  |  | #DIV/0! | -727.8351
804 |  |  |  |  | #DIV/0! | -728.866
805 |  |  |  |  | #DIV/0! | -729.8969
806 |  |  |  |  | #DIV/0! | -730.9278
807 |  |  |  |  | #DIV/0! | -731.9588
808 |  |  |  |  | #DIV/0! | -732.9897
809 |  |  |  |  | #DIV/0! | -734.0206
810 |  |  |  |  | #DIV/0! | -735.0515
811 |  |  |  |  | #DIV/0! | -736.0825
812 |  |  |  |  | #DIV/0! | -737.1134
813 |  |  |  |  | #DIV/0! | -738.1443
814 |  |  |  |  | #DIV/0! | -739.1753
815 |  |  |  |  | #DIV/0! | -740.2062
816 |  |  |  |  | #DIV/0! | -741.2371
817 |  |  |  |  | #DIV/0! | -742.268
818 |  |  |  |  | #DIV/0! | -743.299
819 |  |  |  |  | #DIV/0! | -744.3299
820 |  |  |  |  | #DIV/0! | -745.3608
821 |  |  |  |  | #DIV/0! | -746.3918
822 |  |  |  |  | #DIV/0! | -747.4227
823 |  |  |  |  | #DIV/0! | -748.4536
824 |  |  |  |  | #DIV/0! | -749.4845
825 |  |  |  |  | #DIV/0! | -750.5155
826 |  |  |  |  | #DIV/0! | -751.5464
827 |  |  |  |  | #DIV/0! | -752.5773
828 |  |  |  |  | #DIV/0! | -753.6082
829 |  |  |  |  | #DIV/0! | -754.6392
830 |  |  |  |  | #DIV/0! | -755.6701
831 |  |  |  |  | #DIV/0! | -756.701
832 |  |  |  |  | #DIV/0! | -757.732
833 |  |  |  |  | #DIV/0! | -758.7629
834 |  |  |  |  | #DIV/0! | -759.7938
835 |  |  |  |  | #DIV/0! | -760.8247
836 |  |  |  |  | #DIV/0! | -761.8557
837 |  |  |  |  | #DIV/0! | -762.8866
838 |  |  |  |  | #DIV/0! | -763.9175
839 |  |  |  |  | #DIV/0! | -764.9485
840 |  |  |  |  | #DIV/0! | -765.9794
841 |  |  |  |  | #DIV/0! | -767.0103
842 |  |  |  |  | #DIV/0! | -768.0412
843 |  |  |  |  | #DIV/0! | -769.0722
844 |  |  |  |  | #DIV/0! | -770.1031
845 |  |  |  |  | #DIV/0! | -771.134
846 |  |  |  |  | #DIV/0! | -772.1649
847 |  |  |  |  | #DIV/0! | -773.1959
848 |  |  |  |  | #DIV/0! | -774.2268
849 |  |  |  |  | #DIV/0! | -775.2577
850 |  |  |  |  | #DIV/0! | -776.2887
851 |  |  |  |  | #DIV/0! | -777.3196
852 |  |  |  |  | #DIV/0! | -778.3505
853 |  |  |  |  | #DIV/0! | -779.3814
854 |  |  |  |  | #DIV/0! | -780.4124
855 |  |  |  |  | #DIV/0! | -781.4433
856 |  |  |  |  | #DIV/0! | -782.4742
857 |  |  |  |  | #DIV/0! | -783.5052
858 |  |  |  |  | #DIV/0! | -784.5361
859 |  |  |  |  | #DIV/0! | -785.567
860 |  |  |  |  | #DIV/0! | -786.5979
861 |  |  |  |  | #DIV/0! | -787.6289
862 |  |  |  |  | #DIV/0! | -788.6598
863 |  |  |  |  | #DIV/0! | -789.6907
864 |  |  |  |  | #DIV/0! | -790.7216
865 |  |  |  |  | #DIV/0! | -791.7526
866 |  |  |  |  | #DIV/0! | -792.7835
867 |  |  |  |  | #DIV/0! | -793.8144
868 |  |  |  |  | #DIV/0! | -794.8454
869 |  |  |  |  | #DIV/0! | -795.8763
870 |  |  |  |  | #DIV/0! | -796.9072
871 |  |  |  |  | #DIV/0! | -797.9381
872 |  |  |  |  | #DIV/0! | -798.9691
873 |  |  |  |  | #DIV/0! | -800
874 |  |  |  |  | #DIV/0! | -801.0309
875 |  |  |  |  | #DIV/0! | -802.0619
876 |  |  |  |  | #DIV/0! | -803.0928
877 |  |  |  |  | #DIV/0! | -804.1237
878 |  |  |  |  | #DIV/0! | -805.1546
879 |  |  |  |  | #DIV/0! | -806.1856
880 |  |  |  |  | #DIV/0! | -807.2165
881 |  |  |  |  | #DIV/0! | -808.2474
882 |  |  |  |  | #DIV/0! | -809.2784
883 |  |  |  |  | #DIV/0! | -810.3093
884 |  |  |  |  | #DIV/0! | -811.3402
885 |  |  |  |  | #DIV/0! | -812.3711
886 |  |  |  |  | #DIV/0! | -813.4021
887 |  |  |  |  | #DIV/0! | -814.433
888 |  |  |  |  | #DIV/0! | -815.4639
889 |  |  |  |  | #DIV/0! | -816.4948
890 |  |  |  |  | #DIV/0! | -817.5258
891 |  |  |  |  | #DIV/0! | -818.5567
892 |  |  |  |  | #DIV/0! | -819.5876
893 |  |  |  |  | #DIV/0! | -820.6186
894 |  |  |  |  | #DIV/0! | -821.6495
895 |  |  |  |  | #DIV/0! | -822.6804
896 |  |  |  |  | #DIV/0! | -823.7113
897 |  |  |  |  | #DIV/0! | -824.7423
898 |  |  |  |  | #DIV/0! | -825.7732
899 |  |  |  |  | #DIV/0! | -826.8041
900 |  |  |  |  | #DIV/0! | -827.8351
901 |  |  |  |  | #DIV/0! | -828.866
902 |  |  |  |  | #DIV/0! | -829.8969
903 |  |  |  |  | #DIV/0! | -830.9278
904 |  |  |  |  | #DIV/0! | -831.9588
905 |  |  |  |  | #DIV/0! | -832.9897
906 |  |  |  |  | #DIV/0! | -834.0206
907 |  |  |  |  | #DIV/0! | -835.0515
908 |  |  |  |  | #DIV/0! | -836.0825
909 |  |  |  |  | #DIV/0! | -837.1134
910 |  |  |  |  | #DIV/0! | -838.1443
911 |  |  |  |  | #DIV/0! | -839.1753
912 |  |  |  |  | #DIV/0! | -840.2062
913 |  |  |  |  | #DIV/0! | -841.2371
914 |  |  |  |  | #DIV/0! | -842.268
915 |  |  |  |  | #DIV/0! | -843.299
916 |  |  |  |  | #DIV/0! | -844.3299
917 |  |  |  |  | #DIV/0! | -845.3608
918 |  |  |  |  | #DIV/0! | -846.3918
919 |  |  |  |  | #DIV/0! | -847.4227
920 |  |  |  |  | #DIV/0! | -848.4536
921 |  |  |  |  | #DIV/0! | -849.4845
922 |  |  |  |  | #DIV/0! | -850.5155
923 |  |  |  |  | #DIV/0! | -851.5464
924 |  |  |  |  | #DIV/0! | -852.5773
925 |  |  |  |  | #DIV/0! | -853.6082
926 |  |  |  |  | #DIV/0! | -854.6392
927 |  |  |  |  | #DIV/0! | -855.6701
928 |  |  |  |  | #DIV/0! | -856.701
929 |  |  |  |  | #DIV/0! | -857.732
930 |  |  |  |  | #DIV/0! | -858.7629
931 |  |  |  |  | #DIV/0! | -859.7938
932 |  |  |  |  | #DIV/0! | -860.8247
933 |  |  |  |  | #DIV/0! | -861.8557
934 |  |  |  |  | #DIV/0! | -862.8866
935 |  |  |  |  | #DIV/0! | -863.9175
936 |  |  |  |  | #DIV/0! | -864.9485
937 |  |  |  |  | #DIV/0! | -865.9794
938 |  |  |  |  | #DIV/0! | -867.0103
939 |  |  |  |  | #DIV/0! | -868.0412
940 |  |  |  |  | #DIV/0! | -869.0722
941 |  |  |  |  | #DIV/0! | -870.1031
942 |  |  |  |  | #DIV/0! | -871.134
943 |  |  |  |  | #DIV/0! | -872.1649
944 |  |  |  |  | #DIV/0! | -873.1959
945 |  |  |  |  | #DIV/0! | -874.2268
946 |  |  |  |  | #DIV/0! | -875.2577
947 |  |  |  |  | #DIV/0! | -876.2887
948 |  |  |  |  | #DIV/0! | -877.3196
949 |  |  |  |  | #DIV/0! | -878.3505
950 |  |  |  |  | #DIV/0! | -879.3814
951 |  |  |  |  | #DIV/0! | -880.4124
952 |  |  |  |  | #DIV/0! | -881.4433
953 |  |  |  |  | #DIV/0! | -882.4742
954 |  |  |  |  | #DIV/0! | -883.5052
955 |  |  |  |  | #DIV/0! | -884.5361
956 |  |  |  |  | #DIV/0! | -885.567
957 |  |  |  |  | #DIV/0! | -886.5979
958 |  |  |  |  | #DIV/0! | -887.6289
959 |  |  |  |  | #DIV/0! | -888.6598
960 |  |  |  |  | #DIV/0! | -889.6907
961 |  |  |  |  | #DIV/0! | -890.7216
962 |  |  |  |  | #DIV/0! | -891.7526
963 |  |  |  |  | #DIV/0! | -892.7835
964 |  |  |  |  | #DIV/0! | -893.8144
965 |  |  |  |  | #DIV/0! | -894.8454
966 |  |  |  |  | #DIV/0! | -895.8763
967 |  |  |  |  | #DIV/0! | -896.9072
968 |  |  |  |  | #DIV/0! | -897.9381
969 |  |  |  |  | #DIV/0! | -898.9691
970 |  |  |  |  | #DIV/0! | -900
971 |  |  |  |  | #DIV/0! | -901.0309
972 |  |  |  |  | #DIV/0! | -902.0619
973 |  |  |  |  | #DIV/0! | -903.0928
974 |  |  |  |  | #DIV/0! | -904.1237
975 |  |  |  |  | #DIV/0! | -905.1546
976 |  |  |  |  | #DIV/0! | -906.1856
977 |  |  |  |  | #DIV/0! | -907.2165
978 |  |  |  |  | #DIV/0! | -908.2474
979 |  |  |  |  | #DIV/0! | -909.2784
980 |  |  |  |  | #DIV/0! | -910.3093
981 |  |  |  |  | #DIV/0! | -911.3402
982 |  |  |  |  | #DIV/0! | -912.3711
983 |  |  |  |  | #DIV/0! | -913.4021
984 |  |  |  |  | #DIV/0! | -914.433
985 |  |  |  |  | #DIV/0! | -915.4639
986 |  |  |  |  | #DIV/0! | -916.4948
987 |  |  |  |  | #DIV/0! | -917.5258
988 |  |  |  |  | #DIV/0! | -918.5567
989 |  |  |  |  | #DIV/0! | -919.5876
990 |  |  |  |  | #DIV/0! | -920.6186
991 |  |  |  |  | #DIV/0! | -921.6495
992 |  |  |  |  | #DIV/0! | -922.6804
993 |  |  |  |  | #DIV/0! | -923.7113
994 |  |  |  |  | #DIV/0! | -924.7423
995 |  |  |  |  | #DIV/0! | -925.7732
996 |  |  |  |  | #DIV/0! | -926.8041
997 |  |  |  |  | #DIV/0! | -927.8351
998 |  |  |  |  | #DIV/0! | -928.866
999 |  |  |  |  | #DIV/0! | -929.8969
1000 |  |  |  |  | #DIV/0! | -930.9278
To Rate an Individual Building 1. Calculate the source energy use per sq. ft. (EUI) of your building by typing over the example entries shaded in blue below. 2. Your rating is shown below (find by entering plot on x-axis at your EUI, moving vertical to curve, then left to find rating (see diamond). 3. A high rating indicates high efficiency. Buildings rating below 50 often have sizeable to dramatic energy cost reduction potential.
Create a Rating System for Building Energy Performance Use your building energy use data and this spreadsheet to create a chart for rating the energy performance of your buildings. The one below is for 97 K-12 schools. If you have data on twenty or more buildings of the same type (offices, schools, etc.), the distribution created can provide reliable energy performance ratings for your buildings. Page down to type or paste in your data and create your distribution. The higher your rating, the better your building. The rating is the percent of similar buildings in your area using more energy.

## Sheet1
Edit | Scope
2008-07-11 | Chgd multiplier from 10.3 to 11.4.