SUPPORTING STATEMENT FOR

MEDICAL DEVICES; MEDICAL DEVICE REPORTING:

MANUFACTURER REPORTING; IMPORTER REPORTING,

USER FACILITY REPORTING, DISTRIBUTOR REPORTING

0910-0437

A.	JUSTIFICATION

1.	Circumstances Necessitating Information Collection

Section 519(a)(b)&(c) of the Federal Food Drug and Cosmetic Act (Tab A) requires user facilities, manufacturers, and importers of medical devices to report adverse events involving medical devices to the Food and Drug Administration (FDA).  On December 11, 1995, FDA published a notice of rule making amending 21 CFR 803 implementing section 519 of the Act.  The regulation (Tab B) was amended to conform with the changes reflected in the 1997 FDA Modernization Act (FDAMA).

21 CFR 803.20 - Reporting

Medical device user facilities, importers, and manufacturers are required to submit individual medical device adverse event reports on the FDA MedWatch 3500A, approved under OMB No. 0910-0291.

21 CFR 803.19 - Reporting

Under this rule section 803.19 was modified to allow manufacturers, importers, or user facilities of medical devices to request an exemption or variance from the Medical Device Reporting requirements (MDR), 21CFR803.30, 803.40, 803.50.

21 CFR 803.30 - Reporting

Under this rule user facilities are required to submit MDR reports when a device causes or contributes to a death or serious injury.

21 CFR 803.33 - Reporting

Under this rule user facilities are required to annually submit the number and summary of events reported during the previous calendar year.  (Tab C)

21 CFR 803.40 - Reporting

Under this rule importers of medical devices are required to submit MDR death and serious injury reports to the manufacturer and the FDA.  Importers send malfunction reports to the manufacturers of the problem devices, unless they are unknown, then the reports are submitted to FDA.

21 CFR 803.50 & 803.53 - Reporting

Under this rule manufacturers of medical devices are required to submit MDR death, serious injury, and malfunction reports.

21 CFR 803.55 - Reporting

This section requires manufacturers to submit certain baseline information with their first MDR report and update the information annually.  The information is collected on FDA Form 3417.  (Tab D)

21 CFR 803.18 (c) & (d) - Recordkeeping

Under this rule, section 803.18 (c), user facilities are required to retain for two years copies of medical device adverse event reports submitted to FDA under this rule.  Manufacturers and importers of medical devices are required to retain for two years after the date of event, or the expected life of the device which ever is greater, copies of medical device adverse event reports submitted to FDA under this rule.

Under section 803.18 (d) distributors of medical devices are required to establish complaint records and to retain them for two years after the date of event, or the expected life of the device which ever is greater.   FDAMA removed the requirement that medical device distributors submit MDR reports to FDA.

2	By Whom and for What Purpose the Information is to be Used

Information from these reports will be used to evaluate risks associated with medical devices and to enable FDA to take appropriate regulatory measures to protect the public health.

3.	Consideration of Information Technology

The final rule, 21CFR803.14, allows alternative appropriate technology.  Reports can be electronically submitted with prior written consent from FDA.  FDA has implemented a program for electronic submission of reports.  It is currently evaluating the feasibility of expanding the program.

4.	Efforts to Identify Duplication and Similar Information Already Available

The FDA is the only Federal agency responsible for the collection of such information, and charged with the responsibility of regulating medical devices and establishments.  Therefore, duplication with other data sources is nonexistent.

5.	Small Businesses

The requirements set forth in the MDR regulation do not fall disproportionately upon small businesses.  The threshold assessment conducted for this regulation shows that no more than 22 percent of the anticipated annual impact of the regulation should be attributed to small business establishments.  The FDA continues to pursue ways and means of reducing the reporting burden for both small and large medical device manufacturers and will continue to employ the latest technology for receipt of reports, consistent with the intent of the MDR regulation and protection of the public health.

FDA aids small business by providing guidance and information through the Center for Devices and Radiological Health’s Division of Small Manufacturers International and Consumer Assistance (DSMICA).    The Division produces workshops, on-site evaluations and other technical and non-financial assistance to small manufacturers.  In the workshops publications and educational materials, which include medical device reporting requirements, are generously distributed.   DSMICA also maintains a toll-free "800" telephone number which firms may use to obtain regulatory compliance information.    CDRH also has a postmarket and MDR reporting information site with detailed guidance and instructions on the Internet.

6.	Consequences of Less Frequent Information Collection and Technical or Legal Obstacles.

FDA has allowed manufacturers to report less frequently for certain well understood products and events.

7.	Consistency with the Guidelines in 5 CFR 1320.5

This regulation is consistent with principles in 5 CFR 1320.5.

8.	Consultation Outside the Agency

The Medical Device Reporting (MDR) regulation promulgated pursuant to the Safe Medical Devices Act of 1990 and the Medical Device Amendment of 1992 were finalized on December 11, 1995.  Since that time, the agency has been in constant consultation with regulated industry regarding the MDR requirements.  The amendments to the MDR requirements, required by FDAMA, reflect and respond to the concerns of industry.

In accordance with 5 CFR 1320.8(d), on October 1, 2002, a 60-day notice for public comment was published in the Federal Register (67 FR 61638).  FDA received no comments.

9.	Payments or Gifts to Respondents

No payment or gifts shall be provided to respondents under this regulation.

10.	Confidentiality of Information

Information contained in the information collections are available as described by 21 CFR 803.9, as amended.  FDA may disclose the identity of a device user facility only in connection with an action concerning a failure to report or false or fraudulent reporting, in a communication to the manufacturer of the device, or to the employees of the Department of Health and Human Services, the Department of Justice, and duly authorized committees and subcommittees of Congress.

11.	Sensitive Questions

The information collection does not include questions concerning sex, behavior, attitudes, religious beliefs, or private matters.

12.	Estimates of Burden Hours and Explanation

The following is a summary of the estimated annual burden hours for medical device manufacturers, importers, and user facilities to report, as well as distributors to maintain records, in compliance with the provisions imposed by this rule:

FDA estimates the burden of this collection of information as follows:

Table 1--Estimated Annual Reporting Burden1

|  | No. of Respondents | Annual Frequency of Response | Total Annual Responses | Hours per Response | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 803.19 | 35 | 4 | 140 | 3 | 420 |
| 803.30 | 1000 | 3 | 3000 | 1 | 3000 |
| 803.33 FDA Form 3419 | 1000 | 1 | 1000 | 1 | 1000 |
| 803.40 | 50 | 10 | 500 | 1 | 500 |
| 803.50 | 1500 | 34 | 51000 | 1 | 51000 |
| 803.55 FDA Form 3417 | 700 | 5 | 3500 | 1 | 3500 |
| Total |  |  |  |  | 59420 |

1 There are no capital costs or operating and maintenance costs associated with this collection of information.

Table 2--Estimated Annual Recordkeeping Burden1

| 21 CFR Section | No. of Record keepers | Annual Frequency of Record keeping | Total Annual Records | Hours per Recordkeeper | Total Hours |
| --- | --- | --- | --- | --- | --- |
| 803.17 | 1800 | 1 | 1800 | 3.3 | 5940 |
| 803.18 (c) & (d) | 37550 | 1 | 37550 | 1.5 | 56325 |
| Total |  |  |  |  | 62265 |

1 There are no capital costs or operating and maintenance costs associated with this collection of information.

Respondents to this collection of information are businesses or other for profit and non-profit organizations including user facilities, manufacturers, and importers of medical devices.

The burden cost below is based on an average wage rate of $25 per hour, which represents a rate of low-to-medium salaried employees.  FDA estimates, based on its experience and interaction with industry, that the group of workers represented by this wage rate will be doing most of the reporting and recordkeeping functions described in this information collection.

The burdens are explained as follows:

Reporting Requirements

21 CFR 803 requires user facilities to report incidents where a medical device caused or contributed a death or serious injury to the device manufacturer and to FDA in the case of a death.  Manufacturers of medical devices are required to report to FDA when they become aware of information indicating that one of their devices may have caused or contributed to death or serious injury or has malfunctioned in such a way that should the malfunction recur it would be likely to cause or contribute to a death or serious injury.   Device importers report deaths and serious injuries to the manufacturers and FDA.   Importers report malfunctions only to the manufacturers, unless they are unknown, then the reports are sent to FDA.

The number of respondents for each CFR section in the reporting table above is based upon the number of respondents entered into FDA’s internal databases.  FDA estimates, based on its experience and interaction with the medical device community, that all reporting CFR sections are expected to take one hour to complete with the exception of 21 CFR 803.19.  Section 803.19 is expected to take approximately 3 hours to complete because it is a new program and each respondent summarizes event data on a quarterly basis, but is only required to report the summarized data quarterly to FDA.  By summarizing events, the total time used to report for this section is reduced because the respondents do not submit a full report for each event they report in a quarterly summary report.

The total amount estimated for reporting, therefore, based on the figures above, is estimated to be $1,485,500 (59,420 x $25).

Recordkeeping Requirements

The agency believes that the majority of manufacturers, user facilities, and importers have already established written procedures to document complaints and information to meet the MDR requirements as part of their internal quality control system.  There are an estimated 35,000 medical device distributors.  Although they do not submit MDR reports, they must maintain records of complaints, under 803.18(d).

The agency has estimated that on average, 1,800 user facilities, importers, and manufacturers would annually be required to establish new procedures, or revise existing procedures, in order to comply with this provision.

Therefore, FDA estimates the one-time cost to respondents for establishing or revising procedures to be $450,000, or $250 per entity (1,800 respondents x 10 hours x $25).  For those entities, a one-time burden of 10 hours is estimated for establishing written MDR procedures. The remaining manufacturers, user facilities, and importers, not required to revise their written procedures to comply with this provision, are excluded from the burden because the recordkeeping activities needed to comply with this provision are considered ``usual and customary'' under 5 CFR 1320.3(b)(2).

The annual cost for recordkeeping to respondents is as follows.  Under Section 803.17, FDA estimates 1800 respondents will spend approximately 3.3 hours to complete the requirements for this section.  The number of respondents was estimated by consolidating the total of all new reporting entities together.  The 3.3 hours was estimated by FDA, as this section deals with a respondent creating new MDR procedures, and is a one-time function.  Total hours for this section is approximately 5940 hours.

Under section 803.18, 37,550 respondents represent distributors, importers, and other respondents to this information collection.  FDA estimates that it should take them approximately one and one-half hours to complete the recordkeeping requirement for this section.  Total hours for this section equal 62,265 hours.

Therefore the total recordkeeping costs, at $25 per hour, associated with this collection are estimated at $1,556,625.

13.	Annual Costs to Respondents

Because this rule imposes no new additional responsibilities on respondents, no capital or operational expenses are expected as a result of this rule.

14.	Government Costs:

Because this rule does not require the processing of any additional reports by the government, no additional costs to the government will be incurred as a result of this rule.

15.	Changes in Burden

Since this collection was last approved by OMB, user facilities converted to annual reporting.  In theory, this should have reduced, rather than increased burden hours for this collection.  However, the total amount of burden hours have increased by 30,379 hours because of at least two changes since the last time this collection was approved.

First, program changes were made so that device distributors no longer submit reports of adverse events to manufacturers or FDA.  Although reports no longer need to be submitted to FDA, device distributors must still maintain records of complaints.

Second, after careful review in preparation for this submission, it was noted that the burden formerly associated with distributors’ reports was not previously transferred from the reporting to the recordkeeping burden section.  As stated above, although distributors do not report, they must continue to maintain records of any complaint.

16.	Statistical Reporting

No publication of information for statistical use is planned.

17.	Exemption for Display of Effective Date

FDA is not seeking an exemption of display of effective date.

18.	Exception to Certification Statement

There are no exceptions to the certification statement identified in Item 19 of OMB Form 83-I.

List of Attachments:

Tab A- Section 519 of the Act

Tab B - 21 CFR 803

Tab C - User Facility Annual Report form FDA 3419

Tab D - Baseline Report FDA Form 3417