1.	Replace the Schedule of Item with this Schedule of Items.

Schedule of Items

| Type 1 - Canopy (includes setup/takedown) | Rate per Square Foot: Daily $_____________ To be used for CBA Calculation and Weekly $_____________ for computing the payment rates Monthly $_____________ proposed below |
| --- | --- |
| 40 x 40 | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| 40 x 60 | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| 40 x 80 | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| Type 2 - Canopy (includes setup/takedown) | Rate per Square Foot: Daily $_____________ To be used for CBA Calculation and Weekly $_____________ for computing the payment rates Monthly $_____________ proposed below |
| 20 x 40 | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| 20 x 60 | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |

| Type 3 - Tent (501 – 700 sq. ft) (includes setup/takedown) | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| --- | --- | --- |
| Type 4 - Tent (200 – 500 sq. ft) (includes setup/takedown) | Daily Rate Weekly Rate Monthly Rate | $_____________ $_____________ $_____________ |
| Sidewalls (Type 1 & 2) | Lineal Foot | $_____________ |
| Delivery/Pickup | Mileage Rate | $_____________ |
| Relocation Charge (per tent/canopy) | Type 1 & 2 Canopy Type 3 & 4 Tent | $_____________/each $_____________/each |
| Optional Items: If offering either of the following items as part of your proposal, provide a price list and product description. A separate resource order number must be provided when optional items are ordered. Generator ADA Accessible Tent Cooling (Canopy - Type 1 & 2) Offers may be submitted on any or all Types. |

2.	Section D.1 Scope of Agreement, replace the first sentence with the following:

D.1	SCOPE OF AGREEMENT

The intent of this solicitation and any resultant Agreement is to obtain canopies and tents for use on a local, Regional and Nationwide basis.

3.	Section D.2.1 Contractor Provided Equipment, replace in its entirety with the following:

D.2	EQUIPMENT REQUIREMENTS

D.2.1	Contractor Provided Equipment

D.2.1.1	Minimum Requirements - Canopy Type 1 & 2

(a)	Meet the requirements of NFPA 101 Life Safety Code, NFPA 102 Standard for Grandstands, Folding & Telescopic Seating, Tents, and Membrane Structures; and all tent fabric shall meet the flame propagation performance criteria contained in NFPA 701.

(b)	Must meet International Fire Code (IFC) 2403.12 requirements for egress

(c)	Cooling unit (optional) adequate to maintain a temperature 15 degrees less than the outdoor temperature (if ordered)

(d)	Freestanding with self-supporting internal frame, minimum six-foot (6') side walls

(e)	Adequate artificial lighting for office environment

(f)	100 ft. of electrical cord with a minimum of four (4) power outlets to connect to generator or local power of sufficient gauge to power lighting, cooling and small electrical appliances such as laptop computers, chargers for phones or PDAs and printers.

(g)	Set-up must be completed in accordance with industry standards, within 12 hours after arrival at camp, unless otherwise negotiated.

(h)	Company's name and a unique identification number (min. 4") shall be affixed to the tent in a conspicuous location.

(i)	The Contractor is not required to provide daily maintenance of equipment; however shall provide basic operating instructions for any equipment such as cooling units.

D.2.1.2	Minimum Requirements - Tent Type 3 & 4

(a)	Meet the requirements of NFPA 101 Life Safety Code, NFPA 102 Standard for Grandstands, Folding & Telescopic Seating, Tents, and Membrane Structures; and all tent fabric shall meet the flame propagation performance criteria contained in NFPA 701.

(b)	Cooling unit adequate to maintain a temperature 15 degrees less than the outdoor temperature.

(c)	Water and slip resistant flooring

(d)	Freestanding with self-supporting internal frame, minimum six-foot (6') side walls (no center poles)

(e)	Adequate artificial lighting for office environment

(f)	100 ft. of electrical cord with a minimum of four (4) power outlets to connect to generator or local power of sufficient gauge to power lighting, cooling and small electrical appliances such as laptop computers, chargers for phones or PDAs and printers.

(g)	Windows with clear panel view, screened, and privacy flap.

(h)	Doors (hinged, framed), minimum size (Type 3 46" W x 72" H) (Type 4 - 22" W x 72" H)

(i)	Set-up must be completed in accordance with industry standards, within 12 hours after arrival at camp, unless otherwise negotiated.

(j)	Company's name and a unique identification number (min. 4") shall be affixed to the tent in a conspicuous location.

(k)	The Contractor is not required to provide daily maintenance of equipment; however shall provide basic operating instructions for any equipment such as cooling units.

D.2.2	Optional

(a)	Generator, with a decibel rating no greater than 68 at 50 feet.

(b)	ADA Accessible Tent

(c)	Cooling (Canopy - Type 1 & 2)

4.	Section D.6.2 Ranking of Awarded Equipment for Dispatch Priority, replace in its entirety with the following:

D.6	ORDERING PROTOCOL FOR RESOURCES

D.6.2	RANKING OF AWARDED EQUIPMENT FOR DISPATCH PRIORITY

All resources on an awarded Agreement will be ranked on a priority dispatch list by Host Dispatch Zone or Geographic Area.  Priority will be given to those small business concerns identified in Section B, Method of Award - Cascading Set-Aside Procedure.  Within each small business program category, priority will be given according to the price offered for the type of resource.  The following calculation will be used to determine the lowest price, with the lowest price being ranked highest on the dispatch list: (Daily Rate + Weekly Rate + Monthly Rate/38).  Delivery/Pickup, relocation charge and optional items will not be considered in the calculation."

5.	Section D.21.5.1 Rates of Payments, replace in its entirety with the following:

D.21	PAYMENTS

D.21.5.1	Rates of Payments - Payment will be at rates specified and, except as provided in D.21.5.3, shall be in accordance with the following:

(a)	On-Shift includes time worked, time that resource is held or directed to be in a state of readiness, and compensable travel (resource traveling under its own power) that has a specific start and ending time.

(b)	Daily Rate - Payment will be made on basis of calendar days (0001 - 2400).  For fractional days at the beginning and ending of time under hire, payment will be based on 50 percent of the Daily Rate for periods less than 8 hours.

(c)	Payment will be made at the rate (daily, weekly, monthly) that is most advantageous to the government.  For payment purposes, the payment computation will start over after each 7 day period and after the 30th day for any period of time under hire.

(d)	Work Rate

Mileage - Shall apply when equipment is under hire as ordered by the Government, and being mobilized/demobilized from an incident.

Lineal Foot - Shall apply for canopy sidewalls, if ordered by the incident.

Each tent or canopy that is relocated will be paid the amount specified on the schedule of items, if ordered by the incident.