BOREAS AFM-02 King Air 1994 Aircraft Flux and Moving Window Data

Summary:

The BOREAS AFM-02 team collected pass-by-pass fluxes (and many other statistics) for a large number of level (constant altitude), straight line passes used in a variety of flight patterns. The data were collected by the University of Wyoming King Air in 1994 BOREAS IFCs 1-3.  Most of these data were collected at 60-70 m above ground level, but a significant number of passes were also flown at various levels in the planetary boundary layer, up to about the inversion height.  This documentation concerns only the data from the straight and level passes that are presented as original samples and moving window values.  Another archive of King Air data is also available, containing data from all the soundings flown by the King Air 1994 IFCs 1-3.

Note that although there are less than 100 records in any data file, there are over 170 columns of data.  Most spreadsheet software should be able to handle up to 256 columns of data.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS AFM-02 King Air 1994 Aircraft Flux and Moving Window Data

1.2 Data Set Introduction

The King Air was flown in a variety of flight patterns in BOREAS-94, but predominantly in various sequences of straight, constant-altitude passes for measurement of fluxes and flux profiles in the boundary layer above the BOREAS experiment sites.  This document describes the contents of these "flux" archives, which also include statistical summaries of a large number of navigational, dynamic, and thermodynamic parameters.

1.3 Objective/Purpose

The Wyoming King Air is one of four flux aircraft flown in BOREAS.  The primary objectives of its operation were to measure fluxes of sensible heat, latent heat (moisture), momentum, and carbon dioxide in the boundary layer.  In addition, atmospheric dynamic, thermodynamic, and radiation data were collected, along with the standard aircraft parameters of position, altitude, heading, etc.  These data will be used for estimates of surface fluxes, boundary layer budgets, error analysis of flux measurements, and will be integrated with smaller and larger scale measurements from the project.

1.4 Summary of Parameters

The following is a list of variables for each "flux pass" by the King Air.  Section 7 defines the variables and their origins in detail.  The moving window data values represent averages over 180-second measurement periods with each period overlapping the period before and the period after by 90 seconds.  With the average King Air airspeed being 85-90 m/s, the segments will have an average length of 15.3 to 16.2 km.  Note: Those variables flagged (**) were not measured by the King Air.

VARIABLES:

BOREAS aircraft i.d.

Date

BOREAS mission designator

Mission number of day

Pass number

Segment number

Run start time, GMT

Starting latitude

Starting longitude

Starting BORIS grid E

Starting BORIS grid N

Run end time, GMT

Ending latitude

Ending longitude

Ending BORIS grid E

Ending BORIS grid N

Aircraft heading

Mean pressure altitude

Mean radar altitude

Mean wind direction

Mean wind speed

Air temperature

Potential temperature

Mixing ratio, H20

U, westerly wind component

V, southerly wind component

Static pressure

Surface radiative temperature **

Downwelling total radiation

Upwelling total radiation

Downwelling longwave radiation

Upwelling longwave radiation

Net radiation **

Upwelling PAR **

Downwelling PAR **

Auxiliary radiation sensor **

Greenness index **

CO2 concentration as mole CO2 per mole dry air (also referred to as CO2 molar mixing ratio.  If it were given as just CO2 mixing ratio, the units would be mass CO2 per mass dry air).

Ozone concentration **

Methane concentration **

Satellite simulator channels 1-4  **

Standard deviations of the following:

Air temperature

Potential temperature

Mixing ratio, H20

U, westerly wind component

V, southerly wind component

Static pressure

Surface radiative temperature **

Downwelling total radiation

Upwelling total radiation

Downwelling longwave radiation

Upwelling longwave radiation

Net radiation **

Upwelling PAR **

Downwelling PAR **

Auxiliary radiation sensor **

Greenness index **

CO2 concentration (mole CO2 per mole dry air)

Ozone concentration **

Methane concentration  **

Satellite simulator, channels 1-4 **

Linear trends of the following:

Trend in air temp.

Trend in potential temp.

Trend in mixing ratio

Trend in u

Trend in v

Trend in static pressure

Trend in surface radiation temperature **

Trend in downwelling total radiation  **

Trend in upwelling total radiation **

Trend in downwelling longwave radiation  **

Trend in upwelling longwave radiation **

Trend in greenness index **

Trend in CO2 concentration

Trend in O3 concentration **

Trend in CH4 concentration **

In various categories to follow, the following variables are referred to as the flux variables:

Vertical gust, w

Westerly wind component, u

Southerly wind component, v

Along wind component

Crosswind component

Potential temperature

H20 mixing ratio (mass H2O per mass dry air)

CO2 mixing ratio (mass CO2 per mass dry air)

O3 concentration **

CH4 concentration **

In various categories to follow, these variable pairs are referred to as the flux variable pairs:

w, u

w, v

w, alongwind comp.

w, crosswind comp.

w, potential temp

w, H2O mixing ratio (mass H2O per mass dry air)

w, CO2 mixing ratio (mass CO2 per mass dry air)

w, O3 concentration **

w, CH4 concentration **

Potential temperature, H2O mixing ratio

List of fluxes:

Momentum flux, south component

Momentum flux, west component

Momentum flux along mean wind

Momentum flux across

Sensible heat flux, H

Latent heat flux, LE

CO2 flux

Ozone flux **

Ozone deposition velocity **

Methane flux **

Standard deviations for the raw flux variables

Skewness for the raw flux variables

Kurtosis for the raw flux variables

Correlation coefficients for the raw flux variable pairs

Fluxes using the raw data

Constants used in the flux calculations (such as specific heats, latent heat)

Standard deviations for the linearly detrended flux variables

Skewness for the linearly detrended flux variables

Kurtosis for the linearly detrended flux variables

Correlation coefficients for the linearly detrended flux variable pairs

Fluxes using the linearly detrended data

1.5 Discussion

The King Air was flown in all three IFCs in BOREAS-1994.  The archived data were collected during straight and level flight lines over the BOREAS Study Areas and on regional runs between Southern Study Area (SSA) and Northern Study Area (NSA).  A variety of flight patterns were used, including grids, L- patterns, profiling stacks, and soundings, which are described in more detail in Section 7.  Two separate sets of data have been submitted to the BORIS archive: 1-second resolution listings of various variables from the soundings, and fluxes and statistics from the level flux runs.  Variables in the latter category include pass-length averages and other statistics, momentum and scalar fluxes, and supporting meteorological, radiometric and aircraft positional data.  The high-rate data from which all these variables were computed were not submitted to BORIS.  If required, they may be acquired from the University of Wyoming directly.

1.6 Related Data Sets

Related data sets include the King Air sounding data for BOREAS-94 and the flux and/or sounding archives from the other three flux aircraft:

BOREAS AFM-01 Moving Window Aircraft Flux Data

BOREAS AFM-02 Aircraft Sounding Data

BOREAS AFM-03 Aircraft Flux and Moving Window Data

BOREAS AFM-03 Aircraft Sounding Data

BOREAS AFM-04 Aircraft Flux Data

BOREAS AFM-04 Aircraft Sounding Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Robert D. Kelly, Associate Professor

University of Wyoming

Laramie, WY

2.2 Title of Investigation

Airborne Investigation of Biosphere-Atmosphere Interactions over the Boreal Forest.

2.3 Contact Information

Contact 1

---------

Robert D. Kelly

University of Wyoming

Laramie, WY

(307) 766-4955

(307) 766-2635 (fax)

Contact 1

---------

Jeffrey Newcomer

Raytheon ITSS

NASA/GSFC

Greenbelt, MD

(301)286-7858

(301)286-0239 (fax)

Jeffrey.Newcomer@gsfc.nasa.gov

3. Theory of Measurements

A series of introductory monographs addressing the theory and practice of measuring atmospheric variables from a moving, aircraft platform may be found in (Lenschow, D. H., ed., 1986: Probing the Atmospheric Boundary Layer, Amer. Meteor. Soc., Boston).  An introduction to the general topic of eddy correlation fluxes may be found in (Stull, R. B., 1988:  An Introduction to Boundary Layer Meteorology, Kluwer Acad. Pub., Boston).

The aircraft uses gust sensors to measure the 3-D air motion relative to the aircraft and a combination of an inertial platform, accelerometers, and (more recently) satellite-based global positioning system (GPS) to measure the motion of the aircraft relative to the earth. These data are combined to determine aircraft position and the earth-relative 3-D winds.  Scalar quantities, including static pressure, temperature, water vapor mixing ratio, and CO2 mixing ratio are also measured with fast-response, aircraft-mounted sensors.  For each straight, level pass by the aircraft the local means or trends are removed from each of the wind components and the scalar values, leaving the gust components u', v', w', T', r', etc. with which the eddy correlation fluxes are calculated.

4. Equipment:

4.1 Sensor/Instrument Description

Table of University of Wyoming King Air Instruments

Variable

Instrument

Accuracy

Resolution

Hi-rate temperature

Rosemount housing with fast-response thermistor (design by Friehe, UCI)

0.50 C

0.01 C

Dewpoint temperature

Cambridge Model 1373C

1.0 C, >0 C

0.006 C

Water vapor mix ratio

LICOR 6262 IR spectrometer

1% of reading

0.001 g/kg

CO2 mix ratio

LICOR 6262 IR spectrometer

+/-1ppm at .01 ppm

350 ppm

Magnetic heading

King KPI553/Sperry C14-43

1 degree

0.02 degree

Static pressure

Rosemount 1201FA1B1A

0.5 mb

0.06 mb

Static pressure

Rosemount 1501

0.5 mb

0.003 mb

Geometric Altitude

Stewart Warner APN159

1% reading

0.24 ft

Geometric Altitude

King KPA 405

3% <500 ft

6% > 500 ft

0.48 ft

Total pressure

Rosemount 831CPX

2 mb

0.005 mb

Azimuth VOR

King KNR615 VOR

1 degree

0.02 degree

Distance DME

King KNR705A DME

0.2 nautical miles

0.1 nautical mile

Latitude/longtitude

Tremble 2000 GPS

100 m

0.000172 degree

Latitude/longtitude

Honeywell Laseref SM

0.8 nm/hr drift

0.000172 degree

Ground velocity

Honeywell Laseref SM

13.5 ft/s

0.0039 kts

Vertical velocity

Honeywell Laseref SM

0.5 ft/s

0.03215 ft/min

Pitch/roll

Honeywell Laseref SM

0.05 degree

0.000172 degree

Platform heading

Honeywell Laseref SM

0.2 degree

0.000172 degree

Flow angle

Rosemount 858AJ/831CPX

0.2 degree

0.00375 degree

Vertical acceleration

Humphrey SA0905021

0.002 g

0.0001 g

Rate of climb

Rosemount 1241A4BCDE

1%, <15000 ft

2%, >25000 ft

0.004 m/s

Engine torque

---

0.2 ft-lbf

Liquid Water Content

In-house CSIRO hot wire

0.2 g/m3

0.0003 g/m3

Liquid Water Content

Bacharach LWH

0.2 g/m3

0.0002 g/m3

Cloud drops

PMS FSSP

3 micron

3 micron

Radiation:

Upwelling Shortwave

(0.3-3 microns)

Eppley Pyranometer

5 W/m2

1 W/m2

Downwelling Shortwave

(0.3-3 microns)

Eppley Pyranometer

5 W/m2

1 W/m2

Upwelling IR

(4-50 microns)

Eppley Pyrgeometer

15 W/m2

1 W/m2

Downwelling IR

(4-50 microns)

Eppley Pyrgeometer

15 W/m2

1 W/m2

4.1.1 Collection Environment

4.1.2 Source/Platform

Platform:  Beechcraft Super King Air model 200T, twin-turboprop aircraft

4.1.3 Source/Platform Mission Objectives

See section 1.4

4.1.4 Key Variables

See sections 1.4, 1.5, 7.3

4.1.5 Principles of Operation

See section 3.

4.1.6 Sensor/Instrument Measurement Geometry

The gust probe was mounted at end of aircraft nose boom, so that the gust probe tip was about 2 m ahead of the nose of the aircraft.  Inertial platform (IRS) and accelerometers were mounted close to the main wing spar (close to aircraft c.g.).  Fast-response (Friehe-type) Temperature probe mounted below nose of aircraft, 1.29 m aft from the gust probe tip.  Water vapor and CO2 measurements obtained with LICOR 6262 infrared absorption spectrometer.  Air drawn from airstream above aircraft cabin into 12.7-mm i.d. tube which faces forward, about 0.3 m above the fuselage skin and 4.06 m aft of the gust probe tip.  Airflow in the tube maintained with high-capacity vacuum pump at 60-70 SLPM (about 9 m/s), for Reynolds number about 50,000 (fully developed turbulent flow).  At 1.52 m from the inlet, air is drawn from the center of the tube into the LICOR trough a short 6.4-mm i.d. tube, again by vacuum pump, at average flow rate of 6-8 SLPM (also fully turbulent).  As verified by flying the aircraft through a power-plant plume, there is a time delay of 0.3 s between the gust probe data and the LICOR data.  This delay is removed in the software at the time of data processing. The LICOR 6262 was operated in absolute mode, in which the closed-path absorption in the sample chamber was simultaneously compared to the closed-path absorption in the reference chamber.  Air in the reference chamber was circulated continuously through scrubbers that remove both water and CO2, and was circulated at a flow rate of 2 SLPM.  Cambridge chilled-mirror dew-point hygrometer mounted inside cabin drew air from vacuum pump driven sample tube. All cloud and precipitation probes (PMS and liquid water content) were mounted near wing tips, both wings.

4.1.7 Manufacturer of Sensor/Instrument

See table in section 4.1

4.2 Calibration

Instruments subject to calibration as follows:

Air temperature:  Used manufacturer's one-time calibration for Rosemount model 102, then compared Friehe-type probe against Rosemount.

Water vapor concentration:  Before each flight, the LICOR H2O channel was calibrated by flushing the chamber with a beam-filling gas of known H2O concentration, generated with a LI-COR Model 610 Dew-Point generator, with accuracy +/-0.03 C.

CO2 concentration:  Before each flight, the LICOR CO2 channel was calibrated by flushing the chamber with a gas of known CO2 concentration (Source: Scott Specialty, Longmont, Colo., concentration 403.5 ppm, accurate to 4%).  Static pressure and gust differential pressures:  The gust probe differential pressure sensors (for up-down and left-right angle of flow measurements) and absolute pressure sensor (gust probe total pressure) were calibrated at the beginning of each IFC, using the Rosemount 1501 (accurate to 0.5 mb).

4.2.1 Specifications

See table 4.1

4.2.1.1 Tolerance

None given.

4.2.2 Frequency of Calibration

See section 4.2

4.2.3 Other Calibration Information

None given.

5. Data Acquisition Methods

The straight-line, constant altitude passes used for the flux calculations were all parts of several different flight patterns uses throughout BOREAS-94.  What follows here is a brief description of those patterns, including the short, two-letter identifier used for communications, labeling data files, etc.

ID	 Description (second letter denotes NSA or SSA)

-----  ----------------------------------------------------

CS	 Candle Lake runs, SSA only, usually along path a-d.

FS,FN  Flights of two (intercomparison runs), various locations.

GS,GN  Grid patterns.  Sequence of 9 evenly spaced, parallel flight lines,

covering a 32x32 km square area (King Air), with lines oriented either

east-west or north-south.

HS,HN  Stack patterns

LS,LN  Transects of intermediate length (e.g. 100 km).

PS,PN  Budget box pattern (see Betts et al., 1990, Boundary Layer Meteorology,

50, 109-137.

RT	 Regional transect.  For King Air, route used in transit between NSA and SSA.   Coincide with Electra RTs.

TS,TN  Site-specific run at a TF (tower flux) site.

Navigation waypoints used for flying the patterns:

Pt.  Lat.	     Long.

A   53° 32.0'   -106° 34.0'

C   53° 37.8'   -106° 11.4' (same as PANP-OA)

G   53° 55.6'   -104° 59.7'

H   54° 07.0'   -104° 13.5'

K   54° 41.7'   -103° 47.5'

L   54° 57.3'   -101° 58.0'

M   55° 54.8'   -99° 07.5'

O   55° 53.2'   -98° 00.0'

P   60° 30.0'   -98° 00.0'

Q   60° 30.0'   -95° 30.0'

R   59° 00.0'   -95° 30.0'

CH  58° 44.5'   -94° 04.0' (Churchill airport)

a   53° 34.7'   -106° 23.8'

b   53° 42.8'   -105° 52.0'

c   53° 55.0'   -105° 04.0'

d   53° 59.0'   -104° 47.2'

f   53° 59.8'   -104° 43.5'

g   53° 32.0'   -104° 27.6'

h   53° 56.8'   -105° 20.5'

i   54° 03.7'   -104° 45.5'

j   53° 43.8'   -104° 34.0'

k   53° 35.8'   -106° 18.0'

m   54° 05.2'   -104° 50.5'

n   53° 32.2'   -104° 19.5'

s   53° 17.0'   -105° 43.0'

t   53° 38.0'   -105° 43.0'

u   53° 17.0'   -105° 32.0'

v   53° 43.0'   -105° 17.0'

Centers of north and south KA grids:

North  55° 52.5'   -98° 31.5'

South  53° 51.5'  -104° 48.6'

Other locations:

NOAA radar  55° 56.0' -98° 36.8'

6. Observations

6.1 Data Notes

None given.

6.2 Field Notes

None given.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

The majority of the data were collected over the BOREAS SSA and NSA.  The North American Datum 1983 (NAD83) corner coordinates of the SSA are:

Latitude     Longitude

--------     ---------

Northwest    54.321° N     106.228 W

Northeast    54.225° N     104.237 W

Southwest    53.515° N     106.321 W

Southeast    53.420° N     104.368 W

The NAD83 corner coordinates of the NSA are:

Latitude     Longitude

--------     ---------

Northwest    56.249° N      98.825 W

Northeast    56.083° N      97.234 W

Southwest    55.542° N      99.045 W

Southeast    55.379° N      97.489 W

The actual spatial coverage of the data values is defined by the flight pattern, leg length, etc.  These values are contained in each archived set of numbers for each pass or segment.

The moving window data values represent averages over 180-second measurement periods with each period overlapping the period before and the period after by 90 seconds.  With the average King Air airspeed being 85-90 m/s, the segments will have an average length of 15.3 to 16.2 km.

7.1.2 Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The fluxes and statistics archived here are for passes or segments of passes between pre-defined waypoints, as part of various flight patterns (see Section 5).  The shortest times for such passes/segments are about 2 min, i.e., about 10 km.  Thus, the spatial resolution is about 10 km or greater.  For the grid patterns (GS, GN) the passes are each 32 km in length.  The Candle Lake (CS) runs were divided into two segments, one over the relatively homogeneous Old Aspen area surrounding the OA flux tower (east end of CL run), and the other over the area at the west end of the run dominated by black spruce.  Each long leg of the regional transects (RT) was segmented into 180-second segments, each overlapping the adjoining two segments by 50%.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Times of data collection contained in table to follow in this section.

Abbreviations used in weather notes in table:

cu	cumulus

st	status

ci	cirrus

sct   scattered

Zi	inversion height above ground

H	 haze

K	 smoke

cist  cirrostratus

clr   clear

ovc   overcast

RW-   light rain showers

acu   altocumulus

Abbreviations in flight descriptions:

rt	round trip

agl   above ground level (in feet)

msl   above mean sea level (in feet)

mult  multiple

TAS   true airspeed

lvl   level

wind "L"  "L" with one leg parallel to wind direction, flown as at least one round trip.

See section 5 for flight pattern descriptions.

Summary of UW King Air research flights for BOREAS 1994

Times(UT)

Date

Start

End

Hrs

Weather

Description and comments

940525

1745

2000

2.9

5-10% sct cu

CS, 2 rts a-h, 300 agl FS, first a-h with FE

940526

1646

1905

3.0

ci, small % cu

GS, full rt, 300 agl

940531

1645

1929

3.6

cu incr 10-40% sharp jump Zi

FS, 300 agl with FT PS, using W,E ends FK grid at 200 agl, 2500 and 3400 msl FS, a-d, 300 agl, with FE

940601

630

1802

2.4

H, ci, cist sct cu < 1%

LS, j-i-h-i-j, 200 agl CS, one rt d-a-d, 200 agl

940604

1616

1919

3.8

clr then cu incr rapidly, end ovc

CS, mult passes 200 agl, 3000 msl FS, d-a, 200 agl, with FL

940606

1546

1809

3.1

cu < 5%

LS, mult h-i-j, 200 agl-2900 msl

940607

1447

1649

4.8

clr entire pattern

RT, a-h-k-l-m, 200 agl

1649

1904

clr entire pattern

GN, full rt, all 300 agl, EW lines

940608

1520

1742

2.9

clr

LN, mult t-o at 200 agl, 2100 msl FN, m-o, 300 agl with FT

940610

1642

1901

3.0

sct ci, K all sky

GN, full rt, 200 agl, NS lines

940611

1646

1844

2.6

K, cu to 80%, RW-

RT, o-m-l-k-h-a, 200 agl

940720

1656

2044

4.4

H, K, cu 10-50%

CS, a-d, 300 agl to 4800 msl (co-ord with FE) FS, two a-d, 300 agl with FE

940721

1652

1905

3.0

clr?

GS, full rt, 200 agl, NS lines FS, one run SW of grid with FT

940723

1528

1800

3.2

clr, incr to 20% cu

CS, mult a-d at 200 agl, 3500 msl

940724

1655

1943

3.4

clr over site

GS, full rt, 200 agl, EW lines

940725

1519

1753

3.2

clr

CS, mult a-d at 200 agl, 3000 msl

940726

1628

1832

2.7

K, ci

RT, a-h-k-l-m-o, 200 agl

940727

1609

1909

4.3

K, altocu, cu

GN, full rt 200 agl, NS lines TN (mult) at radar, 500-1000 agl

940728

1620

1810

2.6

K, ci

HN(GN) time-centered m-o, 200 agl, 1800 and 2700 msl

940731

1550

1859

3.7

K, clr above

GN

940831

1720

1938

2.9

K, cu <1 to 40%

GN, full rt, 200 agl, EW lines

940901

1550

1717

1.9

clr above K

FN, rt 200 agl, with FT FN, rt 200 agl, diff TAS than FT LN, o-m-o-m-o, 200 agl

940903

1548

1811

3.0

ci, K, cu 0-10%

GN, full rt, 200 agl, EW lines

940906

1605

1833

2.9

cu 20-80%

GN, full rt, 200 agl, NS lines

940908

1606

1823

2.8

acu, ci, cist, ci ovc

RT, o-m-l-k-h-a, 200 agl

940909

1940

2131

2.7

ci, cist thinning

CS, mult 200 agl-2600 msl, with FE FS, 300 agl, with FE

940912

1735

2004

3.6

cu incr 0-30%

CS, 3 rts, all 200 agl Test = 3 rt over OA area of CS

940913

1645

1905

3.4

clr, then cist and ci

GS, full rt, 200 agl, EW lines Test = wind "L" at 8500 msl

940916

1653

1914

4.8

clr

GS, full rt, NS lines, 200 agl

1925

2053

clr then <5% cu

CS, d-a mult lvls, with FE FS, second a-d with FE, 600 agl

940917

1712

1902

2.4

clr, thin ci to W

FS, one end=a, 200 agl, with FT CS, a-d, two rts, 200 agl

7.2.2 Temporal Coverage Map

See section 7.2.1

7.2.3 Temporal Resolution

See section 7.2.1.  Also, each archived data entry contains the start and end times for the pass/segment being summarized.

The moving window data values represent averages over 180-second measurement periods with each period overlapping the period before and the period after by 90 seconds.  With the average King Air airspeed being 85-90 m/s, the segments will have an average length of 15.3 to 16.2 km.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (faamwdat.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (faamwdat.def).

8. Data Organization

8.1 Data Granularity

The King Air data are in two files: one for unaveraged flux pass data and a second for moving window averaged data.

8.2 Data Format(s)

The data files contain ASCII numerical and character fields of varying length separated by commas.  The character fields are enclosed with single apostrophe marks.  There are no spaces between the fields. Sample data records are shown in the companion data definition file (faamwdat.def).

9. Data Manipulations

9.1 Formulae

Constants used in flux calculations:

The specific heat of air (Cp) is calculated as a function of the average water vapor mixing ratio, ignoring the pressure-dependent isobaric residual (Smithsonian Meteorological Tables, p. 339).  In equation form, Cp=Cp0 + b*rbar, where Cp0=1004.42 J/kgK, b=1845.98, and rbar is the average water vapor mixing ratio, in units of g/g of kg/kg.

The latent heat of vaporization, Lv, is calculated as a function of the average temperature, Tbar, as Lv=Lv0 + c*Tbar, where Lv0=3.15209e06 J/kg, and c=-2382.9 for Tbar in degrees Kelvin.  These values were obtained by a least-squares fit to values tabulate in the Smithsonian Meteorological Tables, p.  343).

Formulas used for the various eddy covariance fluxes.  In these expressions, the angle brackets <> denote an average over the length of the time series.

Sensible heat flux:

Sensible heat flux, H, calculated as H=(density of moist air)*(Specific heat of air at constant pressure)*<w'*theta'>.  Here w is the vertical air motion component (updraft), and theta is the air potential temperature. Resulting units: W m^-2.

Latent heat flux:

Latent heat flux, E, calculated as E=(density of moist air)*Lv*<w'r'>,

where r is the water vapor mixing ratio.  Resulting units: W m^-2.

Carbon dioxide flux:

Carbon dioxide flux, A, calculated as A=(density of dry air)*<w'C'>, where C is the CO2 concentration expressed as mixing ratio (mass CO2 per mass dry air).  The units from this calculation would be mass CO2/m^2 s.  By BORIS convention, however, the archived units are converted to micromole CO2 m^-2 s^-1.

Momentum fluxes:

The various vertical fluxes of horizontal momentum are calculated as (density of moist air)*<w'vel'>, giving units of kg/ms^2, where vel is u, v, unat, or vnat.  Here, (u,v) is the horizontal wind vector in east-west and north-south coordinates, while (unat,vnat) is the vector of along- and cross-wind components of the horizontal wind, with unat parallel to the pass-average wind direction.

9.1.1 Derivation Techniques and Algorithms

Not applicable.

9.2  Data Processing Sequence

9.2.1 Processing Steps

As listed in Section 7.3, there are two basic categories of numbers (statistics and fluxes) in the archived values for each pass.  The first category (groups 3, 4, and 6-10) are statistics and fluxes based on the "raw" data, i.e., on the time series data as they were recorded and processed.  The second category (groups 12-16) are "detrended."  In these cases the linear trends were removed by calculating an equal-weight least-squares line fit (y=mx+b) for each variable, then subtracting that line from the original series.  Group 5 contains the linear trends (the slopes, or m values) from those least-squares fits.  The fluxes for the first category ("raw") are based on the covariance values w's', where w'=w-wmean, s=s'-smean, wmean is the simple arithmetic average of w, and smean is the simple arithmetic average of the scalar s.  The second category "detrended" fluxes are based on w's' where w'=w-(fitted line for w) and s'=s-(fitted line for s).

The moving window data values represent averages over 180-second measurement periods with each period overlapping the period before and the period after by 90 seconds.  With the average King Air airspeed being 85-90 m/s, the segments will have an average length of 15.3 to 16.2 km.

9.2.2 Processing Changes

None.

9.3 Calculations

See 9.1.

9.3.1 Special Corrections/Adjustments

Time lag between CO2/H2O measurements and gust probe:  Due to the geometry of the instrument locations (See section 4.1.6), there is a significant lag between measurements by the LICOR device (water vapor and carbon dioxide) and the 3-D winds.  Based on instrument placement, external airflow velocities, and internal (sampling tubes) flow velocities, the lag was predicted to be 0.3 sec.  In contrast, the distance between the gust probe tip and the Friehe temperature probe causes negligible lag between the temperature and wind measurements.  Thus, the lag between the temperature and LICOR measurements should be equivalent to that between the wind and LICOR measurements. The predicted temperature-LICOR lag (0.3 sec) was verified by flying the plane several times through the plume from a local power plant, at distances close enough to the source that changes in temperature, water vapor, and CO2 were very abrupt at the plume edges. Thus, prior to any other calculations, the LICOR data are shifted 0.3 sec, to bring those data in sync with the remainder of the data.

9.3.2 Calculated Variables

See lists of variables in sections 1.4, 7.1, and 7.3.

9.4 Graphs and Plots

Not applicable.

10. Errors

10.1 Sources of Error

As with any time-series measurements, there are uncertainties in the values of the resulting measured and derived quantities simply due to the limits of the sampling techniques.  Each archived flux and statistic is a single sample, or single realization, of the measurement, and thus has a higher level of uncertainty than if multiple measurements were possible.

Sampling limits:

As detailed by Lenschow and Stankov (1986, J. Atmos. Sci., 43, 1198-1209), substantial uncertainties are present in single-pass measurements of fluxes.  Even to reduce such uncertainties below the 10% range, for example, would require a single aircraft pass to be very long (distance), in fact, so long that other uncertainties would result from 1) having the BL characteristics change with time and 2) having the flight track pass over changing surface characteristics.  The most direct technique available with aircraft to address this problem is to make repeated, shorter passes along the same track or at least along similar tracks.  The fluxes and statistics from the individual passes may then be combined to at least reduce the standard error of each measurement.  This strategy was incorporated into many of the King Air flight patterns.

Instrument limits:

See 11.2

10.2 Quality Assessment

An extensive intercomparison of the BOREAS flux aircraft has been written and submitted for publication in an issue of J. Geophys. Rsch. dedicated to BOREAS analyses (authorship: R. Dobosy, J. I. MacPherson, R. Desjardins, R. D. Kelly, S. Oncley, and D. H. Lenschow).  In that text, King Air measurements, including means and variances of all the flux variables, as well as the fluxes themselves, are compared with corresponding values from the Canadian NRC Twin Otter and the NCAR Electra, for multiple wing-to-wing passes at various times during the 1994 experiment.  As of this writing, these comparisons are the best available assessments of the overall data quality for the King Air, at least in comparison with similarly instrumented platforms.

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgement

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

For each pass or segment of a pass, the statistics and fluxes are archived for time series with simple arithmetic means removed and then again for time series with simple linear trends removed.  The first set ("demeaned") thus represents the original, raw data with no filtering applied.  The second set (detrended) also represents unfiltered data, having only the linear trends removed.  In order to apply more complicated, non-linear detrending or filtering methods, the original data must be obtained.

11.2 Known Problems with the Data

Vertical velocity measurements:

Spectral density plots of vertical velocity (w) generally show a fairly well defined inertial subrange, with -5/3 slope out to about 9 Hz, at which point the effects of the anti-aliasing low-pass filter are evident.  Many of the w spectral plots do, however, show a slight "bulge" above the -5/3 line in the range 0.1-1 Hz.  As of this writing (July 9, 1996) we believe this is an artifact of the post-flight calculations.  Examples of these spectra can be seen in the JGR manuscript comparing the four BOREAS flux aircraft (Dobosy et al., 1996, JGR dedicated issue).

High-rate H2O measurements (LICOR 6262):

The LICOR 6262 response is described by the manufacturer as being a 90% response to step-function changes in concentration in 0.1 s.  The combination of this characteristic, any along-flow mixing in the sample tubes, and the anti-aliasing filter are evident in the spectral density plots for H2O mixing ratio.  These plots generally show an inertial subrange (slope -5/3) out to about 2 Hz, at which point the response drops sharply.  At 2 Hz, the SNR is usually about 20 dB.  Implications of this response for the flux calculations are that the H2O fluxes are being resolved only to about 2 Hz (about 40 m for typical research airspeeds).

CO2 measurements (LICOR 6262):

The response characteristics for CO2 are generally the same as for H2O, except that the SNR at 2 Hz is usually 10 dB or less.  As with CO2, these figures imply that the CO2 fluxes are being resolved only to about 2 Hz (about 40 m for typical research airspeeds).

11.3 Usage Guidance

Note that although there are less than 100 records in any data file, there are over 170 columns of data.  Most spreadsheet software should be able to handle up to 256 columns of data.

11.4 Other Relevant Information

None given.

12. Application of the Data Set

These data can be used to obtain study area and regional scale estimates of the various fluxes.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

Not applicable.

14.2 Software Access

Not applicable.

15.   Data Access

15.1  Contact for Data Center/Data Access Information

These BOREAS data are available from the Earth Observing System Data and Information System (EOS-DIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

15.2  Procedures for Obtaining Data

BOREAS data may be obtained through the ORNL DAAC World Wide Web site at http://www-eosdis.ornl.gov/ or users may place requests for data by telephone, electronic mail, or fax.

15.3  Output Products and Availability

Requested data can be provided electronically on the ORNL DAAC's anonymous FTP site or on various media including, CD-ROMs, 8-MM tapes, or diskettes.

The complete set of BOREAS data CD-ROMs, entitled "Collected Data of the Boreal Ecosystem-Atmosphere Study", edited by Newcomer, J., et al., NASA, 1999, are also available.

16. Output Products and Availability

16.1 Tape Products

Not applicable.

16.2 Film Products

Not applicable.

16.3 Other Products

Comma-delimited ASCII text files.

17. References

17.1 Platform/Sensor/Instrument/Data Processing Documentation

See refs listed in section 17.2

17.2 Journal Articles and Study Reports

Baijards, S.A.M., S. O. Ogunjemiyo, R. D. Kelly, and P. H. Schuepp.  1996:  Preliminary analysis of dual aircraft boundary layer grid flux. Submitted to J. Geophys.

Rsch.

Baijards, S. A. M. and R. D. Kelly 1996.  Conditional sampling applied to BOREAS aircraft data., Preprints, 22nd Conf. on Agric. and Forest Meteor., 28 Jan. - 2 Feb. 1996, Atlanta, GA.

Betts, A. K., R. L. Desjardins, and J. I. MacPherson 1989:  Boundary layer heat and moisture budgets. Spring 1989 meeting of Amer. Geophys. Union, May 7-11, 1989, Baltimore.

Betts, A. K., R. L. Desjardins, and J. I. MacPherson. 1990.  Boundary layer heat and moisture budgets from FIFE. AMS Symposium on First ISLSCP Field Experiment (FIFE), 70th AMS Annual Meeting, Feb. 5-9, 1990, Anaheim, CA.

Dobosy, R.J., T. L. Crawford, J. I. MacPherson, R. L. Desjardins, R. D. Kelly, S.P. Oncley, and D. H. Lenschow.  1994. Intercomparison among the four flux aircraft at BOREAS. Submitted to J. Geophys. Rsch.

Kelly, R. D., J. I. MacPherson, R. J. Dobosy, and T. L. Crawford 1996.  BOREAS 1994 intercomparison among three flux aircraft., Preprints, 22nd Conf. On Agric. and Forest Meteor., 28 Jan. - 2 Feb. 1996, Atlanta, GA.

McDermott, M.L. and R. D. Kelly.  1996.  Variation of boundary layer fluxes with heterogeneous surface vegetation and seasonal change.  Submitted to J. Geophys. Rsch.

McDermott, M. L. and R. D. Kelly 1995.  Fluxes over a heterogeneous forest., Preprints 11th Symposium on Bound. Layers and Turbulence, Charlotte, NC, 27-31 March, 1995.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry, M.  Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J. Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D. Halliwell, D. Williams, B.  Goodison, D.E. Wickland, and F.E. Guertin. 1997. BOREAS in 1997: Experiment Overview, Scientific Results and Future Directions. Journal of Geophysical Research 102 (D24): 28,731-28,770.

17.3 Archive/DBMS Usage Documentation

None given.

18. Glossary of Terms and abbreviations

Abbreviations used in weather notes:

cu	cumulus

st	status

ci	cirrus

sct   scattered

Zi	inversion height above ground

H	 haze

K	 smoke

cist  cirrostratus

clr   clear

ovc   overcast

RW-   light rain showers

acu   altocumulus

Abbreviations in flight descriptions:

rt	round trip

agl   above ground level (in feet)

msl   above mean sea level (in feet)

mult  multiple

TAS   true airspeed

lvl   level

wind "L"  "L" with one leg parallel to wind

direction, flown as at least one round trip.

19. List of Acronyms

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

DAAC	- Distributed Active Archive Center

EOS	 - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC	- Goddard Space Flight Center

NASA	- National Aeronautics and Space Administration

ORNL	- Oak Ridge National Laboratory

URL	 - Uniform Resource Locator

NCAR	- National Center for Atmospheric Research

NRC	 - National Research Council, Canada

BL	  - atmospheric Boundary Layer

20. Document Information

20.1 Document Revision Date

Written:       16-JUL-1996

Last Updated:  11-Feb-1999

20.2 Document Review Date(s)

BORIS Review:  08-Feb-1999

Science Review:

20.3 Document ID

20.4 Citation

20.5 Document Curator

20.6 Document URL