GENERATORS PURCHASE AND INSTALL – COMMERCIAL ITEMS FORMAT

UPDATES

03/26/07 – Change required by FAC 2005-16 (update) (52.212-5)

12/15/06 – Change required by FAC 2005-15 (update) (52.212-4)

12/13/06 - Change required by FAC 2005-14 (update) (52.212-3 and 52.212-5)

12/04/06 – Update per FAC 2005-13 (FAR 53.212-1, 52.212-3 and 52.212-5)

08/08/06 – Update per FAC 2005-12 (FAR 52.212-5)

08/03/06 – Change to FAR internet reference

7/21/06 - no change required by FAC 2005-11

7/10/06 – Change required by FAC 2005-10 (52.212-3, 52.212-5, 52.204-7)

7/2/06 – Change required by FAC 2005-9 (update FAR 52.204-9 and 652.237-71)

06/22/06 – Change required by FAC (update 52.212-5)

2/7/06 - Updated per FAC 2005-07 (update FAR 52.212-5 in full text and FAR 52.212-1)

1/19/06 – Updated per FAC 2005-08 (update FAR 52.212-5)

10/19/05 – Update per FAC 2005-06 (52.212-4 and 52.212-5)

8/19/05 – No update per FAC2005-05

6/28/05- Changed Required by FAC 2005-04(update FAR 52.212-5)

5/11/2005 – Changes required by FAC 2005-3 (update FAR 52.212-5)

4/8/2005 – Changes required by FAC 2005-1 and 2005-2 (update FAR 52.212-3 to MAR 2005)

2/17/05 – Updated 52.212-5, 52.212-3, and 52.212-1

11/02/2004 – Updated 52.212-5 Section 2 (FAC 2001-25)

07/06/2004 – Updated 52.212-5 and 52.225-5 Section 2 (FAC 2001-24)

06/30/2004 – Update 52.219-1 in instructions, updated 52.212-3 and 52.212-5 (FAC 2001-23)

04/26/2004 Revised PIB 2004-25  Deleted DOSAR 652.228-70

04/16/04 – Revised for FAC 2001-21 and FAC 2001–22 at FAR 52.212-5.

1/30/04 – No change for FAC 2001-17,   FAC 2001-18 (update 52.212-1) and FAC 2001-19 (update 52.212-5)

10/17/03 – Updated FAC 2001-16 (FAR 52.204-7, 52.212-4, 52.212-1, 52.212-5)

8/04/2003 – Updated FAR 52.212-1 per FAC 2001-15

6/20/03 - Updated FAR 52.212-3 for FAC 2001-14.

3/18/03 – Updated FAR 52.212-5 for FAC 2001-13

3/18/03 – No update needed for FAC 2001-12.

1/15/03 - No update needed for FAC 2001-11

12/18/02 – No revisions required by FAC 2001-10.

7/16/02 Updated FAR 52.212-3 for FAC 2001-8

5/28/02 Updated FAR 52.212-3 and 52.212-5 to MAY 2002 versions per FAC 2001-7.

4/1/02 updated for 2001-6 – FAR 52.219-1 (APR 2002) and updated FAR 52.212-3 (APR 2002)

2/15/02 – Updated for FACs 2001-2, 3 and 4.  Section 2, 52.212-4 and 52.212-5.  Section 5, 52/212-3.

11/5/01 – Updated for FAC 2001-1, Section 2, FAR 52.212-4 and 52.212-5.

10/11/01 – Updated Section 2, 52.212-5 for the applicability of 52.225-13, Restrictions on Certain Foreign Purchases

NOTE TO CONTRACTING OFFICER:

This is a copy of an RFQ issued by AMEMBASSY Santo Domingo in October 1998; it varies slightly from the usual commercial item model, in that the instructions appear at the end and fax quotations are allowed.

Note also that the delivery terms were somewhat unusual (urgent), but can be tailored to fit your needs.

General:

1.	The Contracting Officer (CO) MUST mark any clause which is modified at post with a double asterisk (**), unless the instructions for that clause in the model expressly state that post should modify the clause to reflect post specifics.

2.	The rationale for this modification MUST be included in the memo requesting review from A/OPE.

3.	Delete asterisk from document before issuing the solicitation.

A NOTE ON THE CENTRAL CONTRACTOR REGISTRATION (CCR)

Note to Contracting Officer:  If the contracting officer expects participation by US firms or if the contracting officer determines it is practical for foreign firms performing contracts outside the U.S. to register in the CCR, then the following clause (FAR 52.204-7) should be included in the solicitation.  For additional information regarding when the CCR requirement should be included can be found in A/OPE PIB 2004-2.

If FAR 52.204-7 is included in the solicitation then the following clauses should be deleted in their entirety within the model solicitation:

(a) 52.203–2, Certificate of Independent Price Determination.

(b) 52.203–11, Certification and Disclosure Regarding Payments to Influence Certain Federal Transactions.

(c) 52.204–3, Taxpayer Identification.

(d) 52.204-6, Contractor Identification Number-Data Universal Numbering System (DUNS) Number

(e) 52.209–5, Certification Regarding Debarment, Suspension, Proposed Debarment, and Other Responsibility Matters.

(f) 52.215–6, Place of Performance.

52.204-7 Central Contractor Registration (JULY 2006)

(a) Definitions. As used in this clause-

"Central Contractor Registration (CCR) database" means the primary Government repository for Contractor information required for the conduct of business with the Government.

"Data Universal Numbering System (DUNS) number" means the 9-digit number assigned by Dun and Bradstreet, Inc. (D&B) to identify unique business entities.

"Data Universal Numbering System +4 (DUNS+4) number" means the DUNS number assigned by D&B plus a 4-character suffix that may be assigned by a business concern. (D&B has no affiliation with this 4-character suffix.) This 4-character suffix may be assigned at the discretion of the business concern to establish additional CCR records for identifying alternative Electronic Funds Transfer (EFT) accounts (see the FAR at Subpart 32.11) for the same parent concern.

"Registered in the CCR database" means that- (1) The Contractor has entered all mandatory information, including the DUNS number or the DUNS+4 number, into the CCR database; and (2) The Government has validated all mandatory data fields, to include validation of the Taxpayer Identification number (TIN) with the Internal Revenue Service (IRS),  and has marked the record "Active".  The Contractor will be required to provide consent for TIN validation to the government as a part of the CCR registration process.

(b)(1) By submission of an offer, the offeror acknowledges the requirement that a prospective awardee shall be registered in the CCR database prior to award, during performance, and through final payment of any contract, basic agreement, basic ordering agreement, or blanket purchasing agreement resulting from this solicitation.

(2) The offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation "DUNS" or "DUNS +4" followed by the DUNS or DUNS +4 number that identifies the offeror's name and address exactly as stated in the offer. The DUNS number will be used by the Contracting Officer to verify that the offeror is registered in the CCR database.

(c) If the offeror does not have a DUNS number, it should contact Dun and Bradstreet directly to obtain one.

(1) An offeror may obtain a DUNS number-

(i) If located within the United States, by calling Dun and Bradstreet at 1-866-705-5711 or via the Internet at http://www.dnb.com; or

(ii) If located outside the United States, by contacting the local Dun and Bradstreet office.

(2) The offeror should be prepared to provide the following information:

(i) Company legal business.

(ii) Tradestyle, doing business, or other name by which your entity is commonly recognized.

(iii) Company Physical Street Address, City, State, and Zip Code.

(iv) Company Mailing Address, City, State and Zip Code (if separate from physical).

(v) Company Telephone Number.

(vi) Date the company was started.

(vii) Number of employees at your location.

(viii) Chief executive officer/key manager.

(ix) Line of business (industry).

(x) Company Headquarters name and address (reporting relationship within your entity).

(d) If the Offeror does not become registered in the CCR database in the time prescribed by the Contracting Officer, the Contracting Officer will proceed to award to the next otherwise successful registered Offeror.

(e) Processing time, which normally takes 48 hours, should be taken into consideration when registering. Offerors who are not registered should consider applying for registration immediately upon receipt of this solicitation.

(f) The Contractor is responsible for the accuracy and completeness of the data within the CCR database, and for any liability resulting from the Government's reliance on inaccurate or incomplete data. To remain registered in the CCR database after the initial registration, the Contractor is required to review and update on an annual basis from the date of initial registration or subsequent updates its information in the CCR database to ensure it is current, accurate and complete. Updating information in the CCR does not alter the terms and conditions of this contract and is not a substitute for a properly executed contractual document.

(g) (1) (i) If a Contractor has legally changed its business name, "doing business as" name, or division name (whichever is shown on the contract), or has transferred the assets used in performing the contract, but has not completed the necessary requirements regarding novation and change-of-name agreements in Subpart 42.12, the Contractor shall provide the responsible Contracting Officer a minimum of one business day's written notification of its intention to (A) change the name in the CCR database; (B) comply with the requirements of Subpart 42.12 of the FAR; and (C) agree in writing to the timeline and procedures specified by the responsible Contracting Officer. The Contractor must provide with the notification sufficient documentation to support the legally changed name.

(ii) If the Contractor fails to comply with the requirements of paragraph (g)(1)(i) of this clause, or fails to perform the agreement at paragraph (g)(1)(i)(C) of this clause, and, in the absence of a properly executed novation or change-of-name agreement, the CCR information that shows the Contractor to be other than the Contractor indicated in the contract will be considered to be incorrect information within the meaning of the "Suspension of Payment" paragraph of the electronic funds transfer (EFT) clause of this contract.

(2) The Contractor shall not change the name or address for EFT payments or manual payments, as appropriate, in the CCR record to reflect an assignee for the purpose of assignment of claims (see FAR Subpart 32.8, Assignment of Claims). Assignees shall be separately registered in the CCR database. Information provided to the Contractor's CCR record that indicates payments, including those made by EFT, to an ultimate recipient other than that Contractor will be considered to be incorrect information within the meaning of the "Suspension of payment" paragraph of the EFT clause of this contract.

(h) Offerors and Contractors may obtain information on registration and annual confirmation requirements via the internet at http://www.ccr.gov or by calling 1-888-227-2423, or 269-961-5757.

Note to Contracting Officer:  Insert the following clause by reference if FAR 52.204-7 is included.

FAR 52.232-33 Payment by Electronic Funds Transfer – Central Contractor Registration (OCT 2003)

A NOTE ON AMERICAN BUSINESS SOURCES:

If you know or expect that American businesses may submit a proposal, you must include the following solicitation provision, along with the other certifications in this solicitation.  It is a certification used to determine whether the firm is considered small by the Small Business Administration (SBA).  If you receive an offer from a small business, and you determine that firm to be non-responsible, then you must refer the matter to A/OPE and A/SDBU for referral to SBA; any determination of non-responsibility of an American small business must be referred to SBA prior to award of the contract.  SBA will then determine whether to issue a Certificate of Competency (SBA) attesting to the firm's ability to perform the contract.  For more information, see FAR 19.000(b) and 19.6.

52.219-1 Small Business Program Representations  (MAY 2004)

(a)(1) The North American Industry Classification System (NAICS) code for this acquisition is (contact A/OPE or OSDBU for this code.).

(2) The small business size standard is 1000 employees.

(3) The small business size standard for a concern which submits an offer in its own name, other

than on a construction or service contract, but which proposes to furnish a product which it did

not itself manufacture, is 500 employees.

(b) Representations. (1) The offeror represents as part of its offer that it [  ] is,  [  ] is not a small

business concern.

(2) [Complete only if the offeror represented itself as a small business concern in

paragraph (b)(1) of this provision.] The offeror represents, for general statistical purposes, that

it [  ] is,  [  ] is not, a small disadvantaged business concern as defined in 13 CFR 124.1002.

(3) [Complete only if the offeror represented itself as a small business concern in

paragraph (b)(1) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is

not a women-owned small business concern.

(4) [Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a veteran-owned small business concern.

(5) [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (b)(4) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a service-disabled veteran-owned small business concern.

(6) [Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.] The offeror represents, as part of its offer, that-

(i) It [   ] is, [   ] is not a HUBZone small business concern listed, on the date of this representation, on the List of Qualified HUBZone Small Business Concerns maintained by the Small Business Administration, and no material change in ownership and control, principal office, or HUBZone employee percentage has occurred since it was certified by the Small Business Administration in accordance with 13 CFR part 126; and

(ii) It [  ] is, [  ] is not a joint venture that complies with the requirements of 13 CFR part 126, and the representation in paragraph (b)(6)(i) of this provision is accurate for the HUBZone small business concern or concerns that are participating in the joint venture. [The offeror shall enter the name or names of the HUBZone small business concern or concerns that are participating in the joint venture:__________.] Each HUBZone small business concern participating in the joint venture shall submit a separate signed copy of the HUBZone representation.

(c) Definitions. As used in this provision--

Service-disabled veteran-owned small business concern--

(1) Means a small business concern--

(i) Not less than 51 percent of which is owned by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran.

(2) Service-disabled veteran means a veteran, as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16).

"Small business concern," as used in this provision, means a concern, including its affiliates, that is

independently owned and operated, not dominant in the field of operation in which it is bidding on

Government contracts, and qualified as a small business under the criteria in 13 CFR Part 121

and the size standard in paragraph (a) of this provision.

Veteran-owned small business concern means a small business

concern--

(1) Not less than 51 percent of which is owned by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

"Women-owned small business concern," as used in this provision, means a small business

concern--

(1) That is at least 51 percent owned by one or more women; or in the case of any publicly

owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

(d) Notice. (1) If this solicitation is for supplies and has been set aside, in whole or in part, for

small business concerns, then the clause in this solicitation providing notice of the set-aside

contains restrictions on the source of the end items to be furnished.

(2) Under 15 U.S.C. 645(d), any person who misrepresents a firm's status as a small, small

disadvantaged, or women-owned small business concern in order to obtain a contract to be

awarded under the preference programs established pursuant to section 8(a), 8(d), 9, or 15 of

the Small Business Act or any other provision of Federal law that specifically references section

8(d) for a definition of program eligibility, shall--

(i) Be punished by imposition of fine, imprisonment, or both;

(ii) Be subject to administrative remedies, including suspension and debarment; and

(iii) Be ineligible for participation in programs conducted under the authority of the Act.

[Note to Contracting Officer:  Sample Cover Letter for RFQ]

American Embassy _____

Date:

# To:	Prospective Quoters

Subject: Request for Quotations number S [Note to Contracting Officer:  fill in RFQ number]

Enclosed is a Request for Quotations (RFQ) for [Note to Contracting Officer:  describe services].  If you would like to submit a quotation, follow the instructions in Section 6 of the solicitation, complete the required portions of the attached document, and submit it to the address shown on the Standard Form 1449 that follows this letter.

The U.S. Government intends to award a contract/purchase order to the responsible company submitting an acceptable quotation at the lowest price.  We intend to award a contract/purchase order based on initial quotations, without holding discussions, although we may hold discussions with companies in the competitive range if there is a need to do so.

Quotations are due by [Note to Contracting Officer:  fill in date and time].

Sincerely,

Contracting Officer

Enclosure

REQUEST FOR QUOTATIONS (RFQ) NUMBER S-DR860-99-Q-0001

TABLE OF CONTENTS

Section 1 - The Schedule

SF 1449 cover sheet

Continuation To SF-1449, RFQ Number S-DR860-99-Q-0001

Schedule Of Supplies/Services, Block 20 Description/Specifications/Work Statement,

Required Delivery Dates

Item Pricing

Section 2 - Contract Clauses

Contract Clauses

Addendum to Contract Clauses - FAR and DOSAR Clauses not Prescribed in Part 12

Section 3 - Solicitation Provisions

Solicitation Provisions

Addendum to Solicitation Provisions - FAR and DOSAR Provisions not Prescribed in Part 12

Section 4 - Evaluation Factors

Evaluation Factors

Addendum to Evaluation Factors - FAR and DOSAR Provisions not Prescribed in Part 12

Section 5 - Offeror Representations and Certifications

Offeror Representations and Certifications

Addendum to Offeror Representations and Certifications - FAR and DOSAR Provisions not Prescribed in Part 12

Section 6 - Proposal Preparation Instructions

SECTION 1 - THE SCHEDULE

SCHEDULE OF SUPPLIES/SERVICES (Block 20) DESCRIPTION/SPECIFICATIONS/WORK STATEMENT

1.0 GENERAL

The purpose of this procurement is to expediently obtain critical power equipment, in order to support American Embassy _____. This solicitation, at the quoter’s option, allows two delivery dates.  The first date is an essential requirement of this procurement, available equipment shall be delivered to the transportation point no later than [Note to Contracting Officer: insert number] ___ days after the date of the order.  The quoter may (at its option) additionally offer the Government equipment which is not available in six days but will be available no later than [Note to Contracting Officer: insert number] __ calendar days after the date of order.  The quoter shall include, in the offer/quotation, the cost of transportation to: [Note to Contracting Officer: insert location]  ___________

1.1.   DESCRIPTION

1.1.1 Provide the equipment identified in Table I herein, including: prime power, directly coupled shaft, engine generator sets.  These units shall be configured to consist of a liquid cooled engine and a conventional alternator and an electronic governor.  Each unit shall be manufactured complete with system controls and all necessary accessories to make the genset fully operational. All equipment shall be as specified but shall not be limited to the items specified herein.  Like generators shall be supplied with interchangeable parts and sub parts.  A listing of equipment is included in Table I, para 5.0.

1.1.2 Provide for integral automatic and manual operation from the selector switch: (1) automatic transfer switch (ATS) for each generator as described elsewhere in this specification.  The system shall come on-line fully automatically, and on restoration of utility automatically re-transfers load to normal power, shuts down the generator and returns to readiness for another operating cycle. (2) Provision shall be made on the switch for a manual operation using the selector switch in the MANUAL position.

1.1.3 Prime and overload ratings shall meet requirements herein.

1.1.4 Provide a three-position selector switch, as required in 2.3.2.

1.2.  REQUIREMENTS

1.2.1 The electric generating system consists of a prime mover, generator, electronic governor, couplings, and all controls, tested as a complete unit.

1.2.2 Conform to N.E.C. and applicable inspection authorities.

1.2.3 Transfer switches shall be labeled under UL 1008.

1.3 SUMMARY OF EQUIPMENT

1.3.1 Prime Power Rated Engine Generators (See Table I)

1.3.2 Trailers (See Table I)

1.3.3 ATS with NEMA enclosure (See Table I)

1.3.4 Sound attenuated enclosure to 75 db

The list of required equipment and features shall apply to all gensets identified herein.  Generator output power characteristics shall be 220/127, 60HZ, 3 phase and neutral, (4 Wire) except were otherwise stated.

2.0 ENGINE-GENERATOR SET

2.1 ENGINE

The prime mover shall be a liquid cooled, diesel fuel, naturally aspirated engine of 4-cycle design, with four cylinders (min).

2.1.2 The engine shall be cooled with an integral, unit mounted radiator, fan, water pump, and closed coolant recovery system, which provides visual diagnostic means to determine if the system is operating with a normal engine coolant level.  The radiator shall be designed for satisfactory operation in 110 Degrees Fahrenheit (44 degrees Celsius) ambient temperature.

2.1.3 The intake air filter (with replaceable element) shall be mounted on the unit.  Full pressure lubrication shall be supplied by a positive displacement lube-oil pump.  The engine shall have a replaceable oil filter with internal bypass and replaceable elements.  Engine coolant and oil drain extension must be provided to outside the mounting base for cleaner and convenient engine servicing.  A fan guard shall be installed for personnel safely.

2.1.4 The engine shall have a battery charging DC alternator with a transistorized voltage regulator.  Remote 2-wire electric starting shall be accomplished by a solenoid shift electric starter.

2.1.5 Engine speed electronic governor shall be have a frequency control, adjustable from zero to five percent droop, to maintain alternator frequency within five percent (across the range) from no load to full load.  Steady state regulation shall be within plus or minus 0.33 percent.

2.1.6 The engine fuel system shall be designed for operation using No. 2 diesel fuel.  A secondary fuel filter, water separator, manual fuel printing pump and fuel shut-off solenoid and all piping shall be installed on the unit.

2.1.7 Sensors shall be located on the engine for: low oil pressure shutdown, high coolant temperature shutdown, low coolant level shutdown, overspeed shutdown, and overcrank shutdown.  These sensors shall be connected to the control panel using a wiring harness with the following features: wire number labeling on each end of the wire run for ease of identification, a molded rubber boot to over the electrical connection on each sensor to prevent corrosion and all wiring to be run in flexible conduit for mechanical protection and environmental protection.

2.1.8 Jacket water heater

2.1.9  (Not Used)

2.1.10 Definitions - The following definitions apply for the purpose of this procurement and any resulting contract:

Continuous Load - A load in which maximum current is anticipated for three hours or more in accordance with the continuous duty cycle, as defined by NFPA-70.  Continuous Duty Rating - A duty rating, equivalent to a load equal to one hundred percent of the genset nameplate rating for a duration of more than three hours.

Prime Rating - A duty rating, equivalent to seventy percent of the genset nameplate rating, for a continuous period of 12 hours.  A prime rated generator is required to safely support the load, in the absence of city power, for an indefinite period.  While it is recognized that over a 24 hour, operational load cycle, period the load variation may be considerable, this rating permits the maximum continuous load and duration to be addressed in the genset selection process.

Overload Rating - This is defined as satisfactory operation at a load of 110 percent of the nameplate rating, for a period of two hours.

2.2 ALTERNATOR

2.2.1 The alternator shall be a multi-pole revolving field type, wired for 220/127v, 3 phase, 60 HZ, 4 wire, with a brushless, static exciter. Generators shall be prime rated as shown in Table I.  The stator shall be directly connected to the engine flywheel to ensure permanent alignment.  The generator shall meet temperature rise standards for class "F" varnish and conform to MIL-I-24092, Type "M" class 155.  All leads shall be extended into the AC connected panel.  The alternator shall be protected by internal thermal overload protection and an automatic reset field circuit breaker.  One step load acceptance shall be 100% of nameplate kW rating and meet the requirements of NFPA 110, paragraph 5-13.2.6.

2.2.2 The engine-generator set shall be so designed that voltage dip upon application of nameplate full load shall not exceed 12.5% with recovery to stable operation within 2 seconds.  The generator set and regulator shall sustain at least 90% of no load voltage for 30 seconds with 250% of rated load at near zero power factor connected to its terminals.

2.2.3 The solid state voltage regulator shall control output voltage by varying the exciter magnetic field to provide plus or minus 1% regulation during stable load conditions.  The regulator shall have a voltage droop characteristic of 4 volts per cycle to maximize motor starting capability in the event an extremely heavy load drops the output frequency.  The frequency at which this droop operation begins shall be adjustable allowing the generator set to be properly matched to the load characteristics ensuring optimum system performance.

2.2.4 The voltage regulator shall contain a limiting circuit to prevent output voltage surges in excess of 110% of rated voltage during generator set operation.  On a loss of the sensing signal, the voltage regulator shall shutdown to prevent an overvoltage condition from occurring.  A voltage regulator that can go into a full field condition is unacceptable.  LED indication will be provided on the regulator to monitor the sensing (yellow), excitation (green), and output circuit (red).  A rheostat shall provide a minimum of plus or minus 10% voltage adjustment from the rated value.

2.2.5 A NEMA 1 panel shall be installed to be an integral part of the generator set shall be provided to allow the installer a convenient location in which to make electrical output connections.  This panel shall have all phase, neutral and ground lugs included.

2.2.6 The engine generator set shall be mounted with vibration isolators on a welded steel base, which shall permit suitable mounting to any level surface.

2.3 GENERATOR CONTROLS

2.3.1 All engine, alternator controls and instrumentation shall be designed, built, wired, tested and shock mounted in a NEMA 1 enclosure to the engine-generator set by the manufacturer.  It shall contain D.C. panel lighting and a fused circuit to protect the controls.

2.3.2 The engine-generator set shall contain a complete engine start-stop control, which starts the engine on closing contacts and stops the engine on opening contacts.  An automatic preheat circuit that can also be operated in a manual mode shall be provided.  A cyclic cranking limiter shall be provided to open the starting circuit, after eight attempts, if the engine has not started.  Engine control modules shall be solid state plug-in type for high reliability and easy service.  The engine controls shall also include a 3-position selector switch with the following positions: OFF/MANUAL/AUTO.  A red annunciator lamp shall be energized when the switch is not in the automatic position.

2.3.3 Safety shutdown monitoring system shall include solid state engine monitor with individual lights and one common external alarm contact indicating the following conditions: Overcrank shutdown, Overspeed shutdown, High Coolant Temperature (Low Coolant Level shutdown), Low Oil Pressure shutdown.  Monitoring system shall included lamp test switch for manual reset of tripped conditions.  Engine RPM shall be monitored by an independent permanent magnetic sensor.  The engine shall shutdown immediately and energize a LOSS-OF-RPM shutdown light in the event of a failure.

2.3.4 Engine instrumentation shall consist of an oil pressure gauge, coolant temperature gauge, D.C. ammeter and an engine run-hour-meter, located on the unit control panel.  Alternator instrumentation shall include analog meters to indicate output voltage per phase; amperage per phase and generator output frequency.

2.3.5 A red light (labeled using silk screened black letters on the control panel), which becomes energized when a low fuel level is sensed in the base mounted tank.

2.3.6 A thermal-magnetic, UL listed, main-line, molded case circuit breaker shall be mounted in the generator terminal panel.  Line side connections shall be made at the factory.  A system utilizing a manual reset field circuit breaker and current transformers is unacceptable.

2.4 MISCELLANEOUS EQUIPMENT

2.4.1 The following miscellaneous equipment shall be provided as a part of this procurement action:

2.4.1.1 A sound attenuating enclosure: The engine-generator set shall be factory enclosed in a 12 gauge steel enclosure constructed with corner posts, coated with electrostatically applied zinc and finished with baked enamel paint.  The installed equipment sound levels shall be no more than 75 db at 7 meters (maximum) when the unit is operated at full load, under rated ambient conditions.  The enclosure shall have large, hinged doors to allow complete access to the engine, alternator and control panel.  Each door shall be fitted with stainless steel, lockable hardware with two sets of identical keys.

2.4.1.2 (Not Used)

2.4.1.3 An automatic dual rate battery charger mounted inside the genset enclosure, in its own cabinet, shall be provided.  The charger shall have 127 volt, single phase input. The automatic equalizer system shall monitor and limit the charge current to 10 amps.  The output voltage is to be determined by the charge current rate.  The charger shall have a maximum open circuit voltage of 35 volts and be protected against a reverse polarity connection.

2.4.1.4 A heavy duty, lead acid battery set shall be provided by the generator set manufacturer of adequate voltage and amperage capacity to start and operate the engine.  Provide all intercell and connecting battery cables as required for complete installation. The battery shall be shipped in place fully charged with electrolyte.

2.4.1.5 The genset, parts shall be warranted by the offeror in accordance with the terms of this contract.

2.4.1.6 An integral skid type fuel tank shall be provided with each generator set to permit 12 hours of operation at full rated load.

3.0 AUTOMATIC TRANSFER SWITCH (ATS)

3.1 GENERAL

3.1.1 The automatic transfer switch shall be furnished so as to maintain system compatibility and local service responsibility for the complete emergency power system.  It shall be listed by Underwriter's Laboratory, Standard 1008, with circuit breaker protection afforded by the generator breaker.  Representative production samples of the transfer switch, which have been demonstrated through tests, shall withstand 10,000 mechanical operation cycles (min) without failure.  One operation cycle is the electrically operated transfer form normal to emergency and back to normal.  Wiring shall comply with NEC table 373-6.  The manufacturer shall furnish complete schematic and wiring diagrams for the particular automatic transfer switch and a typical wiring diagram for the entire system showing all components, relays and part numbers.  This ATS shall be an integral part of the generator set and be secured to the winterized enclosure.  All wiring and connections to integrate the ATS into the generator output shall be made by the vendor before acceptance by the Government.

3.2 ATS RATINGS & PERFORMANCE

3.2.1 The automatic transfer switch (ATS) shall be a 3 pole design, rated for full load, continuous operation and selected based on the equipment of Table I herein.  The ATS rating shall be ambient temperatures of -20 Degrees Fahrenheit (-30 Degrees Celsius) to +140 Degrees Fahrenheit (+60 Degrees Celsius).  Main power switch contact shall be rated to operate at 380/ 220 volts maximum unless otherwise specified herein.  The transfer switch shall have a minimum withstand and closing rating of 100,000 amperes.   The RMS symmetrical fault current ratings shall be the rating listed in the UL listing or component recognition procedures for the transfer switch.

3.3 ATS CONSTRUCTION

3.3.1 The transfer switch shall be double throw construction, positively electrically and mechanically interlocked to prevent simultaneous closing and mechanically held in both normal and emergency positions.  Independent break before make action shall be used as protection to prevent dangerous source to source connections.  The transfer switch shall be approved for manual operation.  The electrical operating means shall be approved for manual operation.  The electrical operating means shall be by electric solenoid.  Every portion of the contactor is to be positively mechanically connected.  No clutch or friction drive mechanism is allowed, and parts are to be kept to a minimum.  This transfer switch shall not contain integral overcurrent devices in the main power circuit, including molded case circuit breakers or fuses.

3.3.2 The transfer switch electrical actuator shall have an independent disconnect means to disable the electrical operation during manual switching.  Maximum electrical transfer time in either direction shall be 160 milliseconds, exclusive of time delays.  Main switch contacts shall be high pressure silver alloy contacts to resist burning and pitting for long life operation.

3.3.3 There shall be one Single Pole Double Throw, 10 ampere, 250 volt auxiliary contacts on both normal and emergency sides, operated by the transfer switch.  Full rated neutral bar with lugs for normal, emergency and load conductors shall be provided inside the cabinet.

3.4 CONTROL EQUIPMENT

3.4.1 All control equipment shall be mounted on the inside of the cabinet door in a metal lockable enclosure with transparent safety shield to protect all solid state circuit boards.  This will allow for ease of service access when main cabinet lockable door is open, but prevent access by unauthorized personnel.  Control boards shall have installed cover plates to avoid shock hazard while making control adjustments.  The solid state voltage sensors and time delay modules shall be plug-in circuit boards with silver or gold contacts for ease of service.

3.4.2 A solid state under-voltage sensor shall monitor each phase of the normal source and provide adjustable ranges for field adjustments for specific applications needs.  Pick-up and drop-out settings shall be adjustable from a minimum of 70% to a maximum of 95% of nominal voltage.  The utility input voltage shall be stepped down to 24VAC for safety and reliability.

3.4.3 Signal the engine-generator set to start in the event of a power interruption.  A set of contacts shall close to start the engine and open for engine shutdown.  An adjustable, solid state time delay start (1 to 180 seconds) shall delay this signal to avoid nuisance start-ups on momentary voltage dips or power outages.

3.4.4 Transfer the load to the engine-generator set after it reaches proper voltage (80%) and frequency (80%).  A solid state time delay (30 seconds) shall delay this transfer to allow the engine-generator to warm-up before application of load.  There shall be a switch to bypass this warm-up timer when immediate transfer is required.

3.4.5 Retransfer the load to the line after normal power restoration.  A return to utility timer (5-10 minutes) shall delay this transfer to avoid short term normal power restoration.

3.4.6 The operating power for transfer and retransfer shall be obtained from the source to which the load is being transferred.  Controls shall provide an automatic retransfer of the load from emergency to normal if the emergency source fails with the normal source available.

3.4.7 Signal the engine-generator to stop after the load re-transfers to normal.  An adjustable, solid state engine cool-down timer (3-10 minutes) shall permit the engine to run unloaded to cool-down before shutdown.

3.4.8 Provide an engine minimum run timer (10 minutes) to ensure an adequate engine run period.

3.4.9 Provide a solid state plant exercise clock to set the day and time of generator set exercise period.  Clock shall have a seven days, 24 hour programmable clock powered from the load side of the transfer switch. A150 hour internal battery shall be supplied to maintain the circuit board settings when the load side of the transfer switch is de-energized.  Include a switch to select if the load will transfer to the engine-generator set during the exercise period.

3.4.10 The transfer switch shall have a time delay neutral feature to provide a time delay (5 seconds) during the transfer in either direction during which time the load is isolated from both power sources.  This allows residual voltage components of motors or other conductive loads (such as transformers) to decay before completing the switching cycle.  A switch will be provided to bypass this feature when immediate transfer is required.

3.4.11 Front mounted controls shall include a selector switch to provide for a NORMAL TEST mode with full use of time delays, FAST TEST mode which bypasses all time delays to allow for testing the entire system in less than one minute, or AUTOMATIC mode to set the system for normal operation.

3.4.12 Provide colored indicator lamps to be energized when the transfer switch position is in either UTILITY (white) or EMERGENCY (red).  A third lamp shall be provided to indicate STANDBY OPERATING (amber).  These lights shall be energized from utility or the engine-generator set.

3.4.13 Provide manual operating handle to allow for manual transfer.  This handle shall be mounted inside the lockable enclosure so accessible only by authorized personnel.

3.4.14 Provide a safety disconnect switch to prevent load transfer and automatic engine start while performing maintenance.  This switch will also be used for manual transfer switch operation.

3.4.15 Provide LED status lights to give a visual readout of the operating sequence.  This shall include: utility on, engine warm up, engine warm up bypass, standby voltage "ready", standby frequency "ready", standby on, transfer to standby, return to utility, engine cool-down, engine minimum run and fast test mode.

3.5 MISCELLANEOUS ATS EQUIPMENT

3.5.1 The transfer switch mechanism and controls shall be mounted in a NEMA 1 enclosure, rated for indoor installations.

3.6 TRAILER (See Table I )

3.6.1 Two new generator sets shall be shipped with a flatbed single axle trailer capable of carrying a minimum of 3500 lbs.  The trailers shall include leaf springs, front tongue jack, safety chains, IC lighting, license plate bracket, 4 wire flat connector, quantity 5 six ply tires (one to be mounted on the tongue as a spare), and a pintel hitch.

4.0 MISCELLANEOUS

4.1 FACTORY TESTING

4.1.1 Before shipment of the equipment, the engine-generator set shall be tested under rated load and power factor for performance and proper fronting of control and interfacing circuits.  Tests shall include:

4.1.1.1 Verifying all safety shutdowns and components are functioning properly.

4.1.1.2 Single step load pick-up per NFPA 110-1985, Paragraph 5-13.2.6.

4.1.1.3 Transient and voltage dip responses and steady state voltage and speed (frequency) checks.

4.1.1.4 The factory test data sheet shall identify all tests (PASSED or FAILED) and accompany each generator set. This will be reviewed by the DOSREP before written acceptance is provided.

4.2 OWNERS MANUALS

4.2.1 Four (4) sets of owner's manuals specific to the genset and products supplied shall be located inside each unit and accompany the equipment.  General operating instruction, preventive maintenance, wiring diagrams, schematics and parts exploded views specific to this model shall be included.  Two additional sets of owner's manuals shall be delivered to DEPT OF STATE, PO BOX 12248, ARLINGTON, VA 22219. ATTN:  T. WARREN (703) 875-6138.

4.3 SUBMITTALS

4.3.1 Provide two complete sets (for each rating of machine) of Engineering Submittal for approval, prior to production release, showing all components, in addition to the engine, generator and automatic transfer switch.  Submittals shall include complete system interconnection wiring diagrams and manufacturer's warranty form indicating compliance with these specifications.

4.4 SPARES

A 2000 hours spare parts kit shall be provided for each genset supplied under this contract.  The offer shall include a complete list of all vendors recommended spares.  The offer shall explicitly identify each Table I line item by packaged dimensions, weight and price.

4.5 FIELD SERVICE (Not required under this Contract)

4.6 WARRANTY

The offeror shall provide a one-year warranty on parts, which starts from the date the equipment is commissioned on-site.  This requirement shall not modify or change the standard contract warranty agreement.

5.0  	Table I -  LIST OF REQUIRED EQUIPMENT (see note 1)

Generators shall be provided under this contract including the following typical accessories:

Prime KW Rating	Auto Xfer Switch	2000hrs Spares   Trailer   Total Generators

30.0			10			10 Kits		2 Trailers  10

75.0			1			1 Kit					1

150.0			2			2 Kit					2

200.0			1			1 Kit					1

250.0			1			1 Kit					1

Totals		15			15			2		15

Note 1: Limited use equipment, which meets this solicitation and is offered under warranty, will be considered by the Government. Alternate/acceptable KW ratings will also be considered.

GENSET AND CONTROL PANEL

Generator Set:  Diesel fuel engine generators wired for 220/127v, 3 phase, 60HZ with brushless type exciter and one percent voltage regulation.

Control Panel: AC meter package, phase selector switch, cyclic cranking with crank limiter, voltage adjust rheostat, hour-meter, oil pressure and coolant temperature gauges, DC batter charge ammeter, panel light lamp test/reset switch, AUTO/OFF/MANUAL switch with red "Not in Auto" annunciator light, latched shutdowns and five light annunciation for:

Low oil pressure

High coolant temperature

Overcrank

Overspeed

RPM sensor loss

Fuel shut-off solenoid valve

Fuel filter and water separator

Electronic governor

Battery charging alternator

Battery cables

Flex exhaust

Solenoid activated starter motor

Air cleaner and oil filter with internal bypass

Oil and antifreeze

Oil and radiator drain extensions

Vibration isolators between engine/alternator and base frame

Cool flow radiator with fan guards

Sound attenuating enclosure (75db min)

Installed critical muffler

Installed UL listed main circuit breaker (rated to generator full load)

10A/12V battery charger

135AH (4D) battery

Flexible fuel lines (2)

(6) sets of owners manuals

Automatic Transfer Switch:  (See Table I)

Transfer switch (Ampacity based on Genset Full Load Output)

3 pole, transfer switch rated at 220/127 volts

Time delay neutral

Safety disconnect switch

System voltage 220/127 three phase

Utility voltage sensing controls:

-   Drop-out and pick-up (70 to 95% adjustable)

-  Utility interrupt delay (1 to 10 seconds adjustable)

2 wire start system

CPU control with 7 day exerciser

NEMA 1 enclosure

Full 1-year warranty

UL 1008 listed

(6) Sets of Owner's Manuals

The generator sets, transfer switches, spare parts and trailers are being imported duty free under the diplomatic duty free status of the American Embassy, the goods will be considered delivered once received and inspected by the Receiving Officer at the United States Embassy, Santo Domingo.

6.0 Table II - ITEM PRICING (QUOTER COMPLETES)

US DOLLARS ($)

Line	Prime				Auto			2000hrs

No.  	KW Rating  Generator $	Xfer Switch $ 	Spares $  	Trailer $	Total $

001

002

003

004

005

006

007

008

009

Totals (US Dols)

TOTAL CONTRACT PRICE: $___________

SECTION 2 - CONTRACT CLAUSES

52.204-9 – PERSONAL IDENTIFICATION VERIFICATION OF CONTRACTOR PERSONNEL (JAN 2006)

FAR 52.212-4, Contract Terms and Conditions -- Commercial Items (FEB 2007), is incorporated by reference.  (See SF-1449, block 27a).

ADDENDUM TO 52.212-4	None

[While the FAR allows certain paragraphs of 52.212-4 to be tailored, the contracting officer should consult A/OPE before tailoring any of the language.  Keep in mind that paragraphs (b), (d), (g), (i), (q), and (r) of 52.212-4 may not be tailored.]

[If there is no addendum to 52.212-4, leave this as “none”.]

NOTE TO CONTRACTING OFFICER - FAR clause 52.212-5 may NOT be tailored, e.g., you may not delete any portion of it. However, you will note that many portions are marked “reserved”.  Please use this clause in its present form IF you will be soliciting ONLY non-U.S. firms.  If you will be soliciting U.S. firms or a combination of U.S and non-U.S. firms, you must use the clause as it appears in the FAR.  If you need help finding that version of the clause contact your A/OPE desk officer.

Regardless of which form of this clause is used, it does require you to place an “X” next to the portions which lead off with an underline.  We have placed an “X” next to those portions that will most normally apply.  If you think other portions apply, please indicate same as a notation in your request for review memorandum and place an “X” on the line preceding that paragraph.

52.212-5	Contract Terms and Conditions Required to Implement Statutes or Executive Orders - Commercial Items (MAR 2007)

- The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clauses, which are incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

  - 52.233-3, Protest after Award (AUG 1996) (31 U.S.C. 3553).

  - 52.233-4, Applicable Law for Breach of Contract Claim (OCT 2004) (Public L. 108-77, 108-78).

(b)  The Contractor shall comply with the FAR clauses in this paragraph (b) that the contracting officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

[Contracting Officer check as appropriate]

|  | Clause Number and Title |
| --- | --- |
| X | (1) 52.203-6, Restrictions on Subcontractor Sales to the Government, with Alternate I (41 U.S.C. 253g and 10 U.S.C. 2402) (SEPT 2006). [Check if order exceeds $100,000] |
|  | (2) – (14) [Reserved]. |
|  | (15) 52.222-19, Child Labor – Cooperation with Authorities and Remedies (JAN 2006) (E.O. 13126). [Check if order is for supplies and exceeds the micro-purchase threshold] |
|  | (16) 52.222-21, Prohibition of Segregated Facilities (FEB 1999). [Check if the following apply: for supplies, the order exceeds $10,000 and is awarded to a U.S. firm. For services, the order exceeds $10,000 and is awarded to a U.S. firm whose employees who will be performing the work were recruited within the U.S.] |
|  | (17) 52.222-26, Equal Opportunity (MAR 2007) (E.O. 11246). [Check if the following apply: for supplies, the order exceeds $10,000 and is awarded to a U.S. firm. For services, the order exceeds $10,000 and is awarded to a U.S. firm whose employees who will be performing the work were recruited within the U.S.] |
|  | (18) 52.222-35, Equal Opportunity for Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (SEPT 2006) (38 U.S.C. 4212). [Check if the following apply: for supplies, the order exceeds $10,000 and is awarded to a U.S. firm. For services, the order exceeds $10,000 and is awarded to a U.S. firm whose employees who will be performing the work were recruited within the U.S.] |
|  | (19) 52.222-36, Affirmative Action for Workers with Disabilities (JUN 1998) (29 U.S.C. 793). [Check if the following apply: for supplies, the order exceeds $10,000 and is awarded to a U.S. firm. For services, the order exceeds $10,000 and is awarded to a U.S. firm whose employees who will be performing the work were recruited within the U.S.] |
|  | (20) 52.222-37, Employment Reports on Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (SEPT 2006) (38 U.S.C. 4212). [Check if you have included the clause 52.222-35] |
|  | (21) 52.222-39, Notification of Employee Rights Concerning Payment of Union Dues or Fees (DEC 2004) (E.O. 13201). [check if over $100,000] |
|  | (22) – (24) [Reserved]. |
|  | (25) 52.225-5, Trade Agreements (NOV 2006) (19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note). [Check if the order is for supplies and the amount exceeds $193,000] |
| X | (26) 52.225-13, Restrictions on Certain Foreign Purchases (FEB 2006) (E.O.s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury). [Check if the order is for either supplies or services and the amount exceeds the micro-purchase threshold, unless authorized by OFAC] |
|  | (27) – (30) [Reserved]. |
|  | (31) 52.232-33, Payment by Electronic Funds Transfer – Central Contractor Registration (OCT 2003) (31 U.S.C. 3332). [Check if payment will be made by EFT and the contractor has registered in the CCR] |
|  | (32) 52.232-34, Payment by Electronic Funds Transfer – Other than Central Contractor Registration (MAY 1999) (31 U.S.C. 3332). [Check if payment will be made by either EFT or other means, e.g., check, and the contractor has not registered in the CCR] |
|  | (33) 52.232-36, Payment by Third Party (MAY 1999) (31 U.S.C. 3332). [Check if payment will be made by a third party, e.g., purchase card] |
|  | (34) 52.239-1, Privacy or Security Safeguards (AUG 1996) (5 U.S.C. 552a). [Check if the order is for information technology which requires security of information technology, and/or is for the design, development, or operation of a system of records using commercial information technology services or support services] |
|  | (35)(i) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (FEB 2006) (46 U.S.C. Appx 1241(b) and 10 U.S.C. 2631). [Check if the order is for supplies that may involve ocean transportation: at least 50% of the gross tonnage must be transported on privately owned U.S.-flag commercial vessels to the extent that such vessels are available at rates that are fair and reasonable for U.S.-flag commercial vessels] |
|  | (ii) Alternate I (APR 2003) of 52.247-64. [Check if 100% of the supplies will be transported on privately owned U.S.-flag commercial vessels] |

(c)  [Reserved]

(d)  Comptroller General Examination of Record.  The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, and does not contain the clause at 52.215-2, Audit and Records -- Negotiation.

(1)  The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.

(2)  The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR Subpart 4.7, Contractor Records Retention, of the other clauses of this contract.  If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement.  Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3)  As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form.  This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e)(1)  [This paragraph applies only if award is made to a U.S. firm]  Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c) and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in paragraphs (i) through (vi) of this paragraph in a subcontract for commercial items.  Unless otherwise indicated below, the extent of the flow down shall be as required by the clause –

(i)  52.219-8, Utilization of Small Business Concerns (SEPT 2006) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer subcontracting  opportunities.  If the subcontract (except subcontracts to small business concerns) exceeds $550,000 ($1,000,000 for construction of any public facility), the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(ii)  52.222-26, Equal Opportunity (APR 2002)  (E.O. 11246).

(iii)  52.222-35, Equal Opportunity for Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (DEC 2001) (38 U.S.C. 4212).

(iv)  52.222-36, Affirmative Action for Workers with Disabilities (JUN 1998) (29 U.S.C. 793).

(v)  52.222-39, Notification of Employee Rights Concerning Payment of Union Dues or Fees (DEC 2004) (E.O. 13201).

(vi)  [Reserved].

(vii)  52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (FEB 2006) (46 U.S.C. Appx 1241(b) and 10 U.S.C. 2631).  Flow down required in accordance with paragraph (d) of FAR clause 52.247-64).

ADDENDUM TO CONTRACT CLAUSES FAR AND DOSAR CLAUSES NOT PRESCRIBED IN PART 12

52.252-2	CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

http://acquisition.gov/far/index.html/   or http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  IF the FAR is not available at the locations indicated above, use of a network "search engine" (e.g., Yahoo, Infoseek, Alta Vista, etc.) is suggested to obtain the latest location of the most current FAR clauses.

The following Federal Acquisition Regulation clauses are incorporated by reference:

Clause			Title and Date

52.225-14		Inconsistency Between English Version and Translation of Contract

(FEB 2000)

52.232-34		Optional Information for Electronic Funds Transfer Payment (AUG 1996)

The following FAR clause is provided in full text:

The following DOSAR clauses are provided in full text:

652.232-70  PAYMENT SCHEDULE AND INVOICE SUBMISSION (FIXED-PRICE) (AUG 1999)

(a)  General.  The Government shall pay the contractor as full compensation for all work required, performed, and accepted under this contract the firm fixed-price stated in this contract.

(b) Invoice Submission.  The contractor shall submit invoices in an original and [Note to Contracting Officer: insert appropriate number] copies to the office identified in Block 18b of the SF-1449.  To constitute a proper invoice, the invoice shall include all the items required by FAR 32.905(e).

[Note to Contracting Officer:  Include the following sentence if VAT  will apply to this contract:]

The contractor shall show Value Added Tax (VAT) as a separate item on invoices submitted for payment.

(c)  Contractor Remittance Address.  The Government will make payment to the contractor’s address stated on the cover page of this contract, unless a separate remittance address is shown below:

_________________________________________________________________ _________________________________________________________________ __________________________________________________________________

652.237-71 - IDENTIFICATION/BUILDING PASS (APR 2004)

652.242-70 CONTRACTING OFFICER'S REPRESENTATIVE (COR) (AUG 1999)

(a) The Contracting Officer may designate in writing one or more Government employees, by name or position title, to take action for the Contracting Officer under this contract. Each designee shall be identified as a Contracting Officer’s Representative (COR). Such designation(s) shall specify the scope and limitations of the authority so delegated; provided, that the designee shall not change the terms or conditions of the contract, unless the COR is a warranted Contracting Officer and this authority is delegated in the designation.

(b) The COR for this contract is [insert job title of COR].

[INCLUDE THE FOLLOWING 652.225-71 CLAUSE ONLY IF THE DOLLAR VALUE WILL EXCEED $100,000]

652.225-71  SECTION 8(A) OF THE EXPORT ADMINISTRATION ACT OF 1979, AS AMENDED (AUG 1999)

(a) Section 8(a) of the U.S. Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)), prohibits compliance by U.S. persons with any boycott fostered by a foreign country against a country which is friendly to the United States and which is not itself the object of any form of boycott pursuant to United States law or regulation. The Boycott of Israel by Arab League countries is such a boycott, and therefore, the following actions, if taken with intent to comply with, further, or support the Arab League Boycott of Israel, are prohibited activities under the Export Administration Act:

(1) Refusing, or requiring any U.S. person to refuse to do business with or in Israel, with any Israeli business concern, or with any national or resident of Israel, or with any other person,

pursuant to an agreement of, or a request from or on behalf of a boycotting country;

(2) Refusing, or requiring any U.S. person to refuse to employ or otherwise discriminating against any person on the basis of race, religion, sex, or national origin of that person or of any owner, officer, director, or employee of such person;

(3) Furnishing information with respect to the race, religion, or national origin of any U.S. person or of any owner, officer, director, or employee of such U.S. person;

(4) Furnishing information about whether any person has, has had, or proposes to have any business relationship (including a relationship by way of sale, purchase, legal or commercial representation, shipping or other transport, insurance, investment, or supply) with or in the State of Israel, with any business concern organized under the laws of the State of Israel, with any Israeli national or resident, or with any person which is known or believed to be restricted from having any business relationship with or in Israel;

(5) Furnishing information about whether any person is a member of, has made contributions to, or is otherwise associated with or involved in the activities of any charitable or fraternal organization which supports the State of Israel; and,

(6) Paying, honoring, confirming, or otherwise implementing a letter of credit which contains any condition or requirement against doing business with the State of Israel.

(b) Under Section 8(a), the following types of activities are not forbidden ``compliance with the boycott,'' and are therefore exempted from Section 8(a)'s prohibitions listed in paragraphs (a)(1)-(6) above:

(1) Complying or agreeing to comply with requirements:

(i) Prohibiting the import of goods or services from Israel or goods produced or services provided by any business concern organized under the laws of Israel or by nationals or residents of

Israel; or,

(ii) Prohibiting the shipment of goods to Israel on a carrier of Israel, or by a route other than that prescribed by the boycotting country or the recipient of the shipment;

(2) Complying or agreeing to comply with import and shipping document requirements with respect to the country of origin, the name of the carrier and route of shipment, the name of the supplier of the shipment or the name of the provider of other services, except that no information knowingly furnished or conveyed in response to such requirements may be stated in negative,

blacklisting, or similar exclusionary terms, other than with respect to carriers or route of shipments as may be permitted by such regulations in order to comply with precautionary requirements

protecting against war risks and confiscation;

(3) Complying or agreeing to comply in the normal course of business with the unilateral and specific selection by a boycotting country, or national or resident thereof, of carriers, insurance, suppliers of services to be performed within the boycotting country or specific goods which, in the normal course of business, are identifiable by source when imported into the boycotting country;

(4) Complying or agreeing to comply with the export requirements of the boycotting country relating to shipments or transshipments of exports to Israel, to any business concern of or organized under the laws of Israel, or to any national or resident of Israel;

(5) Compliance by an individual or agreement by an individual to comply with the immigration or passport requirements of any country with respect to such individual or any member of such individual's family or with requests for information regarding requirements of employment of such individual within the boycotting country; and,

(6) Compliance by a U.S. person resident in a foreign country or agreement by such person to comply with the laws of that country with respect to his or her activities exclusively therein, and such regulations may contain exceptions for such resident complying with the laws or regulations of that foreign country governing imports into such country of trademarked, trade named, or similarly specifically identifiable products, or components of products for his or her own use, including the performance of contractual services within that country, as may be defined by such regulations.

652.242-73  AUTHORIZATION AND PERFORMANCE (AUG 1999)

(a) The contractor warrants the following:

(1) That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

(2) That is has obtained all necessary licenses and permits required to perform this contract; and,

(3) That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

(b) If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of this clause.

SECTION 3 - SOLICITATION PROVISIONS

FAR 52.212-1, Instructions to Offerors -- Commercial Items (SEPT 2006), is incorporated by reference.  (See SF-1449, block 27a).

ADDENDUM TO 52.212-1 None

ADDENDUM TO SOLICITATION PROVISIONS FAR AND DOSAR PROVISIONS NOT PRESCRIBED IN PART 12

52.252-1	SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

http://acquisition.gov/far/index.html/   or http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  IF the FAR is not available at the locations indicated above, use of a network "search engine" (e.g., Yahoo, Infoseek, Alta Vista, etc.) is suggested to obtain the latest location of the most current FAR provisions.

The following Federal Acquisition Regulation solicitation provisions are incorporated by reference:

Clause			Title and Date

52.204-6		Data Universal Numbering System (DUNS) 	Number (JUN 1999)

52.214-34		Submission of Offers in the English Language (APR 1991)

The following DOSAR provision is provided in full text:

652.206-70 COMPETITION ADVOCATE/OMBUDSMAN (AUG 1999)

(a) The Department of State's Competition Advocate is responsible for assisting industry in removing restrictive requirements from Department of State solicitations and removing barriers to full and open competition and use of commercial items. If such a solicitation is considered competitively restrictive or does not appear properly conducive to competition and commercial practices, potential offerors are encouraged to first contact the contracting officer for the respective solicitation. If concerns remain unresolved, contact the Department of State Competition

Advocate on (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Competition Advocate, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

(b) The Department of State's Acquisition Ombudsman has been appointed to hear concerns from potential offerors and contractors during the preaward and postaward phases of this acquisition. The role of the ombudsman is not to diminish the authority of the contracting officer, the Technical Evaluation Panel or Source Evaluation Board, or the selection official. The purpose of the ombudsman is to facilitate the communication of concerns, issues, disagreements, and recommendations of interested parties to the appropriate Government personnel, and work to resolve them. When requested and appropriate, the ombudsman will maintain strict confidentiality as to the source of the concern. The ombudsman does not participate in the evaluation of proposals, the source selection process, or the adjudication of formal contract disputes. Interested parties are invited to contact the contracting activity ombudsman, [insert name], at [insert telephone and fax numbers]. For an American Embassy or overseas post, refer to the numbers below for the Department Acquisition Ombudsman. Concerns, issues, disagreements, and recommendations which cannot be resolved at a contracting activity level may be referred to the Department of

State Acquisition Ombudsman at (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Acquisition Ombudsman, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

SECTION 4 - EVALUATION FACTORS

Award will be made to the lowest priced, acceptable, responsible quoter, which can meet the equipment availability, delivery and shipping requirements herein. Quotes shall include a completed solicitation.  Provide manufacturers technical specifications and information on the generator sets, transfer switches and associated components, listed in Table I.

Unit Prices for generator, transfer switch, spare parts kit and trailer shall be listed.

The Government reserves the right to reject proposals that are unreasonably low or high in price.

The lowest price will be determined by multiplying the offered prices times the estimated quantities in Prices - Continuation of SF-1449, block 23 or applicable page of this Solicitation, and arriving at a grand total, including all line items.  Acceptability will be determined by assessing the offeror's compliance with the terms of the RFP.  Responsibility will be determined by analyzing whether the apparent successful offeror complies with the requirements of FAR 9.1, including:

* equipment availability and delivery schedule;

* adequate financial resources or the ability to obtain them;

* ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

* satisfactory record of integrity and business ethics;

* necessary organization, experience, and skills or the ability to obtain them;

* necessary equipment and facilities or the ability to obtain them; and

* be otherwise qualified and eligible to receive an award under applicable laws and regulations.

ADDENDUM TO EVALUATION FACTORS

FAR AND DOSAR PROVISION(S) NOT PRESCRIBED IN PART 12

The following FAR provision is provided in full text:

[Note to Contracting Officer:  Insert FAR 52.225-17 in full text if you will be allowing quotations to be submitted in more than one currency (U.S. dollars or local currency).]

FAR 52.225-17 EVALUATION OF FOREIGN CURRENCY OFFERS (FEB 2000):

If the Government receives offers in more than one currency, the Government will evaluate offers by converting the foreign currency to United States currency using the exchange rate used by the Embassy in effect as follows:

(a) For acquisitions conducted using sealed bidding procedures, on the date of bid opening.

(b) For acquisitions conducted using negotiation procedures—

(1) On the date specified for receipt of offers, if award is based on initial offers; otherwise

(2) On the date specified for receipt of proposal revisions.

SECTION 5 - OFFEROR REPRESENTATIONS AND CERTIFICATIONS

NOTE TO CONTRACTING OFFICER - FAR provision 52.212-3 may NOT be tailored, e.g., you may not delete any portion of it. However, you will note that many portions are marked “reserved”.  Please use this provision in its present form IF you will be soliciting ONLY non-U.S. firms.  If you will be soliciting U.S. firms or a combination of U.S and non-U.S. firms, you must use the provision as it appears in the FAR.  If you need help finding that version of the provision contact your A/OPE desk officer.

52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS – COMMERCIAL ITEMS  (NOV 2006)

An offeror shall complete only paragraph (j) of this provision if the offeror has completed the annual representations and certifications electronically at http://orca.bpn.gov. If an offeror has not completed the annual representations and certifications electronically at the ORCA website, the offeror shall complete only paragraphs (b) through (i) of this provision.

(a)  [Reserved]

(b)  Taxpayer Identification Number (TIN) (26 U.S.C. 6109, 31 U.S.C. 7701).  (Not applicable if the offeror is required to provide this information to a central contractor registration database to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (b)(3) through (b)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror’s relationship with the Government (3l U.S.C. 7701(c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror’s TIN.

(3) Taxpayer Identification Number (TIN).

___ TIN: ____________________________.

___ TIN has been applied for.

___ TIN is not required because:

___ Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the U.S. and does not have an office or place of business or a fiscal paying agent in the United States;

___ Offeror is an agency or instrumentality of a foreign government;

___ Offeror is an agency or instrumentality of the Federal Government.

(4) Type of Organization.

__ Sole Proprietorship;

__ Partnership:

__ Corporate Entity (not tax-exempt);

__ Corporate Entity (tax-exempt);

__  Government entity (Federal, State, or local);

__   Foreign government;

__   International organization per 26 CFR 1.6049-4;

__   Other ___________________________________________.

(5) Common Parent.

___  Offeror is not owned or controlled by a common parent;

___ Name and TIN of common parent;

Name ______________________________________________.

TIN _______________________________________________.

(c) – (d) [Reserved]

(e) Certification Regarding Payments to Influence Federal Transactions (31 U.S.C. 1352). (Applies only if the contract is expected to exceed $100,000.)  By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract.

(f) –(g) Reserved

(h) Certification Regarding Debarment, Suspension or Ineligibility for Award (Executive Order 12549). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals--

(1) [  ] Are, [  ] are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency; and

(2) [  ] Have, [  ] have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, or receiving stolen property; and

(3) [  ] Are, [  ] are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses.

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126). [The Contracting Officer must list in paragraph (i)(1) any end products being acquired under this solicitation that are included in the List of Products Requiring Contractor Certification as to Forced or Indentured Child Labor, unless excluded at 22.1503(b).]

(1) Listed end products.

| Listed End Product | Listed Countries of Origin |
| --- | --- |
| ___________________ | ___________________ |
| ___________________ | ___________________ |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

[ ] (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

[ ] (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

(j) Place of manufacture.  (Does not apply unless the solicitation is predominantly for the acquisition of manufactured end products.)  For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly –

(1) [ ] In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) [ ] Outside the United States.

(k)(1) Annual Representations and Certifications. Any changes provided by the offeror in paragraph (k)(2) of this provision do not automatically change the representations and certifications posted on the Online Representations and Certifications Application (ORCA) website.

(2) The offeror has completed the annual representations and certifications electronically via the ORCA website at http://orca.bpn.gov.  After reviewing the ORCA database information, the offeror verifies by submission of this offer that the representations and certifications currently posted electronically at FAR 52.212–3, Offeror Representations and Certifications—Commercial Items, have been entered or updated in the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard applicable to the NAICS code referenced for this solicitation), as of the date of this offer and are incorporated in this offer by reference (see FAR 4.1201), except for paragraphs ____________.

ADDENDUM TO OFFEROR REPRESENTATIONS AND CERTIFICATIONS FAR AND DOSAR PROVISION(S) NOT PRESCRIBED IN PART 12

The following DOSAR provision is provided in full text:

652.225-70  ARAB LEAGUE BOYCOTT OF ISRAEL (AUG 1999)

(a) Definitions. As used in this provision:

Foreign person means any person other than a United States person as defined below.

United States person means any United States resident or national (other than an individual resident outside the United States and employed by other than a United States person), any domestic concern (including any permanent domestic establishment of any foreign concern), and any foreign subsidiary or affiliate (including any permanent foreign establishment) of any domestic concern which is controlled in fact by such domestic concern, as provided under the Export Administration Act of 1979, as amended.

(b) Certification. By submitting this offer, the offeror certifies that it is not:

(1) Taking or knowingly agreeing to take any action, with respect to the boycott of Israel by Arab League countries, which Section 8(a) of the Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)) prohibits a United States person from taking; or,

(2) Discriminating in the award of subcontracts on the basis of religion.

SECTION 6 - PROPOSAL PREPARATION INSTRUCTIONS

6.1 General

6.2 Specific Requirements:

6.2.1 This solicitation incorporates the FAR provision 52.212-1, "Instructions to Offerors - Commercial Items.

The following Federal Acquisition Regulation clauses are incorporated in full text:

52.215-5 FACSIMILE PROPOSALS (OCT 1997)

(a) Definition. "Facsimile proposal," as used in this provision, means a proposal, revision or modification of a proposal, or withdrawal of a proposal that is transmitted to and received by the Government via facsimile machine.

(b) Offerors may submit facsimile proposals as response to this solicitation. Facsimile proposals are subject to the same rules as paper proposals.

(c) The telephone number of receiving facsimile equipment is:  (809) 685-9019.

(d) If any portion of a facsimile proposal received by the Contracting Officer is unreadable to the degree that conformance to the essential requirements of the solicitation cannot be ascertained from the document-

(1) The Contracting Officer immediately shall notify the offeror and permit the offeror to resubmit the proposal;

(2) The method and time for resubmission shall be prescribed by the Contracting Office after consultation with the offeror; and

(3) The resubmission shall be considered as if it were received at the date and time of the original unreadable submission for the purpose of determining timeliness, provided the offeror complies with the time and format requirements for resubmission prescribed by the Contracting Officer.

(e) The Government reserves the right to make award solely on the facsimile proposal.  However, if requested to so by the Contracting Officer, the apparently successful offeror promptly shall submit the complete original signed proposal.