# Appendix s

# Regulation and Frequency Response Ancillary Service

# Rate Design

## Rate = RR for Regulation/reservations requiring the service

### RR for service =

(Capacity for service x Capacity rate of Project + Regulation Purchases) x

use factor Reservations requiring the service divided by

CRSP Southern load + DSW load + load in BATO

|  | Regulation Service Charge | Regulation |  |
| --- | --- | --- | --- |
|  | Hoover* | CRSP** | Purchases | Use Factor | Total |
| Capacity | 57,000 kW | 4,000 kW |  |  |  |
| Rate | $16.68 kW/Yr | $23.30 kW/Yr |  |  |  |
| Cap. R.R. | 950,760 | 93,200 | $268,800 | 0.70 | $918,932 |
| BATO Res | 4,483,892 MWh |  |  |  | 4,483,892 MWh |
| Rate |  |  |  |  | 0.2049 mills/kWh |
| * Capacity rate for BCP |  |  |  |  |
| ** Capacity rate for regulation capacity calculated by CRSP MC |  |