| DEPARTMENT OF HEALTH AND HUMAN SERVICES FOOD AND DRUG ADMINISTRATION | INSPECTION SUMMARY- RAILROAD WATERING POINT OR SERVICE AREA SANITATION |
| --- | --- |
| NOTE: The items marked below identify deficiencies in operations or facilities which must be corrected within a reasonable time period or by such date as may be specified by the regulatory authority. Failure to comply with any time limits for cor- rection specified in reference to this notice may result in cessation of acceptability of your operations, service or product for use on or by interstate conveyances. |
| OWNER/OPERATOR AND ADDRESS | ESTABLISHMENT NAME |
|  | INSPECTION DATE | FEI NO. |
| CLASSIFICATION RECOMMENDED (Check One) |
| APPROVED PROVISIONAL (Expiration Date |  | ) NOT APPROVED |
| REPORT PREPARED BY (Name and Title) |
| DEFICIENCIES ARE INDICATED BY AN "X" NOT OBSERVED BY AN "N", SATISFACTORY BY A "S". |
| WATERING PIPING SYSTEM | HANDLING TOILET WASTES |
| 1 | No cross connections* |  | 36 | Personnel who remove wastes do not handle water or food |  |
| 2 | No backflow connections* |  | 37 | Soil cans enclosed or covered during transportation to disposal area |  |
| 3 | Adequate pressure |  | 38 | Waste tanks and flushing tanks labeled |  |
| HYDRANTS | 39 | Sewage removed without spillage |  |
| 4 | Hydrants of acceptable type |  | 40 | Construction and maintenance of toilet-waste carts satisfactory |  |
| 5 | Separation from centerline of nearest track satisfactory |  | 41 | Equipment available for flushing car sewage-retention tanks (not by direct connection to water supply)* |  |
| 6 | Outlets have quick type coupling |  |  |  |  |
| 7 | Outlets directed downward or horizontal |  | 42 | No toilet wastes discharges to ground* |  |
| 8 | Outlets less than 18" above rail or surrounding surface completely enclosed with self-closing cover |  | 43 | Direct connection to sewer of proper design and construction; and properly maintained and operated |  |
| 9 | Hydrant installations adequately drained |  | DISPOSAL OF TOILET WASTES |
| 10 | Impervious platform around hydrants |  | 44 | Disposal facilities removed from food-or drink-servicing areas |  |
| 11 | No connection of drains to sewers or storm drains |  | 45 | Sewage disposal satisfactory |  |
| 12 | Weephole drainage entirely separate* |  | 46 | Can- or tank-cleaning facilities completely enclosed, flyproof |  |
| 13 | to surface |  | 47 | Smooth, impervious floors, sloped to drain |  |
| 14 | to sump |  | 48 | Room clean, good repair |  |
| 15 | to subsoil |  | 49 | At least 20 p.s.i water pressure |  |
| 16 | If flush type hydrant, box overflow protected against flooding |  | 50 | Hot water or stream available |  |
|  |  |  | 51 | Suitable backflow preventer, properly installed* |  |
| 17 | Water outlets containing non-potable water labeled and provided with different type hose couplings* |  | 52 | Soil cans emptied and cleaned after removal from car |  |
|  |  |  | 53 | Carts emptied and flushed frequently |  |
| WATER HOSE | 54 | Satisfactory storage of clean soil cans |  |
| 18 | Acceptable material |  | GARBAGE AND REFUSE |
| 19 | Smooth nozzle |  | 55 | Garbage stored in covered metal cans |  |
| 20 | Nozzle guard adequate |  | 56 | collected or disposed of frequently |  |
| 21 | Ends not dragged |  | 57 | Satisfactory can washing facilities |  |
| 22 | Hose properly protected or stored |  | 58 | No garbage discharged to ground |  |
| 23 | Hose flushed before use |  | 59 | Servicing area free of litter and debris |  |
| 24 | Car filing connection flushed before watering |  | TOILETS, WASHROOMS AND CLOTHES LOCKERS |
| WATER TANKS OR TANK CARTS | 60 | Toilets adequate |  |
| 25 | Separate from toilet-waste and sewage-tank-flushing carts |  | 61 | Convenient |  |
| 26 | Smooth, heavy-gauge, corrosion-resistant material |  | 62 | maintenance satisfactory |  |
| 27 | Completely enclosed from filling inlet to discharge outlet |  | 63 | Handwashing facilities adequate |  |
| 28 | Vents, if provided, properly protected |  | 64 | Convenient |  |
| 29 | Complete drainage possible |  | 65 | properly equipped |  |
| 30 | Inlet and outlet directed downward |  | 66 | maintenance satisfactory |  |
| 31 | Inlet and outlet provided with caps or closures with keeper chains |  | 67 | Handwashing signs |  |
| 32 | Water tanks labeled* |  | 68 | Lockers adequate |  |
| 33 | Quick-type couplings, where required |  | 69 | satisfactory maintained |  |
| 34 | If hose transported on cart, proper storage facilities provided |  | 70 | Drinking fountains, if provided, satisfactory |  |
| 35 | Proper transfer of water |  | *CRITICAL Items Requiring Immediate Attention. |
| NOTE: See Reverse for Sections On: OTHER, OTHER COMPANIES SERVICED, and REMARKS |

| OTHER | OTHER COMPANIES SERVICED |
| --- | --- |
| 71 | EPA Acceptable Water Supply As Required* |  | 76 |  |  |
| 72 | Conveyance Watering Operations and Procedures Acceptable* |  |  |  |  |
| 73 | Conveyance Waste Removal Operations and Procedures Acceptable* |  |  |  |  |
| 74 | Other Critical Areas* |  |  |  |  |
| 75 | Other Non-Critical Areas |  |  |  |  |
| REMARKS |