| bill.r.miller@gm.com 02/17/2006 10:14 AM |  |
| --- | --- |

To

James Michael/DC/USEPA/US@EPA

cc

Subject

Comparison of Formaldehyde Methods AOAC 931.08 and SW-846 Method 8315

Jim,

Attached is John Gumpper's (John has a company in Salt Lake City, UT called ChemVal and he has done our data validation on the most recent 8

delistings) assessment of the two (2) formaldehyde methods. I believe this supports what we discussed during our call on 1-31-2006 with Todd Williams (GM Worldwide Facilities Group).

Please let me know if this meets your needs.

Best Regards,

Bill

William R. Miller III, Ph.D.

General Motors Corporation

Worldwide Facilities Group

GM Technical Fellow

100 Saturn Parkway (MC M-20)

Spring Hill, TN 37174

E-Mail Bill.R.Miller@GM.Com

Desk: (931) 486-7471

Mobile: (931) 206-0549

Fax (931) 486-5069

(See attached file: Formadehyde Paper from John Gumpper 2-17-20062.doc)

Comparison of AOAC Method 913.08 and EPA Method 8315 for analysis of Formaldehyde

# Introduction

Formaldehyde has been included on the list of required target analytes for F019 Wastewater Treatment sludge delisting petitions at many of the automotive assembly plants that have been delisted.  In some of the earliest delistings, the method used to determine formaldehyde was an adaptation of the AOAC Method 931.08.  Later delistings relied up on EPA Method 8315.  Sludge analyzed by the AOAC method yielded results for formaldehyde that were significantly higher than those obtained by the EPA method.  This paper describes and contrasts the two methods and offers the opinion that the AOAC method probably gave much higher results due to formaldehyde off-gassing and, to a lesser extent, other interferences that would not be operative in the EPA method.

# Description of Methods

The AOAC International includes as part of their mission the development of “fit for purpose” methods.  Many of these methods have been developed in support of food and cosmetics analyses for use complying with regulations of the Food and Drug Administration.  It should be noted that AOAC does not consider themselves a developer of environmental chemistry methods.

AOAC Method 931.08 is a colorimetric method developed to analyze for formaldehyde in food, including milk.  Sample preparation for solids begins with mixing the sample with water, acidifying with phosphoric acid and then slowly distilling the sample until 50 mL of distillate have been collected.  One milliliter of the distillate is mixed with 5 mL of a saturated solution of 1,8-dihydroxynaphtalene-3,6-disulfonic acid (“chromotropic acid”) in 72% sulfuric acid and heated in a boiling water batch.  This reagent is also called 4,5-dihydroxy-2,7-naphthalenedisulfonic acid sodium salt.  The presence of formaldehyde is indicated by the development of a purple color.  The intensity of the color is proportional to the concentration of formaldehyde.  The exact nature of the chromaphore is not known.  OSHA has adapted this method to analyze formaldehyde trapped in sorbent systems and has postulated a possible reaction mechanism. The method does not prescribe or even suggest how the color should be measured or what types of quality control should be included.

The AOAC method was adapted for use with F019 sludge samples by an analytical laboratory supporting early F019 sludge delisting petitions.  The laboratory prepared the sample using the distillation procedure and measured the intensity of the purple color with a UV-Vis spectrometer.

EPA Method 8315 uses derivatization followed by HPLC separation to analyze for formaldehyde (and many other aldehydes).  A solid sample is first leached in an acetate buffer solution to remove the formaldehyde from the solid.  The leachate is treated with 2,4-dinitrophenylhydrazine to derivatize the aldehydes, which are then solvent extracted from the leachate with methylene chloride, solvent exchanged to acetonitrile and analyzed by HPLC with UV detection.

# Evaluation

There are two distinct differences in the methods that probably account for the large differences seen in the results.  First, and probably less important, is that the AOAC method is less selective in both the sample preparation phase and in the detection phase.  Second, and probably more important, the AOAC method requires that the sample be heated to approximately 215 oF in order to distill off formaldehyde and probably causes off-gassing of formaldehyde.

The use of distillation to prepare samples in the AOAC method allows many organic compounds, particularly those that are chemically close to formaldehyde, to become part of the distillate and then to potentially react with the chromotropic acid to either enhance or mask the color reaction. If positive interferences distill over with the formaldehyde, then the general colorimetric technique will not be able to distinguish between these compounds and formaldehyde.  3M Company has documented that metatrioxane and paraformaldehyde as well as dimethoxymethane represent positive interferences.  Additionally, it should be noted that phenol, alcohols, ethylene, propylene, and some aromatic hydrocarbons have been documented as negative interferences.  Obviously, the presence of negative interferences would not account for the differences noted in the F019 delisting analyses.

With EPA Method 8315, the derivatization procedure followed by analysis by HPLC is much more selective.  Some interferences will still appear, but using HPLC to separate compounds prior to detection will greatly reduce the possible compounds that would be detected in the proper retention time window and be reported as formaldehyde.

It does seem possible that some interferences would be detected as formaldehyde when using the AOAC method to analyze F019 sludge as compared to the EPA method.  However, it is estimated that these interferences would be small compared to the large difference reported in actual results.  It is known that F019 waste contains paint resins that have moved through the wastewater treatment systems from the painting area.  These resins do contain formaldehyde as part of the polymer system for delivering pigment.  These resins are known to release formaldehyde when heated as part of the curing process to the point that curing areas of the assembly plants have air-handling systems designed to trap formaldehyde that is off-gassing from the resins.  Curing temperatures routinely used are in the high 200s (oF), but it is clear that temperatures in the low 200s also cause the resins to release a significant amount of formaldehyde.  This is probably the most prominent source of the high formaldehyde results.  When the samples is distilled, the resins are heated and release significant additional formaldehyde during the distillation.  This formaldehyde is trapped with the distillate and is detected.

# Footnotes

Formaldehyde in Workplace Atmospheres, Method ID-205, OSHA Technical Center, Salt Lake City, UT

Standard Operating Procedure for Formaldehyde (GC-E-049-REV0), General Engineering Laboratories, Charleston, SC, November, 1993.

Determination of Formaldehyde Vapors in Air Using 3M 3721 Formaldehyde Monitors, 3M Company, Occupational Health and Environmental Safety Division, May 2002.