|  | Fermilab |  |
| --- | --- | --- |

MEMORANDUM OF UNDERSTANDING

Between the

MINOS Experiment and the Fermilab Computing Division

June 22 2005

Version 1.1

INTRODUCTION	3

I.	PERSONNEL AND INSTITUTIONS	3

II.	Fermilab Computing Division	3

III.	SPECIAL CONSIDERATIONS	4

IV.	SIGNATURES	5

V.	NETWORKING SUPPORT	6

VI.	OFFLINE COMPUTING	8

OVERVIEW	8

MINOS 5 YEAR RUN PLAN	8

EVENT RECONSTRUCTION AND STORAGE	10

MONTE CARLO GENERATION AND STORAGE	12

DATA HANDLING AND STORAGE	15

OFFLINE ANALYSIS	16

DATABASE	18

SUMMARY	19

SUPPORT REQUIREMENTS	20

# INTRODUCTION

This is a memorandum of understanding between the Fermi National Accelerator Laboratory Computing Division (CD) and the experimenters of MINOS (E-875). The memorandum is intended solely for the purpose of providing a budget estimate and guidance for effort allocated by Fermilab, the funding agencies and the participating institutions. It reflects an arrangement that currently is satisfactory to the parties; however, it is recognized and anticipated that changing circumstances of the evolving research program will necessitate revisions. The parties agree to negotiate amendments to this memorandum that will reflect such required adjustments.

# I.	PERSONNEL AND INSTITUTIONS

Co-spokesperson:		S. Wojcicki

Co-spokesperson:		D. Michael

Deputy Spokesperson:		D. Ayres

Relevant MINOS System Managers:

Offline Computing			J. Urheim

# II.	Fermilab Computing Division

  - The Computing Division liaison is E. Buckley-Geer.

  - The off-line analysis plan in Section VI contains the experiment's present understanding of its offline needs for data storage, event reconstruction, data analysis and Monte Carlo generation.  The Computing Division cannot guarantee, at this time, that these resources can be made available. The Computing Division, guided by priorities set by laboratory management, will attempt to allocate the requested resources. The present request and amendments will be used in attempting to plan the laboratory's computing acquisition strategies.

  - Cost Accounting FY05 and beyond: The Fermilab Computing will maintain chargeable tasks specific to the MINOS experiment, and all MINOS associated expenditures will be charged to those tasks.

# III.	SPECIAL CONSIDERATIONS

  - For the purpose of estimating budgets, specific products and vendors may be mentioned within this memorandum. At the time of purchasing, the Fermilab procurement policies shall apply. This may result in the purchase of different products and/or from different vendors.

# IV.	SIGNATURES

_________________________________

V. White, Head of Fermilab Computing Division

________________________________

S. Wojcicki, MINOS Co-spokesperson

________________________________

D. Michael, MINOS Co-spokesperson

________________________________

J. Urheim, MINOS Offline Computing Manager

# V.	NETWORKING SUPPORT

The Far detector LAN at Soudan and the Near detector LAN at Fermilab have been configured and installed by the Fermilab network group.

The strategy for the Soudan LAN support is to incorporate the operation and management into the Fermilab campus network support effort. The Fermilab policy that defines the campus network as a restricted central service (http://www.fnal.gov/cd/main/cpolicy.pdf) will be extended to include the local network at Soudan. From a practical perspective this will mean:

- The topology of the Soudan network will be specified by the Fermilab network group and modifications or changes made only in consultation with or at the direction of that group.

- All active network devices (switches, routers, hubs with manageable components) will be procured and installed under the direction of the Fermilab network group and will be managed remotely by that group.

- Basic network services (DNS, DHCP) will be provided on servers that will be supplied, installed and remotely managed by the Fermilab network group.

- Any maintenance on the LAN and its components should be scheduled in consultation with the experiment.

- During data-taking with beam there should be 24/7 coverage for resolution of problems at both Fermilab and Soudan.

- A liaison from the Fermilab network group should be provided at all times.

- Sufficient spares should be kept at Soudan so that delays are not incurred in resolving problems due to unavailability of spares.

The remote management of the Soudan LAN is predicated on having a simple, easily manageable architecture. This necessitates centralized network connections and a minimum number of active network devices. Un-intelligent microhubs may be used to provide extra network connections in situations where all the local network jacks are in use. All active network devices, including un-intelligent microhubs, will be of a type, make and model specified or approved by the Fermilab network group.

Network Configuration

At Soudan the network domain is minos-soudan.org (198.124). There are four pools of addresses

| DHCP pool | 191.124.212.0 with addresses from 1-199 and 202-253 |
| --- | --- |
| SERVER LAN | 198-124-213.0 with addresses from 1-29 |
| DCS LAN | 198.124.213.64 with addresses from 65-125 |
| DAQ LAN | 198.124.213.128 with addresses from 129-253 |

The Near Detector LAN will be subnet 131.225.192. There will be three pools of addresses

| DHCP pool | 131.225.192.192 with addresses from 193-221 |
| --- | --- |
| DCS LAN | 131.225.192.0 with addresses from 1-125 |
| DAQ LAN | 131.225.192.128 with addresses from 129-189 |

The DCS and DAQ LANs permit access to each other and reflexive replies to traffic that originated from within those LANs.  Login access to these LANs is allowed through a fully strengthened "gateway" connected to the SERVER LAN at Soudan and to the general site network at Fermilab. To support the kerberized access there is a satellite Key Distribution Server (KDC) installed at Soudan. This machine is administered remotely by members of the Fermilab Computer Security team.

The LAN at the near detector has fiber connected directly to the front-end electronics racks with media converters to avoid any possibility of ground loops.

We do not expect to have any special requirements for networking in FCC beyond what is generally available.

Network Time Protocol (NTP) server

MINOS will run their own NTP server at both the Far and Near detector.

The strategy is to synchronize computers locally using the GPS system at each site.  However, for monitoring purposes, we will exchange information with both a trusted timeserver on the web and to the other MINOS detector (near from far and far from near). Our modified NTP servers will not use this information to set the clock, but will make the offsets available to be written to the data stream. This should allow us, if something unexpected happens in the data to be able to figure out what happened. It is therefore vital in that we are able to send NTP packets in both directions between Fermilab and Soudan and also that we can send packets to external time servers (but we will not be accepting unsolicited requests for time to be served, and will see any attempts).

# VI.	OFFLINE COMPUTING

## OVERVIEW

This section deals with the offline computing needs for the MINOS experiment. The offline needs can be broken into the following areas:

- Data Handling and Storage

- Offline Data Processing

- Monte Carlo Generation

- Offline Analysis

- Software

- Support requirements

This document will address the resources required in each of the preceding areas.

We would like as much as is reasonable to integrate our computing resources into the existing centrally supported architecture to reduce the support load both from MINOS and from CD. We expect to use Sequential Access with Metadata (SAM) for data handling which was developed for the Run II experiments. We will continue to use the central Linux machines (currently called FNALU) for interactive development and will supplement the interactive capability with a small farm of Linux nodes. We will continue to use the existing Linux batch nodes and would like to add additional nodes for MINOS use. We will continue to use AFS disk for user data. We expect that our FARM needs would be met by augmenting the existing general purpose farm. The overall needs for hardware are summarized in Table 1. The CPU needs for data processing and Monte Carlo include the requirements for reprocessing which are somewhat uncertain. We assume that at least half the Monte Carlo production needs will be met from offsite resources.

| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- | --- |
| Tape (TB) | 6 | 39 | 60 | 35 | 41 | 162 |
| Disk (TB) | 2.4 | 13 | 20 | 17 | 21 | 56 |
| CPU, Reco (GHz) | 55 | 175 | 427 | 110 | 7 | 1013 |
| CPU, MC (GHz) | 132 | 915 | 963 | 560 | 63 | 6630 |
| CPU MC (GHz) at FNAL | 66 | 458 | 482 | 280 | 32 | 3315 |
| CPU, analysis (GHz) | 80 | 154 | 170 | 590 | 200 | 230 |

Table 1 Summary of MINOS hardware needs for 6 years of data taking.

## MINOS 5 YEAR RUN PLAN

The experiment has presented a request to the laboratory management for the number of protons on target per year (POT/year).  This request is summarized in Table 2.

| Year | POT x 1020 | Protons per pulse x 1013 |
| --- | --- | --- |
| 2005 | 2.5 | 2.5 |
| 2006 | 3 | 3 |
| 2007 | 3.5 | 3.5 |
| 2008 | 4 | 4 |
| 2009 | 5 | 5 |

Table 2 Requested number of protons for the MINOS run plan

The rate and raw data volumes for the Far detector are shown in Table 3 and for the Near Detector in Table 4. The beam neutrino rate in the far detector has been neglected, as it is a small fraction of the combined cosmic ray and noise rates. The rate from the far detector is dominated by 0.55 Hz of cosmic ray  interactions, which will be used both for calibration and for cosmic ray and atmospheric neutrino physics studies. The far detector also has about 6.5 Hz of noise triggers, which are small events and contribute to the raw data size but are eliminated after reconstruction. There are also pedestal runs, light injection etc which are listed in the “Other” category. The neutrino interaction rate for the near detector will vary depending on the number of protons on target as will the spill size. The spill size is quoted for the lowest number of protons on target and are scaled for the higher intensities. The near detector DAQ system is capable of recording the full 250 Hz of cosmic rays  seen by the near detector but it is expected that we will record only a fraction of these calibration purposes, we have assumed 10 Hz, and this is reflected in the numbers in Table 4. The far detector assumes 3(107 seconds in one year (cosmic rays are always there) and the near detector assumes an effective year of 2(107 seconds for beam and 3(107 seconds for the cosmic rays. For simplicity we assume that 1Kbyte ( 1000 bytes.

| Sample | Rate/second (Hz) | Events/year | Raw Event Size (Kbytes) | Data Volume /year (GB) |
| --- | --- | --- | --- | --- |
| Cosmic ray  | 0.55 | 1.65(107 | 1.1 | 18 |
| Noise | 6.5 | 1.95 (108 | 0.2 | 39 |
| Other |  |  |  | 312 |
| Total |  |  |  | 369 |

Table 3 Event rates and raw data volumes for the Far detector

|  |  | Raw Data Volume per year (GB) |
| --- | --- | --- |
| Sample | Spill Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| Beam | 10 | 100 | 120 | 140 | 160 | 200 |
| Cosmic Rays | 0.6 | 180 | 180 | 180 | 180 | 180 |
| Total |  | 280 | 300 | 320 | 340 | 380 |

Table 4 Raw Data volumes for the Near detector

## EVENT RECONSTRUCTION AND STORAGE

The event reconstruction for both detectors will be done at Fermilab. The Far detector reconstruction of cosmic rays and atmospheric neutrino events has been running on the FNAL general purpose farm for about 2 years. A summary of the processing needs is given in Table 5 for steady state, which will keep up with the data taking, and in Table 6 for reprocessing. These numbers are based on the performance of the existing MINOS C++ reconstruction code. The Far detector numbers are taken from real data, the Near detector from Monte Carlo. The processing time per event or spill will be given in GHz-seconds per event and the CPU requirements will be given in GHz. The Near detector processing times are increased to account for the higher beam intensity over time. We have assumed that in the years 2004 and 2005 we will do one complete reprocessing pass of the Far detector data per year that will be completed in 3 months. For the Near detector we assume one reprocessing per year in 2005 and 2006, again taking 3 months. In 2009 we assume one pass of all the data taking 6 months. The reprocessing numbers include processing for all the data taken up until that time. We assume a farm efficiency of 70%.

|  |  | GHz per year |
| --- | --- | --- |
|  | Execution time | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Beam data (Near) | 70 GHz-sec/spill |  | 33 | 40 | 47 | 53 | 70 |
| Cosmic Rays (Near) | 4 GHz-sec/event |  | 60 | 60 | 60 | 60 | 60 |
| Cosmic Rays (Far) | 6.3 GHz-sec/event | 5 | 5 | 5 | 5 | 5 | 5 |
| Total |  | 5 | 98 | 105 | 112 | 118 | 135 |

Table 5 Steady state event reconstruction needs for the Near and Far detectors

|  | GHz per reconstruction pass |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2009 |
| Beam Data (Near) |  | 70 | 210 | 400 |
| Cosmic Rays (Near) |  | 340 | 340 | 510 |
| Cosmic Rays (Far) | 50 | 70 |  | 80 |
| Total | 50 | 480 | 550 | 990 |

Table 6 Reprocessing needs for Near and Far detectors

The raw data is highly compressed but it expands after event reconstruction when we add the de-multiplexed hits, tracking information and calibration. The current expansion rate is a factor of 30. We are studying this to see if it can be reduced but we have used this number in the planning that follows. In Tables 7 and 8 we show the expected reconstructed data volumes for the near and far detectors. We currently write a file of Candidates, an Ntuple and a compressed Ntuple. These are included in the calculations. We have used the beam event size for Near detector cosmic ray events.

|  |  |  | Reconstructed Data Volume per year (GB) |
| --- | --- | --- | --- |
| Sample | Data type | Spill Size (Kbytes) | 2005 | 2006 | 2007 | 2008 | 2009 |
| Beam Data | Candidate | 236 | 2400 | 2800 | 3300 | 3800 | 4720 |
|  | Ntuple | 27 | 270 | 320 | 380 | 430 | 540 |
|  | Comp. Ntuple | 10 | 100 | 120 | 140 | 160 | 200 |
| Cosmic Rays | Candidate | 20 | 6000 | 6000 | 6000 | 6000 | 6000 |
|  | Ntuple | 2 | 600 | 600 | 600 | 600 | 600 |
|  | Comp. Ntuple | 0.5 | 150 | 150 | 150 | 150 | 150 |
| Total |  |  | 9520 | 9900 | 10570 | 11140 | 12210 |

Table 7 Reconstructed data volumes for the Near detector

| Sample | Data Type | Event Size (Kbytes) | Reconstructed Data volume per year (GB) |
| --- | --- | --- | --- |
| Cosmic Rays | Candidate | 30 | 500 |
|  | Ntuple | 6 | 100 |
|  | Comp. Ntuple | 1 | 20 |
| Total |  |  | 620 |

Table 8 Reconstructed data volumes for the Far detector

In Tables 9 and 10 we show the additional data volumes generated by reprocessing the data.

|  |  | Reprocessed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2005 | 2006 | 2009 |
| Beam data | Candidate | 1180 | 3800 | 14600 |
|  | Ntuple | 140 | 430 | 1700 |
|  | Comp. Ntuple | 50 | 160 | 620 |
| Cosmic Rays | Candidate | 3000 | 9000 | 27000 |
|  | Ntuple | 300 | 900 | 2700 |
|  | Comp. Ntuple | 80 | 230 | 680 |

Table 9 Reprocessed data volumes for the Near detector

|  |  | Reprocessed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2004 | 2005 | 2009 |
| Cosmic Rays | Candidate | 1240 | 1730 | 3710 |
|  | Ntuple | 250 | 350 | 740 |
|  | Comp. Ntuple | 40 | 60 | 120 |

Table 10 Reprocessed data volumes for the Far detector

## MONTE CARLO GENERATION AND STORAGE

There are two types of Monte Carlo required for MINOS, simulation of neutrino interactions in the detector for oscillation measurements/conventional neutrino physics and simulation of the neutrino beam to understand features of the beam such as beam profiles, flux etc. In both cases the requirements are not precisely known so the numbers here are based on assumptions. We give the total requirements here but we assume that at least 50% of the Monte Carlo could be generated by collaborating institutions and transferred to Fermilab for storage.

Physics Monte Carlo

For studies of cosmic ray and atmospheric neutrino events in the Far detector we assume a Monte Carlo sample equal to the data. For the Near detector we have made a similar assumption. The event size is larger due to storage of the “truth” information” for the event. The needs per year are summarized in Table 11.

|  | Year |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far detector Cosmic Rays |  |
| Events ((107) | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 |
| Raw Data (TB) (50 Kbytes/event) | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 |
| Candidates (TB) (90 Kbytes/event) | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 |
| Ntuple (TB) (13 Kbytes/event) | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 |
| Comp. Ntuple (TB) (3 Kbytes/event) | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 |
| CPU time/event (GHz-sec) | 16 | 16 | 16 | 16 | 16 | 16 |
| CPU for 2 months (GHz) | 70 | 70 | 70 | 70 | 70 | 70 |
| Far detector Beam |  |
| Events ((106) | 2 | 2 | 2 | 2 | 2 | 2 |
| Raw Data (GB) (80 Kbytes/event) | 160 | 160 | 160 | 160 | 160 | 160 |
| Candidates (GB) (160 Kbytes/event) | 320 | 320 | 320 | 320 | 320 | 320 |
| Ntuple (GB) (6 Kbytes/event) | 10 | 10 | 10 | 10 | 10 | 10 |
| Comp. Ntuple (GB) (1 Kbyte/event) | 2 | 2 | 2 | 2 | 2 | 2 |
| CPU time/event (GHz-sec) | 38 | 38 | 38 | 38 | 38 | 38 |
| CPU for 1 month (GHz) | 40 | 40 | 40 | 40 | 40 | 40 |
| Near detector Beam |  |
| Spills ((107) |  | 1 | 1 | 1 | 1 | 1 |
| Raw Data (TB) (450 Kbytes/spill) |  | 4.5 | 5.4 | 6.3 | 7.2 | 9 |
| Candidates (TB) (780 Kbytes/spill) |  | 8 | 9 | 11 | 13 | 16 |
| Ntuple (GB) (36 Kbytes/spill) |  | 360 | 430 | 500 | 580 | 720 |
| Comp. Ntuple (GB) (10 Kbytes/spill) |  | 100 | 120 | 140 | 160 | 200 |
| CPU time/spill (GHz-sec) |  | 340 | 340 | 340 | 340 | 340 |
| CPU for 6 months (GHz) |  | 320 | 380 | 440 | 500 | 630 |

Table 11 Physics Monte Carlo needs per year

This data will also need to be stored in the STKEN tape library.

We expect to reprocess the Monte Carlo data with the same frequency as the data. These requirements are shown in Table 12 for CPU and Table 13 for data volumes.

|  | GHz per reconstruction pass |
| --- | --- |
|  | 2004 | 2005 | 2006 | 2009 |
| Near Beam MC |  | 470 | 1500 | 5800 |
| Far Cosmic MC | 12 | 90 |  | 410 |
| Far Beam MC | 7 | 50 |  | 230 |
| Total | 19 | 610 | 1500 | 6440 |

Table 12 CPU for reprocessing for the Far and Near Monte Carlo

|  |  | Reprocessed Data Volume per year (GB) |
| --- | --- | --- |
| Sample |  | 2004 | 2005 | 2006 | 2009 |
| Far Cosmic MC | Candidate | 250 | 1730 |  | 8170 |
|  | Ntuple | 40 | 250 |  | 1180 |
|  | Comp. Ntuple | 8 | 60 |  | 340 |
| Far Beam MC | Candidate | 30 | 190 |  | 880 |
|  | Ntuple | 50 | 370 |  | 1760 |
|  | Comp. Ntuple | 2 | 10 |  | 70 |
| Near Beam MC | Candidate |  | 3900 | 12500 | 48400 |
|  | Ntuple |  | 180 | 580 | 2200 |
|  | Comp. Ntuple |  | 50 | 160 | 620 |

Table 13 Reprocessed data volumes for the Far and Near Monte Carlo

Beam Monte Carlo

Currently a single run takes about 2.4(105 GHz-seconds to obtain sufficient statistics. The data volume produced per run is about 240 Mbytes. It is expected that a factor of 10 times longer runs will be needed for the physics analysis and that a few hundred of these runs will be required.   We currently assume that the runs are generated over the course of a year. The needs are summarized in Table 14.

| GHz-sec/run | 2.4(106 |
| --- | --- |
| Runs/year | 200 |
| GHz/year | 15 |
| Storage/year | 480 GB |

Table 14 Beam Monte Carlo needs per year

## DATA HANDLING AND STORAGE

In calculating the amount of storage required we assume that recycling of storage occupied by older reprocessing passes will be carried out. We assume that at any one time there are two processing passes being stored.

Table 15 summarizes amount of storage required  per year including reprocessing and allowing for recycling.

|  |  | Storage required per year (TB) |
| --- | --- | --- |
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far detector Cosmics | Candidate | 1.7 | 2.7 | 1.5 | 0.5 | 0.5 | 3.2 |
|  | Ntuple | 0.3 | 0.4 | 0.3 | 0.3 | 0.3 | 0.6 |
|  | Comp. Ntuple | 0.06 | 0.07 | 0.05 | 0.05 | 0.05 | 0.1 |
| Near detector Cosmics | Candidate |  | 9 | 15 | 6 | 6 | 33 |
|  | Ntuple |  | 0.9 | 1.5 | 0.6 | 0.6 | 3.3 |
|  | Comp. Ntuple |  | 0.2 | 0.4 | 0.2 | 0.2 | 0.8 |
| Near detector beam | Candidate |  | 3.5 | 6.6 | 3.3 | 3.8 | 19 |
|  | Ntuple |  | 0.4 | 0.8 | 0.4 | 0.4 | 2.2 |
|  | Comp. Ntuple |  | 0.2 | 0.3 | 0.2 | 0.2 | 1.0 |
| Far detector Cosmic MC | Candidate | 2.2 | 3.7 | 1.5 | 1.5 | 1.5 | 9.7 |
|  | Ntuple | 0.3 | 0.5 | 0.2 | 0.2 | 0.2 | 1.4 |
|  | Comp. Ntuple | 0.07 | 0.1 | 0.05 | 0.05 | 0.05 | 0.3 |
| Far detector beam MC | Candidate |  | 0.5 | 0.8 | 0.3 | 0.3 | 1.8 |
|  | Ntuple |  | 0.02 | 0.03 | 0.01 | 0.01 | 0.07 |
|  | Comp. Ntuple |  | 0.003 | 0.005 | 0.002 | 0.002 | 0.01 |
| Near detector beam MC | Candidate |  | 12 | 22 | 11 | 13 | 64 |
|  | Ntuple |  | 0.5 | 1.0 | 0.5 | 0.6 | 3 |
|  | Comp. Ntuple |  | 0.2 | 0.3 | 0.2 | 0.2 | 0.4 |
| Total |  | 5 | 34 | 52 | 25 | 28 | 144 |

Table 15 Storage required  per year including reprocessing and allowing for recycling.

All data will be stored in the STKEN tape robot. All the Ntuple-level data will be stored permanently on disk. We plan for DCache disk to stage about 20% of the remaining data at any one time.

We will record data on disk locally at the detectors and transfer it over the network to Fermilab/FCC (Feynman Computing Center) into DCache for archiving to tape. We plan to make several copies of the raw data as the volume is small and tapes are large, meaning a tape failure could result in significant data loss.

## OFFLINE ANALYSIS

Analysis of the Far detector data is currently being done at Fermilab as well as at other MINOS collaborating institutions. This will expand to include the Near detector. We currently have limited analysis experience so we have constructed an analysis model which will have to be revised once we get data. We assume that there will be of order 30 users doing analysis on a central MINOS facility located at FNAL. Most analyses will proceed from the Ntuples. We assume that most users are using the Ntuples produced on the farm but that a few, of order five might need to produce their own Ntuples from the Candidate files.

Ntuple analysis

We assume 30 users and each makes 6 passes per year through the Ntuples to create a custom ntuple. It typically takes 0.0004 GHz-seconds/event to produce an Ntuple record using the standard production Far detector Ntuples as input. We assume that a user should be able to produce a custom Ntuple from the Far detector data and Monte Carlo in 24 hours. We assume that one pass always includes all the data from previous years. For the Near detector we assume that users take 1 week to create a compressed Ntuple from the data and the Monte Carlo. It takes about 0.003 GHz-sec/spill to create an Ntuple from the Near detector production Ntuples.

|  | CPU in GHz |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 14 | 28 | 41 | 55 | 69 | 83 |
| Monte Carlo | 14 | 28 | 41 | 55 | 69 | 83 |

Table 16 Analysis CPU for the Far detector, Ntuple processing.

|  | CPU in GHz |
| --- | --- |
| Year | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 9 | 20 | 32 | 46 | 64 |
| Monte Carlo | 9 | 20 | 32 | 46 | 64 |

Table 17 Analysis CPU for the Near detector, Ntuple processing.

Candidate analysis

We assume 5 users each making 2 passes per year through the Candidate data to create Ntuples. It takes 0.4 GHz-seconds/event to create an Ntuple for the Far detector and 0.7 GHz-sec/spill for the near detector. We assume for both detectors that this task is accomplished in 1 month for the data and the Monte Carlo.

|  | CPU in GHz |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 26 | 53 | 79 | 106 | 132 | 158 |
| Monte Carlo | 26 | 53 | 79 | 106 | 132 | 158 |

Table 18 Analysis CPU for the Far detector, Ntuple creation from Candidates.

|  | CPU in GHz |
| --- | --- |
| Year | 2005 | 2006 | 2007 | 2008 | 2009 |
| Data | 28 | 62 | 100 | 150 | 200 |
| Monte Carlo | 28 | 62 | 100 | 150 | 200 |

Table 19 Analysis CPU for the Near detector, Ntuple creation from Candidates.

In Table 20 we summarize the storage required for user Ntuples. We have assumed that on average 1.5 passes will be stored.

|  | Data storage (GB) |
| --- | --- |
| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| Far |  |
| Data | 270 | 550 | 820 | 1090 | 1360 | 1630 |
| Monte Carlo | 520 | 1040 | 1560 | 2080 | 2600 | 3120 |
| Near |  |
| Data |  | 840 | 1850 | 3000 | 4400 | 6000 |
| Monte Carlo |  | 840 | 1850 | 3000 | 4400 | 6000 |

Table 20 Storage required for user generated Ntuples.

Tape storage would be provided for all the user Ntuples. We expect to be able to store all the Ntuples for users on disk.

## DATABASE

The database warehouse will be kept in Oracle and will reside on a SUN Linux system. We will have a production machine and a development machine. We plan to have Linux MySQL servers at Soudan and as replicas for the offline analysis and the production farm. They will also be used at collaborating institutions. We will require access to some fraction of the Oracle client licenses, the number will be minimized by the use of the MySQL replicas.  The size of the database is expected to be about 500 GB over 5 years

## SUMMARY

| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- | --- |
| Tape (TB) | 6 | 39 | 60 | 35 | 41 | 162 |
| Disk (Ntuples) (TB) | 0.8 | 4 | 5 | 3 | 3 | 13 |
| Disk (User Ntuples) (TB) | 0.8 | 3 | 6 | 9 | 13 | 17 |
| Disk (DCache) (TB) | 0.8 | 6 | 9 | 5 | 5 | 26 |
| CPU, Reco steady state (GHz) | 5 | 91 | 7 | 110 | 7 | 13 |
| CPU, Reco reproc (GHz) | 50 | 84 | 420 |  |  | 1000 |
| CPU, MC (GHz) | 120 | 315 | 63 | 560 | 63 | 130 |
| CPU, MC reproc (GHz) | 12 | 600 | 900 |  |  | 6500 |
| CPU, analysis (GHz) | 80 | 154 | 170 | 590 | 200 | 230 |
| CPU Speed (GHz) | 3.6 | 4.8 | 6 | 7.2 | 9.6 | 12 |
| Duals, Reco steady state | 1 | 10 | 1 | 8 | 1 | 1 |
| Duals, Reco reproc | 7 | 9 | 35 |  |  | 42 |
| Duals, MC | 16 | 33 | 6 | 39 | 4 | 6 |
| Duals MC reproc | 2 | 62 | 75 |  |  | 270 |
| Duals, analysis | 12 | 17 | 15 | 41 | 11 | 10 |

Table 21 MINOS needs for tape, disk and CPU for 6 years of data taking.

Table 21 shows the resources required per year for 6 years of data taking.  This table shows the actual equipment that must be purchased each year to meet the requirements described in the previous sections. This takes into account equipment purchased in previous years. It also assumes a 3 year replacement cycle for CPU. The CPU for reprocessing is the amount required over a 3 month period for the years 2004-2006 and a 6 month period in 2009. Changing the assumptions about reprocessing will change these amounts.  Table 22 shows the costs associated with the needs in Table 21. The following assumptions have been made. A dual CPU farm node costs $2200 independent of CPU speed. A 4 TB file server currently costs $14,400. We will assume that the cost remains roughly the same but the capacity increases by a factor of 1.6 each year. We assume that in 2004 the tape cartridge size is 200 GB and costs $75. In 2005 and beyond we assume that the capacity is 400 GB and costs the same.  The costs for the Monte Carlo CPU have been reduced by 50% on the assumption that half the Monte Carlo is generated/reconstructed off-site. In FY2005 we expect to purchase a development database machine which will be an additional $30-40K. Upgrades to the disk on the database machines will be needed, probably in FY07, but they have not been included here.

| Year | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 |
| --- | --- | --- | --- | --- | --- | --- |
| Tape | 2220 | 7400 | 11200 | 7000 | 8000 | 31000 |
| Disk (Ntuples) | 2880 | 8300 | 7000 | 2300 | 1600 | 4000 |
| Disk (DCache) | 2850 | 14300 | 13200 | 4000 | 3000 | 7800 |
| Disk (User Ntuples) | 2850 | 7510 | 8500 | 8300 | 7600 | 5000 |
| Duals Reco steady state | 1500 | 21000 | 1200 | 17000 | 800 | 1200 |
| Duals Reco reproc | 15100 | 19200 | 77500 |  |  | 92000 |
| Duals MC | 18000 | 36000 | 6000 | 43000 | 36000 | 6000 |
| Duals MC reproc | 2000 | 68000 | 82000 |  |  | 300000 |
| Duals, analysis | 25000 | 35000 | 31000 | 90000 | 28000 | 21000 |
| Total | 71500 | 217000 | 238000 | 170000 | 47100 | 463000 |

Table 22 MINOS costs in $ per year for 6 years of data taking

## SUPPORT REQUIREMENTS

In addition to hardware needs, MINOS expects support from CD personnel in a number of areas. There are two types of personnel, those directly working on the experiment from the EXP department in Computing Division, and personnel from other departments in the division that provide support for MINOS.

Direct EXP support

- 1 FTE to support the MINOS offline framework.

- 1 FTE to support data handling operations including SAM, data archiving and related activities.

- 0.5 FTE to support user desktops, machine purchases, installs of new equipment.

Support from other CD departments

- We are dependent on ROOT for our batch/interactive framework. We require support from the Fermilab ROOT team for MINOS-specific issues.

- We are using SRT (SoftRelTools) for configuration management. We require support for SRT from CD including responding to bug fixes and requests for additional features.

- We require system administration support from CSS for our Linux analysis farm and associated AFS disk.

- We will use ORACLE for our main database warehouse. We require an appropriate fraction of an ORACLE DBA be assigned to MINOS. We also require system administration of the Oracle database machines (production and development) and the LINUX MySQL servers. We also require a fraction of a database developer for issues related to our database interface software. We are using ODBC for our interface and require support for the odbc++ package.

- We are using ENSTORE and DCache for data archiving and data access and require timely resolution of issues that are relevant to MINOS. Off-site collaborators are using the dccp interface to access data read only without requiring a Kerberos ticket, we require this mode of access to continue.

- We plan to use SAM for our data handling and will require support from the SAMGrid team to deploy the system and help us debug problems.

- Our networks at the two detector sites have been installed by CCF/DCN. We require 24/7 support from them to monitor the network and fix problems when we are taking data. More details are provided in the section on NETWORKING SUPPORT.

- We are using the Control Room Logbook (CRL) as our electronic logbook. We require support for this including bug fixes and occasional requests for additional features.

- The DAQ systems are using Fermi LTS. As DAQ systems require stability and infrequent upgrades we may want to request extensions of support for particular versions depending on the MINOS data taking schedule.

- We are using the central expwww webserver for our main experiment web server and we will continue to require support and problem resolution.

- We are moving towards using GEANT4, initially for the beam simulation but also for the detector simulation. We will require support for use of GEANT4 such as new releases of the software and consulting help.

- We are planning on using DocDB as a replacement for the existing NuMI notes database. The support agreement between the Program Support Group in the Computing Division at Fermilab and the NuMI-MINOS collaboration.  As part of the production DocDB web server (cd-docdb.fnal.gov), Program Support will provide to NuMI/MINOS an instance of the current version of DocDB, which includes:

- an alias on the DocDB server, minos-docdb.fnal.gov

- a backup of the database ( CSS will backup our dump files).

- a standard header and footer based on the current NuMI/MINOS website.*

- Problem reporting for users:  DOCDB-ADM@fnal.gov (mail general questions to Marcia Teckenbrock & John Urish), or submit a helpdesk ticket.

- script updates as required by product reconfiguration or upgrades.

Requests for additional features or changes to DocDB should be submitted to cd-proj-docdb@fnal.gov.  Such requests will be reviewed and depending on the availablility of resources and the feasibility of the requested change/s, will be added to this document.

* NuMI/MINOS will provide assistance if needed for implementation of certain technologies used for web headers/footers, if necessary.