StaRT-PCRTM Platform Data Generation Plan

AND

Standard Operating Procedures for MAQC Study

Test Site

Test site:		Gene Express, Inc.

Contact Person:	James C. Willey, M.D.

Address:		975 Research Drive

Toledo, OH 43614-2788

Phone:			(419) 383-3541

E-mail:			jwilley@umedohio.edu

Contact Person:	Elizabeth Herness Peters, Ph.D.

Address:		975 Research Drive

Toledo, OH 43614-2788

Phone:			(419) 380-9930

E-mail:			ehpeters@geneexpressinc.com

## Introduction

The purpose of this document is to describe the procedures that will be preformed using the StaRT-PCRTM platform for the MAQC study.

## Materials

Gene Express, Inc. Products

1. Standardized Mixtures of Internal StandardsTM ( SMISTM)

2. Gene-Specific Primers (forward + reverse at a concentration of 0.05 µg/ µl each)

3. HT S-GEM SuiteTM software program

#### RNA Samples

1. Stratagene Universal Human Reference RNA (UHRR) – Catalog No. 740000

2. Ambion Human Brain Reference RNA (AB) – Catalog No. TBA

3. RNA mixture of 25% AB vs. 75% UHRR

4. RNA mixture of 75% AB vs. 25% UHRR

Disposables

1. Disposables are listed in the SOP manual and include items such as clean Kim wipes, microcentrifuge tubes, pipette tips, 96 well plates, buffer troughs, plastic adhesive seals, etc.

User Manual

1. Standardized Expression Measurement Center (SEMTM) SOP manual

###### Reagents

| ITEM | SOURCE |
| --- | --- |
| First Strand cDNA buffer | Invitrogen Cat. No. Y00146 |
| dNTPs, 10 mM | Promega Cat. No. C1141 |
| Oligo dT Primer, 500 (g/(l | Promega Cat. No. 15199905 |
| RNasin, 40 units/(l | Promega Cat. No. 15140508 |
| MMLV Reverse Transcriptase, 200 units/ml | Invitrogen Cat. No. 28025-013 |
| Sterile RNase/DNase free water | Invitrogen Cat. No. 10977015 |
| Tris-EDTA Buffer, pH 8.0 and pH 7.4 | Fisher Cat. No. BP1338-1 |
| 10X PCR Buffer without Mg2++ | Invitrogen Cat. No. Y02028 |
| MgCl2, 50 mM | Invitrogen Cat. No. Y02016 |
| Platinum Taq polymerase, 5U//(l | Invitrogen Cat. No. 10966-026 |
| DNA Buffer Solution | Invitrogen Cat. No. Y02028 |
| DNA Ladder | Caliper Life Sciences Cat. No. P/N 760124 |
| DNA Gel-Dye Mixture | Caliper Life Sciences Cat. No. P/N 760124 |
| HT DNA 5000SE 30 Marker | Caliper Life Sciences Cat. No. P/N 760124 |

Equipment

| ITEM | SOURCE |
| --- | --- |
| Block Thermocycler | MWG |
| Agilent 2100 Bioanalyzer | Agilent Technologies |
| MultiPROBE II HT EX Liquid Handler | Perkin Elmer |
| Caliper AMS90 SE | Caliper |
| AMS-90 Sipper Chip | Caliper |
| Centrifuge | Beckman |
| Laminar Flow Hoods | Baker and Hemco |
| Pipettes | Rainin and Pipetman |
| Freezer, -80(C | Sanyo |
| Freezer, -20(C | LRP |
| Refrigerator, 4(C | Kenmore |

##### Experimental Design

The RefSeq numbers of a total of 90 to 100 genes will be matched to the MAQC 1,042 gene list.  The remaining genes, up to a total of 200 genes, will be selected from the list of available StaRT-PCRTM gene assays, located at the following web address http://www.geneexpressinc.com/products2.asp, and approved by the MAQC.

Three replicate measurements for each gene will be obtained for each of the four mRNA samples listed above.  The loading control genes will be ACTB and GAPD.

StaRT-PCRTM Gene Assay Workflow

| Day 1 | Day 2 | Day 3 | Day 4 | Day 5 |
| --- | --- | --- | --- | --- |
| Receive Sample | RNA Evaluation | E screen | C Screen | Replicate TA Measurements |
| Login Sample | Reverse Transcription |  |  |  |
| Store Sample | Calibration |  |  |  |

| Day 6 | Day 7 | Day 8 | Day 9 | Day 10 |
| --- | --- | --- | --- | --- |
| Replicate TA Measurements | Replicate TA Measurements | Replicate TA Measurements | Replicate TA Measurements | Replicate TA Measurements |

| Day 11 | Day 12 | Day 13 |  |  |
| --- | --- | --- | --- | --- |
| Replicate TA Measurements | Replicate TA Measurements | Prepare Final Report |  |  |

- Sample Receipt, Login, and Initial Storage of Samples

All personnel will follow SOP0001 for receipt, login, and initial storage for the four (4) mRNA samples.  Samples will be stored at -80(C.

  - New Order Function will be used to begin an order by following SOP0035.

  - A SOURCEPLATE.csv file will be prepared by following SOP0017.

  - Prepare SOURCEPLATE(s).

- RNA Preparation and Analysis

Four (4) mRNA samples, designated as Stratagene Universal Human Reference RNA, Ambion Brain Reference RNA, and two titration mixtures will be received from Ambion at a concentration 1 mg/ml per tube in a total volume of 50 (l.

2.1   RNA quantity assessment will be preformed on each sample using the Agilent Bioanalyzer and recording the 28S/18S ratio and RIN, if available.

All personnel will follow SOP0002 for RNA quantity assessment.

2.2   RNA quality assessment will be performed using 200 ng of each sample and assessed with the Agilent Bioanalyzer.    All personnel will follow SOP0002 for RNA quality assessment.

- Reverse-Transcription of RNA to cDNA

All personnel will follow SOP0004 for reverse transcription of mRNA samples to cDNA using oligo dT priming and MMLV reverse transcriptase.

- Quantitative Calibration

Each of the cDNA samples will be Quantitatively Calibrated according to the reference gene (ACTB) such that 1 (l of cDNA sample when included into the PCR reaction with 600,000 -actin molecules yields both native and internal standard PCR products that are approximately equal in peak height and area under the curve according to the SOPs of Gene Express, Inc. and the HT S-GEM SuiteTM software program.

  - Each cDNA sample will be serially 10-fold diluted using the MultiPROBE II HT EX Liquid Handler according to SOP0052.

  - cDNA quantitative calibration reactions will be prepared in microtiter plates by the MultiPROBE II HT EX Liquid Handler using SOP0015 and completed using SOP0005.

  - PCR reactions will be prepared in microtiter plates by the MultiPROBE II HT EX Liquid Handler following SOP0018, SOP0023, SOP0024 and SOP0025.

  - PCR amplification  of samples prepared in 4.3 will be performed using a MWG Block Thermocycler and following SOP0013.

  - After amplification is complete, a LabChip 90 sipper chip will be prepared using SOP0006.

  - The PCR reaction products from 4.4 will be electrophoretically separated and quantified with the Caliper AMS90 SE by using SOP0028.

  - Data from the Caliper AMS90 SE will be exported and a report file will be generated using SOP0009.

- E Screen

Each gene will be assessed with E level SMISTM containing 600 molecules of internal standards.  The E screen results determine which level of SMISTM is required during High Throughput PCR.

  - PCR reactions will be prepared using 1 (l of calibrated cDNA and 1 (l of E SMISTM following SOP0018, SOP0023, SOP0024 and SOP0025.

  - PCR reactions will be performed using a MWG Block Thermocycler and following SOP0013.

  - After amplification is complete, a LabChip 90 sipper chip will be prepared using SOP006.

  - The PCR reaction products from 5.2 will be electrophoretically separated and quantified with the Caliper AMS90 SE by using SOP0028.

5.5   Data from the Caliper AMS90 SE will be exported and a report file will be generated using SOP0009.

- Transcript Abundance (TA) Measurements

StaRT-PCRTM will be performed using an Internal Standard Competitive Template (CT) within the PCR reaction for transcript abundance measurement of each gene. StaRT-PCRTM does this through inclusion of a Standardized Mixture of Internal Standards TM (SMISTM) and gene specific forward and reverse primers in transcript abundance measurement of each gene. Based on results from Quantitative Calibration and E screen, 1 (l of calibrated cDNA sample, and 1 (l of the appropriate SMISTM (A, B, C, D, E, or F) will be PCR amplified.   Proper selection of SMIS TM A thru F enables measurement of target gene expressed across a more than 7 log10 range.  For target genes in balance with 1 (l of A, B, C, or D SMISTM, 10-fold dilution of both cDNA and SMIS TM will be used.  Thus, cDNA and SMIS TM containing approximately 60,000 molecules of b-actin transcript and internal standard, respectively, will be in each PCR reaction.

  - PCR reactions will be prepared following SOP0018, SOP0023, SOP0024 and SOP0025.

  - PCR reactions will be performed using a MWG Block Thermocycler and following SOP0013.

  - After amplification is complete, a LabChip 90 sipper chip will be prepared using SOP006.

  - The PCR reaction products from 6.2 will be electrophoretically separated and quantified with the plate with the Caliper AMS90 SE by using SOP0028.

6.5  Export and generate a report file using SOP0009.

- Data Acquisition

StaRT-PCRTM transcript abundance measurements will be obtained using the Caliper AMS90TM data by analyzing the area under the curve.  Data will be registered and automatically analyzed using the HT S-GEM SuiteTM software program.  The data will be exported into a text file.

- Data Management and Quality Control Specifications

StaRT-PCRTM Data are automatically processed and analyzed as described in SOP0009. Quality control specifications include appropriate negative and positive control wells on each 96 well plate.  Peaks must meet a minimum peak height and peak area requirement.  Both Native and Internal Standard peak base pair sizes must lie within a maximum designated range of ± 35 base pairs.

- Final Report

The final data report will contain the average of the three replicate TA measurements, the standard deviation and the coefficient of variation.  The final report will be sent directly to the MAQC via electronic file.