SUPPORTING STATEMENT

FOR

PERFORMANCE STANDARD FOR DIAGNOSTIC

X-RAY SYSTEMS AND THEIR MAJOR COMPONENTS

0910-0564

A. Justification

1. Circumstances Making the Collection of Information Necessary

The Food and Drug Administration (FDA) intends to issue a final rule to amend the performance standard for diagnostic x-ray systems and their major components. Sections 532 through 542 of the Federal Food, Drug, and Cosmetic Act (the act), (as amended by the Safe Medical Devices Act of 1990) (21 U.S.C. 360ii through ss) (attachment 1) direct the Secretary of the Department of Health and Human Services (the Secretary) to establish and carry out an electronic product radiation control program to protect the public from unnecessary radiation from electronic products. Such a program shall include the development, issuance, and administration of performance standards to control the emission of electronic product radiation from electronic products.

The regulations issued under these authorities are established in the Code of Federal Regulations (CFR), Title 21, Chapter I, Subchapter J. A mandatory radiation safety performance standard for diagnostic x-ray systems was established and became effective in 1974. This standard is in 21 CFR 1020.30 through 1020.33 (attachment  2). This performance standard established numerous radiation safety related equipment performance requirements and a requirement that manufacturers provide certain radiation safety information in the user instructions or user manuals that are provided to purchasers with the equipment. This requirement is contained in 21 CFR 1020.30(h).

To account for recent technological changes and changes in the clinical use of fluoroscopic x-ray equipment, FDA is proposing to amend the performance standard to add requirements for additional radiation safety related features on all fluoroscopic x-ray systems. To assure that purchasers and users of fluoroscopic systems have safety related information regarding these proposed new equipment features, FDA is also proposing to require additional information related to these features and operation of the equipment be included in the user instructions for this equipment.

2. Purpose and Use of the Information

The information required to be provided by x-ray equipment manufacturers in the user instructions is necessary to assure that purchasers of diagnostic x-ray systems have all the information necessary to assure safe and appropriate use of the equipment. The requirements assure that purchasers have the minimum radiation safety related information necessary for use of the equipment. Equipment performance requirements alone, without adequate instructions, are not sufficient to assure safe use of the complex systems that characterize modern fluoroscopic x-ray systems. Users need complete and specific instructions regarding the radiation safety features of the equipment to permit its proper use and operation,

Users of fluoroscopic x-ray systems will use the information provided to select appropriate modes of operation of the equipment and to understand the patient radiation dose implications of selected operational parameters.

3. Use of Information Technology and Burden Reduction

There are no obvious means to apply information technology to reduce the reporting burden.

Manufacturers already use many aspects of information technology in the design, development and manufacturing of new models of fluoroscopic x-ray systems. It is not possible to eliminate the need for adequate user instructions for complex x-ray systems.

4. Efforts to Identify Duplication and Use of Similar Information

There is no other source of information regarding instructions for use of specific models of diagnostic x- ray systems other than the manufacturer of the equipment. It is not reasonable to anticipate other sources of this information and FDA has not attempted to identify such sources.

5. Impact on Small Business or Other Small Entities

All manufacturers, regardless of size, currently provide user instructions for fluoroscopic x-ray systems. The requirement for manufacturers to provide the user information related to the new equipment features will app1y to any manufacturer of diagnostic x-ray systems. Because of the need for this safety related inforn1ation for any fluoroscopic x-ray system, it is not feasible or reasonable to modify the requirement for small businesses. Any manufacturer producing fluoroscopic x-ray systems must provide appropriate and adequate safety information for users of the equipment.

6. Consequences of Collection the Information Less Frequently

There is no frequency of information collection associated with the requirement for specific information to be included in the user instructions. Manufacturers must provide specific information for each model of x-ray systems to the purchaser at the time of purchase. This information will be developed and prepared as each new model of x-ray system is introduced to the market.

7. Special Circumstances Relating to the Guidelines of 5 CFR 1320.5

There are no special circumstances requiring deviation from the guidelines of 5 CPR 1320.5.

8. Comments in Response to the Federal Register Notice and Efforts to Consult Outside Agency

FDA is providing a 90-day comment period on the final rule. FDA routinely consults with members of industry, government, and the public, through the Teclu1ical Electronic, Product Radiation Safety Standards Committee (TEPRSSC) and the Radiological Devices Panel. These are permanent advisory committees established under sections 534(f) and 513(b) of the act. FDA is required to consult with the TEPRSSC before adding or changing standards.

9. Explanation of Any Payment or Gift to Respondents

FDA is not offering any payment or gift to respondents for this information collection.

10. Assurance of Confidentiality Provided to Respondent

The information to be provided is information that should be public information and that is necessary for safe operation of fluoroscopic x-ray systems.

11. Justification for Sensitive Questions

The information required does not include questions about sexual behavior, attitude, religious beliefs or any other matters that are commonly considered private or sensitive in nature.

12. Estimate of Hour Burden Including Annualized Hourly Costs

As described in the assessment of the cost impact of the proposed amendment (attachment 4), it is estimated that that there are about 20 manufacturers of fluoroscopic x-ray systems who market in the U.S. Each of these manufacturers is estimated to market about 10 distinct models of fluoroscopic x-ray systems. Immediately following the effective date of the proposed amendments, for each model of fluoroscopic x-ray system that manufacturers continue to market, each manufacturer would have to supplement the user instructions to include the additional information required by the proposed amendments.

Manufacturers already develop, produce, and provide x-ray system user manuals or instructions containing the information necessary to operate the systems, as well as the specific information required to be provided by the existing standard in current §1020.3O(h). Therefore, it is assumed that no significant additional capital, operating, or maintenance costs will occur to the manufacturers in connection with the provision of the newly required information. The manufacturers already have procedures and methods for developing and producing the user's manuals, and the additional information required by the proposed requirements is expected to only add a few printed pages to these already extensive manuals or documents.

The burden that will occur to manufacturers from the new requirements for information in the user's manuals will be the effort required to develop, draft, review, and approve the new information.  The information or data to be contained within the new user instructions will already be available to the manufacturers from their design, testing, validation, or other product-development documents, The burden will consist of gathering the relevant information from these documents and preparing the additional instructions from this information.

It is estimated that about three weeks of professional staff time (120 hours) would be required to gather the required information for a single model of an x-ray system. It is estimated that an additional six weeks (240 hours) of professional staff time would be required to draft, edit, design, layout, review, and approve the new portions of the user's manual or information required by the proposed amendments. Hence FDA estimates a total of 360 hours to prepare the new user information that would be required for each model.

For a given manufacturer, FDA anticipates that every distinct model of fluoroscopic system will not

require a separate development of this additional infotn1ation. Because it is thought highly likely that several models of fluoroscopic x-ray systems from a given manufacturer will share common design

aspects, it is anticipated that similar means for meeting the proposed requirement for display of exposure time, air kerma rate, and cumulative air kerma and the requirement for the last-image-hold feature will

exist on multiple models of a single manufacturer's products. Such common design aspects for multiple

models will reduce the burden on manufacturers to develop new user information. Hence the average time required to prepare new user information for all of a manufacturer's models will be correspondingly reduced. It is assumed that the applicability of the new user information developed to multiple models

will reduce the average burden from the 360 hours to about 180 hours per model under the assumption that each set of user information for a given equipment feature design will be a applicable to at least two

different models of a manufacturer's fluoroscopic systems. Under this assumption, the total estimated time for preparing the new user information that would be required is 36,000 hours, as shown in Table 1.

In each succeeding year the burden will be less, as the reporting requirement will apply only to the new models developed and introduced by the manufacturers in that specific year. FDA assumes that every two years each manufacturer will replace each of its models with a newer model requiring new user

information. The multiple system applicability of this information js accounted for by also assuming that each new model only requires 180 hours of effort to develop the required information. These assumptions result in an estimated burden of 18,000 hours for each of the years following the initial year of applicability of the proposed amendments, as shown in Table 2

Table 1. --Estimated Average Annual Reporting Burden for the First Year

| 21 CFR section | No. of respondents | Annual frequency of response | Total annual responses | Hours per response | Total hours |
| --- | --- | --- | --- | --- | --- |
| 1020.30(h)(5)&(6) and 1020.32(j)(4) | 20 | 10 | 200 | 180 | 36,000 |

1 There are no capital cost or operating and maintenance costs associated with this information collection.

Table 2 – Estimated Average Annual Reporting Burden for Second and Following Years

| 21 CFR section | No. of respondents | Annual frequency of response | Total annual responses | Hours per response | Total hours |
| --- | --- | --- | --- | --- | --- |
| 1020.30(h)(5)&(6) and 1020.32(i)(4) | 20 | 5 | 100 | 180 | 18,000 |

2 There are no capital costs or operating and maintenance costs associated with this information collection

From Bureau of Economic Analysis and Bureau of Labor Statistics compensation inflators, the estimated hourly industry compensation rate in NAICD 334517 (Irradiation Equipment) is about $33 per hour.  Using this labor cost estimates indicates that the industry cost of this information collection burden will be about $1.2 million in year one, then decreasing to $0.6 million per year in subsequent years.

13.  Estimate of the Other Total Annual Cost Burden to Respondent or Record keepers

There are no capital costs or operating/maintenance costs associated with this information collection.

14.  Annualized Cost to the Federal Government.

There will be no costs to the Federal government due to the requirements for additional information to be provided in the user instructions.

15.   Explanation for Program Changes or Adjustments

This is a new collection.

16.  Plans for Tabulation and Publication and Project Time Schedule

There are no plans to publish the collection of information subject to this clearance.

17.  Reason(s) Display of OMB expiration Date is Inappropriate

FDA is not requesting an exemption from the requirement to display the OMB Expiration Date.

18.   Exceptions to Certification for Paperwork Reduction Act Submissions

FDA is not requesting any exceptions from the certification requirement.

B.  Collection of Information Employing Statistical Methods.

There are no plans to publish the information collected under the provisions of this regulation for statistical use.  The collection of information for which FDA is seeking approval does not employ any statistical methods.

# List of Attachments

- FD&C Act, Chapter V, Subchapter C

- 21 CFR 1020.30-1020.33

- Assessment of the Impact of the Proposed Amendments to the Diagnostic X-ray Equipment Performance Standard addressing Fluoroscopic X-ray Systems, November 15, 2000.