# Results of FMCW Simulation and Measurements

## Introduction

There is work going on in the ITU-R Joint Rapporteurs Group (JRG) 1A-1C-8B toward reviewing and modifying the -20 dB and -40 dB bandwidth formulas for frequency modulated (FM) chirped radars, both pulsed and continuous wave (CW).  Bandwidth formulas have been deemed to underestimate the bandwidths for frequency modulated continuous wave (FMCW) radar.  Ref.  proposed a set of new formulas based on theory.   In order to provide an accepted difference between theory and practical implementation the JRG determined that it is necessary to include an implementation factor in all bandwidth formulas under consideration.  In order to determine the necessary implementation factor, it was decided that various measurements of real systems need to be taken.  Since access to actual radars must be arranged months in advance as well as expenses incurred to measure their emission spectrum, as a starting point, the U.S. has undertaken a task to generate and measure various types of modulated radar waveforms using an Agilent Vector Signal Generator (VSG) and a RF measurement system described in ITU-R M.1177.  While most of the simulations were devoted to FM pulse, there were a few FMCW simulations performed.

Specifically, for FMCW, it was determined to generate two sets of 3 different FMCW signals at the RF level and then measure them in the time and frequency domain with a spectrum analyzer.  The first set of signals ensure phase continuity across all periods of the waveform.  The second set of signals ensure that the phase is not continuous across the waveform.

The 3 different FMCW signals are the following:

- Triangular using realistic chirp bandwidth (Bc) and forward chirp time (τ).

- Sawtooth using zero flyback (or as near zero as possible)

- Sawtooth using a realistic flyback.

The following table lists a matrix of parameters for the different signals.

Table 1: FMCW Test Parameters

| Signal # | Bc (MHz) | τ (msec) | tfb (msec) | Continuous Phase? |
| --- | --- | --- | --- | --- |
| FMCW1 | 1 | 10 | 10.0 | YES |
| FMCW2 | 1 | 10 | 0.01 | YES |
| FMCW3 | 1 | 10 | 0.10 | YES |
| FMCW4 | 1 | 10 | 10.0 | NO |
| FMCW5 | 1 | 10 | 0.01 | NO |
| FMCW6 | 1 | 10 | 0.10 | NO |

## Results

The results of six VSG generated FMCW simulations and measurements are shown in Figure 1 through Figure 6.  Each figure contains a blue curve, which is the Fast Fourier Transform (FFT) of the waveform, and a black curve, which is the measured VSG output.  The measurement bandwidth for the simulations was 18 kHz, except for FMCW3 and FMCW6, which used 47 kHz.  The title of each plot lists center frequency (Fo), chirp bandwidth (Bc), the forward chirp time (τ), and the return chirp time (tfb).  These are followed by the sampling frequency for the FFT (Fs = 100 MHz for all simulations), followed by the 3, 20, 40, and 60 dB bandwidths of the VSG output.  The second line of the title contains 3, 20, 40, and 60 dB bandwidths of the FFT.  In addition to plotting measured VSG data, Figure 1 through Figure 3 illustrate the FFT of the FMCW waveform with continuous phase (CP) across the FM bandwidth.  Figure 4 through Figure 6 illustrate the FFT of the FMCW waveform with non-continuous phase (NCP) across the FM bandwidth.

Figure 1.  FMCW1

Figure 2.  FMCW2

Figure 3.  FMCW3

Figure 4.  FMCW4

Figure 5.  FMCW5

Figure 6.  FMCW6

One most important finding is that the VSG generates the signal in a different way than described in Ref. i, which results in continuous phase across all periods of the waveform, regardless of the relationship between waveform period and center frequency.  This finding was deduced from the fact that measured bandwidths were essentially identical between FMCW1 and FMCW4, FMCW2 and FMCW5, and FMCW3 and FMCW6.  In each case, the only difference between these signal pairs is that one was supposed to be continuous-phase, and the other was not.  The simulation was set up attempting to achieve a phase discontinuity of approximately -π/2 radians in FMCW4, FMCW5, and FMCW6, by deviating slightly from the nominal center frequency of 4 GHz, as shown in Table 2.  The blue curves in Figure 4 through Figure 6 show what the FFT would look like if it had the expected phase-discontinuity.

Table 2.  Center frequencies used in an attempt to achieve a phase discontinuity of –π/2

|  | ('=(/(2π) | n | Fo (MHz) | τ | tfb | Fo(τ+tfb) |
| --- | --- | --- | --- | --- | --- | --- |
| FMCW4 | -0.26 | 80000000 | 4000.000013 | 10000 | 10000 | 80000000.26 |
| FMCW5 | -0.25025 | 40040000 | 4000.000025 | 10000 | 10 | 40040000.25025 |
| FMCW6 | -0.2525 | 40400000 | 4000.000025 | 10000 | 100 | 40400000.2525 |

It is speculated that the phase-discontinuity could not be achieved because the VSG used a voltage controlled oscillator (VCO) to generate the FMCW.  In this case the frequency deviation, as depicted in Figure 5 of Ref. i, is the input to a VCO whose oscillator frequency is directly proportional to the input.  In this case a given period’s starting phase is allowed to drift from period to period as needed in order to preserve phase continuity.

Table 3 and Table 4 summarize the -20 dB and -40 dB bandwidth results of this section, respectively.  Data for these tables are taken primarily from Figure 1 through Figure 6, except that the FFT data for FMCW4 through FMCW6, which assumed a phase discontinuity, was replaced by the continuous-phase FFT data for FMCW1 through FMCW3.

The first column of the tables lists bandwidths based on the FFT.  The next column lists bandwidths based on equations taken from Ref. i (these equations will be described shortly).  The next column lists bandwidths measured in the simulation.  The last three columns of the tables compare the VSG and FFT bandwidths, stated in terms of percentages.  As an example, “VSG to FFT” calculates (VSG – FFT)/FFT.

Table 3.  Various -20 dB Bandwidth Comparisons

| Waveform/system | -20 dB based on FFT | B(-20dB) with k20=1 | VSG (-20 dB) | VSG to B(-20dB) | VSG to FFT | B(-20dB) to FFT |
| --- | --- | --- | --- | --- | --- | --- |
| FMCW1 | 1.0083 | 1.0541 | 1.0409 | -1.25% | 3.23% | 4.54% |
| FMCW2 | 1.0244 | 1.0541 | 1.0422 | -1.13% | 1.74% | 2.90% |
| FMCW3 | 1.0207 | 1.0541 | 1.1077 | 5.09% | 8.52% | 3.27% |
| FMCW4 | 1.0083 | 1.0541 | 1.0411 | -1.23% | 3.25% | 4.54% |
| FMCW5 | 1.0244 | 1.0541 | 1.0431 | -1.04% | 1.83% | 2.90% |
| FMCW6 | 1.0207 | 1.0541 | 1.1081 | 5.13% | 8.56% | 3.27% |
|  |  |  | mean: | 0.93% | 4.52% | 3.57% |
|  |  |  | stddev: | 3.24% | 3.18% | 0.77% |

Table 4.  Various -40 dB Bandwidth Comparisons

| Waveform/system | -40 dB based on FFT | B(-40dB) with k40=1 | VSG (-40 dB) | VSG to B(-40dB) | VSG to FFT | B(-40dB) to FFT |
| --- | --- | --- | --- | --- | --- | --- |
| FMCW1 | 1.0263 | 1.1021 | 1.0611 | -3.72% | 3.39% | 7.39% |
| FMCW2 | 1.1563 | 1.1021 | 1.2344 | 12.00% | 6.75% | -4.69% |
| FMCW3 | 1.0954 | 1.1021 | 1.1972 | 8.63% | 9.29% | 0.61% |
| FMCW4 | 1.0263 | 1.1021 | 1.0613 | -3.70% | 3.41% | 7.39% |
| FMCW5 | 1.1563 | 1.1021 | 1.2337 | 11.94% | 6.69% | -4.69% |
| FMCW6 | 1.0954 | 1.1021 | 1.2001 | 8.89% | 9.56% | 0.61% |
|  |  |  | mean: | 5.67% | 6.52% | 1.10% |
|  |  |  | stddev: | 7.41% | 2.70% | 5.41% |

Ref. i sets forth a methodology for determining the -20 and -40 dB bandwidth formulas for FMCW.  Initially, there were three sets of bandwidth formulas proposed depending on the phase discontinuity.  Since this simulation has shown that phase is always continuous, for this exercise, the bandwidth pair in that paper corresponding to a continuous phase signal is used in the tables:

|  | (1) |
| --- | --- |

|  | (2) |
| --- | --- |

where Bc is the total frequency deviation, τ is the time over which the main chirp occurs, and k20 and k40 are the implementation factors to account for accepted differences between theory and real system output.

Neither (1) nor (2) are functions of the flyback time tfb.  In fact a smaller tfb will produce a larger bandwidth, but the formulas already assume a small tfb.  Thus one would expect the formulas to overestimate the bandwidth somewhat for larger tfb/τ ratios.

## Discussion

The first thing to note is that the resolution of VSG measurements is not small enough.  For example, the difference between VSG and FFT bandwidths is only 1 to 4 measurement bandwidths.  For this reason the contributors of this document hope to redo the measurements for FMCW1, FMCW2, and FMCW3 in the recommended measurement bandwidth of 1 kHz (see Ref. ii).  The following discussion points will be revised if warranted by the new findings.

As expected, B(-20dB) to FFT in Table 3 showed the largest overestimation (4.54%) for the signal which has the largest tfb/τ ratio (unity), namely, FMCW1.  FMCW3 has the next largest tfb/τ (0.01), and the next largest overestimation (3.27%) of B(20dB) to FFT.  This same finding holds for B(-40dB) to FFT in Table 4.  This simply confirms that B(-20dB) and B(-40dB) are based on the FFT.

The tables also show that comparison of VSG to FFT is positive in every case, suggesting that there may be some sort of spectrum re-growth occurring in the VSG implementation.  It is suspicious, though, that VSG to FFT is highest with the VSG signal that used the larger measurement bandwidth, namely FMCW3 and FMCW6.  Since this measurement bandwidth is 47 times larger than that recommended in Ref. , the VSG measurements are likely larger than true, and if that is the case, that would make VSG to FFT comparisons in the table larger than true, especially for FMCW3 and FMCW6.  If we discard the value for those two signals, we are looking at a VSG to FFT of up to 3% for the -20 dB bandwidth, and 6-7% for the -40 dB.

The main purpose of this study has to do with evaluating bandwidth formulas to make sure the proposed formulas are a good approximation of theory (FFT).  It is not the purpose of this paper to propose implementation factors, but rather to show one possible way of how they might be derived.  The VSG to B(-20dB) column adds valuable input for this purpose because, if B(-20dB) underestimates VSG, it plus one is the factor by which B(-20dB) would be multiplied to equal VSG.  In this case all values are slightly negative (~ -1%) indicating no underestimation, with the exception of FMCW3 and FMCW6, whose values may be erroneously positive due to enlarged VSG as described in the previous paragraph.

The other two bandwidth comparisons can be useful in making the final determination of the implementation factor.  In each case the theory (FFT) is in the denominator, because it must be the baseline.  Ultimately the implementation factor must be tied to theory, because logically it describes the accepted amount by which real system implementations can exceed theory.  But to arrive at an implementation factor to be applied to a bandwidth formula, which is based on an accepted implementation above and beyond theory, will require some compromise, and more thought, hopefully articulated in another future paper.

At this point we remind the reader that the implementation factor is heavily dependent on the output device, amongst other things.  Noting that the VSG is a solid-state device, as well as low power, and that other output devices (tube type for example) have their own characteristics, the final implementation factor may differ from those indicated in this report.  Actual measured data of real systems could also shed more light on what is a realistic implementation factor.  Other administrations are encouraged to review these equations and present data based on different output devices in tables similar to Table 3 and Table 4.

For the -40 dB bandwidth, the largest VSG to B(-40dB) is 12% for FMCW2 and FMCW5, which both have the smallest tfb/τ ratio.  This is expected since the B(-40dB) formula, which is equation (2), is independent of tfb, whereas the actual signal (VSG) would be expected to be largest when tfb is smallest.

There are many factors that could influence the implementation factor.  Output device is just one.  Another factor is the quality of the electronics that go into shaping the signal.  If these were the only factors, we could speculate that the implementation factors would be much larger than those indicated by the VSG.  But there are other hardware aspects of real radar systems, such as filtering, and others, which may allow real systems to use the spectrum more efficiently than the VSG.  In either case, additional input of real system data from administrations could give a better estimate of the implementation factor.

The following figures show the measured frequency deviation for each signal.

Figure 7.  FMCW1 Frequency deviation

Figure 8.  FMCW2 Frequency deviation

Figure 9.  FMCW3 Frequency deviation

Figure 10.  FMCW4 Frequency deviation

Figure 11.  FMCW5 Frequency deviation

Figure 12.  FMCW6 Frequency deviation

## Summary

This paper proposes a format whereby bandwidth formulas and associated implementation factors for VSG generated FMCW waveforms can be evaluated.  It compares the output of a particular device with specific FMCW -20 dB and -40 dB bandwidths.  Other administrations are invited to review this paper, and to compare their own measured data with the FMCW bandwidth formulas proposed in this paper.  More work also needs to be done to determine what the implementation factors are, and how to apply them.

# Footnotes

This paper assumes a familiarity with Ref. i, in which various terms have already been defined.

All times are in microseconds.  All frequencies are in Megahertz

See equation (12) in Ref. i for more understanding.

For the equation (1) calculation k20 was set to one to essentially remove it from the equation.  This was done because the first step in determining the necessary implementation factor is to see how the formula, without an implementation factor, compares with bandwidths derived by other means.

For the equation (2) calculation k40 was set to one to essentially remove it from the equation.  This was done because the first step in determining the implementation factor is to see how the formula, without an implementation factor, compares with bandwidths derived by other means.

# Endnotes

References:

“Theory of FMCW Radar Waveforms”

Table 1 of NTIA Report TR-05-420

# Text boxes

Measured VSG data

FFT based on NCP

Measured VSG data

FFT based on NCP

Measured VSG data

FFT based on NCP

Measured VSG data

FFT based on CP

Measured VSG data

FFT based on CP

Measured VSG data

FFT based on CP