## 10-Day CVP Corp Forecast
|  |  |  | Western Area Power Admininstration | [8 empty] | Publish Date:
[5 empty] | Sierra Nevada Region | [6 empty] | 2007-06-28
10-Day Forecast of Central Valley Project Corporation Bank Energy and Bank Return Energy
Values at Tracy Substation
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2007-06-29 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2007-06-30 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2007-06-29 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2007-06-30 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 180 | 1030 | 0 | 0 | 0 | 0 | 1 | 160 | 1040 | 0 | 0 | 0 | 0
2 | 180 | 1030 | 0 | 0 | 0 | 0 | 2 | 160 | 1040 | 0 | 0 | 0 | 0
3 | 180 | 1030 | 0 | 0 | 0 | 0 | 3 | 160 | 1040 | 0 | 0 | 0 | 0
4 | 180 | 1030 | 0 | 0 | 0 | 0 | 4 | 160 | 1040 | 0 | 0 | 0 | 0
5 | 180 | 1030 | 0 | 0 | 0 | 0 | 5 | 160 | 1040 | 0 | 0 | 0 | 0
6 | 180 | 1030 | 0 | 0 | 0 | 0 | 6 | 160 | 1040 | 0 | 0 | 0 | 0
7 | 180 | 1030 | 0 | 0 | 0 | 0 | 7 | 160 | 1040 | 0 | 0 | 0 | 0
8 | 180 | 1030 | 0 | 0 | 0 | 0 | 8 | 160 | 1040 | 0 | 0 | 0 | 0
9 | 180 | 1030 | 0 | 0 | 0 | 0 | 9 | 160 | 1040 | 0 | 0 | 0 | 0
10 | 180 | 1030 | 0 | 0 | 0 | 0 | 10 | 160 | 1040 | 0 | 0 | 0 | 0
11 | 180 | 1030 | 0 | 0 | 0 | 0 | 11 | 160 | 1040 | 0 | 0 | 0 | 0
12 | 180 | 1030 | 0 | 0 | 0 | 0 | 12 | 160 | 1040 | 0 | 0 | 0 | 0
13 | 180 | 1030 | 0 | 0 | 0 | 0 | 13 | 160 | 1040 | 0 | 0 | 0 | 0
14 | 180 | 1030 | 0 | 0 | 0 | 0 | 14 | 160 | 1040 | 0 | 0 | 0 | 0
15 | 180 | 1030 | 0 | 0 | 0 | 0 | 15 | 160 | 1040 | 0 | 0 | 0 | 0
16 | 180 | 1030 | 0 | 0 | 0 | 0 | 16 | 160 | 1040 | 0 | 0 | 0 | 0
17 | 180 | 1030 | 0 | 0 | 0 | 0 | 17 | 160 | 1040 | 0 | 0 | 0 | 0
18 | 180 | 1030 | 0 | 0 | 0 | 0 | 18 | 160 | 1040 | 0 | 0 | 0 | 0
19 | 180 | 1030 | 0 | 0 | 0 | 0 | 19 | 160 | 1040 | 0 | 0 | 0 | 0
20 | 180 | 1030 | 0 | 0 | 0 | 0 | 20 | 160 | 1040 | 0 | 0 | 0 | 0
21 | 180 | 1030 | 0 | 0 | 0 | 0 | 21 | 160 | 1040 | 0 | 0 | 0 | 0
22 | 180 | 1030 | 0 | 0 | 0 | 0 | 22 | 160 | 1040 | 0 | 0 | 0 | 0
23 | 180 | 1030 | 0 | 0 | 0 | 0 | 23 | 160 | 1040 | 0 | 0 | 0 | 0
24 | 180 | 1030 | 0 | 0 | 0 | 0 | 24 | 160 | 1040 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 17376 |  |  |  | Energy Avail. for BR (MWh): |  |  | 17432
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2007-07-01 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2007-07-02 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2007-07-01 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2007-07-02 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 170 | 1030 | 0 | 0 | 0 | 0 | 1 | 170 | 1000 | 0 | 0 | 0 | 0
2 | 170 | 1030 | 0 | 0 | 0 | 0 | 2 | 170 | 1000 | 0 | 0 | 0 | 0
3 | 170 | 1030 | 0 | 0 | 0 | 0 | 3 | 170 | 1000 | 0 | 0 | 0 | 0
4 | 170 | 1030 | 0 | 0 | 0 | 0 | 4 | 170 | 1000 | 0 | 0 | 0 | 0
5 | 170 | 1030 | 0 | 0 | 0 | 0 | 5 | 170 | 1000 | 0 | 0 | 0 | 0
6 | 170 | 1030 | 0 | 0 | 0 | 0 | 6 | 170 | 1000 | 0 | 0 | 0 | 0
7 | 170 | 1030 | 0 | 0 | 0 | 0 | 7 | 170 | 1000 | 0 | 0 | 0 | 0
8 | 170 | 1030 | 0 | 0 | 0 | 0 | 8 | 170 | 1000 | 0 | 0 | 0 | 0
9 | 170 | 1030 | 0 | 0 | 0 | 0 | 9 | 170 | 1000 | 0 | 0 | 0 | 0
10 | 170 | 1030 | 0 | 0 | 0 | 0 | 10 | 170 | 1000 | 0 | 0 | 0 | 0
11 | 170 | 1030 | 0 | 0 | 0 | 0 | 11 | 170 | 1000 | 0 | 0 | 0 | 0
12 | 170 | 1030 | 0 | 0 | 0 | 0 | 12 | 170 | 1000 | 0 | 0 | 0 | 0
13 | 170 | 1030 | 0 | 0 | 0 | 0 | 13 | 170 | 1000 | 0 | 0 | 0 | 0
14 | 170 | 1030 | 0 | 0 | 0 | 0 | 14 | 170 | 1000 | 0 | 0 | 0 | 0
15 | 170 | 1030 | 0 | 0 | 0 | 0 | 15 | 170 | 1000 | 0 | 0 | 0 | 0
16 | 170 | 1030 | 0 | 0 | 0 | 0 | 16 | 170 | 1000 | 0 | 0 | 0 | 0
17 | 170 | 1030 | 0 | 0 | 0 | 0 | 17 | 170 | 1000 | 0 | 0 | 0 | 0
18 | 170 | 1030 | 0 | 0 | 0 | 0 | 18 | 170 | 1000 | 0 | 0 | 0 | 0
19 | 170 | 1030 | 0 | 0 | 0 | 0 | 19 | 170 | 1000 | 0 | 0 | 0 | 0
20 | 170 | 1030 | 0 | 0 | 0 | 0 | 20 | 170 | 1000 | 0 | 0 | 0 | 0
21 | 170 | 1030 | 0 | 0 | 0 | 0 | 21 | 170 | 1000 | 0 | 0 | 0 | 0
22 | 170 | 1030 | 0 | 0 | 0 | 0 | 22 | 170 | 1000 | 0 | 0 | 0 | 0
23 | 170 | 1030 | 0 | 0 | 0 | 0 | 23 | 170 | 1000 | 0 | 0 | 0 | 0
24 | 170 | 1030 | 0 | 0 | 0 | 0 | 24 | 170 | 1000 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 17630 |  |  |  | Energy Avail. for BR (MWh): |  |  | 16992
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2007-07-03 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2007-07-04 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2007-07-03 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2007-07-04 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 260 | 990 | 0 | 0 | 0 | 0 | 1 | 30 | 1300 | 0 | 0 | 0 | 0
2 | 260 | 990 | 0 | 0 | 0 | 0 | 2 | 30 | 1300 | 0 | 0 | 0 | 0
3 | 260 | 990 | 0 | 0 | 0 | 0 | 3 | 30 | 1300 | 0 | 0 | 0 | 0
4 | 260 | 990 | 0 | 0 | 0 | 0 | 4 | 30 | 1300 | 0 | 0 | 0 | 0
5 | 260 | 990 | 0 | 0 | 0 | 0 | 5 | 30 | 1300 | 0 | 0 | 0 | 0
6 | 260 | 990 | 0 | 0 | 0 | 0 | 6 | 30 | 1300 | 0 | 0 | 0 | 0
7 | 260 | 990 | 0 | 0 | 0 | 0 | 7 | 30 | 1300 | 0 | 0 | 0 | 0
8 | 260 | 990 | 0 | 0 | 0 | 0 | 8 | 30 | 1300 | 0 | 0 | 0 | 0
9 | 260 | 990 | 0 | 0 | 0 | 0 | 9 | 30 | 1300 | 0 | 0 | 0 | 0
10 | 260 | 990 | 0 | 0 | 0 | 0 | 10 | 30 | 1300 | 0 | 0 | 0 | 0
11 | 260 | 990 | 0 | 0 | 0 | 0 | 11 | 30 | 1300 | 0 | 0 | 0 | 0
12 | 260 | 990 | 0 | 0 | 0 | 0 | 12 | 30 | 1300 | 0 | 0 | 0 | 0
13 | 260 | 990 | 0 | 0 | 0 | 0 | 13 | 30 | 1300 | 0 | 0 | 0 | 0
14 | 260 | 990 | 0 | 0 | 0 | 0 | 14 | 30 | 1300 | 0 | 0 | 0 | 0
15 | 260 | 990 | 0 | 0 | 0 | 0 | 15 | 30 | 1300 | 0 | 0 | 0 | 0
16 | 260 | 990 | 0 | 0 | 0 | 0 | 16 | 30 | 1300 | 0 | 0 | 0 | 0
17 | 260 | 990 | 0 | 0 | 0 | 0 | 17 | 30 | 1300 | 0 | 0 | 0 | 0
18 | 260 | 990 | 0 | 0 | 0 | 0 | 18 | 30 | 1300 | 0 | 0 | 0 | 0
19 | 260 | 990 | 0 | 0 | 0 | 0 | 19 | 30 | 1300 | 0 | 0 | 0 | 0
20 | 260 | 990 | 0 | 0 | 0 | 0 | 20 | 30 | 1300 | 0 | 0 | 0 | 0
21 | 260 | 990 | 0 | 0 | 0 | 0 | 21 | 30 | 1300 | 0 | 0 | 0 | 0
22 | 260 | 990 | 0 | 0 | 0 | 0 | 22 | 30 | 1300 | 0 | 0 | 0 | 0
23 | 260 | 990 | 0 | 0 | 0 | 0 | 23 | 30 | 1300 | 0 | 0 | 0 | 0
24 | 260 | 990 | 0 | 0 | 0 | 0 | 24 | 30 | 1300 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 17046 |  |  |  | Energy Avail. for BR (MWh): |  |  | 19500
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2007-07-05 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2007-07-06 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2007-07-05 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2007-07-06 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 40 | 1290 | 0 | 0 | 0 | 0 | 1 | 50 | 1290 | 0 | 0 | 0 | 0
2 | 40 | 1290 | 0 | 0 | 0 | 0 | 2 | 50 | 1290 | 0 | 0 | 0 | 0
3 | 40 | 1290 | 0 | 0 | 0 | 0 | 3 | 50 | 1290 | 0 | 0 | 0 | 0
4 | 40 | 1290 | 0 | 0 | 0 | 0 | 4 | 50 | 1290 | 0 | 0 | 0 | 0
5 | 40 | 1290 | 0 | 0 | 0 | 0 | 5 | 50 | 1290 | 0 | 0 | 0 | 0
6 | 40 | 1290 | 0 | 0 | 0 | 0 | 6 | 50 | 1290 | 0 | 0 | 0 | 0
7 | 40 | 1290 | 0 | 0 | 0 | 0 | 7 | 50 | 1290 | 0 | 0 | 0 | 0
8 | 40 | 1290 | 0 | 0 | 0 | 0 | 8 | 50 | 1290 | 0 | 0 | 0 | 0
9 | 40 | 1290 | 0 | 0 | 0 | 0 | 9 | 50 | 1290 | 0 | 0 | 0 | 0
10 | 40 | 1290 | 0 | 0 | 0 | 0 | 10 | 50 | 1290 | 0 | 0 | 0 | 0
11 | 40 | 1290 | 0 | 0 | 0 | 0 | 11 | 50 | 1290 | 0 | 0 | 0 | 0
12 | 40 | 1290 | 0 | 0 | 0 | 0 | 12 | 50 | 1290 | 0 | 0 | 0 | 0
13 | 40 | 1290 | 0 | 0 | 0 | 0 | 13 | 50 | 1290 | 0 | 0 | 0 | 0
14 | 40 | 1290 | 0 | 0 | 0 | 0 | 14 | 50 | 1290 | 0 | 0 | 0 | 0
15 | 40 | 1290 | 0 | 0 | 0 | 0 | 15 | 50 | 1290 | 0 | 0 | 0 | 0
16 | 40 | 1290 | 0 | 0 | 0 | 0 | 16 | 50 | 1290 | 0 | 0 | 0 | 0
17 | 40 | 1290 | 0 | 0 | 0 | 0 | 17 | 50 | 1290 | 0 | 0 | 0 | 0
18 | 40 | 1290 | 0 | 0 | 0 | 0 | 18 | 50 | 1290 | 0 | 0 | 0 | 0
19 | 40 | 1290 | 0 | 0 | 0 | 0 | 19 | 50 | 1290 | 0 | 0 | 0 | 0
20 | 40 | 1290 | 0 | 0 | 0 | 0 | 20 | 50 | 1290 | 0 | 0 | 0 | 0
21 | 40 | 1290 | 0 | 0 | 0 | 0 | 21 | 50 | 1290 | 0 | 0 | 0 | 0
22 | 40 | 1290 | 0 | 0 | 0 | 0 | 22 | 50 | 1290 | 0 | 0 | 0 | 0
23 | 40 | 1290 | 0 | 0 | 0 | 0 | 23 | 50 | 1290 | 0 | 0 | 0 | 0
24 | 40 | 1290 | 0 | 0 | 0 | 0 | 24 | 50 | 1290 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 19500 |  |  |  | Energy Avail. for BR (MWh): |  |  | 19700
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2007-07-07 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2007-07-08 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2007-07-07 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2007-07-08 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 60 | 1250 | 0 | 0 | 0 | 0 | 1 | 40 | 1280 | 0 | 0 | 0 | 0
2 | 60 | 1250 | 0 | 0 | 0 | 0 | 2 | 40 | 1280 | 0 | 0 | 0 | 0
3 | 60 | 1250 | 0 | 0 | 0 | 0 | 3 | 40 | 1280 | 0 | 0 | 0 | 0
4 | 60 | 1250 | 0 | 0 | 0 | 0 | 4 | 40 | 1280 | 0 | 0 | 0 | 0
5 | 60 | 1250 | 0 | 0 | 0 | 0 | 5 | 40 | 1280 | 0 | 0 | 0 | 0
6 | 60 | 1250 | 0 | 0 | 0 | 0 | 6 | 40 | 1280 | 0 | 0 | 0 | 0
7 | 60 | 1250 | 0 | 0 | 0 | 0 | 7 | 40 | 1280 | 0 | 0 | 0 | 0
8 | 60 | 1250 | 0 | 0 | 0 | 0 | 8 | 40 | 1280 | 0 | 0 | 0 | 0
9 | 60 | 1250 | 0 | 0 | 0 | 0 | 9 | 40 | 1280 | 0 | 0 | 0 | 0
10 | 60 | 1250 | 0 | 0 | 0 | 0 | 10 | 40 | 1280 | 0 | 0 | 0 | 0
11 | 60 | 1250 | 0 | 0 | 0 | 0 | 11 | 40 | 1280 | 0 | 0 | 0 | 0
12 | 60 | 1250 | 0 | 0 | 0 | 0 | 12 | 40 | 1280 | 0 | 0 | 0 | 0
13 | 60 | 1250 | 0 | 0 | 0 | 0 | 13 | 40 | 1280 | 0 | 0 | 0 | 0
14 | 60 | 1250 | 0 | 0 | 0 | 0 | 14 | 40 | 1280 | 0 | 0 | 0 | 0
15 | 60 | 1250 | 0 | 0 | 0 | 0 | 15 | 40 | 1280 | 0 | 0 | 0 | 0
16 | 60 | 1250 | 0 | 0 | 0 | 0 | 16 | 40 | 1280 | 0 | 0 | 0 | 0
17 | 60 | 1250 | 0 | 0 | 0 | 0 | 17 | 40 | 1280 | 0 | 0 | 0 | 0
18 | 60 | 1250 | 0 | 0 | 0 | 0 | 18 | 40 | 1280 | 0 | 0 | 0 | 0
19 | 60 | 1250 | 0 | 0 | 0 | 0 | 19 | 40 | 1280 | 0 | 0 | 0 | 0
20 | 60 | 1250 | 0 | 0 | 0 | 0 | 20 | 40 | 1280 | 0 | 0 | 0 | 0
21 | 60 | 1250 | 0 | 0 | 0 | 0 | 21 | 40 | 1280 | 0 | 0 | 0 | 0
22 | 60 | 1250 | 0 | 0 | 0 | 0 | 22 | 40 | 1280 | 0 | 0 | 0 | 0
23 | 60 | 1250 | 0 | 0 | 0 | 0 | 23 | 40 | 1280 | 0 | 0 | 0 | 0
24 | 60 | 1250 | 0 | 0 | 0 | 0 | 24 | 40 | 1280 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 19200 |  |  |  | Energy Avail. for BR (MWh): |  |  | 19400
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
Notes:
1. CVP Corp. Transactions data includes committed schedules for those days (shaded gray) that have been committed and forecasted data for the remaining dates.