INDEPENDENT VERIFICATION

1.0	Objective

The objective of this surveillance is to evaluate the conduct of selected independent verification activities.  This surveillance provides a basis for evaluating the effectiveness of the contractor's independent verifications programs and for establishing compliance with DOE requirements.

2.0	References

2.1	DOE 5480.19, Conduct of Operations Requirements for DOE Facilities

2.2	DOE-STD-1036-93, Guide to Good Practices for Independent Verification

3.0	Requirements Implemented

This surveillance is conducted to implement requirements of the Functions, Responsibilities and Authorities Manual, Section 20, Operations, FRAM #s 4253, 4258, and 4261.  These requirements are drawn from DOE 5480.19.

4.0	Surveillance Activities

The Facility Representative selects an activity (e.g., returning equipment to service following maintenance, removing equipment from service, system lineups) that requires independent verification of selected components.  The Facility Representative observes conduct of the original check of component position as well as the independent verification.

Surveillance Guideline

INDEPENDENT VERIFICATION

Surveillance No.:	_________________________

Facility:		_________________________

Date Completed:	_________________________

Yes  No   N/A

___  ___  ___	1.	Are personnel who perform independent verification trained and qualified on the subject system?

DOE 5480.19, Attachment 1, Chapter 10, C. 3.

___  ___  ___	2.	Are personnel who perform independent verification trained on independent verification procedures and methods?

DOE 5480.19, Attachment 1, Chapter 10, C. 3.

___  ___  ___	3.	Is the independent verifier separated from the original checker by time and distance?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. a.

___  ___  ___	4.	Is the interaction between personnel who operate the equipment and those who perform independent verification minimized?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. a.

___  ___  ___	5.	Do the original and independent verification checks consist of component identification and a determination of both required and actual position?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. a.

___  ___  ___	6.	Has a facility specific list of systems and components which should receive independent verification been developed?

DOE 5480.19, Attachment 1, Chapter 10, C. 1.

___  ___  ___	7.	Does the independent verifier understand that he should not attempt to position a component to correct a verification inconsistency, but should report the inconsistency to his supervisor?

DOE 5480.19, Attachment 1, Chapter 10, C. 2. d.

Yes  No   N/A

___  ___  ___	8.	Is independent verification performed locally?  Is the use of remote indicators minimized?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. b.

___  ___  ___	9.	Are position indicators, scribe marks, or other approved designated indicators used to determine throttle valve positions?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. d.

___  ___  ___	10.	If surveillance testing is used as a means of independent verification, does it confirm the position of each required component?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. e.

___  ___  ___	11.	Is each of the independent verification methods approved in facility procedures?

DOE 5480.19, Attachment 1, Chapter 10, C. 3.

___  ___  ___	12.	Are process parameters used where applicable as an additional method for confirming component position?  (In most instances, checking of process parameters is not a substitute for other independent verification methods.)

DOE 5480.19, Attachment 1, Chapter 10, C. 3. c.

___  ___  ___	13.	Are programmatic operations appraisals independently conducted and/or verified to ensure that environment, safety, and health considerations, and operations functions (such as training) are being conducted in accordance with established operational criteria?

DOE 5480.19, Attachment 1, Chapter 10, C. 3. f.

OTHER:

NOTES/COMMENTS:

PERSONNEL CONTACTED:

FINDINGS:

Finding No.:

Description:

OBSERVATIONS:

Observation No.:

Description:

FOLLOWUP ITEMS:

CONTRACTOR MANAGEMENT DEBRIEFED AND RESULTS:

Signature:  ______________________________		Date: _____/_____/_____

Facility Representative