SPECIAL SPECIFICATION

SECTION 08920

GLAZED ALUMINUM CURTAIN WALLS

Page

PART 1 - GENERAL

1.01	Related Documents ..............................................................................	2

1.02	References ........................................................................................	2

1.03	Summary .........................................................................................	3

1.04	System Description ..............................................................................	4

1.05	System Performance Requirements ...........................................................	4

1.06	Submittals ........................................................................................	5

1.07	Quality Assurance ...............................................................................	7

1.08	Project Conditions ...............................................................................	7

1.09	Sequencing and Scheduling ....................................................................	8

1.10	Warranty .........................................................................................	8

PART 2 - PRODUCTS

2.01	Manufacturers ....................................................................................	8

2.02	Materials ..........................................................................................	9

2.03	Components ......................................................................................	10

2.04	Fabrication .......................................................................................	10

2.05	Finishes ...........................................................................................	11

PART 3 - EXECUTION

3.01	Installation........................................................................................	11

3.02	Cleaning ..........................................................................................	12

SPECIAL SPECIFICATION

SECTION 08920

GLAZED ALUMINUM CURTAIN WALLS

PART 1 - GENERAL

1.01	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.02	REFERENCES

A.	Aluminum Association (AA)

C12C42Rx1

B.	American Architectural Manufacturers Association (AAMA)

501

605.2

1502.7

C.	American Society of Testing and Materials (ASTM)

A 386

B 209	Specification for Aluminum and Aluminum-Alloy Sheet and Plate

B 221	Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Shapes, and Tubes

C 1036	Specification for Flat Glass

E 90	Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions

E 283	Test Method for Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

E 330	Test Method for Structural Performance of Exterior Windows, Curtain Walls, and Doors By Uniform Static Air Pressure Difference

E 331	Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors By Uniform Static Air Pressure Difference

E 699	Criteria for Evaluation of Agencies Involved in Testing, Quality Assurance, and Evaluating Building Components in Accordance with Test Methods Promulgated by ASTM Committee E-6

E 774	Specification for Sealed Insulating Glass Units

E.	National Association of Architectural Metal Manufacturers (NAAMM)

1.03	SUMMARY

A.	This section includes a stick-framed glazed aluminum curtain wall system with interior and exterior metal framing.

B.	Primary components of the glazed curtain wall system include:

1.	Aluminum curtain wall framing system.

2.	Internal steel reinforcement.

3.	Glazing gaskets.

4.	Sills, copings, trim, and similar border and filler items.

5.	Anchors, shims, fasteners, inserts, accessories, and support brackets.

6.	Joint sealing within the curtain wall system; refer to Division 7 Section "Joint Sealers" for requirements.

7.	Glass and glazing included as part of the curtain wall system; refer to Division 8 Section "Glass and Glazing" for requirements.

C.	Aluminum entrance door work is included in Division 8 Section "Aluminum Entrances".

D.	Automatic door operator equipment is included in Division 8 Section "Automatic Door Operators".

1.04	SYSTEM DESCRIPTION

A.	Aluminum Stick-Type System:  The glazed aluminum curtain wall system shall consist of individual members erected separately.  Major components consist of aluminum vertical exterior mullions, horizontal rails, and matching glazed insulated spandrel panels and vision glass.

1.	Except for spandrel panels installed during erection, the system shall be designed for glazing from the inside.

1.05	SYSTEM PERFORMANCE REQUIREMENTS

A.	General:  Provide the manufacturer's stock curtain wall system, adapted to the application indicated, that complies with performance requirements specified as demonstrated by testing the manufactures corresponding stock systems according to test methods indicated.

1.	Design wind velocity at the project site is 81 mph.

B.	Air and Water Infiltration:  Design and install the glazed curtain wall system for permanent resistance to air and water leakage through the system in accordance with the following:

1.	Air Infiltration:  Air leakage through the curtain wall system shall not exceed 0.06 cfm per sq. ft. of wall area when tested in accordance with ASTM E 283 at a minimum static air pressure differential of 1.57 lbf. per sq. ft.

2.	Water Penetration:  There shall be no uncontrolled water leakage through the curtain wall system, as defined in AAMA 501, when tested in accordance with ASTM E 331 at a minimum differential pressure of 20 percent of inward design wind load but not less than 6.24 lbf. per sq. ft. or more than 12 lbf. per sq. ft.

C.	Structural Performance:  Design, engineer, fabricate, and install the glazed aluminum curtain wall system to withstand the effects of a wind load of 35 psf acting inward and 30 psf acting outward, normal to the plane of the wall, when tested in accordance with ASTM E 330, with no material failures or permanent deformation of structural members.

1.	Structural test pressure shall be equal to 150 percent of the inward and outward acting design wind pressures.

2.	Deflections:  The curtain wall system shall be capable of withstanding building movements including wind loading and of performing within the following limitations:

a.	Deflection of framing members perpendicular to the plane of the wall shall not exceed 1/175 of its clear span or 3/4 inch, whichever is less.

b.	Deflection of members parallel to the plane of the wall, when carrying its full dead load, shall not exceed an amount that will reduce glass bite by less than 75 percent of the design dimension and shall not reduce edge clearance between itself and the panel, glass, or other fixed member immediately below to less than 1/8 inch.

D.	Thermal Movements:  The glazed aluminum curtain wall system shall be capable of withstanding thermal movements resulting from an ambient temperature differential of 120 deg.F (67 deg.C), which may result in a metal surface temperature range of 180 deg.F (100 deg.C) within the curtain wall framing without causing buckling, stresses on glass, failure of joint sealants, damaging loads on fasteners, or other detrimental effects.

E.	Condensation Requirements:  The glazed aluminum curtain wall system shall be of thermal-break construction that has been tested in accordance with AAMA 1502.7 and certified by the manufacturer to provide a condensation resistance factor (CRF) of at least 45.

F.	Sound Transmission:  The average sound transmission loss through the glazed aluminum curtain wall system shall be a minimum of 30 db for the standard frequency range of 125 to 4000 Hz when tested in accordance with ASTM E 90 with the glass type indicated.

1.06	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of the Contract and Division 1 Specification Sections.

B.	Product Data:  Include manufacturer's specifications for materials and fabrication, installation instructions, and recommendations for maintenance.  Include test reports showing compliance with project requirements where test method is indicated.

C.	Shop Drawings:  Show adaptation of the manufacturer's standard glazed aluminum curtain wall system to the project; include typical unit elevations at 1/2-inch scale and details at 3-inch scale.  Show dimensions, profiles of members, anchorage system, interface with building construction, and glazing.

1.	Include setting drawings, templates, and directions for the installation of anchor bolts and other anchorages installed as a unit of work under other sections.

2.	Indicate where and how the system deviates from contract drawings and specifications.  Show section moduli of wind-load-bearing members and calculations of stresses and deflections.  Provide material properties and other information needed for structural analysis including computations, prepared, signed, or, and sealed by a professional engineer licensed to practice in the jurisdiction where the project is located.

D.	Samples:  Provide pairs of samples of each aluminum finish type and color on 12-inch-long sections of extrusions or formed shapes and on 6-inch-squares of aluminum sheet or plate.  Include 2 or more units in each sample set showing the extreme limits of variations expected in color and texture of finish.

1.	The Sandia Delegated Representative (SDR) reserves the right to require fabrication samples showing the following:

a.	Prime members.

b.	Joinery.

c.	Anchorage.

d.	Expansion provisions.

e.	Glazing and similar details.

f.	Profiles.

g.	Intersections.

E.	Installer certificates signed by the manufacturer certifying that the Installers of the glazed aluminum curtain wall system comply with requirements indicated.

F.	Test Reports:  Provide test reports from a qualified independent testing laboratory that show compliance of the manufacturer's stock glazed aluminum curtain wall system with performance requirements indicated based on comprehensive testing of the system by the laboratory within the last 3 years current production of the system by the manufacturer.

1.07	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced Installer who has successfully completed installation of glazed curtain wall systems similar in material, design, and extent to that indicated for the Project and who is acceptable to the curtain wall manufacturer.

B.	Testing Laboratory Qualifications:  To qualify for acceptance, an independent testing laboratory must demonstrate to the Sandia Delegated Representative (SDR)'s satisfaction, based on evaluation of laboratory-submitted criteria conforming to ASTM E 699, that it has the experience and capability to conduct satisfactorily the testing indicated without delaying the progress of the Work.

C.	Glazing Standards:  Comply with recommendations of Flat Glass Marketing Association (FGMA) "Glazing Manual" and "Sealant Manual" except where more stringent requirements are indicated.  Refer to those publications for definitions of glass and glazing terms not otherwise defined in this section or referenced standards.

D.	Insulating Glass Certification Program:  Provide insulating glass units permanently marked either on spacers or on one component pane of units with the appropriate certification label of inspecting and testing organization indicated below:

1.	Insulating Glass Certification Council (IGCC).

E.	Single-Source Responsibility:  Provide glazed aluminum curtain wall system for the project from one source from a single manufacturer.

F.	Design Criteria:  The drawings indicate sizes, profiles, and dimensional requirements of the curtain wall system.  Curtain wall systems having equal performance characteristics with deviations from indicated dimensions and profiles may be considered, provided deviations do not change the design concept of intended performance.

1.	The burden of proof for equality of the curtain wall systems is on the proposer.

G.	All materials used shall not contain asbestos fibers or lead.

1.08	PROJECT CONDITIONS

A.	Field Measurements:  Take field measurements before fabrication; show recorded measurements on final shop drawings.  Coordinate fabrication schedule with construction progress to avoid delay.

1.09	SEQUENCING AND SCHEDULING

A.	Schedule installation of the glazed aluminum curtain wall system in sequence with related elements of the Work specified in other Sections to ensure that wall assemblies, including flashing, trim, and joint sealers, are protected against damage from effects of weather, age, corrosion, and other causes.

1.10	WARRANTY

A.	General:  Submit a written warranty signed by authorized representatives of the Contractor and Installer warranting that portions of the Work involving glazed aluminum curtain wall are of good quality, free from defects, and in conformance with the requirements of the Contract Documents and further promising to repair or replace defective Work during a 5-year period following completion of that portion of the Work.

1.	Defective is defined to include the following:

a.	Glass breakage.

b.	Failure of operational parts to function normally.

c.	Deterioration or discoloration of finishes.

d.	Failure of the system to meet performance requirements.

B.	The Warranty submitted under this Section shall not deprive the Owner of other rights or remedies that the Owner may have under other provisions of the Contract Documents and is in addition to and runs concurrent with other warranties made by the Contractor under requirements of the Contract Documents.

PART 2 - PRODUCTS

2.01	MANUFACTURERS

A.	Manufacturers:  Subject to compliance with requirements, provide products of one of the following:

Armarlite Corporation

Bruce Engineering Company

Cupples Products; Division of H.H. Robertson, Inc.

Curtainwall Systems, Inc.

Efco Corporation

Kawneer Company, Inc.

Lynbrook Glass and Architectural Metals Corp.

Marmet Corporation

Miami Wall System, Inc.

Panelization Systems International, Inc.

Profile Systems, Inc.

PPG Industries, Inc.

E.G. Smith Construction Products, Inc.

Tubelite Division of Indal, Inc.

Vistawall Architectural Products

Wausau Metals Corporation

Welling and Company

2.02	MATERIALS

A.	Aluminum:  Provide alloy, temper, and thickness recommended by the manufacturer for the type of use and finish indicated and with not less than the strength and durability properties of the alloy and temper designated below for each aluminum form required.

1.	Extruded Bar and Shapes:  Comply with requirements of ASTM B 221.

2.	Plate and Sheet:  Comply with requirements of ASTM B 209.

B.	Glass:  Provide glass of types and thicknesses indicated.  Fabricate glass to sizes required for openings indicated with edge clearances and tolerances complying with manufacturer's recommendations.  Refer to Division 8 Section "Glass and Glazing" for requirements.  Also refer to the drawings for "Glazing Type Schedule".

1.	Float Glass:  Comply with requirements of the "Glass and Glazing" Section, including those specified by reference to ASTM C 1036.

2.	Sealed Insulating Glass:  Insulating glass units shall be the manufacturer's standard preassembled dual-seal insulating glass units consisting of organically sealed panes of 1/4-inch-thick clear float glass enclosing a hermetically sealed dehydrated 1/2-inch air space.  Provide units with a silicone secondary seal with an IGCC-certified CBA level compatible with structural silicone sealant.

a.	Comply with requirements of the "Glass and Glazing" Section, including those specified by reference to ASTM E 774 for performance Class A.  Requirements for glass characteristics, air space, sealing system, sealant, spacer material, corner design, and desiccant are specified in the "Glass and Glazing" Section.

b.	Units shall be certified compatible by the sealant manufacturer.  Insulating glass seals shall be certified to withstand project structural loading requirements.

C.	Glazing Gaskets:  Manufacturer's standard sealed-corner pressure-glazing or wedge-lock dry glazing system of black, resilient elastomeric glazing gaskets, setting blocks and shims or spacers as required, hardness as selected by manufacturer.

1.	Gasket Material:  Extruded or molded EPDM synthetic rubber gaskets, compound as recommended by the manufacturer.

D.	Framing System Gaskets and Joint Fillers:  Manufacturer's standard permanent framing system gaskets and joint fillers, depending on joint movement and sealing requirements, such as sliding joints, compression joint translation, or nonmoving joints.

E.	Sealants and joint fillers, both for joints within the curtain wall construction and for joints at the interface of curtain wall construction and other work, shall comply with requirements specified in the "Joint Sealers" Section.

F.	Concealed Flashing:  Dead-soft 26-gage stainless steel concealed flashing of type selected for compatibility by the manufacturer.

2.03	COMPONENTS

A.	Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum units.

B.	Fasteners and Accessories:  Provide manufacturer's standard non-corrosive fasteners and accessories compatible with materials used in the framing system and with exposed portions that match finish of the curtain wall system.  Where movement is expected, provide slip-joint linings of sheets, pads, shims, or washers of fluorocarbon resin or a similar material recommended by the manufacturer.

C.	Concrete or Masonry Inserts:  Cast-iron, malleable iron or hot-dip galvanized steel inserts complying with ASTM A 386.

2.04	FABRICATION

A.	General:  Fabricate curtain wall system at the manufacturer's shop to the fullest extent possible and before applying finishes.  Provide concealed fasteners.  Make provisions to weep penetrating water and condensation to the exterior.

1.	Match exposed work to produce continuity of line.  Fit joints accurately and secure rigidly.

2.05	FINISHES

A.	General:  Comply with the NAAMM "Metal Finishes Manual" for recommendations relative to application and designations of finishes.

B.	Finish designations prefixed by "AA" conform to the system established by the Aluminum Association for designating aluminum finishes.

C.	High-Performance Organic Coating:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  chemical conversion coating, acid chromate-fluoride-phosphate pretreatment; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer's instructions.

1.	Fluorocarbon 2-Coat Coating System:  Manufacturer's standard 2-coat thermocured system, complying with AAMA 605.2, composed of specially formulated inhibitive primer and fluorocarbon color topcoat containing not less than 70 percent polyvinyldene fluoride resin by weight.

a.	Color and Gloss:  Match color and gloss of wall panels as specified in section "Manufactured Roof and Wall Panels".

PART 3 - EXECUTION

3.01	INSTALLATION

A.	Comply with manufacturer's instructions for protecting, handling, and installing fabricated curtain wall components, with particular care and attention in preservation of applied finishes.  Discard or remove and replace damaged members.

B.	Anchor components securely in place in the manner indicated.  Shim and allow for movement resulting from changes in thermal conditions.  Provide separators and isolators to prevent corrosion, electrolytic deterioration, and freeze-up of moving joints.

C.	Glazing:  Comply with requirements specified in "Glass and Glazing" sections.

D.	Erection Tolerances:  Install components plumb, level, accurately aligned, and located in reference to column lines and floor levels.  Adjust work to conform to the tolerances indicated below.  Tolerance indicated below are maximum and are not cumulative.

1.	Plumb:  1/8 inch in 10 feet; 1/4 inch in 40 feet.

2.	Level:  1/8 inch in 20 feet; 1/4 inch in 40 feet.

3.	Alignment:  Limit offset of member alignment to 1/16 inch where surfaces are flush or less than 1/2 inch out of flush and separated by less than 2 inches by a reveal or protruding work; otherwise limit offsets to 1/8 inch.

4.	Location:  3/8-inch maximum deviation from the measured theoretical location of any member at any location.

3.02	CLEANING

A.	Clean the completed system, inside and out, promptly after erection and installation of glass and sealants, allowing for nominal curing of liquid sealants.  The installer shall advise the Contractor of proper and adequate procedures for protection and cleaning during the remainder of the construction period so that the system will be without damage and deterioration at the time of acceptance.

B.	At the time of Substantial Completion, clean curtain wall system thoroughly and polish glass.  Demonstrate proper cleaning methods and materials to the Owner's maintenance personnel.

END OF SECTION