SPECIAL SPECIFICATION

SECTION 08950

TRANSLUCENT SKYLIGHT SYSTEMS

Page

PART 1 - GENERAL

1.01	Description .......................................................................................	2

1.02	References .......................................................................................	2

1.03	Quality Assurance ...............................................................................	3

1.04	Submittals ........................................................................................	4

1.05	Product Handling ................................................................................	5

PART 2 - PRODUCTS

2.01	Translucent Facing ..............................................................................	5

2.02	Non-Combustible Grid Core ...................................................................	6

2.03	Adhesive .........................................................................................	6

2.04	Panel Construction ...............................................................................	7

2.05	Battens and Perimeter Closure Systems ......................................................	7

2.06	Flexible Sealing Tape ...........................................................................	7

PART 3 - EXECUTION

3.01	Preparation ......................................................................................	8

3.02	Erection ..........................................................................................	8

3.03	Cleaning .........................................................................................	8

SPECIAL SPECIFICATION

SECTION 08950

TRANSLUCENT SKYLIGHT SYSTEMS

PART 1 - GENERAL

1.01	DESCRIPTION

A.	All requirements of the contract documents form an integral part of the work specified herein; in particular, refer to the conditions (general or otherwise), and Division 1 of the specifications, including all subdivisions thereof.

B.	Translucent panels shall consist of 2-3/4" thick double faced flat sandwich panels and system including installation.

C.	Work Included:  Supply all labor and materials required to deliver and install the insulated translucent panel system.  The following major items are included:

1.	Translucent panels.

2.	Installation system.

D.	Related work specified elsewhere:

1.	Structural Steel:  Division 5.

2.	Miscellaneous Metals:  Division 5.

3.	Joint Sealants:  Division 7.

1.02	REFERENCES

A.	American National Standards Institute (ANSI)/American Architectural Manufacturers Association (AAMA)

605.2

B.	American Society for Testing and Materials (ASTM)

A 123	Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products

C-236	Test Method for Steady-State Thermal Performance of Building Assemblies by Means of a Guarded Hot Box

C-297

D-635	Test Method for Rate of Burning and/or Extent and Time of Burning of Self-Supporting Plastics in a Horizontal Position

D-1002

D-1037	Test Methods of Evaluating the Properties of Wood-Base Fiber and Particle Panel Materials

D-1183

D-2244	Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates

D-6345

E-72	Methods of Conducting Strength Tests of Panels for Building Construction

E-84	Test Method for Surface Burning Characteristics of Building materials

E 699	Criteria for Evaluation of Agencies Involved in Testing, Quality Assurance, and Evaluating Building Components in Accordance with Test Methods Promulgated by ASTM Committee E-6

1.03	QUALITY ASSURANCE

A.	Manufacturer's and Erector's Qualifications:

1.	Panel system manufacturer must be listed by the International Conference of Building Officials, which requires quality control inspections by an approved agency for sandwich panel construction.

2.	Quality control inspections and testing, conducted at least once each year, shall include manufacturing facilities, sandwich panel components and production sandwich panels for conformance with "Acceptance Criteria for Sandwich Panels" as regulated by the Uniform Building Code or equivalent.

3.	Materials and products shall be manufactured by a company continuously and regularly employed in the manufacture of similar materials for a period of at least ten (10) consecutive years; and which can show evidence of these materials being satisfactorily used on at least six (6) projects of similar size, scope and type within such a period.  At least three (3) of the projects shall have been in successful use for five (5) years or longer.

4.	Erection shall be by an installer which has been in the business of erecting similar materials for at least five (5) consecutive years; and can show evidence of satisfactory completion of projects of similar size, scope and type.

B.	Performance Requirements:  The manufacturer shall be responsible for the configuration and fabrication of the complete panel system.

C.	All materials used shall not contain asbestos fibers or lead.

1.04	SUBMITTALS

A.	Submit shop drawings showing the total panel systems at 1/4" = 1'-0" and all details of construction at full scale.

B.	Test reports to be furnished by sandwich panel system manufacturer in accordance with Division 1, Submittals.  The manufacturer shall submit certified test reports made by an independent testing organization for each type and class of panel system. Reports shall verify that the material will meet all performance requirements of this specification.  Previously completed test reports will be acceptable if current and indicative of products used on this project.  Test reports required are:

1.	Flame Spread and Smoke Development (ASTM E-84).

2.	Burn Extent (ASTM D-635).

3.	Color Difference (ASTM D-2244).

4.	Impact Strength (SPI Method).

5.	Bond Strength (ASTM C-297 and ASTM D-1002).

6.	Accelerated Aging (ASTM D-1037).

7.	Beam Bending Strength (ASTM E-72).

8.	Insulation "U" Factor (ASTM C-236).

C.	Proof of regular, independent quality control monitoring by an approved agency shall be submitted.

1.	Samples:  Submit samples 12" x 24" (minimum) sandwich panel and a sample of the aluminum battens and closure systems.  Provide the Sandia Delegated Representative (SDR) with 2" x 3" (minimum) custom color chips on aluminum for selection by the Sandia Delegated Representative (SDR).

1.05	PRODUCT HANDLING

A.	Store translucent panels on the long edge, several inches above the ground, blocked and under cover to prevent warping.

PART 2 - MATERIALS

2.01	TRANSLUCENT FACING

A.	Translucent faces shall be manufactured by panel system fabricator specially for architectural use.

B.	Flammability:  The interior face sheet shall have a flamespread rating no greater than 45 and smoke developed no greater than 350 when tested in accordance with ASTM E-84.  Burn extent by ASTM D-6345 shall be no greater than 1".

C.	Weatherability:

1.	The full thickness of the exterior face shall not change color more than 3.0 Units (DELTA E by ASTM D-2244) after five (5) years outdoor South Florida weathering at 7o facing South, determined by the average of at least three (3) white samples without a protective film or coating to insure maximum, long term color stability.

2.	A white face sheet shall not darken more than .2 Units (DELTA L by ASTM D-2244) when exposed to 150oF for two (2) weeks.

3.	The exterior face shall have a permanent glass erosion barrier to provide maximum long term resistance to surface erosion.

4.	The exterior face shall have a self-cleaning thermoset acrylic urethane surface molecularly bonded under factory controlled conditions, minimum 1.2 mils thick, fully field restorable if worn or damaged.

D.	Appearance:

1.	The faces shall be uniform in color to prevent splotchy appearance.  Faces shall be completely free of ridges and wrinkles which prevent proper surface contact in bonding to the aluminum grid core.  Clusters of air bubbles/pinholes which collect moisture and dirt will not be acceptable.

2.	Exterior face sheets shall be .070" thick and crystal in color.  Interior face sheets shall be .045" thick and white in color.  Faces shall not vary more than + 10% in thickness.

E.	Strength:  The exterior face sheet shall be uniform in strength and repel an impact equal to 60 ft. lbs. without fracture or tear in accordance with SPI Shatter Resistance Test.

2.02	NON-COMBUSTIBLE GRID CORE

A.	The aluminum I-beams shall be 6061-T6 with provisions for mechanical interlocking of muntin-mullion and perimeter to prevent high and low intersections which do not allow full bonding surface to contact with face material.  Width of I-beam shall be no less than 7/16".  Aluminum I-beam for the grid shall be machined to tolerances of not greater than + .002".

2.03	ADHESIVE

A.	The laminate adhesive shall be heat and pressure resin-type engineered for structural sandwich panel use.  Adhesive shall pass testing requirements specified by the International Conference of Building Officials "Acceptance Criteria for Sandwich Panel Adhesive".  Minimum strength shall be:

1.	750 PSI tensile strength by ASTM C-297 after two (2) exposures to six (6) cycles each of the aging conditions prescribed by ASTM D-1037.

2.	500 PSI Shear strength average of five (5) exposures by ASTM D-1002:

a.	50% relative humidity at 73oF.

b.	Accelerated Aging by ASTM D-1183.

c.	182oF.

d.	Full Cycle Soak.

e.	500 Hour Oxygen Bomb.

2.04	PANEL CONSTRUCTION

A.	Panels shall have a thickness of 2-3/4" with a "U" factor of 0.40; light transmission of 40% and shading coefficient of 0.62.

B.	Translucent panels shall be a true sandwich panel of flat fiberglass sheets bonded to a grid core of mechanically interlocking aluminum I-beams and shall be laminated under a controlled process of heat and pressure.  Tape bond systems are not allowed.

C.	Translucent sandwich panel deflection shall not exceed 3.5" at 35 lbs. per sq. foot loading and shall not exceed 0.10" set deflection five (5) minutes after load release per ASTM E-72 with a 12' clearspan, tested flat.

D.	All grid patterns shall be 12" x 24" nominal shoji and be symmetrical about the horizontal center line of each panel with long dimension parallel to curvature of panel.

E.	The adhesive bonding line shall be straight, cover the entire width of the I-beam and have a neat, sharp edge.  In order to insure bonding strength, white spots at intersections of muntins and mullions shall not exceed four (4) for each forty (40) square feet of panel, nor shall they be more than 3/64" in width.

2.05	BATTENS AND PERIMETER CLOSURE SYSTEMS

A.	Extruded 6063-T6 and 6063-T5 aluminum screw clamp-tite closure system.  Thermal break perimeter system shall be factory prefabricated with "U" = .50 or less.  Curved closure systems shall be roll formed.

B.	All battens and perimeter closures to be supplied with 300 Series stainless steel screws (excluding final fasteners to the building).

C.	All exposed aluminum to be architectural 2-coat fluorocarbon system (high performance organic coating) equal to ANSI/AAMA 605.2.  Color and gloss to match wall panels as specified in Section "Manufactured Roof and Wall Panels".

2.06	FLEXIBLE SEALING TAPE

A.	Sealing tape shall be manufacturer's standard pre-applied to closure system at the factory under controlled conditions.

PART 3 - EXECUTION

3.01	PREPARATION

A.	The general contractor shall prepare openings including isolating dissimilar materials from aluminum system which may cause damage by electrolysis.

3.02	ERECTION

A.	The erector shall erect translucent panel system in strict accordance with approved shop drawings as supplied by manufacturer.  Fastening and sealing shall be in strict accordance with manufacturer's shop drawings.  All aluminum shall be cleaned before sealants are applied.

B.	After other trades have completed work on adjacent material, carefully inspect translucent panel installation and make adjustments necessary to insure proper installation and weather-tight conditions.

C.	All staging, lifts and hoists required for the complete panel installation, including staging, etc., necessary for field measuring, shall be provided by, set up and maintained by the erection contractor.

3.03	CLEANING

A.	Clean the completed system, inside and out, promptly after erection and installation of panels, allowing for nominal curing of liquid sealants.  The installer shall advise the Contractor of proper and adequate procedures for protection and cleaning during the remainder of the construction period so that the system will be without damage and deterioration at the time of acceptance.

B.	At the time of Substantial Completion, clean translucent skylight system thoroughly.  Demonstrate proper cleaning methods and materials to the Owner's maintenance personnel.

END OF SECTION